## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-06
Time: |  |  |  | 10:09 AM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-05 22:39:58
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-05 22:39:56
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 30.6 |  | 0.1028 | 0.1026 | 0.1004 | 0.101 | 0.1027 | 0.1023 | 0.1036 | 0.1021 | 0.0985 | 0.0974 |  | 0.1036 | 0.1037 | 0.1045 | 0.102 | 0.1003 | 0.1 | 0.1004 | 0.1024 | 0.1007 | 0.1024 | 0.1005 | 0.1037 | 0.1033 | 0.1052 | 0.1069 | 0.1034 | 0.102 | 0.1029 | 0.1059 | 0.1052 | 0.1018 | 0.1023 | 0.1018 | 0.1074 | 0.1019 | 0.1022 | 0.1033 | 0.1007 | 0.1035 | 0.1081 | 0.1071 | 0.1053 | 0.1072 | 0.1026 | 0.1023 | 0.12 | 0.0997 | 0.1015 | 0.1002 | 0.0992 | 0.1001 | 0.0999 | 0.101 | 0.1026 | 0.1025 | 0.101 | 0.1035 | 0.105 | 0.1025 | 0.1031 | 0.101 | 0.1021 | 0.1013 | 0.1014 | 0.1015 | 0.1018 | 0.1023 | 0.1043 | 0.1053 | 0.1045 | 0.1031 | 0.1013 | 0.1026 | 0.1013 | 0.1018 | 0.1021 | 0.1012 | 0.1019 | 0.1023 | 0.1005 | 0.1051 | 0.1021 |  | 0.1052 | 0.1053 | 0.1041 | 0.1049 | 0.1051 | 0.1056 | 0.1078 | 0.1024 | 0.1035 | 0.1786
2 | 1175.667 | 36.9 |  | 0.1021 | 0.1017 | 0.101 | 0.1026 | 0.103 | 0.1039 | 0.1065 | 0.1043 | 0.1028 | 0.0972 |  | 0.1026 | 0.1034 | 0.1048 | 0.1023 | 0.1026 | 0.1028 | 0.1018 | 0.1029 | 0.1026 | 0.1053 | 0.1032 | 0.1027 | 0.1025 | 0.1046 | 0.1074 | 0.1042 | 0.105 | 0.1054 | 0.1068 | 0.1057 | 0.105 | 0.1051 | 0.105 | 0.1084 | 0.1052 | 0.1048 | 0.105 | 0.1046 | 0.1071 | 0.1063 | 0.1052 | 0.1048 | 0.1061 | 0.105 | 0.1069 | 0.1091 | 0.1032 | 0.1038 | 0.1032 | 0.1024 | 0.1036 | 0.1024 | 0.1016 | 0.1047 | 0.1031 | 0.1024 | 0.1036 | 0.1022 | 0.1055 | 0.1056 | 0.1052 | 0.1061 | 0.1056 | 0.1054 | 0.1051 | 0.1056 | 0.1056 | 0.1052 | 0.1073 | 0.1051 | 0.1088 | 0.1073 | 0.1053 | 0.1069 | 0.1051 | 0.1052 | 0.1036 | 0.1045 | 0.1044 | 0.1036 | 0.1037 | 0.1043 |  | 0.1058 | 0.1078 | 0.1047 | 0.1065 | 0.106 | 0.1075 | 0.1074 | 0.105 | 0.1043 | 0.0857
3 | 2350.524 | 37.1 |  | 0.1034 | 0.1038 | 0.1031 | 0.1071 | 0.1074 | 0.1081 | 0.1121 | 0.1086 | 0.1069 | 0.0975 |  | 0.1049 | 0.1043 | 0.1065 | 0.1048 | 0.1044 | 0.1042 | 0.1042 | 0.1041 | 0.1039 | 0.1068 | 0.1045 | 0.1023 | 0.106 | 0.1108 | 0.1125 | 0.1093 | 0.1101 | 0.1104 | 0.1114 | 0.1099 | 0.1093 | 0.1092 | 0.1085 | 0.1144 | 0.1093 | 0.108 | 0.1106 | 0.1087 | 0.1134 | 0.1105 | 0.1105 | 0.1084 | 0.1112 | 0.1083 | 0.1097 | 0.1113 | 0.1063 | 0.1095 | 0.1073 | 0.1068 | 0.1086 | 0.1064 | 0.1047 | 0.1079 | 0.1064 | 0.1054 | 0.1069 | 0.1065 | 0.1099 | 0.11 | 0.1095 | 0.1111 | 0.1102 | 0.1093 | 0.1089 | 0.1089 | 0.1091 | 0.1083 | 0.1107 | 0.1081 | 0.1178 | 0.1149 | 0.1115 | 0.1126 | 0.1099 | 0.1103 | 0.1069 | 0.1086 | 0.1076 | 0.1068 | 0.1067 | 0.1071 |  | 0.1093 | 0.1109 | 0.1074 | 0.1103 | 0.1106 | 0.1114 | 0.113 | 0.1085 | 0.1088 | 0.0851
4 | 3525.366 | 37 |  | 0.107 | 0.1079 | 0.1074 | 0.1162 | 0.1159 | 0.1165 | 0.1235 | 0.1166 | 0.115 | 0.0973 |  | 0.1088 | 0.1079 | 0.1101 | 0.1086 | 0.1081 | 0.1078 | 0.1069 | 0.1066 | 0.1079 | 0.11 | 0.1056 | 0.1054 | 0.115 | 0.1234 | 0.1225 | 0.1191 | 0.1205 | 0.1207 | 0.1197 | 0.1174 | 0.1162 | 0.1146 | 0.1134 | 0.1214 | 0.1166 | 0.1172 | 0.1188 | 0.1159 | 0.1205 | 0.1184 | 0.1161 | 0.114 | 0.1161 | 0.1128 | 0.1126 | 0.1169 | 0.1159 | 0.1198 | 0.1161 | 0.1147 | 0.1165 | 0.1131 | 0.1097 | 0.1129 | 0.1112 | 0.1086 | 0.1103 | 0.1099 | 0.1182 | 0.1192 | 0.1189 | 0.1193 | 0.1183 | 0.1164 | 0.1146 | 0.1156 | 0.1138 | 0.1122 | 0.1147 | 0.1125 | 0.1289 | 0.1274 | 0.1228 | 0.1229 | 0.1186 | 0.1184 | 0.1127 | 0.1152 | 0.1129 | 0.1111 | 0.1105 | 0.1106 |  | 0.1159 | 0.1164 | 0.1126 | 0.116 | 0.1171 | 0.1183 | 0.1195 | 0.1131 | 0.1146 | 0.0863
5 | 4701.06 | 37 |  | 0.1139 | 0.1158 | 0.1143 | 0.1306 | 0.1305 | 0.132 | 0.143 | 0.1322 | 0.1285 | 0.0973 |  | 0.1129 | 0.114 | 0.1154 | 0.1127 | 0.1125 | 0.112 | 0.1084 | 0.109 | 0.1112 | 0.1102 | 0.1091 | 0.1057 | 0.1281 | 0.1441 | 0.1409 | 0.1355 | 0.137 | 0.1367 | 0.133 | 0.1291 | 0.1271 | 0.1221 | 0.1206 | 0.1313 | 0.1326 | 0.1316 | 0.1343 | 0.1297 | 0.1373 | 0.1334 | 0.1268 | 0.1228 | 0.1255 | 0.1186 | 0.1178 | 0.1221 | 0.1364 | 0.138 | 0.1296 | 0.127 | 0.1294 | 0.1237 | 0.1177 | 0.1205 | 0.1196 | 0.1144 | 0.1158 | 0.1154 | 0.1317 | 0.1324 | 0.1337 | 0.1345 | 0.1313 | 0.1294 | 0.1259 | 0.1235 | 0.1218 | 0.119 | 0.1206 | 0.119 | 0.1495 | 0.1481 | 0.1394 | 0.1375 | 0.1303 | 0.1305 | 0.1207 | 0.1247 | 0.121 | 0.1169 | 0.1167 | 0.1162 |  | 0.1288 | 0.1269 | 0.1221 | 0.1275 | 0.1316 | 0.1324 | 0.134 | 0.1243 | 0.1247 | 0.0857
6 | 5875.926 | 37 |  | 0.1295 | 0.134 | 0.1314 | 0.1603 | 0.1585 | 0.161 | 0.1815 | 0.1613 | 0.1539 | 0.0971 |  | 0.1258 | 0.1301 | 0.129 | 0.1238 | 0.1234 | 0.1221 | 0.1137 | 0.1154 | 0.1156 | 0.1146 | 0.111 | 0.1078 | 0.1555 | 0.1843 | 0.1751 | 0.1658 | 0.1688 | 0.1676 | 0.1539 | 0.148 | 0.1436 | 0.1333 | 0.1316 | 0.1466 | 0.1618 | 0.1588 | 0.1647 | 0.153 | 0.1664 | 0.1597 | 0.1444 | 0.1371 | 0.1411 | 0.1272 | 0.1271 | 0.1328 | 0.1609 | 0.1716 | 0.1579 | 0.1501 | 0.1541 | 0.1442 | 0.1299 | 0.1336 | 0.1331 | 0.1222 | 0.1235 | 0.1235 | 0.1634 | 0.1619 | 0.1658 | 0.162 | 0.1564 | 0.1523 | 0.1418 | 0.1392 | 0.1361 | 0.1289 | 0.1306 | 0.1278 | 0.1904 | 0.1908 | 0.1741 | 0.1682 | 0.1544 | 0.1545 | 0.1345 | 0.1401 | 0.1339 | 0.1251 | 0.1246 | 0.124 |  | 0.1562 | 0.1481 | 0.1429 | 0.1523 | 0.1598 | 0.1583 | 0.1626 | 0.1436 | 0.1476 | 0.0861
7 | 7051.615 | 37.1 |  | 0.1596 | 0.1697 | 0.1646 | 0.2149 | 0.2099 | 0.2121 | 0.2504 | 0.2142 | 0.2034 | 0.0977 |  | 0.144 | 0.155 | 0.152 | 0.1431 | 0.1433 | 0.1386 | 0.1234 | 0.1239 | 0.1262 | 0.116 | 0.1147 | 0.113 | 0.2029 | 0.2526 | 0.2332 | 0.2192 | 0.2216 | 0.2187 | 0.1858 | 0.1761 | 0.1699 | 0.1469 | 0.1442 | 0.1642 | 0.2127 | 0.2052 | 0.2155 | 0.1933 | 0.2179 | 0.2064 | 0.1729 | 0.1607 | 0.1656 | 0.1364 | 0.1393 | 0.1457 | 0.2166 | 0.2364 | 0.2093 | 0.1924 | 0.1985 | 0.1812 | 0.149 | 0.1525 | 0.1524 | 0.1331 | 0.1341 | 0.1341 | 0.2164 | 0.2132 | 0.222 | 0.214 | 0.2042 | 0.1954 | 0.1682 | 0.1634 | 0.1585 | 0.1422 | 0.1438 | 0.141 | 0.2596 | 0.267 | 0.2362 | 0.2207 | 0.196 | 0.1964 | 0.1551 | 0.1651 | 0.1549 | 0.1372 | 0.1367 | 0.136 |  | 0.2029 | 0.189 | 0.181 | 0.198 | 0.2107 | 0.2071 | 0.2117 | 0.1791 | 0.1854 | 0.0859
8 | 8226.378 | 36.9 |  | 0.2066 | 0.2233 | 0.2225 | 0.3044 | 0.2971 | 0.2975 | 0.3546 | 0.2932 | 0.2865 | 0.0971 |  | 0.1816 | 0.1971 | 0.1968 | 0.1738 | 0.1726 | 0.1636 | 0.1348 | 0.1343 | 0.1368 | 0.1198 | 0.1169 | 0.1198 | 0.2869 | 0.365 | 0.34 | 0.3128 | 0.3201 | 0.3111 | 0.2397 | 0.2249 | 0.2141 | 0.1649 | 0.1628 | 0.1898 | 0.3039 | 0.2923 | 0.3076 | 0.271 | 0.3053 | 0.2887 | 0.2164 | 0.1989 | 0.2059 | 0.1523 | 0.1554 | 0.1649 | 0.3094 | 0.3355 | 0.2967 | 0.2689 | 0.2774 | 0.2491 | 0.1813 | 0.1837 | 0.1863 | 0.1463 | 0.1476 | 0.1483 | 0.312 | 0.3006 | 0.3158 | 0.3008 | 0.2815 | 0.2683 | 0.2101 | 0.2009 | 0.1969 | 0.157 | 0.1602 | 0.1589 | 0.3733 | 0.3864 | 0.3445 | 0.3149 | 0.2737 | 0.2722 | 0.1902 | 0.2071 | 0.1904 | 0.1532 | 0.153 | 0.1512 |  | 0.2818 | 0.2554 | 0.2395 | 0.2631 | 0.2819 | 0.2801 | 0.2854 | 0.2377 | 0.2565 | 0.0875
9 | 9402.076 | 37.1 |  | 0.2869 | 0.3137 | 0.3125 | 0.4127 | 0.405 | 0.4064 | 0.4705 | 0.4026 | 0.3948 | 0.0973 |  | 0.2453 | 0.2628 | 0.2647 | 0.2237 | 0.2238 | 0.2127 | 0.1545 | 0.1534 | 0.1591 | 0.1247 | 0.1214 | 0.1212 | 0.4033 | 0.478 | 0.4627 | 0.4245 | 0.4394 | 0.4301 | 0.3182 | 0.2961 | 0.2819 | 0.1871 | 0.1855 | 0.218 | 0.4099 | 0.3959 | 0.4197 | 0.3799 | 0.4132 | 0.3955 | 0.2806 | 0.2559 | 0.2641 | 0.1694 | 0.1745 | 0.1884 | 0.4142 | 0.4485 | 0.412 | 0.3834 | 0.3938 | 0.3607 | 0.2336 | 0.2368 | 0.2413 | 0.1644 | 0.1655 | 0.1664 | 0.415 | 0.411 | 0.4245 | 0.4043 | 0.3823 | 0.3697 | 0.2714 | 0.2616 | 0.2514 | 0.1806 | 0.1814 | 0.1823 | 0.4862 | 0.4952 | 0.4535 | 0.4181 | 0.3723 | 0.3754 | 0.2389 | 0.2633 | 0.2414 | 0.1735 | 0.1755 | 0.1727 |  | 0.3924 | 0.3634 | 0.3508 | 0.3756 | 0.3989 | 0.3908 | 0.3985 | 0.3404 | 0.3588 | 0.0861
10 | 10577.52 | 36.9 |  | 0.395 | 0.4302 | 0.4316 | 0.5234 | 0.515 | 0.5159 | 0.5578 | 0.5107 | 0.5108 | 0.0973 |  | 0.3447 | 0.3571 | 0.3718 | 0.3028 | 0.2966 | 0.2722 | 0.182 | 0.1785 | 0.1853 | 0.1285 | 0.1267 | 0.1258 | 0.5241 | 0.566 | 0.5545 | 0.5263 | 0.5284 | 0.5283 | 0.3988 | 0.3844 | 0.3684 | 0.2117 | 0.21 | 0.2431 | 0.518 | 0.5095 | 0.5292 | 0.4963 | 0.5183 | 0.5055 | 0.3654 | 0.3364 | 0.3418 | 0.1909 | 0.1978 | 0.2139 | 0.5443 | 0.5607 | 0.5295 | 0.4941 | 0.505 | 0.4758 | 0.3059 | 0.3054 | 0.312 | 0.1851 | 0.1881 | 0.1901 | 0.5186 | 0.5219 | 0.5309 | 0.5125 | 0.4985 | 0.4895 | 0.3581 | 0.3464 | 0.3288 | 0.2087 | 0.2083 | 0.2104 | 0.5964 | 0.5978 | 0.5588 | 0.5285 | 0.4823 | 0.4856 | 0.3103 | 0.3387 | 0.3126 | 0.2007 | 0.1998 | 0.1988 |  | 0.5028 | 0.466 | 0.4509 | 0.4841 | 0.5088 | 0.5012 | 0.5121 | 0.4492 | 0.4683 | 0.0868
11 | 11755.474 | 36.8 |  | 0.5006 | 0.5178 | 0.533 | 0.6199 | 0.6123 | 0.6141 | 0.6443 | 0.6019 | 0.6114 | 0.0974 |  | 0.454 | 0.4552 | 0.472 | 0.3849 | 0.3836 | 0.3601 | 0.2161 | 0.214 | 0.2177 | 0.1355 | 0.1305 | 0.131 | 0.6141 | 0.6685 | 0.6527 | 0.6283 | 0.6354 | 0.6343 | 0.4769 | 0.4674 | 0.4609 | 0.2366 | 0.2347 | 0.2665 | 0.6148 | 0.6151 | 0.6268 | 0.5868 | 0.6127 | 0.5985 | 0.4423 | 0.4124 | 0.4271 | 0.2169 | 0.2247 | 0.2407 | 0.6423 | 0.6492 | 0.632 | 0.5936 | 0.6047 | 0.5797 | 0.3904 | 0.3935 | 0.4026 | 0.2079 | 0.2114 | 0.2157 | 0.6426 | 0.6187 | 0.6285 | 0.6023 | 0.5891 | 0.5781 | 0.432 | 0.427 | 0.4127 | 0.2273 | 0.2317 | 0.2385 | 0.6907 | 0.6908 | 0.6629 | 0.6233 | 0.5738 | 0.5799 | 0.3807 | 0.4129 | 0.3865 | 0.2245 | 0.2238 | 0.2219 |  | 0.6269 | 0.5904 | 0.5705 | 0.6039 | 0.6265 | 0.6129 | 0.6326 | 0.5702 | 0.5835 | 0.0864
12 | 12931.121 | 36.9 |  | 0.5688 | 0.5779 | 0.5708 | 0.6689 | 0.6699 | 0.6716 | 0.6858 | 0.6589 | 0.6705 | 0.0974 |  | 0.5284 | 0.5219 | 0.5452 | 0.4773 | 0.4738 | 0.442 | 0.2621 | 0.2539 | 0.2445 | 0.1388 | 0.1339 | 0.1351 | 0.6954 | 0.7191 | 0.707 | 0.6841 | 0.6887 | 0.6911 | 0.4999 | 0.5051 | 0.4999 | 0.2534 | 0.2515 | 0.2801 | 0.6732 | 0.6659 | 0.6823 | 0.659 | 0.6791 | 0.6701 | 0.4851 | 0.4727 | 0.4847 | 0.2387 | 0.2454 | 0.2609 | 0.7402 | 0.7113 | 0.6923 | 0.6694 | 0.6769 | 0.6553 | 0.4595 | 0.4685 | 0.474 | 0.2272 | 0.2291 | 0.2312 | 0.7055 | 0.6964 | 0.7016 | 0.6875 | 0.6841 | 0.6755 | 0.4835 | 0.4879 | 0.4781 | 0.2533 | 0.2569 | 0.2579 | 0.7498 | 0.7519 | 0.7199 | 0.6935 | 0.6576 | 0.6695 | 0.453 | 0.4843 | 0.4707 | 0.2502 | 0.2505 | 0.2467 |  | 0.7032 | 0.6782 | 0.6663 | 0.6953 | 0.7116 | 0.6908 | 0.713 | 0.6693 | 0.6893 | 0.086
13 | 14105.987 | 37.1 |  | 0.6673 | 0.6849 | 0.6849 | 0.7907 | 0.7977 | 0.7546 | 0.7871 | 0.7364 | 0.7679 | 0.0972 |  | 0.666 | 0.6503 | 0.6566 | 0.5857 | 0.5796 | 0.5459 | 0.3288 | 0.3157 | 0.3034 | 0.1471 | 0.1421 | 0.144 | 0.8113 | 0.8491 | 0.8191 | 0.791 | 0.7895 | 0.7852 | 0.5569 | 0.5709 | 0.5677 | 0.2779 | 0.2766 | 0.3007 | 0.8008 | 0.782 | 0.7694 | 0.7376 | 0.7553 | 0.7386 | 0.5394 | 0.5352 | 0.5445 | 0.2641 | 0.2712 | 0.2866 | 0.8473 | 0.8071 | 0.7995 | 0.7722 | 0.7715 | 0.7444 | 0.5126 | 0.5248 | 0.5312 | 0.2552 | 0.255 | 0.2536 | 0.8055 | 0.7802 | 0.7776 | 0.7617 | 0.7575 | 0.7468 | 0.5334 | 0.5432 | 0.5346 | 0.2732 | 0.2745 | 0.2802 | 0.8181 | 0.7957 | 0.7665 | 0.758 | 0.7429 | 0.7451 | 0.5086 | 0.53 | 0.5212 | 0.2753 | 0.2773 | 0.2739 |  | 0.8033 | 0.7777 | 0.7548 | 0.7794 | 0.8043 | 0.7614 | 0.7808 | 0.7587 | 0.7705 | 0.0861
14 | 15281.688 | 36.9 |  | 0.6652 | 0.6752 | 0.6806 | 0.7764 | 0.7846 | 0.7597 | 0.7859 | 0.7625 | 0.7968 | 0.0975 |  | 0.674 | 0.6605 | 0.6736 | 0.6296 | 0.6279 | 0.61 | 0.369 | 0.3563 | 0.3396 | 0.1511 | 0.1468 | 0.1498 | 0.8035 | 0.787 | 0.7529 | 0.7661 | 0.7685 | 0.7633 | 0.5669 | 0.5958 | 0.5956 | 0.2885 | 0.2891 | 0.3108 | 0.7411 | 0.7345 | 0.7335 | 0.7287 | 0.7412 | 0.7384 | 0.5477 | 0.5516 | 0.5732 | 0.2784 | 0.285 | 0.3001 | 0.832 | 0.7648 | 0.7569 | 0.771 | 0.7737 | 0.7738 | 0.5378 | 0.5588 | 0.5718 | 0.2697 | 0.272 | 0.2744 | 0.7754 | 0.7383 | 0.74 | 0.7304 | 0.7479 | 0.7557 | 0.5586 | 0.5816 | 0.5768 | 0.288 | 0.2925 | 0.298 | 0.7883 | 0.7643 | 0.7445 | 0.7435 | 0.7345 | 0.756 | 0.521 | 0.5529 | 0.5574 | 0.2923 | 0.2971 | 0.2949 |  | 0.7915 | 0.7803 | 0.7802 | 0.7869 | 0.7977 | 0.7662 | 0.8054 | 0.7902 | 0.8037 | 0.0858
15 | 16456.448 | 37.1 |  | 0.7154 | 0.78 | 0.7942 | 0.8473 | 0.8508 | 0.8047 | 0.8401 | 0.8073 | 0.8617 | 0.0975 |  | 0.7544 | 0.746 | 0.7358 | 0.7047 | 0.702 | 0.6859 | 0.4297 | 0.4182 | 0.4022 | 0.1617 | 0.1559 | 0.1576 | 0.884 | 0.8455 | 0.8274 | 0.8119 | 0.8044 | 0.8119 | 0.6377 | 0.6664 | 0.6481 | 0.3022 | 0.2983 | 0.314 | 0.8132 | 0.803 | 0.7828 | 0.7759 | 0.7876 | 0.7788 | 0.5863 | 0.5918 | 0.6088 | 0.2956 | 0.3009 | 0.3135 | 0.9172 | 0.8191 | 0.8016 | 0.818 | 0.8246 | 0.8246 | 0.5828 | 0.6094 | 0.6198 | 0.286 | 0.2867 | 0.2875 | 0.8222 | 0.7848 | 0.7786 | 0.7718 | 0.791 | 0.7955 | 0.6081 | 0.6342 | 0.63 | 0.303 | 0.3057 | 0.3122 | 0.8735 | 0.804 | 0.7799 | 0.7808 | 0.7579 | 0.7899 | 0.5525 | 0.5831 | 0.5897 | 0.3099 | 0.3126 | 0.3081 |  | 0.8578 | 0.8433 | 0.8328 | 0.8321 | 0.8404 | 0.7923 | 0.8265 | 0.8136 | 0.8411 | 0.0867
16 | 17631.373 | 37 |  | 0.7379 | 0.7986 | 0.8326 | 0.8599 | 0.8661 | 0.8268 | 0.8495 | 0.8364 | 0.8811 | 0.0968 |  | 0.7822 | 0.7591 | 0.7577 | 0.7339 | 0.7282 | 0.7142 | 0.4561 | 0.4494 | 0.4403 | 0.1683 | 0.1637 | 0.1697 | 0.8666 | 0.799 | 0.7938 | 0.8048 | 0.7979 | 0.8071 | 0.6584 | 0.6969 | 0.6829 | 0.3102 | 0.3076 | 0.3211 | 0.8103 | 0.7964 | 0.7811 | 0.7726 | 0.7908 | 0.7736 | 0.6096 | 0.6162 | 0.6433 | 0.3097 | 0.3125 | 0.324 | 0.8658 | 0.794 | 0.7906 | 0.811 | 0.8169 | 0.8243 | 0.6265 | 0.6447 | 0.6569 | 0.2986 | 0.2985 | 0.2992 | 0.8351 | 0.7961 | 0.7847 | 0.772 | 0.7972 | 0.7976 | 0.6423 | 0.6763 | 0.6749 | 0.3098 | 0.3126 | 0.3214 | 0.8483 | 0.7997 | 0.7761 | 0.7787 | 0.7662 | 0.8007 | 0.5681 | 0.5983 | 0.6111 | 0.322 | 0.3241 | 0.322 |  | 0.8446 | 0.8466 | 0.8444 | 0.8514 | 0.8669 | 0.82 | 0.8714 | 0.8483 | 0.8532 | 0.0864
17 | 18807.064 | 36.9 |  | 0.7851 | 0.839 | 0.854 | 0.8718 | 0.8771 | 0.8354 | 0.8529 | 0.8301 | 0.8798 | 0.0974 |  | 0.8117 | 0.7923 | 0.7904 | 0.7929 | 0.7647 | 0.7613 | 0.4831 | 0.4747 | 0.4617 | 0.1773 | 0.1741 | 0.1748 | 0.8951 | 0.8715 | 0.8286 | 0.8248 | 0.819 | 0.8292 | 0.689 | 0.7284 | 0.7106 | 0.312 | 0.3093 | 0.3194 | 0.8059 | 0.8141 | 0.7821 | 0.7761 | 0.7855 | 0.7842 | 0.6508 | 0.6462 | 0.6654 | 0.3174 | 0.32 | 0.329 | 0.9321 | 0.8297 | 0.795 | 0.8192 | 0.8217 | 0.8313 | 0.673 | 0.6833 | 0.6913 | 0.3065 | 0.3053 | 0.3051 | 0.8079 | 0.7885 | 0.7696 | 0.769 | 0.7964 | 0.7961 | 0.6722 | 0.7067 | 0.6993 | 0.3184 | 0.3202 | 0.3261 | 0.889 | 0.8207 | 0.7941 | 0.7954 | 0.764 | 0.8061 | 0.5852 | 0.6164 | 0.6324 | 0.3317 | 0.3354 | 0.3295 |  | 0.8449 | 0.8504 | 0.8546 | 0.8537 | 0.8715 | 0.7964 | 0.8731 | 0.8556 | 0.8774 | 0.0863
18 | 19981.939 | 36.9 |  | 0.72 | 0.7459 | 0.7646 | 0.8269 | 0.8393 | 0.8167 | 0.8279 | 0.8117 | 0.8578 | 0.0973 |  | 0.7581 | 0.728 | 0.7268 | 0.7154 | 0.7132 | 0.7277 | 0.4783 | 0.4695 | 0.4604 | 0.1828 | 0.1786 | 0.1832 | 0.8417 | 0.8052 | 0.7961 | 0.7797 | 0.7827 | 0.7911 | 0.6721 | 0.7079 | 0.7052 | 0.3125 | 0.312 | 0.3213 | 0.802 | 0.7854 | 0.7653 | 0.7354 | 0.7736 | 0.7645 | 0.6251 | 0.6394 | 0.6679 | 0.3221 | 0.325 | 0.3334 | 0.8682 | 0.7996 | 0.7792 | 0.7823 | 0.8022 | 0.8126 | 0.6576 | 0.6795 | 0.6915 | 0.3101 | 0.3095 | 0.3115 | 0.7907 | 0.7579 | 0.7557 | 0.7402 | 0.7635 | 0.7692 | 0.6634 | 0.7054 | 0.7142 | 0.3193 | 0.3217 | 0.3324 | 0.8465 | 0.7919 | 0.7806 | 0.7753 | 0.7415 | 0.7974 | 0.5873 | 0.622 | 0.6388 | 0.3381 | 0.3414 | 0.3371 |  | 0.8508 | 0.8417 | 0.8419 | 0.8287 | 0.8344 | 0.7796 | 0.8535 | 0.8522 | 0.8553 | 0.0849
19 | 21157.631 | 37.1 |  | 0.7527 | 0.7947 | 0.8009 | 0.8472 | 0.8696 | 0.8279 | 0.8463 | 0.8202 | 0.8837 | 0.0973 |  | 0.8148 | 0.7673 | 0.7676 | 0.7536 | 0.7412 | 0.7508 | 0.4947 | 0.4856 | 0.4792 | 0.1946 | 0.1889 | 0.1897 | 0.9063 | 0.861 | 0.8437 | 0.8139 | 0.8098 | 0.8084 | 0.693 | 0.7379 | 0.7238 | 0.3138 | 0.313 | 0.3235 | 0.8228 | 0.8135 | 0.7864 | 0.7687 | 0.7924 | 0.7769 | 0.6624 | 0.6678 | 0.6907 | 0.3283 | 0.3295 | 0.3366 | 0.9134 | 0.8267 | 0.8064 | 0.836 | 0.8349 | 0.8412 | 0.7039 | 0.7246 | 0.7321 | 0.3139 | 0.3129 | 0.3134 | 0.8048 | 0.7809 | 0.7748 | 0.7489 | 0.7788 | 0.7834 | 0.692 | 0.7411 | 0.7475 | 0.3253 | 0.3269 | 0.3344 | 0.8894 | 0.8016 | 0.7879 | 0.7918 | 0.7453 | 0.8141 | 0.6074 | 0.6442 | 0.6681 | 0.3449 | 0.347 | 0.3408 |  | 0.8527 | 0.8557 | 0.8589 | 0.8591 | 0.8758 | 0.7965 | 0.8844 | 0.8795 | 0.8893 | 0.0857
20 | 22332.428 | 36.9 |  | 0.7597 | 0.7986 | 0.7863 | 0.8609 | 0.8712 | 0.8393 | 0.8613 | 0.8382 | 0.8873 | 0.0973 |  | 0.8202 | 0.7781 | 0.7626 | 0.7607 | 0.7415 | 0.7547 | 0.5095 | 0.5001 | 0.4871 | 0.2034 | 0.197 | 0.1979 | 0.9333 | 0.8673 | 0.8565 | 0.8312 | 0.816 | 0.8173 | 0.6827 | 0.7524 | 0.7402 | 0.3165 | 0.3137 | 0.3233 | 0.8543 | 0.8426 | 0.8069 | 0.7777 | 0.7993 | 0.783 | 0.6743 | 0.6871 | 0.7027 | 0.3301 | 0.3318 | 0.3415 | 0.9227 | 0.8456 | 0.8136 | 0.838 | 0.8361 | 0.8382 | 0.707 | 0.7268 | 0.737 | 0.3178 | 0.3167 | 0.3187 | 0.8342 | 0.8005 | 0.7927 | 0.7671 | 0.793 | 0.7919 | 0.7012 | 0.7471 | 0.7451 | 0.3277 | 0.3295 | 0.3383 | 0.8367 | 0.7797 | 0.7738 | 0.7916 | 0.7491 | 0.8187 | 0.6155 | 0.6558 | 0.6806 | 0.3506 | 0.3541 | 0.3497 |  | 0.8872 | 0.8707 | 0.8673 | 0.8737 | 0.8833 | 0.8051 | 0.9 | 0.879 | 0.8881 | 0.0857
21 | 23508.121 | 36.8 |  | 0.7515 | 0.7947 | 0.7617 | 0.8809 | 0.9004 | 0.8423 | 0.8656 | 0.8432 | 0.8945 | 0.0974 |  | 0.8017 | 0.754 | 0.7442 | 0.7658 | 0.7398 | 0.7472 | 0.5143 | 0.5034 | 0.4818 | 0.2064 | 0.2029 | 0.2051 | 0.942 | 0.8981 | 0.8784 | 0.8429 | 0.8309 | 0.8323 | 0.6911 | 0.775 | 0.7399 | 0.3144 | 0.3112 | 0.3191 | 0.8547 | 0.8655 | 0.8263 | 0.7939 | 0.8134 | 0.7886 | 0.6684 | 0.693 | 0.7104 | 0.3312 | 0.3329 | 0.3398 | 0.9052 | 0.8788 | 0.8316 | 0.8619 | 0.8661 | 0.8571 | 0.7298 | 0.7372 | 0.7531 | 0.3183 | 0.3175 | 0.3184 | 0.8052 | 0.794 | 0.7828 | 0.768 | 0.7923 | 0.7994 | 0.7101 | 0.7543 | 0.7599 | 0.3291 | 0.3325 | 0.3402 | 0.8385 | 0.7761 | 0.7552 | 0.7786 | 0.7354 | 0.7964 | 0.6153 | 0.6555 | 0.6829 | 0.3498 | 0.3523 | 0.3465 |  | 0.8649 | 0.8703 | 0.8685 | 0.8618 | 0.8728 | 0.7947 | 0.8896 | 0.8875 | 0.8974 | 0.0862
22 | 24683.338 | 37 |  | 0.7232 | 0.7529 | 0.7545 | 0.877 | 0.8892 | 0.843 | 0.8639 | 0.8425 | 0.8911 | 0.0976 |  | 0.7423 | 0.7177 | 0.7153 | 0.7471 | 0.7122 | 0.725 | 0.5192 | 0.5142 | 0.489 | 0.2132 | 0.2094 | 0.2079 | 0.9375 | 0.866 | 0.8529 | 0.8348 | 0.8288 | 0.8162 | 0.6984 | 0.7658 | 0.75 | 0.3138 | 0.3113 | 0.321 | 0.8296 | 0.8313 | 0.7998 | 0.7752 | 0.7966 | 0.7809 | 0.6684 | 0.6904 | 0.7076 | 0.3321 | 0.3344 | 0.3419 | 0.91 | 0.8388 | 0.8035 | 0.844 | 0.8319 | 0.8413 | 0.729 | 0.7296 | 0.7512 | 0.3187 | 0.3193 | 0.3187 | 0.8031 | 0.7988 | 0.7779 | 0.7568 | 0.791 | 0.7914 | 0.7049 | 0.7642 | 0.7583 | 0.3301 | 0.3321 | 0.3414 | 0.8326 | 0.7782 | 0.7533 | 0.7639 | 0.7267 | 0.7855 | 0.6184 | 0.6566 | 0.6847 | 0.3511 | 0.3549 | 0.3501 |  | 0.8457 | 0.847 | 0.8399 | 0.8436 | 0.8566 | 0.7704 | 0.8605 | 0.8661 | 0.8891 | 0.0874
23 | 25858.214 | 37 |  | 0.7021 | 0.7238 | 0.7582 | 0.855 | 0.8733 | 0.8277 | 0.8562 | 0.8309 | 0.8848 | 0.0974 |  | 0.7306 | 0.6961 | 0.6969 | 0.7112 | 0.6943 | 0.707 | 0.5231 | 0.513 | 0.4891 | 0.219 | 0.2154 | 0.2134 | 0.9215 | 0.8739 | 0.8419 | 0.8097 | 0.8018 | 0.8022 | 0.6951 | 0.7555 | 0.7395 | 0.3137 | 0.3117 | 0.3208 | 0.8587 | 0.8569 | 0.8199 | 0.787 | 0.7979 | 0.7739 | 0.6645 | 0.6817 | 0.7049 | 0.334 | 0.3362 | 0.344 | 0.9146 | 0.8562 | 0.8145 | 0.8505 | 0.8487 | 0.8478 | 0.7148 | 0.7406 | 0.7536 | 0.3229 | 0.3249 | 0.3248 | 0.8213 | 0.8043 | 0.7861 | 0.7688 | 0.7912 | 0.7891 | 0.7005 | 0.7535 | 0.7603 | 0.3339 | 0.3339 | 0.3466 | 0.8149 | 0.7677 | 0.7571 | 0.7741 | 0.7407 | 0.7992 | 0.6276 | 0.6734 | 0.695 | 0.3604 | 0.3641 | 0.3603 |  | 0.8719 | 0.8658 | 0.854 | 0.8451 | 0.856 | 0.7833 | 0.8766 | 0.8612 | 0.8912 | 0.0866
24 | 27033.895 | 36.8 |  | 0.6833 | 0.7409 | 0.7715 | 0.8609 | 0.8799 | 0.8226 | 0.8624 | 0.8401 | 0.8967 | 0.0973 |  | 0.7252 | 0.6799 | 0.6779 | 0.6883 | 0.671 | 0.6834 | 0.5162 | 0.5082 | 0.4885 | 0.2233 | 0.2188 | 0.217 | 0.9159 | 0.8656 | 0.8273 | 0.7953 | 0.7934 | 0.8025 | 0.7028 | 0.7616 | 0.7484 | 0.3127 | 0.3113 | 0.3216 | 0.8264 | 0.8358 | 0.7904 | 0.7709 | 0.7878 | 0.7689 | 0.6692 | 0.6878 | 0.7119 | 0.336 | 0.3378 | 0.3438 | 0.9018 | 0.8466 | 0.8018 | 0.8425 | 0.8317 | 0.8421 | 0.7141 | 0.7391 | 0.7552 | 0.3221 | 0.3215 | 0.3221 | 0.7964 | 0.7894 | 0.7711 | 0.7512 | 0.7807 | 0.7945 | 0.7002 | 0.7547 | 0.7649 | 0.3337 | 0.3346 | 0.3441 | 0.8355 | 0.7854 | 0.7569 | 0.7511 | 0.7109 | 0.7791 | 0.6179 | 0.6597 | 0.6877 | 0.3574 | 0.3612 | 0.3574 |  | 0.8578 | 0.8703 | 0.8534 | 0.842 | 0.8524 | 0.7833 | 0.8829 | 0.8684 | 0.8882 | 0.0857
25 | 28208.757 | 37.1 |  | 0.6932 | 0.7632 | 0.7804 | 0.8684 | 0.8951 | 0.8211 | 0.866 | 0.8471 | 0.9136 | 0.0968 |  | 0.7488 | 0.7036 | 0.6841 | 0.6855 | 0.6652 | 0.6784 | 0.5193 | 0.512 | 0.4882 | 0.2268 | 0.2206 | 0.2216 | 0.9019 | 0.8488 | 0.8205 | 0.7952 | 0.7943 | 0.8048 | 0.7069 | 0.7629 | 0.7457 | 0.3131 | 0.3113 | 0.3206 | 0.8401 | 0.8499 | 0.8167 | 0.7779 | 0.8021 | 0.7795 | 0.669 | 0.6882 | 0.7105 | 0.335 | 0.3339 | 0.3461 | 0.8995 | 0.8251 | 0.8057 | 0.8347 | 0.83 | 0.8404 | 0.713 | 0.7295 | 0.7433 | 0.3216 | 0.3216 | 0.3209 | 0.8112 | 0.7958 | 0.7761 | 0.7595 | 0.7922 | 0.7871 | 0.7018 | 0.7557 | 0.7581 | 0.3336 | 0.3335 | 0.3444 | 0.861 | 0.7776 | 0.7804 | 0.7556 | 0.7041 | 0.7816 | 0.6207 | 0.6597 | 0.688 | 0.3589 | 0.3631 | 0.3599 |  | 0.8881 | 0.9205 | 0.8962 | 0.8926 | 0.8998 | 0.7994 | 0.9199 | 0.8971 | 0.9013 | 0.0857
26 | 29384.445 | 36.9 |  | 0.6532 | 0.7004 | 0.7399 | 0.8163 | 0.8448 | 0.7813 | 0.8421 | 0.8116 | 0.8662 | 0.0975 |  | 0.7035 | 0.659 | 0.6607 | 0.6616 | 0.6512 | 0.6713 | 0.5062 | 0.4971 | 0.477 | 0.2252 | 0.2223 | 0.2198 | 0.8399 | 0.7858 | 0.7602 | 0.746 | 0.7549 | 0.7748 | 0.6885 | 0.7413 | 0.7388 | 0.3086 | 0.3065 | 0.3157 | 0.7712 | 0.7814 | 0.7442 | 0.736 | 0.7581 | 0.7523 | 0.6561 | 0.6828 | 0.6983 | 0.3296 | 0.3348 | 0.34 | 0.868 | 0.7848 | 0.7778 | 0.7961 | 0.8049 | 0.8253 | 0.6973 | 0.726 | 0.7405 | 0.3186 | 0.3186 | 0.3179 | 0.7839 | 0.7514 | 0.7382 | 0.7251 | 0.7529 | 0.7742 | 0.6877 | 0.7456 | 0.7525 | 0.3309 | 0.3328 | 0.3413 | 0.8234 | 0.7468 | 0.7355 | 0.7284 | 0.6828 | 0.7594 | 0.6068 | 0.6482 | 0.68 | 0.3542 | 0.3595 | 0.356 |  | 0.8218 | 0.8276 | 0.8342 | 0.8324 | 0.8482 | 0.7802 | 0.8803 | 0.8712 | 0.885 | 0.0864
27 | 30559.215 | 36.9 |  | 0.683 | 0.7526 | 0.783 | 0.8575 | 0.8811 | 0.8137 | 0.8748 | 0.8446 | 0.9042 | 0.0973 |  | 0.7549 | 0.7132 | 0.6651 | 0.6578 | 0.6525 | 0.6673 | 0.5162 | 0.5049 | 0.4842 | 0.2283 | 0.2241 | 0.2241 | 0.888 | 0.8317 | 0.7932 | 0.7765 | 0.775 | 0.7948 | 0.7111 | 0.7559 | 0.7388 | 0.3102 | 0.3084 | 0.3166 | 0.7843 | 0.8067 | 0.76 | 0.7454 | 0.7697 | 0.7561 | 0.6544 | 0.6735 | 0.701 | 0.3312 | 0.3318 | 0.3403 | 0.8762 | 0.8154 | 0.7897 | 0.832 | 0.8173 | 0.837 | 0.7052 | 0.7392 | 0.7506 | 0.3206 | 0.3228 | 0.3267 | 0.8045 | 0.7813 | 0.7672 | 0.7507 | 0.7736 | 0.7803 | 0.6922 | 0.7495 | 0.7631 | 0.3329 | 0.3338 | 0.3481 | 0.8139 | 0.782 | 0.7535 | 0.7457 | 0.691 | 0.7731 | 0.6224 | 0.6643 | 0.6947 | 0.3623 | 0.3677 | 0.3631 |  | 0.8545 | 0.8397 | 0.8471 | 0.8481 | 0.8671 | 0.7781 | 0.8977 | 0.8972 | 0.9057 | 0.0861
28 | 31734.084 | 37 |  | 0.6996 | 0.7715 | 0.7841 | 0.8582 | 0.894 | 0.8235 | 0.8836 | 0.8551 | 0.9018 | 0.0972 |  | 0.7656 | 0.7134 | 0.6812 | 0.6714 | 0.6701 | 0.6748 | 0.5206 | 0.5073 | 0.4739 | 0.2258 | 0.2243 | 0.2244 | 0.8591 | 0.8309 | 0.791 | 0.7699 | 0.7763 | 0.7939 | 0.7137 | 0.7681 | 0.7528 | 0.3123 | 0.3126 | 0.323 | 0.7892 | 0.8225 | 0.7717 | 0.759 | 0.7784 | 0.762 | 0.667 | 0.6829 | 0.7123 | 0.3352 | 0.3367 | 0.348 | 0.8694 | 0.8041 | 0.7986 | 0.829 | 0.8215 | 0.8403 | 0.6984 | 0.7097 | 0.7209 | 0.3198 | 0.3194 | 0.3202 | 0.8204 | 0.7907 | 0.777 | 0.7621 | 0.7885 | 0.7885 | 0.7019 | 0.7546 | 0.7651 | 0.3332 | 0.3338 | 0.3459 | 0.8433 | 0.7834 | 0.7585 | 0.7511 | 0.7035 | 0.7947 | 0.6293 | 0.6721 | 0.6997 | 0.3617 | 0.3687 | 0.3635 |  | 0.8798 | 0.8837 | 0.8761 | 0.8729 | 0.8811 | 0.7891 | 0.8917 | 0.8928 | 0.8976 | 0.0862
29 | 32909.768 | 37 |  | 0.7022 | 0.7561 | 0.7742 | 0.8173 | 0.8442 | 0.795 | 0.8457 | 0.8331 | 0.8889 | 0.097 |  | 0.7696 | 0.7129 | 0.6705 | 0.6545 | 0.6542 | 0.6673 | 0.522 | 0.5137 | 0.4849 | 0.2306 | 0.2241 | 0.2236 | 0.8587 | 0.7981 | 0.7759 | 0.7518 | 0.7556 | 0.7718 | 0.7001 | 0.758 | 0.7503 | 0.3075 | 0.3096 | 0.3229 | 0.7783 | 0.7921 | 0.7426 | 0.7354 | 0.7547 | 0.7479 | 0.656 | 0.6775 | 0.7065 | 0.3346 | 0.3383 | 0.3475 | 0.8875 | 0.8048 | 0.7771 | 0.8197 | 0.806 | 0.821 | 0.7014 | 0.7252 | 0.7403 | 0.3187 | 0.3199 | 0.3206 | 0.7916 | 0.7687 | 0.742 | 0.7333 | 0.7671 | 0.775 | 0.6964 | 0.7504 | 0.7627 | 0.3333 | 0.3355 | 0.3451 | 0.8479 | 0.7642 | 0.7598 | 0.7363 | 0.6934 | 0.7682 | 0.6152 | 0.662 | 0.6931 | 0.3586 | 0.3631 | 0.3583 |  | 0.8489 | 0.8623 | 0.8616 | 0.8645 | 0.8763 | 0.7932 | 0.8918 | 0.8857 | 0.8893 | 0.0858
30 | 34084.642 | 36.9 |  | 0.6976 | 0.7509 | 0.7631 | 0.8044 | 0.8345 | 0.7817 | 0.8398 | 0.8266 | 0.8827 | 0.0975 |  | 0.7728 | 0.7069 | 0.6818 | 0.6607 | 0.6568 | 0.6682 | 0.5259 | 0.5079 | 0.4828 | 0.2269 | 0.2258 | 0.2262 | 0.8413 | 0.7906 | 0.7641 | 0.7423 | 0.7477 | 0.7633 | 0.6919 | 0.7442 | 0.741 | 0.3094 | 0.3086 | 0.3182 | 0.8023 | 0.7993 | 0.7457 | 0.7382 | 0.7517 | 0.745 | 0.6572 | 0.6746 | 0.7038 | 0.3344 | 0.3373 | 0.3456 | 0.8715 | 0.7885 | 0.7683 | 0.797 | 0.7934 | 0.8103 | 0.6908 | 0.7026 | 0.7185 | 0.3182 | 0.3182 | 0.3197 | 0.8084 | 0.7735 | 0.7477 | 0.731 | 0.7614 | 0.7673 | 0.6932 | 0.7464 | 0.7582 | 0.3332 | 0.334 | 0.3459 | 0.8374 | 0.784 | 0.7628 | 0.7412 | 0.6853 | 0.7728 | 0.6169 | 0.6536 | 0.6838 | 0.3603 | 0.3646 | 0.3621 |  | 0.8747 | 0.8808 | 0.8865 | 0.8801 | 0.8936 | 0.8017 | 0.9077 | 0.8887 | 0.8865 | 0.086
31 | 35260.34 | 36.9 |  | 0.7057 | 0.7577 | 0.7827 | 0.8154 | 0.8504 | 0.7876 | 0.8507 | 0.8312 | 0.8927 | 0.0976 |  | 0.7481 | 0.6894 | 0.6706 | 0.6475 | 0.6431 | 0.6484 | 0.5119 | 0.506 | 0.476 | 0.2279 | 0.2282 | 0.224 | 0.8571 | 0.8005 | 0.7769 | 0.7471 | 0.7504 | 0.7594 | 0.6936 | 0.7514 | 0.7391 | 0.3067 | 0.3055 | 0.3143 | 0.7658 | 0.7797 | 0.7281 | 0.7196 | 0.7456 | 0.7358 | 0.6501 | 0.6695 | 0.6987 | 0.3324 | 0.3343 | 0.3413 | 0.8905 | 0.7837 | 0.7818 | 0.8 | 0.7938 | 0.8153 | 0.7005 | 0.7122 | 0.7248 | 0.3171 | 0.3162 | 0.3162 | 0.7881 | 0.752 | 0.7439 | 0.7286 | 0.7565 | 0.7665 | 0.6961 | 0.7499 | 0.764 | 0.3332 | 0.332 | 0.3439 | 0.8412 | 0.7788 | 0.7542 | 0.7514 | 0.6909 | 0.7808 | 0.624 | 0.6567 | 0.6847 | 0.3603 | 0.3637 | 0.358 |  | 0.8383 | 0.8475 | 0.8535 | 0.846 | 0.8625 | 0.7709 | 0.8863 | 0.8734 | 0.8892 | 0.0861
32 | 36435.104 | 36.9 |  | 0.7261 | 0.7752 | 0.8005 | 0.8234 | 0.8463 | 0.7968 | 0.8569 | 0.837 | 0.8972 | 0.0974 |  | 0.7661 | 0.7163 | 0.6901 | 0.6664 | 0.6595 | 0.6723 | 0.5383 | 0.5229 | 0.4849 | 0.2284 | 0.2252 | 0.2225 | 0.8659 | 0.8245 | 0.7758 | 0.7526 | 0.755 | 0.7642 | 0.6993 | 0.7537 | 0.7382 | 0.309 | 0.3081 | 0.3183 | 0.7826 | 0.7828 | 0.7596 | 0.726 | 0.7476 | 0.736 | 0.6577 | 0.6719 | 0.6986 | 0.3355 | 0.3374 | 0.3448 | 0.8793 | 0.7892 | 0.7957 | 0.8083 | 0.7956 | 0.8107 | 0.6938 | 0.7056 | 0.723 | 0.3197 | 0.3199 | 0.3214 | 0.8089 | 0.7788 | 0.7697 | 0.7528 | 0.7881 | 0.7799 | 0.7051 | 0.7552 | 0.7604 | 0.3343 | 0.334 | 0.3477 | 0.8336 | 0.7851 | 0.7719 | 0.7466 | 0.6859 | 0.775 | 0.6252 | 0.6648 | 0.6968 | 0.3643 | 0.3692 | 0.3661 |  | 0.906 | 0.9273 | 0.8942 | 0.8939 | 0.9133 | 0.8154 | 0.9368 | 0.9262 | 0.914 | 0.0872
33 | 37610.672 | 36.9 |  | 0.7128 | 0.7582 | 0.7773 | 0.8029 | 0.8272 | 0.785 | 0.8433 | 0.8241 | 0.8964 | 0.0973 |  | 0.7728 | 0.7154 | 0.6821 | 0.6619 | 0.6515 | 0.6596 | 0.5323 | 0.5166 | 0.4782 | 0.2274 | 0.2253 | 0.2242 | 0.8437 | 0.8008 | 0.7678 | 0.7435 | 0.749 | 0.7592 | 0.6972 | 0.7575 | 0.7465 | 0.3102 | 0.309 | 0.3183 | 0.7844 | 0.7869 | 0.7365 | 0.7238 | 0.7439 | 0.7326 | 0.6556 | 0.6743 | 0.7004 | 0.3353 | 0.3377 | 0.3456 | 0.8818 | 0.7809 | 0.7649 | 0.7817 | 0.7801 | 0.7972 | 0.6908 | 0.7036 | 0.7187 | 0.3177 | 0.3175 | 0.3187 | 0.8161 | 0.7801 | 0.7611 | 0.7401 | 0.77 | 0.7705 | 0.7003 | 0.7547 | 0.7623 | 0.3343 | 0.3328 | 0.3462 | 0.8421 | 0.7838 | 0.7616 | 0.739 | 0.6783 | 0.7662 | 0.6179 | 0.6507 | 0.6842 | 0.36 | 0.3653 | 0.3628 |  | 0.8844 | 0.8984 | 0.8845 | 0.89 | 0.905 | 0.8021 | 0.9228 | 0.9229 | 0.8989 | 0.0863
34 | 38786.349 | 37.1 |  | 0.6249 | 0.6693 | 0.7169 | 0.7478 | 0.7787 | 0.7465 | 0.792 | 0.7698 | 0.8406 | 0.0977 |  | 0.7027 | 0.6651 | 0.631 | 0.6257 | 0.6225 | 0.6407 | 0.4984 | 0.4956 | 0.4711 | 0.2249 | 0.2228 | 0.2191 | 0.7996 | 0.7557 | 0.7438 | 0.718 | 0.7372 | 0.7409 | 0.6711 | 0.7351 | 0.7276 | 0.3031 | 0.3023 | 0.3117 | 0.7514 | 0.7347 | 0.7059 | 0.694 | 0.7208 | 0.7156 | 0.6348 | 0.6521 | 0.6758 | 0.3281 | 0.331 | 0.3395 | 0.8604 | 0.744 | 0.7483 | 0.7596 | 0.7727 | 0.7836 | 0.6761 | 0.6922 | 0.7057 | 0.311 | 0.3112 | 0.3124 | 0.7799 | 0.7279 | 0.7178 | 0.7018 | 0.7346 | 0.7434 | 0.6779 | 0.7343 | 0.7406 | 0.3278 | 0.3279 | 0.3402 | 0.863 | 0.7537 | 0.7366 | 0.7218 | 0.6637 | 0.7556 | 0.6041 | 0.6417 | 0.6728 | 0.3569 | 0.3606 | 0.3568 |  | 0.797 | 0.8273 | 0.8325 | 0.8382 | 0.8508 | 0.7602 | 0.8827 | 0.8736 | 0.8742 | 0.0865
35 | 39961.215 | 37.1 |  | 0.6723 | 0.7408 | 0.771 | 0.8078 | 0.8261 | 0.7751 | 0.8301 | 0.7918 | 0.8788 | 0.0969 |  | 0.7539 | 0.683 | 0.6451 | 0.6376 | 0.6264 | 0.637 | 0.5083 | 0.4916 | 0.4648 | 0.2267 | 0.2229 | 0.2241 | 0.8338 | 0.7934 | 0.7693 | 0.7445 | 0.7441 | 0.7534 | 0.6804 | 0.746 | 0.7376 | 0.3066 | 0.3041 | 0.3152 | 0.7689 | 0.7673 | 0.7206 | 0.7091 | 0.7359 | 0.7204 | 0.6476 | 0.6654 | 0.6886 | 0.3314 | 0.3335 | 0.3432 | 0.867 | 0.7654 | 0.7524 | 0.7766 | 0.7792 | 0.79 | 0.6916 | 0.702 | 0.7153 | 0.3175 | 0.3191 | 0.3183 | 0.8139 | 0.7562 | 0.7371 | 0.7188 | 0.7489 | 0.7544 | 0.6865 | 0.7466 | 0.7657 | 0.3327 | 0.3298 | 0.3454 | 0.8312 | 0.7667 | 0.7564 | 0.7333 | 0.6755 | 0.7583 | 0.6096 | 0.6411 | 0.6751 | 0.358 | 0.3676 | 0.3623 |  | 0.8338 | 0.8564 | 0.8701 | 0.8656 | 0.8816 | 0.7733 | 0.8879 | 0.8842 | 0.8784 | 0.0862
36 | 41136.913 | 36.9 |  | 0.6733 | 0.7289 | 0.7575 | 0.7915 | 0.8068 | 0.7736 | 0.814 | 0.7937 | 0.8649 | 0.0976 |  | 0.7365 | 0.6811 | 0.6469 | 0.6408 | 0.6312 | 0.641 | 0.5128 | 0.5018 | 0.4751 | 0.2251 | 0.2241 | 0.2205 | 0.8307 | 0.7842 | 0.7693 | 0.7419 | 0.752 | 0.7565 | 0.6863 | 0.7496 | 0.7249 | 0.3055 | 0.3045 | 0.3139 | 0.7431 | 0.7514 | 0.7144 | 0.7013 | 0.729 | 0.7151 | 0.6432 | 0.6608 | 0.6838 | 0.3299 | 0.3341 | 0.3409 | 0.8591 | 0.7706 | 0.7536 | 0.7655 | 0.7702 | 0.7897 | 0.6932 | 0.7084 | 0.7203 | 0.3139 | 0.314 | 0.3143 | 0.7701 | 0.7472 | 0.7261 | 0.7083 | 0.7388 | 0.7494 | 0.6889 | 0.743 | 0.7528 | 0.3309 | 0.3301 | 0.3423 | 0.8285 | 0.7599 | 0.7599 | 0.735 | 0.6808 | 0.7698 | 0.6136 | 0.6548 | 0.6864 | 0.3603 | 0.3674 | 0.3623 |  | 0.8237 | 0.8264 | 0.832 | 0.8319 | 0.8498 | 0.7573 | 0.8607 | 0.8642 | 0.884 | 0.0858
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 30.7 |  | 3184 | 2898 | 2764 | 2784 | 2716 | 2917 | 3187 | 3170 | 2864 | 2837 |  | 3025 | 2964 | 3184 | 2955 | 3109 | 3057 | 2872 | 3093 | 3033 | 3020 | 3025 | 2880 | 2841 | 2818 | 2941 | 2899 | 2918 | 2953 | 2962 | 2734 | 2875 | 2845 | 2863 | 2864 | 3169 | 2965 | 3140 | 3174 | 3231 | 3392 | 3236 | 3199 | 3191 | 3240 | 3114 | 3047 | 2837 | 2885 | 2895 | 2805 | 2766 | 2872 | 2825 | 2888 | 2841 | 2873 | 2874 | 2886 | 3085 | 3192 | 3155 | 3172 | 3199 | 3152 | 3076 | 3095 | 3050 | 3101 | 3033 | 3054 | 3243 | 3200 | 3135 | 3077 | 3154 | 3077 | 3025 | 3076 | 3032 | 3082 | 3026 | 3016 |  | 2957 | 2776 | 2757 | 2944 | 3042 | 3501 | 3417 | 3071 | 3173 | 363
2 | 1175.667 | 36.9 |  | 3086 | 2782 | 2617 | 2659 | 2605 | 2801 | 3106 | 3031 | 2854 | 2676 |  | 2862 | 2877 | 3007 | 2819 | 2985 | 2984 | 2748 | 2959 | 2953 | 2952 | 2899 | 2790 | 2698 | 2727 | 2816 | 2786 | 2851 | 2854 | 2851 | 2675 | 2760 | 2742 | 2783 | 2730 | 3158 | 2924 | 3102 | 3224 | 3363 | 3498 | 3384 | 3219 | 3278 | 3272 | 3196 | 3051 | 2703 | 2754 | 2835 | 2637 | 2762 | 2772 | 2684 | 2824 | 2767 | 2815 | 2796 | 2675 | 3002 | 3144 | 3040 | 3109 | 3136 | 3133 | 3115 | 3101 | 3027 | 3090 | 3075 | 3029 | 3462 | 3554 | 3331 | 3328 | 3277 | 3233 | 3177 | 3236 | 3057 | 3086 | 3104 | 3103 |  | 2844 | 2659 | 2568 | 2881 | 2958 | 3411 | 3457 | 3100 | 3089 | 335
3 | 2350.524 | 37.1 |  | 2957 | 2715 | 2608 | 2633 | 2575 | 2808 | 3177 | 3070 | 2826 | 2698 |  | 2889 | 2838 | 3064 | 2806 | 2929 | 2864 | 2742 | 2914 | 2937 | 2857 | 2845 | 2720 | 2723 | 2701 | 2767 | 2792 | 2721 | 2763 | 2770 | 2636 | 2645 | 2678 | 2727 | 2643 | 3049 | 2912 | 3104 | 3110 | 3259 | 3381 | 3301 | 3098 | 3203 | 3202 | 3098 | 2989 | 2696 | 2765 | 2835 | 2632 | 2716 | 2774 | 2643 | 2826 | 2727 | 2712 | 2724 | 2628 | 3046 | 3089 | 3116 | 3131 | 3184 | 3150 | 3114 | 3015 | 2946 | 3101 | 3055 | 2991 | 3531 | 3660 | 3294 | 3332 | 3297 | 3263 | 3149 | 3238 | 3109 | 3116 | 3128 | 3076 |  | 2797 | 2546 | 2559 | 2803 | 2880 | 3341 | 3469 | 3076 | 3004 | 341
4 | 3525.366 | 37.2 |  | 3056 | 2686 | 2594 | 2604 | 2543 | 2754 | 3184 | 3059 | 2848 | 2646 |  | 2862 | 2805 | 3020 | 2806 | 2950 | 2948 | 2739 | 2912 | 2902 | 2901 | 2844 | 2719 | 2681 | 2638 | 2779 | 2770 | 2780 | 2767 | 2809 | 2642 | 2699 | 2668 | 2689 | 2726 | 3112 | 2877 | 3057 | 3114 | 3288 | 3486 | 3323 | 3195 | 3261 | 3231 | 3113 | 3048 | 2668 | 2736 | 2817 | 2606 | 2684 | 2720 | 2648 | 2749 | 2672 | 2701 | 2709 | 2693 | 3005 | 3069 | 3161 | 3240 | 3202 | 3128 | 3124 | 3079 | 2992 | 3057 | 3125 | 2992 | 3770 | 3948 | 3507 | 3623 | 3601 | 3580 | 3292 | 3415 | 3229 | 3230 | 3198 | 3166 |  | 2767 | 2518 | 2597 | 2751 | 2894 | 3388 | 3525 | 3121 | 3094 | 335
5 | 4701.06 | 37.2 |  | 3026 | 2753 | 2608 | 2595 | 2535 | 2746 | 3118 | 3048 | 2783 | 2617 |  | 2910 | 2865 | 3091 | 2829 | 2955 | 2927 | 2755 | 2970 | 2917 | 2857 | 2818 | 2727 | 2669 | 2680 | 2755 | 2777 | 2751 | 2742 | 2826 | 2586 | 2724 | 2705 | 2748 | 2708 | 3085 | 2928 | 3118 | 3262 | 3401 | 3507 | 3452 | 3244 | 3310 | 3240 | 3179 | 3104 | 2706 | 2765 | 2765 | 2743 | 2766 | 2780 | 2716 | 2884 | 2761 | 2826 | 2750 | 2764 | 3058 | 3094 | 3138 | 3275 | 3236 | 3191 | 3164 | 3095 | 3053 | 3131 | 3084 | 3052 | 4089 | 4207 | 3833 | 4197 | 3958 | 3915 | 3644 | 3767 | 3468 | 3397 | 3386 | 3375 |  | 2734 | 2559 | 2581 | 2782 | 2898 | 3349 | 3527 | 3152 | 3131 | 341
6 | 5875.926 | 37.1 |  | 3066 | 2772 | 2713 | 2595 | 2519 | 2809 | 3147 | 3109 | 2853 | 2677 |  | 3079 | 3005 | 3261 | 2983 | 3190 | 3048 | 2829 | 3017 | 3018 | 2926 | 2909 | 2788 | 2658 | 2713 | 2769 | 2783 | 2774 | 2780 | 2824 | 2622 | 2695 | 2689 | 2731 | 2713 | 3140 | 2973 | 3126 | 3398 | 3506 | 3640 | 3571 | 3408 | 3497 | 3401 | 3273 | 3259 | 2721 | 2824 | 2875 | 2829 | 2875 | 2881 | 2826 | 2944 | 2878 | 2897 | 2900 | 2837 | 3024 | 3181 | 3166 | 3450 | 3468 | 3400 | 3335 | 3270 | 3288 | 3247 | 3208 | 3155 | 4517 | 4766 | 4211 | 4935 | 4584 | 4564 | 4076 | 4367 | 3968 | 3789 | 3778 | 3748 |  | 2743 | 2570 | 2533 | 2832 | 2887 | 3379 | 3654 | 3253 | 3197 | 341
7 | 7051.615 | 37 |  | 3156 | 2897 | 2764 | 2639 | 2541 | 2780 | 3197 | 3071 | 2784 | 2604 |  | 3215 | 3205 | 3473 | 3382 | 3464 | 3354 | 3015 | 3228 | 3168 | 3071 | 2980 | 2980 | 2644 | 2645 | 2748 | 2739 | 2770 | 2781 | 2773 | 2612 | 2687 | 2669 | 2702 | 2686 | 3133 | 3002 | 3234 | 3495 | 3614 | 3781 | 3912 | 3683 | 3790 | 3680 | 3530 | 3526 | 2752 | 2802 | 2846 | 3019 | 3073 | 3041 | 2993 | 3133 | 3104 | 3111 | 3128 | 3057 | 3148 | 3222 | 3207 | 3725 | 3695 | 3586 | 3660 | 3524 | 3457 | 3515 | 3451 | 3395 | 4913 | 5121 | 4691 | 6213 | 5566 | 5604 | 4797 | 5130 | 4717 | 4476 | 4421 | 4414 |  | 2787 | 2654 | 2637 | 2861 | 2899 | 3376 | 3852 | 3245 | 3297 | 343
8 | 8226.378 | 37.1 |  | 3305 | 2981 | 2818 | 2631 | 2559 | 2787 | 3250 | 3141 | 2878 | 2571 |  | 3409 | 3396 | 3604 | 3934 | 4139 | 3889 | 3452 | 3634 | 3558 | 3333 | 3268 | 3113 | 2703 | 2686 | 2779 | 2793 | 2803 | 2856 | 2820 | 2701 | 2747 | 2719 | 2745 | 2734 | 3195 | 3056 | 3329 | 3731 | 3962 | 4136 | 4466 | 4176 | 4268 | 4001 | 4012 | 3996 | 2786 | 2918 | 2988 | 3194 | 3347 | 3202 | 3298 | 3470 | 3428 | 3358 | 3438 | 3327 | 3288 | 3310 | 3395 | 4222 | 4106 | 3930 | 4027 | 4017 | 3839 | 3801 | 3952 | 3737 | 5898 | 6243 | 5449 | 8414 | 7163 | 7153 | 5870 | 6550 | 5678 | 5272 | 5207 | 5238 |  | 2838 | 2628 | 2624 | 2858 | 2978 | 3490 | 4023 | 3397 | 3408 | 340
9 | 9402.076 | 37.1 |  | 3582 | 3279 | 3032 | 2692 | 2645 | 2835 | 3440 | 3275 | 2915 | 2615 |  | 3780 | 3908 | 4052 | 4877 | 5096 | 4618 | 4068 | 4287 | 4139 | 3594 | 3484 | 3391 | 2710 | 2785 | 2894 | 2890 | 2927 | 2913 | 2948 | 2758 | 2793 | 2776 | 2804 | 2815 | 3491 | 3213 | 3572 | 4277 | 4869 | 4850 | 5654 | 5109 | 5251 | 4644 | 4610 | 4738 | 2979 | 3176 | 3121 | 3736 | 3896 | 3633 | 3913 | 4090 | 4059 | 3895 | 3947 | 3866 | 3800 | 3771 | 4155 | 5546 | 5066 | 4731 | 4894 | 4729 | 4473 | 4480 | 4473 | 4373 | 10441 | 11685 | 9121 | 13457 | 10688 | 10501 | 7568 | 8798 | 7442 | 6485 | 6411 | 6291 |  | 2925 | 2722 | 2654 | 3024 | 3173 | 3747 | 4817 | 3671 | 3706 | 335
10 | 10577.52 | 37.2 |  | 4689 | 4570 | 3985 | 2779 | 2706 | 2968 | 4197 | 3684 | 3286 | 2592 |  | 4501 | 4814 | 5113 | 6803 | 6996 | 6012 | 5096 | 5230 | 5145 | 3924 | 3794 | 3690 | 2821 | 2912 | 3008 | 3135 | 3156 | 3161 | 3176 | 2973 | 3084 | 2884 | 2909 | 2938 | 4348 | 3977 | 4628 | 6635 | 7646 | 7466 | 8388 | 7075 | 7320 | 5509 | 5571 | 5704 | 3852 | 4536 | 4082 | 5838 | 6169 | 5102 | 5046 | 5182 | 5189 | 4643 | 4689 | 4688 | 6522 | 6221 | 7191 | 9466 | 8579 | 7669 | 6691 | 6217 | 5827 | 5483 | 5481 | 5182 | 21115 | 23307 | 19047 | 23893 | 19234 | 18947 | 10800 | 12717 | 10433 | 8146 | 8097 | 7825 |  | 3407 | 2938 | 2892 | 4403 | 4736 | 5238 | 9800 | 5716 | 6175 | 346
11 | 11755.474 | 37 |  | 9451 | 9745 | 8619 | 2820 | 2730 | 2965 | 6651 | 5325 | 4808 | 2478 |  | 7473 | 8186 | 9010 | 10000 | 10384 | 8255 | 6444 | 6595 | 6328 | 4220 | 4093 | 3951 | 2819 | 2973 | 2988 | 3249 | 3312 | 3280 | 3324 | 3105 | 3148 | 2805 | 2845 | 2895 | 6666 | 6140 | 7296 | 11147 | 12804 | 12174 | 13395 | 11161 | 11624 | 6601 | 6485 | 6928 | 6347 | 7477 | 6506 | 9861 | 10300 | 8311 | 7036 | 7202 | 7377 | 5515 | 5500 | 5498 | 12781 | 12090 | 13730 | 16539 | 15513 | 14240 | 9894 | 9149 | 8292 | 6625 | 6497 | 6334 | 33549 | 36018 | 31550 | 35312 | 30096 | 31029 | 15545 | 18505 | 15055 | 9860 | 9865 | 9544 |  | 5416 | 4423 | 4089 | 9235 | 10510 | 10719 | 21880 | 13846 | 14968 | 331
12 | 12931.121 | 37.1 |  | 19210 | 19510 | 17670 | 3011 | 2928 | 3169 | 9943 | 9051 | 8451 | 2443 |  | 15953 | 16413 | 18305 | 18022 | 18655 | 14530 | 9331 | 9391 | 8765 | 4789 | 4564 | 4515 | 3043 | 3147 | 3190 | 3580 | 3701 | 3726 | 4067 | 3801 | 3798 | 2981 | 2984 | 3107 | 10566 | 10119 | 11207 | 18324 | 20010 | 20019 | 21889 | 18705 | 19730 | 8546 | 8687 | 9168 | 10583 | 11838 | 11049 | 16556 | 17156 | 14895 | 11270 | 11691 | 11913 | 6859 | 6981 | 6914 | 22308 | 21936 | 23192 | 27386 | 26774 | 25083 | 15326 | 14210 | 13180 | 8500 | 8415 | 8008 | 44866 | 46980 | 44180 | 49113 | 45535 | 45480 | 23794 | 27992 | 23726 | 12815 | 12578 | 12372 |  | 9932 | 8753 | 8102 | 18696 | 20738 | 21105 | 36959 | 29058 | 30586 | 321
13 | 14105.987 | 37.1 |  | 29150 | 28191 | 26020 | 3125 | 3078 | 3362 | 11356 | 11407 | 11110 | 2508 |  | 26112 | 27072 | 28606 | 28807 | 29992 | 25106 | 14149 | 14161 | 12929 | 5539 | 5319 | 5078 | 3202 | 3212 | 3337 | 3752 | 3961 | 4075 | 4673 | 4618 | 4575 | 3174 | 3145 | 3234 | 12375 | 11755 | 12954 | 22722 | 23876 | 25114 | 31027 | 27922 | 30295 | 11223 | 11322 | 11760 | 13390 | 13810 | 13838 | 21674 | 22211 | 20925 | 16804 | 17853 | 17866 | 8529 | 8717 | 8505 | 28270 | 27980 | 29020 | 34855 | 35587 | 34731 | 21436 | 20928 | 19806 | 10526 | 10748 | 10268 | 52144 | 54249 | 51509 | 58065 | 55809 | 56861 | 32616 | 36578 | 32692 | 15563 | 15536 | 15217 |  | 12651 | 11618 | 11463 | 26676 | 28745 | 29828 | 49996 | 42909 | 43356 | 321
14 | 15281.688 | 37 |  | 36864 | 34906 | 33972 | 3184 | 3162 | 3436 | 11925 | 12552 | 12227 | 2487 |  | 36741 | 36501 | 39033 | 41138 | 43429 | 38717 | 20660 | 20632 | 19029 | 6460 | 6032 | 5972 | 3287 | 3319 | 3394 | 3868 | 3984 | 4108 | 5393 | 5268 | 5312 | 3271 | 3277 | 3362 | 13029 | 13133 | 13842 | 25835 | 26272 | 28178 | 40076 | 38131 | 40145 | 13950 | 14387 | 14237 | 14393 | 14708 | 14701 | 24964 | 25552 | 26267 | 23439 | 24742 | 25705 | 10849 | 10945 | 10863 | 32687 | 32966 | 32692 | 40651 | 41667 | 41745 | 28853 | 28978 | 27778 | 13209 | 13097 | 12577 | 58185 | 59843 | 57011 | 65514 | 63788 | 66232 | 40212 | 43867 | 40564 | 18707 | 18833 | 18312 |  | 13901 | 13784 | 13639 | 32472 | 34065 | 36470 | 59269 | 54631 | 55867 | 322
15 | 16456.448 | 37.1 |  | 41260 | 37841 | 36967 | 3183 | 3168 | 3452 | 11441 | 12392 | 12291 | 2462 |  | 42426 | 42258 | 44528 | 48439 | 52431 | 49187 | 27521 | 28118 | 25656 | 7400 | 6954 | 6749 | 3267 | 3316 | 3379 | 3895 | 4014 | 4225 | 5789 | 5930 | 6118 | 3522 | 3536 | 3416 | 13088 | 12820 | 13456 | 25577 | 25737 | 28090 | 46170 | 45693 | 48444 | 16931 | 16688 | 16104 | 14630 | 14320 | 14835 | 26104 | 26864 | 27514 | 29629 | 31846 | 32877 | 12677 | 12391 | 12298 | 34315 | 33709 | 32906 | 41080 | 45906 | 46339 | 34913 | 36393 | 35509 | 14999 | 14857 | 14234 | 60794 | 62937 | 60763 | 71096 | 71090 | 73833 | 46847 | 50782 | 48970 | 21478 | 21214 | 21043 |  | 13956 | 13622 | 13892 | 34534 | 37092 | 38823 | 64707 | 62738 | 63418 | 337
16 | 17631.373 | 37.1 |  | 42813 | 39068 | 39268 | 3250 | 3164 | 3469 | 11430 | 12282 | 12071 | 2507 |  | 45681 | 45032 | 46180 | 54125 | 58425 | 56906 | 34573 | 35021 | 32624 | 8605 | 8047 | 7738 | 3279 | 3304 | 3410 | 3869 | 3917 | 4168 | 6050 | 6175 | 6442 | 3409 | 3502 | 3360 | 12597 | 12628 | 13138 | 25300 | 25889 | 27720 | 50616 | 50719 | 51801 | 18660 | 18344 | 17003 | 14205 | 14255 | 14283 | 25590 | 26715 | 27610 | 33511 | 37275 | 37788 | 14093 | 14224 | 13926 | 33729 | 33979 | 33330 | 42624 | 46247 | 47604 | 39017 | 41819 | 41574 | 15982 | 15370 | 15149 | 62201 | 63643 | 62400 | 73524 | 74384 | 78729 | 51444 | 56084 | 54944 | 23298 | 23250 | 23212 |  | 13821 | 13700 | 13588 | 35203 | 36867 | 38976 | 65986 | 65240 | 65328 | 339
17 | 18807.064 | 37 |  | 42891 | 39794 | 39693 | 3177 | 3135 | 3357 | 10932 | 11770 | 11704 | 2459 |  | 46988 | 45453 | 47707 | 56403 | 60086 | 60639 | 39171 | 40481 | 37739 | 9708 | 9166 | 8690 | 3223 | 3307 | 3412 | 3767 | 3897 | 4076 | 6064 | 6216 | 6521 | 3410 | 3426 | 3384 | 12408 | 12247 | 12808 | 23828 | 25236 | 27344 | 53967 | 54572 | 57839 | 19873 | 19090 | 17314 | 13762 | 13967 | 13720 | 25093 | 26778 | 27179 | 36587 | 40472 | 41122 | 14827 | 14756 | 14134 | 33620 | 33320 | 32910 | 43369 | 47036 | 48110 | 41967 | 45063 | 44789 | 16185 | 15310 | 15568 | 62397 | 64768 | 62070 | 75398 | 75523 | 80925 | 54827 | 59738 | 59048 | 24509 | 24336 | 23769 |  | 13346 | 13203 | 12946 | 34468 | 36619 | 38634 | 67841 | 67759 | 67956 | 334
18 | 19981.939 | 37.1 |  | 42703 | 39501 | 38878 | 3170 | 3143 | 3432 | 10798 | 11584 | 11489 | 2463 |  | 46338 | 46215 | 46845 | 58384 | 63266 | 63619 | 42729 | 44488 | 42555 | 11274 | 10454 | 9632 | 3266 | 3261 | 3338 | 3774 | 3830 | 4032 | 6022 | 6314 | 6613 | 3380 | 3419 | 3379 | 11886 | 11974 | 12381 | 23797 | 24389 | 26437 | 56073 | 57147 | 59477 | 20021 | 19333 | 17218 | 13449 | 13601 | 13660 | 24998 | 25840 | 26702 | 40148 | 42847 | 43843 | 14919 | 14868 | 14125 | 32609 | 32643 | 31896 | 42999 | 46568 | 46956 | 43551 | 46454 | 46738 | 16192 | 16007 | 15499 | 61483 | 63946 | 62840 | 76599 | 77659 | 83370 | 57487 | 62343 | 61195 | 24897 | 25104 | 24417 |  | 13094 | 13035 | 13100 | 34297 | 36201 | 38346 | 68303 | 66778 | 68123 | 350
19 | 21157.631 | 37.1 |  | 41684 | 38559 | 39146 | 3130 | 3117 | 3346 | 10523 | 11040 | 11209 | 2469 |  | 46345 | 44619 | 46147 | 56554 | 61793 | 62813 | 44379 | 45615 | 44016 | 12207 | 11557 | 10760 | 3187 | 3242 | 3347 | 3715 | 3807 | 4000 | 6078 | 6240 | 6553 | 3422 | 3389 | 3322 | 11465 | 11487 | 12144 | 22355 | 24134 | 25901 | 57045 | 58797 | 61114 | 19940 | 19152 | 16953 | 13113 | 13120 | 13179 | 23805 | 24671 | 25901 | 39236 | 43899 | 45076 | 14936 | 14628 | 14007 | 31552 | 31296 | 30906 | 41105 | 46060 | 47117 | 43446 | 46564 | 47549 | 16170 | 15884 | 15342 | 62271 | 63624 | 61847 | 76378 | 76254 | 84150 | 59097 | 62511 | 64506 | 24381 | 24604 | 24366 |  | 12584 | 12497 | 12587 | 32953 | 35047 | 36709 | 67479 | 67861 | 67749 | 324
20 | 22332.428 | 37.1 |  | 40140 | 38120 | 38001 | 3179 | 3092 | 3364 | 10298 | 10721 | 10930 | 2422 |  | 45244 | 44373 | 45561 | 57064 | 62060 | 64199 | 46186 | 48194 | 45593 | 13679 | 12505 | 11785 | 3150 | 3265 | 3355 | 3745 | 3912 | 3964 | 5868 | 6127 | 6280 | 3371 | 3430 | 3327 | 11126 | 11333 | 11710 | 22357 | 22959 | 25009 | 56044 | 57408 | 60750 | 19679 | 18747 | 16730 | 12716 | 13007 | 13005 | 23353 | 24307 | 25446 | 39732 | 44021 | 44365 | 14620 | 14574 | 13913 | 31132 | 31308 | 30777 | 41027 | 44150 | 46069 | 43623 | 45154 | 47519 | 16057 | 15409 | 15137 | 60091 | 63410 | 60570 | 75108 | 75320 | 82904 | 59165 | 63274 | 64277 | 24958 | 25114 | 24657 |  | 12490 | 12328 | 12477 | 33278 | 34093 | 35477 | 65738 | 66609 | 65364 | 326
21 | 23508.121 | 37 |  | 39611 | 36822 | 37227 | 3098 | 3136 | 3404 | 10344 | 10608 | 10588 | 2455 |  | 44286 | 43171 | 44021 | 55791 | 60490 | 62665 | 46452 | 48628 | 46247 | 14939 | 13910 | 12680 | 3196 | 3252 | 3334 | 3652 | 3806 | 3949 | 5845 | 6020 | 6246 | 3310 | 3350 | 3263 | 10952 | 11330 | 11602 | 21610 | 22579 | 24055 | 55485 | 56856 | 59615 | 19446 | 18546 | 16460 | 12328 | 12648 | 12863 | 22540 | 24168 | 24594 | 39427 | 43921 | 44463 | 14505 | 14389 | 13741 | 29991 | 30511 | 29692 | 39293 | 42747 | 45341 | 42963 | 44512 | 47102 | 15715 | 15462 | 14864 | 59892 | 61831 | 60297 | 75545 | 74683 | 82493 | 58288 | 62294 | 63076 | 24415 | 24775 | 23873 |  | 12048 | 12416 | 12212 | 32448 | 33424 | 35278 | 65220 | 65152 | 65516 | 337
22 | 24683.338 | 37.1 |  | 38784 | 36329 | 35810 | 3127 | 3110 | 3312 | 9885 | 10549 | 10573 | 2459 |  | 43278 | 42061 | 43059 | 54309 | 58843 | 61105 | 45911 | 48547 | 46156 | 15923 | 14831 | 13577 | 3129 | 3235 | 3346 | 3688 | 3831 | 3967 | 5775 | 6039 | 6282 | 3354 | 3434 | 3222 | 10706 | 10715 | 11317 | 21108 | 21406 | 23309 | 53925 | 56446 | 59309 | 18872 | 17882 | 15987 | 12336 | 12272 | 12499 | 22556 | 23299 | 24442 | 39194 | 43819 | 44143 | 14301 | 14102 | 13259 | 29585 | 29622 | 28887 | 38442 | 42565 | 43839 | 41960 | 45121 | 46151 | 15161 | 14918 | 14627 | 58847 | 60958 | 61434 | 76301 | 76593 | 84374 | 58265 | 62428 | 63528 | 24535 | 24471 | 23741 |  | 12102 | 12027 | 11907 | 31871 | 32950 | 34042 | 64237 | 63801 | 64266 | 330
23 | 25858.214 | 37.2 |  | 38031 | 35006 | 35118 | 3103 | 3153 | 3319 | 9700 | 10262 | 10287 | 2451 |  | 41609 | 40988 | 42460 | 54267 | 58765 | 60934 | 46895 | 49444 | 47001 | 16923 | 15930 | 14039 | 3144 | 3280 | 3308 | 3745 | 3825 | 3875 | 5658 | 5878 | 6077 | 3306 | 3369 | 3176 | 10595 | 10528 | 11106 | 20781 | 21102 | 23416 | 53765 | 55874 | 59649 | 18683 | 18247 | 16089 | 11852 | 12391 | 12258 | 21802 | 22882 | 24186 | 37302 | 42445 | 43137 | 13949 | 13516 | 13048 | 28288 | 28974 | 28327 | 37283 | 41712 | 42606 | 41287 | 44351 | 44662 | 15112 | 14585 | 14579 | 57680 | 59267 | 60143 | 73969 | 73762 | 82923 | 57681 | 61096 | 62422 | 24468 | 24665 | 24008 |  | 11884 | 11836 | 11781 | 31240 | 32140 | 34507 | 63824 | 63223 | 63630 | 340
24 | 27033.895 | 37 |  | 37044 | 34123 | 34395 | 3093 | 3112 | 3375 | 9684 | 10311 | 10346 | 2435 |  | 41397 | 41092 | 41362 | 51942 | 56996 | 59566 | 46507 | 49181 | 46317 | 17185 | 16201 | 14676 | 3115 | 3207 | 3303 | 3554 | 3689 | 3818 | 5515 | 5750 | 6062 | 3258 | 3300 | 3196 | 10255 | 10558 | 10825 | 20473 | 20728 | 22503 | 53444 | 56240 | 57913 | 18382 | 17982 | 15914 | 11780 | 11718 | 11956 | 21403 | 22217 | 23277 | 37692 | 41705 | 42509 | 13682 | 13777 | 12930 | 27896 | 28759 | 27870 | 37168 | 40548 | 42042 | 40244 | 43613 | 44365 | 14954 | 15070 | 14404 | 56356 | 58744 | 58117 | 74914 | 73901 | 82170 | 57866 | 61252 | 63556 | 24943 | 25037 | 23989 |  | 11522 | 11425 | 11397 | 30587 | 31445 | 32667 | 61211 | 61967 | 61819 | 344
25 | 28208.757 | 37.2 |  | 36387 | 34196 | 33878 | 3094 | 3083 | 3284 | 9564 | 10007 | 9852 | 2424 |  | 40252 | 39884 | 40657 | 51808 | 55953 | 58035 | 45826 | 48447 | 45822 | 17178 | 16801 | 14771 | 3124 | 3200 | 3300 | 3622 | 3717 | 3857 | 5538 | 5843 | 6086 | 3257 | 3280 | 3224 | 9925 | 10245 | 10634 | 19725 | 20573 | 22149 | 53139 | 55597 | 57246 | 18327 | 17651 | 15720 | 11388 | 11674 | 11642 | 21027 | 21918 | 23429 | 36718 | 41235 | 41516 | 13611 | 13343 | 12550 | 27742 | 27697 | 27389 | 36374 | 39983 | 41277 | 40073 | 42888 | 43998 | 14883 | 14880 | 14154 | 54865 | 57800 | 58480 | 73646 | 71886 | 79076 | 55993 | 60392 | 61830 | 24561 | 24909 | 24170 |  | 11117 | 11329 | 11168 | 29775 | 31449 | 32684 | 61970 | 60850 | 61223 | 328
26 | 29384.445 | 37.1 |  | 35570 | 33227 | 33694 | 3104 | 3112 | 3358 | 9416 | 9776 | 9904 | 2407 |  | 40040 | 39236 | 39983 | 50484 | 54399 | 56632 | 45321 | 47952 | 45144 | 17116 | 16431 | 14612 | 3086 | 3198 | 3266 | 3585 | 3681 | 3790 | 5482 | 5756 | 6049 | 3240 | 3264 | 3119 | 9929 | 10423 | 10614 | 19771 | 20321 | 22076 | 52098 | 54909 | 57873 | 17930 | 17457 | 15621 | 11297 | 11531 | 11501 | 20248 | 20955 | 22602 | 37616 | 41837 | 41639 | 13342 | 13388 | 12556 | 26775 | 27502 | 27061 | 35927 | 40880 | 41425 | 39776 | 44474 | 44548 | 14841 | 14415 | 14162 | 54525 | 57493 | 56013 | 72397 | 71421 | 78845 | 56042 | 61168 | 62350 | 24601 | 24546 | 23919 |  | 11309 | 11348 | 11183 | 29713 | 31001 | 32413 | 60450 | 60367 | 60452 | 339
27 | 30559.215 | 37 |  | 34671 | 32789 | 32801 | 3109 | 3072 | 3316 | 9210 | 9615 | 9711 | 2469 |  | 38662 | 38137 | 38908 | 49127 | 53279 | 55716 | 44535 | 47853 | 45193 | 16801 | 16442 | 14330 | 3067 | 3168 | 3296 | 3606 | 3692 | 3799 | 5436 | 5696 | 5981 | 3223 | 3286 | 3075 | 9864 | 10065 | 10518 | 19458 | 19982 | 21238 | 51048 | 53792 | 56387 | 17447 | 17113 | 15331 | 11093 | 11287 | 11320 | 19977 | 21197 | 22475 | 36457 | 40646 | 41088 | 13340 | 13216 | 12370 | 26781 | 27378 | 26785 | 36425 | 40261 | 40889 | 40571 | 43439 | 44166 | 14784 | 14443 | 13834 | 53434 | 56614 | 56081 | 70490 | 69825 | 77366 | 54858 | 59272 | 60191 | 24105 | 24423 | 23674 |  | 10933 | 10969 | 11338 | 29807 | 30403 | 31772 | 59760 | 59400 | 59618 | 333
28 | 31734.084 | 37 |  | 33915 | 32406 | 32896 | 3070 | 3060 | 3329 | 9140 | 9496 | 9611 | 2445 |  | 38208 | 37661 | 38224 | 49177 | 52712 | 54718 | 43994 | 47613 | 44748 | 16321 | 16159 | 14072 | 3112 | 3152 | 3273 | 3644 | 3724 | 3844 | 5425 | 5667 | 5938 | 3182 | 3243 | 3154 | 9513 | 10045 | 10296 | 18768 | 19734 | 21185 | 50610 | 53537 | 56146 | 17543 | 16656 | 15223 | 10943 | 11397 | 11646 | 20407 | 21457 | 22183 | 36836 | 40304 | 40443 | 13203 | 12840 | 12354 | 26054 | 26604 | 26483 | 34799 | 38138 | 40426 | 39569 | 43292 | 42935 | 14754 | 14005 | 13951 | 52547 | 55126 | 54290 | 69412 | 68137 | 76393 | 53855 | 58618 | 59646 | 23732 | 23990 | 22825 |  | 10796 | 10987 | 11060 | 28690 | 29879 | 31088 | 58999 | 57957 | 58192 | 332
29 | 32909.768 | 37.1 |  | 33280 | 32021 | 32407 | 3057 | 3053 | 3280 | 8954 | 9445 | 9516 | 2430 |  | 37314 | 36644 | 37127 | 47560 | 50958 | 52676 | 42819 | 45741 | 43088 | 15950 | 16119 | 13649 | 3076 | 3159 | 3319 | 3561 | 3612 | 3753 | 5349 | 5662 | 5892 | 3226 | 3245 | 3127 | 9370 | 9739 | 10237 | 18643 | 19328 | 20740 | 50035 | 52442 | 54936 | 17465 | 16606 | 15120 | 10652 | 11010 | 11298 | 19647 | 20299 | 21470 | 35562 | 40045 | 40943 | 12964 | 12686 | 12123 | 25751 | 26451 | 26228 | 34925 | 38980 | 39515 | 38998 | 41991 | 42876 | 14205 | 13387 | 13662 | 51653 | 53834 | 53644 | 68763 | 67496 | 75696 | 53341 | 57260 | 58615 | 23608 | 23829 | 23207 |  | 10833 | 10760 | 10756 | 28635 | 29549 | 30998 | 58152 | 58198 | 58888 | 340
30 | 34084.642 | 37.1 |  | 32570 | 31401 | 32211 | 3052 | 3014 | 3291 | 8929 | 9413 | 9581 | 2450 |  | 36253 | 35928 | 36646 | 47165 | 50409 | 52688 | 43180 | 45943 | 43368 | 15900 | 15761 | 13574 | 3052 | 3191 | 3247 | 3578 | 3679 | 3756 | 5407 | 5641 | 5895 | 3204 | 3199 | 3073 | 9398 | 9689 | 10037 | 18310 | 18772 | 20207 | 49462 | 52189 | 54411 | 17005 | 16196 | 14892 | 10588 | 10930 | 11240 | 19593 | 20050 | 21231 | 35159 | 39640 | 39600 | 12778 | 12800 | 12120 | 24967 | 25479 | 25409 | 33247 | 37129 | 37877 | 38338 | 40577 | 41853 | 14097 | 14282 | 13558 | 51715 | 53767 | 53537 | 68503 | 66983 | 74427 | 52882 | 56906 | 58062 | 23142 | 23493 | 23084 |  | 10608 | 10491 | 10506 | 28000 | 28971 | 30170 | 57180 | 57084 | 57462 | 348
31 | 35260.34 | 37 |  | 32261 | 31093 | 31565 | 3112 | 3068 | 3317 | 8956 | 9322 | 9451 | 2489 |  | 35959 | 35996 | 36850 | 46863 | 50180 | 51428 | 42061 | 44667 | 42598 | 15549 | 15521 | 13316 | 3016 | 3173 | 3238 | 3547 | 3603 | 3788 | 5395 | 5585 | 5891 | 3277 | 3194 | 3112 | 8969 | 9566 | 9984 | 18481 | 19085 | 20630 | 49575 | 51868 | 54310 | 17132 | 16486 | 14787 | 10548 | 10992 | 11171 | 19707 | 20269 | 21458 | 35529 | 40380 | 40585 | 12929 | 12762 | 12146 | 24618 | 25548 | 25953 | 33874 | 37768 | 38908 | 38448 | 41509 | 42215 | 14071 | 13740 | 13360 | 50019 | 53324 | 53251 | 68805 | 67545 | 77151 | 54347 | 58958 | 59284 | 23858 | 23516 | 22696 |  | 10337 | 10444 | 10509 | 27587 | 29016 | 29518 | 57078 | 56564 | 56438 | 332
32 | 36435.104 | 37 |  | 31923 | 30768 | 30652 | 3018 | 3039 | 3311 | 8762 | 9274 | 9365 | 2473 |  | 35219 | 36047 | 35906 | 45707 | 48573 | 50163 | 41095 | 44085 | 41643 | 15126 | 14864 | 13089 | 3023 | 3182 | 3290 | 3564 | 3619 | 3793 | 5352 | 5614 | 5780 | 3209 | 3241 | 3114 | 9073 | 9502 | 9769 | 17697 | 18433 | 20259 | 49191 | 50985 | 53665 | 17018 | 16509 | 14722 | 10180 | 10633 | 10926 | 19614 | 19921 | 20707 | 34901 | 39145 | 39283 | 12599 | 12285 | 11680 | 24253 | 25076 | 24710 | 32524 | 35913 | 37306 | 37199 | 39989 | 40727 | 13797 | 13556 | 13310 | 49738 | 52860 | 53709 | 67355 | 66248 | 75051 | 51675 | 56586 | 57295 | 23132 | 23438 | 22677 |  | 10322 | 10374 | 10296 | 26839 | 28977 | 29345 | 56197 | 55706 | 55892 | 329
33 | 37610.672 | 36.9 |  | 31294 | 30129 | 30593 | 3084 | 3012 | 3249 | 8708 | 9118 | 9277 | 2393 |  | 35305 | 34919 | 35072 | 44851 | 47620 | 49933 | 40723 | 43681 | 41153 | 15084 | 14761 | 12839 | 3035 | 3130 | 3282 | 3529 | 3628 | 3767 | 5396 | 5489 | 5730 | 3164 | 3226 | 3071 | 8957 | 9254 | 9747 | 17750 | 18162 | 19563 | 48292 | 50280 | 52205 | 16950 | 15854 | 14564 | 10257 | 10509 | 10686 | 18566 | 19418 | 20245 | 34723 | 38767 | 38318 | 12479 | 12389 | 11697 | 24164 | 24723 | 24574 | 32570 | 36060 | 36652 | 36814 | 39543 | 40401 | 13648 | 13291 | 13003 | 49345 | 52930 | 52734 | 67323 | 65396 | 75398 | 51809 | 55904 | 57440 | 23197 | 23208 | 22365 |  | 10262 | 10289 | 10279 | 27525 | 28674 | 29095 | 56184 | 55597 | 55281 | 334
34 | 38786.349 | 37 |  | 30643 | 29598 | 30262 | 3107 | 3007 | 3317 | 8694 | 9052 | 9091 | 2393 |  | 34712 | 34491 | 34627 | 44147 | 47513 | 49498 | 40492 | 43322 | 41119 | 14864 | 14507 | 12637 | 3004 | 3136 | 3253 | 3569 | 3616 | 3696 | 5349 | 5493 | 5762 | 3194 | 3190 | 3109 | 8860 | 9287 | 9627 | 17667 | 18164 | 19692 | 47806 | 50214 | 51929 | 16400 | 15725 | 14243 | 9968 | 10361 | 10658 | 18520 | 19610 | 20266 | 33646 | 37462 | 37116 | 12297 | 12234 | 11467 | 23683 | 24594 | 24236 | 31717 | 35725 | 36915 | 36650 | 39506 | 40578 | 13651 | 13526 | 12915 | 48237 | 51424 | 51705 | 67088 | 64912 | 71664 | 50663 | 54736 | 56052 | 22747 | 22764 | 22494 |  | 10125 | 10171 | 10141 | 26357 | 27574 | 27989 | 54881 | 54212 | 54223 | 346
35 | 39961.215 | 37.1 |  | 30341 | 29276 | 29520 | 3052 | 3022 | 3284 | 8489 | 8834 | 8997 | 2420 |  | 33832 | 33649 | 33542 | 43834 | 46778 | 48690 | 39866 | 42804 | 40553 | 14665 | 14554 | 12524 | 2982 | 3187 | 3352 | 3506 | 3594 | 3715 | 5329 | 5535 | 5680 | 3152 | 3240 | 3124 | 8807 | 9117 | 9534 | 17138 | 17780 | 19498 | 47749 | 49945 | 51824 | 16492 | 15767 | 14382 | 9814 | 10289 | 10431 | 18288 | 19088 | 19941 | 33822 | 37302 | 37740 | 12406 | 12382 | 11620 | 23620 | 24124 | 24152 | 32413 | 35213 | 36939 | 36966 | 39642 | 39745 | 13529 | 13443 | 13011 | 47347 | 51051 | 50776 | 65256 | 64225 | 71312 | 50373 | 54833 | 56159 | 22745 | 22900 | 22122 |  | 9902 | 9798 | 9943 | 26109 | 27041 | 28074 | 54306 | 54145 | 53603 | 336
36 | 41136.913 | 37.1 |  | 30102 | 28660 | 29043 | 3001 | 2983 | 3234 | 8347 | 8713 | 8883 | 2406 |  | 33604 | 33663 | 33585 | 43093 | 45639 | 47986 | 39422 | 41684 | 39570 | 14163 | 14551 | 12272 | 2953 | 3154 | 3317 | 3593 | 3675 | 3769 | 5355 | 5610 | 5803 | 3207 | 3272 | 3105 | 8557 | 9100 | 9272 | 17195 | 17877 | 19233 | 46677 | 48948 | 51515 | 16154 | 15749 | 14183 | 9628 | 10301 | 10359 | 18024 | 19022 | 19629 | 34008 | 37023 | 37024 | 12062 | 11977 | 11488 | 23456 | 23972 | 23953 | 31950 | 35468 | 36593 | 36583 | 39564 | 40008 | 13480 | 13250 | 12944 | 46838 | 51007 | 51288 | 64470 | 61898 | 69813 | 50170 | 54024 | 55064 | 22554 | 22565 | 21919 |  | 9901 | 9785 | 9927 | 25818 | 26886 | 27512 | 53466 | 53010 | 53522 | 345
End Time |  |  | A2: 2018-12-06 10:06:18
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12