## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-09
Time: |  |  |  | 5:50 PM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-09 11:18:28
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-09 11:18:24
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36 |  | 0.1011 | 0.0999 | 0.1009 | 0.1017 | 0.1001 | 0.0995 | 0.1011 | 0.1007 | 0.1002 | 0.0972 |  | 0.1017 | 0.1004 | 0.1014 | 0.1008 | 0.101 | 0.1016 | 0.0996 | 0.1017 | 0.1017 | 0.0999 | 0.1001 | 0.0983 | 0.0992 | 0.0998 | 0.1007 | 0.0982 | 0.0998 | 0.0989 | 0.0993 | 0.1008 | 0.0989 | 0.0999 | 0.0998 | 0.1004 | 0.1012 | 0.1005 | 0.1005 | 0.1008 | 0.1006 | 0.1 | 0.1001 | 0.1014 | 0.0989 | 0.1029 | 0.1014 | 0.1064 | 0.0992 | 0.1001 | 0.0985 | 0.0998 | 0.0989 | 0.0991 | 0.0994 | 0.0999 | 0.0997 | 0.0994 | 0.1 | 0.0994 | 0.1005 | 0.1003 | 0.0989 | 0.1002 | 0.1 | 0.1 | 0.1002 | 0.0996 | 0.1006 | 0.0997 | 0.103 | 0.099 | 0.0993 | 0.1005 | 0.0986 | 0.0994 | 0.0984 | 0.0994 | 0.0994 | 0.0981 | 0.0986 | 0.1022 | 0.1046 | 0.1015 |  | 0.1007 | 0.1021 | 0.1014 | 0.1006 | 0.1005 | 0.1001 | 0.1026 | 0.1014 | 0.1006 | 0.1319
2 | 1175.651 | 36.9 |  | 0.1001 | 0.1022 | 0.1003 | 0.1002 | 0.1006 | 0.0999 | 0.1013 | 0.1013 | 0.1008 | 0.0974 |  | 0.1019 | 0.1009 | 0.1022 | 0.1015 | 0.1011 | 0.1016 | 0.1006 | 0.1024 | 0.1013 | 0.101 | 0.1026 | 0.0986 | 0.1009 | 0.1003 | 0.1023 | 0.1004 | 0.1013 | 0.101 | 0.1023 | 0.1023 | 0.1019 | 0.1024 | 0.1023 | 0.1024 | 0.1013 | 0.1015 | 0.103 | 0.1021 | 0.1024 | 0.1013 | 0.1024 | 0.1033 | 0.1015 | 0.1058 | 0.1039 | 0.1049 | 0.0977 | 0.1001 | 0.099 | 0.1 | 0.0999 | 0.1 | 0.1004 | 0.101 | 0.1003 | 0.1007 | 0.1006 | 0.0995 | 0.1003 | 0.1017 | 0.1015 | 0.1015 | 0.1016 | 0.1006 | 0.1017 | 0.1012 | 0.1023 | 0.1008 | 0.1031 | 0.1007 | 0.0987 | 0.1031 | 0.1017 | 0.1012 | 0.1019 | 0.1035 | 0.103 | 0.1016 | 0.1015 | 0.1031 | 0.1027 | 0.102 |  | 0.1003 | 0.1018 | 0.1013 | 0.101 | 0.1015 | 0.0998 | 0.1042 | 0.1031 | 0.1042 | 0.0856
3 | 2350.523 | 36.9 |  | 0.1009 | 0.1024 | 0.1006 | 0.1019 | 0.102 | 0.1018 | 0.1028 | 0.1026 | 0.1023 | 0.0971 |  | 0.1027 | 0.1017 | 0.1034 | 0.1034 | 0.1023 | 0.1023 | 0.1007 | 0.1028 | 0.1026 | 0.1012 | 0.102 | 0.098 | 0.1029 | 0.1025 | 0.1045 | 0.1018 | 0.1031 | 0.1026 | 0.1039 | 0.1039 | 0.1034 | 0.1039 | 0.1039 | 0.1038 | 0.1031 | 0.1037 | 0.1049 | 0.1034 | 0.1043 | 0.1035 | 0.1037 | 0.1052 | 0.1035 | 0.1069 | 0.104 | 0.1058 | 0.1009 | 0.1023 | 0.0996 | 0.1009 | 0.1011 | 0.1012 | 0.1021 | 0.1024 | 0.1016 | 0.1016 | 0.1029 | 0.0997 | 0.1028 | 0.1032 | 0.1027 | 0.1024 | 0.1037 | 0.1022 | 0.1018 | 0.1021 | 0.1021 | 0.1026 | 0.1038 | 0.1009 | 0.1022 | 0.1057 | 0.1038 | 0.1035 | 0.1049 | 0.1066 | 0.1065 | 0.1049 | 0.1044 | 0.1056 | 0.1053 | 0.105 |  | 0.1027 | 0.1036 | 0.1028 | 0.103 | 0.1033 | 0.1005 | 0.1066 | 0.1052 | 0.1052 | 0.0864
4 | 3526.223 | 37.1 |  | 0.1015 | 0.1041 | 0.1019 | 0.1059 | 0.1064 | 0.1061 | 0.1057 | 0.1061 | 0.1052 | 0.0972 |  | 0.1041 | 0.1021 | 0.1037 | 0.1029 | 0.1027 | 0.1027 | 0.1013 | 0.1043 | 0.1026 | 0.1034 | 0.1033 | 0.0985 | 0.107 | 0.1057 | 0.1079 | 0.1053 | 0.1069 | 0.1064 | 0.1076 | 0.1081 | 0.1066 | 0.1071 | 0.1068 | 0.107 | 0.105 | 0.106 | 0.1075 | 0.106 | 0.1066 | 0.1054 | 0.1067 | 0.1076 | 0.1052 | 0.1093 | 0.1075 | 0.1084 | 0.1023 | 0.1053 | 0.103 | 0.1055 | 0.1046 | 0.1052 | 0.1056 | 0.1053 | 0.1047 | 0.1046 | 0.105 | 0.1037 | 0.1046 | 0.1052 | 0.1048 | 0.1035 | 0.1058 | 0.1043 | 0.1043 | 0.1043 | 0.1043 | 0.104 | 0.1065 | 0.1033 | 0.111 | 0.1115 | 0.1098 | 0.1083 | 0.1108 | 0.1131 | 0.1126 | 0.1102 | 0.1092 | 0.1098 | 0.1091 | 0.1092 |  | 0.104 | 0.1057 | 0.1055 | 0.1051 | 0.1052 | 0.1031 | 0.1114 | 0.1099 | 0.11 | 0.087
5 | 4701.112 | 37 |  | 0.1039 | 0.1058 | 0.1039 | 0.1145 | 0.1135 | 0.1137 | 0.1111 | 0.1118 | 0.1112 | 0.0972 |  | 0.1059 | 0.1048 | 0.1058 | 0.1053 | 0.1046 | 0.1043 | 0.1036 | 0.1063 | 0.1035 | 0.1034 | 0.1053 | 0.1002 | 0.114 | 0.1134 | 0.1156 | 0.1131 | 0.1136 | 0.1128 | 0.1139 | 0.1148 | 0.1124 | 0.1118 | 0.1113 | 0.1115 | 0.1102 | 0.113 | 0.1134 | 0.1117 | 0.1124 | 0.1102 | 0.1118 | 0.1128 | 0.1106 | 0.1124 | 0.1115 | 0.1121 | 0.1068 | 0.1116 | 0.1084 | 0.1123 | 0.1108 | 0.1114 | 0.1112 | 0.1102 | 0.1098 | 0.1088 | 0.1092 | 0.1069 | 0.1088 | 0.1104 | 0.1093 | 0.1073 | 0.1107 | 0.1091 | 0.1087 | 0.1081 | 0.1082 | 0.107 | 0.1107 | 0.1063 | 0.1211 | 0.1217 | 0.119 | 0.1168 | 0.1207 | 0.1241 | 0.1221 | 0.1195 | 0.118 | 0.1163 | 0.1161 | 0.1156 |  | 0.1083 | 0.1101 | 0.1102 | 0.1089 | 0.1092 | 0.107 | 0.119 | 0.118 | 0.1173 | 0.0866
6 | 5875.982 | 37 |  | 0.1087 | 0.1107 | 0.1084 | 0.13 | 0.1262 | 0.1272 | 0.1215 | 0.1222 | 0.1223 | 0.0966 |  | 0.1105 | 0.109 | 0.1089 | 0.1087 | 0.1081 | 0.1084 | 0.1064 | 0.1081 | 0.1068 | 0.1059 | 0.1065 | 0.1035 | 0.129 | 0.1272 | 0.129 | 0.1255 | 0.126 | 0.1251 | 0.1256 | 0.1252 | 0.1234 | 0.1185 | 0.1185 | 0.1184 | 0.12 | 0.126 | 0.1239 | 0.1223 | 0.1236 | 0.1209 | 0.1195 | 0.1217 | 0.1188 | 0.1188 | 0.1168 | 0.1187 | 0.1163 | 0.1248 | 0.1176 | 0.1242 | 0.1223 | 0.1237 | 0.1214 | 0.1196 | 0.1189 | 0.1151 | 0.1157 | 0.1273 | 0.1168 | 0.1194 | 0.1171 | 0.1144 | 0.1198 | 0.1174 | 0.1154 | 0.114 | 0.1155 | 0.1107 | 0.1146 | 0.1122 | 0.132 | 0.1406 | 0.136 | 0.1314 | 0.1384 | 0.1426 | 0.1379 | 0.1342 | 0.1308 | 0.1256 | 0.1248 | 0.1247 |  | 0.117 | 0.1182 | 0.118 | 0.116 | 0.1178 | 0.1143 | 0.1331 | 0.132 | 0.1317 | 0.0864
7 | 7051.673 | 37 |  | 0.1134 | 0.1154 | 0.1131 | 0.1447 | 0.1414 | 0.1448 | 0.1351 | 0.1371 | 0.1379 | 0.0974 |  | 0.113 | 0.112 | 0.1124 | 0.1115 | 0.1118 | 0.1125 | 0.1092 | 0.1144 | 0.1098 | 0.107 | 0.1091 | 0.1056 | 0.1417 | 0.1433 | 0.1422 | 0.139 | 0.1401 | 0.1384 | 0.1374 | 0.1397 | 0.1374 | 0.1252 | 0.1273 | 0.1271 | 0.1276 | 0.1388 | 0.1321 | 0.1331 | 0.1362 | 0.1297 | 0.1328 | 0.1326 | 0.1314 | 0.1244 | 0.126 | 0.1275 | 0.126 | 0.1378 | 0.128 | 0.1398 | 0.1374 | 0.1387 | 0.1347 | 0.1328 | 0.133 | 0.123 | 0.1247 | 0.1187 | 0.125 | 0.1297 | 0.125 | 0.1229 | 0.1327 | 0.1294 | 0.1262 | 0.1238 | 0.1259 | 0.1184 | 0.1223 | 0.1184 | 0.1516 | 0.167 | 0.159 | 0.1522 | 0.165 | 0.1734 | 0.1631 | 0.1584 | 0.1547 | 0.1376 | 0.1384 | 0.1379 |  | 0.1286 | 0.1313 | 0.132 | 0.1289 | 0.1299 | 0.1276 | 0.1587 | 0.1588 | 0.1552 | 0.0864
8 | 8226.442 | 37 |  | 0.1331 | 0.1322 | 0.1298 | 0.1957 | 0.1854 | 0.1922 | 0.1667 | 0.1708 | 0.1725 | 0.0973 |  | 0.1323 | 0.1275 | 0.1273 | 0.1255 | 0.1251 | 0.1238 | 0.119 | 0.1213 | 0.119 | 0.1136 | 0.1145 | 0.1111 | 0.1924 | 0.1979 | 0.1945 | 0.1869 | 0.1791 | 0.178 | 0.172 | 0.1754 | 0.1693 | 0.1433 | 0.1477 | 0.1476 | 0.1617 | 0.1852 | 0.1658 | 0.1685 | 0.173 | 0.1596 | 0.1611 | 0.1588 | 0.1602 | 0.1399 | 0.1451 | 0.1446 | 0.1602 | 0.185 | 0.1636 | 0.1843 | 0.1767 | 0.1787 | 0.1679 | 0.1619 | 0.1619 | 0.1408 | 0.1427 | 0.1344 | 0.1507 | 0.1645 | 0.1524 | 0.1491 | 0.1645 | 0.1591 | 0.1491 | 0.1441 | 0.1486 | 0.1322 | 0.1377 | 0.1331 | 0.2268 | 0.2389 | 0.222 | 0.2059 | 0.2288 | 0.2441 | 0.2196 | 0.2131 | 0.2067 | 0.1685 | 0.1703 | 0.1688 |  | 0.1573 | 0.1606 | 0.163 | 0.1564 | 0.1571 | 0.1543 | 0.208 | 0.2115 | 0.2028 | 0.0862
9 | 9401.307 | 37.1 |  | 0.1637 | 0.1641 | 0.1574 | 0.2851 | 0.2631 | 0.2715 | 0.227 | 0.2318 | 0.2378 | 0.0971 |  | 0.1601 | 0.1535 | 0.1511 | 0.1453 | 0.1459 | 0.1446 | 0.1321 | 0.1351 | 0.132 | 0.1222 | 0.1219 | 0.1189 | 0.2759 | 0.2851 | 0.2739 | 0.2656 | 0.2549 | 0.252 | 0.2341 | 0.2378 | 0.2264 | 0.1739 | 0.1805 | 0.1806 | 0.2194 | 0.2605 | 0.2301 | 0.232 | 0.2379 | 0.2133 | 0.2107 | 0.2032 | 0.2077 | 0.1641 | 0.1728 | 0.1743 | 0.2158 | 0.2582 | 0.2233 | 0.2619 | 0.2473 | 0.251 | 0.2259 | 0.2151 | 0.2139 | 0.1708 | 0.1734 | 0.1599 | 0.2033 | 0.2268 | 0.2064 | 0.1958 | 0.2256 | 0.2135 | 0.1908 | 0.1801 | 0.1884 | 0.1549 | 0.1638 | 0.1578 | 0.3012 | 0.347 | 0.323 | 0.296 | 0.3324 | 0.3551 | 0.3117 | 0.2996 | 0.2894 | 0.2164 | 0.219 | 0.2184 |  | 0.2121 | 0.217 | 0.2194 | 0.2061 | 0.2084 | 0.2024 | 0.29 | 0.2974 | 0.2823 | 0.0853
10 | 10577.001 | 36.9 |  | 0.219 | 0.2196 | 0.2044 | 0.3984 | 0.3772 | 0.3811 | 0.3238 | 0.3313 | 0.3386 | 0.0968 |  | 0.2035 | 0.1972 | 0.1907 | 0.1813 | 0.1815 | 0.1798 | 0.157 | 0.1595 | 0.1549 | 0.1348 | 0.1337 | 0.1346 | 0.3955 | 0.395 | 0.3846 | 0.3774 | 0.3737 | 0.3638 | 0.3297 | 0.3389 | 0.3217 | 0.2231 | 0.2354 | 0.238 | 0.3046 | 0.3703 | 0.3323 | 0.3304 | 0.3399 | 0.3001 | 0.2926 | 0.2805 | 0.2894 | 0.2049 | 0.2236 | 0.2226 | 0.312 | 0.3714 | 0.3195 | 0.3743 | 0.3554 | 0.3588 | 0.3153 | 0.2975 | 0.2977 | 0.2186 | 0.2194 | 0.1981 | 0.2807 | 0.3223 | 0.2914 | 0.2745 | 0.3212 | 0.3057 | 0.2669 | 0.2463 | 0.2589 | 0.1907 | 0.2062 | 0.1958 | 0.4196 | 0.4789 | 0.4404 | 0.4074 | 0.4541 | 0.4764 | 0.4271 | 0.4187 | 0.4081 | 0.2858 | 0.2931 | 0.2939 |  | 0.2868 | 0.2986 | 0.3053 | 0.2797 | 0.2835 | 0.2724 | 0.388 | 0.3948 | 0.3835 | 0.0866
11 | 11751.79 | 37.1 |  | 0.2683 | 0.2774 | 0.26 | 0.4751 | 0.4591 | 0.4746 | 0.4212 | 0.4318 | 0.4415 | 0.0974 |  | 0.2475 | 0.2494 | 0.2335 | 0.2291 | 0.2272 | 0.2207 | 0.1915 | 0.1897 | 0.1867 | 0.1498 | 0.1506 | 0.1515 | 0.4709 | 0.4763 | 0.465 | 0.4538 | 0.4473 | 0.4431 | 0.4111 | 0.425 | 0.4109 | 0.2751 | 0.298 | 0.3022 | 0.3902 | 0.4559 | 0.4049 | 0.4186 | 0.4304 | 0.3919 | 0.3878 | 0.3747 | 0.3898 | 0.2525 | 0.2864 | 0.2881 | 0.4013 | 0.4598 | 0.4059 | 0.4661 | 0.4466 | 0.4525 | 0.4097 | 0.3989 | 0.3976 | 0.2777 | 0.2831 | 0.2583 | 0.3585 | 0.4034 | 0.3584 | 0.3525 | 0.4108 | 0.3969 | 0.3561 | 0.33 | 0.3539 | 0.2499 | 0.2625 | 0.2556 | 0.5273 | 0.5551 | 0.5372 | 0.5049 | 0.538 | 0.5646 | 0.5183 | 0.514 | 0.508 | 0.3613 | 0.3705 | 0.3724 |  | 0.3959 | 0.4051 | 0.4117 | 0.3894 | 0.389 | 0.3859 | 0.5124 | 0.5222 | 0.5035 | 0.0858
12 | 12926.666 | 36.9 |  | 0.3994 | 0.4043 | 0.3884 | 0.6027 | 0.5842 | 0.5947 | 0.5353 | 0.5477 | 0.5601 | 0.0969 |  | 0.3783 | 0.3788 | 0.3569 | 0.3503 | 0.3417 | 0.3209 | 0.2704 | 0.264 | 0.2594 | 0.1874 | 0.1879 | 0.1935 | 0.6116 | 0.6168 | 0.6141 | 0.6003 | 0.568 | 0.5771 | 0.5413 | 0.5495 | 0.5285 | 0.3646 | 0.397 | 0.4024 | 0.5274 | 0.5861 | 0.5332 | 0.5441 | 0.553 | 0.5169 | 0.5059 | 0.4845 | 0.5069 | 0.3343 | 0.384 | 0.3834 | 0.5478 | 0.5908 | 0.5531 | 0.601 | 0.585 | 0.5901 | 0.5454 | 0.5286 | 0.5288 | 0.3824 | 0.3888 | 0.3584 | 0.5073 | 0.5428 | 0.5018 | 0.4888 | 0.5375 | 0.5237 | 0.4725 | 0.4458 | 0.4729 | 0.3319 | 0.3564 | 0.349 | 0.6643 | 0.6909 | 0.6661 | 0.639 | 0.6637 | 0.6856 | 0.6312 | 0.6231 | 0.6189 | 0.4687 | 0.4766 | 0.4813 |  | 0.5278 | 0.5326 | 0.5368 | 0.5116 | 0.517 | 0.5067 | 0.6361 | 0.6414 | 0.6225 | 0.0858
13 | 14105.451 | 37 |  | 0.5322 | 0.5438 | 0.5304 | 0.701 | 0.6811 | 0.6879 | 0.6417 | 0.6504 | 0.6623 | 0.0973 |  | 0.5025 | 0.5072 | 0.481 | 0.4747 | 0.4678 | 0.4523 | 0.3891 | 0.3785 | 0.3722 | 0.2474 | 0.248 | 0.2513 | 0.7111 | 0.7237 | 0.6996 | 0.6917 | 0.6684 | 0.6829 | 0.6433 | 0.6479 | 0.6265 | 0.4551 | 0.4848 | 0.4871 | 0.628 | 0.6761 | 0.6445 | 0.6533 | 0.6576 | 0.6306 | 0.6106 | 0.5883 | 0.6042 | 0.4225 | 0.473 | 0.4773 | 0.6613 | 0.7036 | 0.6523 | 0.6963 | 0.6781 | 0.6859 | 0.6366 | 0.6218 | 0.6175 | 0.4713 | 0.4719 | 0.4415 | 0.6074 | 0.6439 | 0.6105 | 0.5993 | 0.641 | 0.6294 | 0.5749 | 0.5511 | 0.5735 | 0.4258 | 0.4477 | 0.4379 | 0.7624 | 0.7739 | 0.7524 | 0.7275 | 0.7412 | 0.7586 | 0.7116 | 0.7034 | 0.6994 | 0.5508 | 0.5539 | 0.5532 |  | 0.6292 | 0.6358 | 0.6429 | 0.6246 | 0.6253 | 0.6113 | 0.7178 | 0.7209 | 0.7049 | 0.0862
14 | 15280.192 | 36.9 |  | 0.6194 | 0.6338 | 0.6237 | 0.7876 | 0.7529 | 0.7721 | 0.7191 | 0.7173 | 0.7298 | 0.0974 |  | 0.606 | 0.6098 | 0.5778 | 0.5691 | 0.5693 | 0.5597 | 0.4913 | 0.4884 | 0.479 | 0.3229 | 0.321 | 0.3317 | 0.8021 | 0.8011 | 0.8081 | 0.7793 | 0.7448 | 0.756 | 0.725 | 0.7237 | 0.7063 | 0.5309 | 0.558 | 0.5606 | 0.7034 | 0.761 | 0.7258 | 0.7232 | 0.726 | 0.7111 | 0.6868 | 0.6722 | 0.6801 | 0.498 | 0.5502 | 0.5505 | 0.7691 | 0.7864 | 0.7413 | 0.7833 | 0.7564 | 0.7599 | 0.7171 | 0.7015 | 0.7019 | 0.5465 | 0.5453 | 0.5232 | 0.6984 | 0.7236 | 0.7016 | 0.6883 | 0.713 | 0.7064 | 0.658 | 0.6394 | 0.6577 | 0.506 | 0.5203 | 0.5248 | 0.8418 | 0.8314 | 0.8078 | 0.7882 | 0.8001 | 0.8187 | 0.7782 | 0.7746 | 0.7766 | 0.6209 | 0.6202 | 0.6191 |  | 0.715 | 0.7167 | 0.7258 | 0.7136 | 0.7115 | 0.6953 | 0.7806 | 0.7856 | 0.7576 | 0.0864
15 | 16455.067 | 37.1 |  | 0.7054 | 0.7192 | 0.7071 | 0.8447 | 0.8395 | 0.8461 | 0.7846 | 0.7947 | 0.7967 | 0.0972 |  | 0.7201 | 0.7088 | 0.6786 | 0.6724 | 0.672 | 0.6614 | 0.5865 | 0.5834 | 0.574 | 0.4105 | 0.412 | 0.4339 | 0.899 | 0.8817 | 0.8889 | 0.8524 | 0.8067 | 0.8268 | 0.792 | 0.7827 | 0.7524 | 0.5934 | 0.6265 | 0.6324 | 0.792 | 0.8552 | 0.7799 | 0.7896 | 0.7834 | 0.7612 | 0.7443 | 0.7215 | 0.7407 | 0.5607 | 0.6093 | 0.6215 | 0.8987 | 0.8721 | 0.8621 | 0.8539 | 0.8267 | 0.8369 | 0.7873 | 0.7809 | 0.7586 | 0.6059 | 0.6106 | 0.5969 | 0.784 | 0.8263 | 0.7676 | 0.7482 | 0.7665 | 0.7779 | 0.7234 | 0.6995 | 0.7226 | 0.5659 | 0.5744 | 0.5953 | 0.9435 | 0.8824 | 0.8528 | 0.8644 | 0.8484 | 0.8507 | 0.8107 | 0.8061 | 0.8126 | 0.6551 | 0.6633 | 0.6675 |  | 0.8253 | 0.8279 | 0.8223 | 0.8059 | 0.7871 | 0.7846 | 0.8288 | 0.8353 | 0.7801 | 0.0859
16 | 17630.747 | 37.1 |  | 0.6811 | 0.702 | 0.6977 | 0.8163 | 0.8101 | 0.82 | 0.781 | 0.7966 | 0.7918 | 0.0972 |  | 0.7012 | 0.6954 | 0.6856 | 0.6814 | 0.6934 | 0.7223 | 0.6467 | 0.6549 | 0.6448 | 0.486 | 0.4804 | 0.5 | 0.8264 | 0.7957 | 0.8036 | 0.8016 | 0.7859 | 0.7749 | 0.7626 | 0.7711 | 0.7561 | 0.6115 | 0.6388 | 0.6521 | 0.7598 | 0.7822 | 0.7237 | 0.7188 | 0.7323 | 0.7292 | 0.7269 | 0.7207 | 0.7584 | 0.5623 | 0.6419 | 0.6453 | 0.834 | 0.7989 | 0.7767 | 0.7933 | 0.8008 | 0.7812 | 0.7784 | 0.7898 | 0.7782 | 0.6395 | 0.6392 | 0.6439 | 0.759 | 0.7566 | 0.7214 | 0.7161 | 0.7221 | 0.7605 | 0.72 | 0.7158 | 0.7492 | 0.6008 | 0.6145 | 0.6474 | 0.8675 | 0.788 | 0.7648 | 0.7967 | 0.7692 | 0.7919 | 0.7836 | 0.7934 | 0.819 | 0.6775 | 0.6927 | 0.6925 |  | 0.8038 | 0.7959 | 0.8072 | 0.8028 | 0.7951 | 0.8027 | 0.8231 | 0.8453 | 0.7831 | 0.0863
17 | 18805.52 | 37.2 |  | 0.7523 | 0.7796 | 0.802 | 0.845 | 0.8533 | 0.8608 | 0.8102 | 0.8234 | 0.8121 | 0.0971 |  | 0.7737 | 0.7833 | 0.754 | 0.7835 | 0.7666 | 0.7718 | 0.7315 | 0.7208 | 0.7159 | 0.5694 | 0.5534 | 0.5762 | 0.9187 | 0.8882 | 0.8752 | 0.8454 | 0.7867 | 0.7974 | 0.7868 | 0.8017 | 0.781 | 0.6511 | 0.6863 | 0.7064 | 0.8278 | 0.8277 | 0.7553 | 0.7638 | 0.7644 | 0.7521 | 0.7541 | 0.7333 | 0.8062 | 0.6007 | 0.7072 | 0.7069 | 0.9508 | 0.8603 | 0.8541 | 0.8379 | 0.834 | 0.8287 | 0.8157 | 0.8131 | 0.8027 | 0.6841 | 0.689 | 0.7046 | 0.833 | 0.817 | 0.7419 | 0.7622 | 0.7542 | 0.8037 | 0.7602 | 0.7526 | 0.798 | 0.6502 | 0.6597 | 0.7014 | 0.9215 | 0.8334 | 0.8084 | 0.8415 | 0.8011 | 0.8086 | 0.7997 | 0.8165 | 0.8545 | 0.7237 | 0.7488 | 0.7592 |  | 0.8417 | 0.8199 | 0.8256 | 0.8177 | 0.7992 | 0.803 | 0.8326 | 0.8496 | 0.7841 | 0.0859
18 | 19980.39 | 37 |  | 0.7637 | 0.8081 | 0.8438 | 0.8545 | 0.8885 | 0.8759 | 0.8388 | 0.8494 | 0.8473 | 0.0963 |  | 0.7828 | 0.7878 | 0.7693 | 0.796 | 0.7715 | 0.7819 | 0.7716 | 0.7523 | 0.7299 | 0.6092 | 0.5947 | 0.6417 | 0.8878 | 0.8479 | 0.8555 | 0.8338 | 0.7658 | 0.7943 | 0.7714 | 0.7916 | 0.772 | 0.6629 | 0.6926 | 0.718 | 0.8349 | 0.8343 | 0.7495 | 0.7742 | 0.7697 | 0.7586 | 0.7494 | 0.7248 | 0.8086 | 0.6085 | 0.7088 | 0.7197 | 0.8904 | 0.8414 | 0.8342 | 0.8436 | 0.8375 | 0.822 | 0.8114 | 0.7981 | 0.8022 | 0.6969 | 0.7007 | 0.7254 | 0.8515 | 0.8304 | 0.7412 | 0.774 | 0.7643 | 0.8057 | 0.7543 | 0.7452 | 0.8131 | 0.6686 | 0.6781 | 0.7269 | 0.8766 | 0.8244 | 0.8085 | 0.8357 | 0.7841 | 0.8029 | 0.7584 | 0.7664 | 0.8014 | 0.6993 | 0.7181 | 0.7298 |  | 0.8463 | 0.8486 | 0.847 | 0.8358 | 0.823 | 0.8264 | 0.8635 | 0.8591 | 0.7756 | 0.0865
19 | 21156.101 | 37 |  | 0.8092 | 0.8584 | 0.8485 | 0.8557 | 0.8721 | 0.8556 | 0.8367 | 0.8512 | 0.8449 | 0.0973 |  | 0.8317 | 0.8264 | 0.7933 | 0.8083 | 0.7879 | 0.7856 | 0.7891 | 0.7736 | 0.7662 | 0.6696 | 0.6405 | 0.6835 | 0.94 | 0.8904 | 0.8692 | 0.8328 | 0.7663 | 0.7956 | 0.7704 | 0.7903 | 0.7527 | 0.6582 | 0.6863 | 0.7018 | 0.8393 | 0.8483 | 0.743 | 0.7798 | 0.771 | 0.7554 | 0.7503 | 0.7205 | 0.8167 | 0.619 | 0.7257 | 0.7182 | 0.9211 | 0.8854 | 0.8548 | 0.8494 | 0.827 | 0.8187 | 0.8188 | 0.7914 | 0.794 | 0.6959 | 0.693 | 0.7137 | 0.852 | 0.8114 | 0.7352 | 0.7556 | 0.7496 | 0.8122 | 0.7541 | 0.7405 | 0.8092 | 0.6853 | 0.6938 | 0.7306 | 0.9009 | 0.8201 | 0.7957 | 0.8379 | 0.7908 | 0.8289 | 0.7694 | 0.7821 | 0.8212 | 0.7196 | 0.7443 | 0.7478 |  | 0.8309 | 0.8373 | 0.846 | 0.8308 | 0.8141 | 0.8132 | 0.8731 | 0.8614 | 0.7834 | 0.0865
20 | 22330.952 | 37 |  | 0.8164 | 0.857 | 0.8445 | 0.8722 | 0.8854 | 0.8787 | 0.8418 | 0.8606 | 0.8504 | 0.0972 |  | 0.8627 | 0.8544 | 0.8277 | 0.8242 | 0.8102 | 0.7985 | 0.8106 | 0.7942 | 0.7823 | 0.7154 | 0.678 | 0.7079 | 0.952 | 0.9231 | 0.8917 | 0.8609 | 0.7823 | 0.8169 | 0.792 | 0.8127 | 0.7632 | 0.6639 | 0.692 | 0.7116 | 0.8662 | 0.8659 | 0.7777 | 0.8014 | 0.7935 | 0.7794 | 0.773 | 0.7223 | 0.8273 | 0.6297 | 0.7296 | 0.7297 | 0.9793 | 0.9113 | 0.8798 | 0.8576 | 0.8455 | 0.8341 | 0.8211 | 0.8 | 0.7971 | 0.7044 | 0.6988 | 0.7263 | 0.8242 | 0.8286 | 0.7249 | 0.778 | 0.7629 | 0.8281 | 0.7686 | 0.7457 | 0.8189 | 0.6951 | 0.7051 | 0.74 | 0.9049 | 0.8153 | 0.7801 | 0.8091 | 0.8011 | 0.8226 | 0.7786 | 0.7901 | 0.8322 | 0.7152 | 0.7383 | 0.7439 |  | 0.8524 | 0.8624 | 0.8706 | 0.8573 | 0.8357 | 0.8295 | 0.8724 | 0.8662 | 0.7797 | 0.0864
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36.1 |  | 3252 | 3273 | 3044 | 2871 | 2806 | 2718 | 3069 | 3091 | 3108 | 2860 |  | 3353 | 3106 | 3248 | 2989 | 3392 | 3408 | 3108 | 3247 | 3185 | 2927 | 3005 | 2967 | 2749 | 2794 | 2673 | 2736 | 3225 | 2912 | 2847 | 2758 | 2858 | 2907 | 2713 | 2607 | 2954 | 2810 | 3211 | 3032 | 3075 | 3204 | 3052 | 3352 | 2831 | 3385 | 2641 | 2838 | 2776 | 2755 | 2652 | 2749 | 2769 | 2846 | 2786 | 2850 | 2779 | 2723 | 2768 | 2565 | 3124 | 2823 | 3254 | 3021 | 3207 | 2870 | 2994 | 3142 | 2778 | 2818 | 2767 | 2735 | 2834 | 2965 | 2939 | 2774 | 2969 | 2959 | 3022 | 2961 | 2787 | 2923 | 2825 | 2805 |  | 2676 | 2729 | 2692 | 2740 | 3064 | 2674 | 3225 | 2834 | 3317 | 324
2 | 1175.651 | 37.1 |  | 3156 | 3180 | 2940 | 2708 | 2676 | 2638 | 3026 | 2966 | 3006 | 2713 |  | 3183 | 2961 | 3167 | 2918 | 3268 | 3386 | 3019 | 3193 | 3194 | 2821 | 2950 | 2842 | 2653 | 2735 | 2541 | 2670 | 3147 | 2822 | 2796 | 2627 | 2789 | 2835 | 2623 | 2534 | 2929 | 2775 | 3245 | 3001 | 3100 | 3208 | 3178 | 3294 | 2800 | 3378 | 2569 | 2807 | 2696 | 2697 | 2616 | 2612 | 2689 | 2791 | 2687 | 2802 | 2683 | 2619 | 2693 | 2536 | 2956 | 2793 | 3198 | 2969 | 3164 | 2863 | 2965 | 3094 | 2868 | 2805 | 2870 | 2706 | 2844 | 2957 | 3003 | 2779 | 3032 | 3174 | 3146 | 3026 | 2901 | 2974 | 2939 | 2926 |  | 2602 | 2662 | 2699 | 2618 | 2982 | 2523 | 3193 | 2830 | 3336 | 300
3 | 2350.523 | 37 |  | 3134 | 3144 | 2967 | 2685 | 2666 | 2575 | 2939 | 2962 | 2960 | 2643 |  | 3180 | 2983 | 3176 | 2864 | 3132 | 3233 | 3012 | 3251 | 3102 | 2794 | 2998 | 2852 | 2616 | 2676 | 2524 | 2607 | 3104 | 2825 | 2782 | 2698 | 2818 | 2874 | 2644 | 2557 | 2908 | 2772 | 3179 | 2941 | 3059 | 3171 | 3089 | 3253 | 2840 | 3419 | 2604 | 2828 | 2651 | 2680 | 2530 | 2609 | 2626 | 2689 | 2630 | 2740 | 2631 | 2575 | 2626 | 2445 | 2904 | 2728 | 3163 | 2880 | 3117 | 2864 | 2927 | 3008 | 2693 | 2791 | 2746 | 2690 | 2777 | 2994 | 2993 | 2813 | 3109 | 3175 | 3142 | 3062 | 2895 | 3015 | 2933 | 2913 |  | 2571 | 2678 | 2613 | 2650 | 2957 | 2481 | 3106 | 2883 | 3286 | 315
4 | 3526.223 | 37.1 |  | 3164 | 3135 | 2949 | 2655 | 2645 | 2563 | 2922 | 2951 | 2965 | 2694 |  | 3120 | 2995 | 3203 | 2900 | 3225 | 3320 | 3055 | 3137 | 3159 | 2804 | 3017 | 2844 | 2586 | 2688 | 2547 | 2569 | 3051 | 2800 | 2693 | 2603 | 2690 | 2762 | 2579 | 2509 | 2837 | 2733 | 3174 | 2983 | 3022 | 3168 | 3093 | 3276 | 2807 | 3356 | 2636 | 2770 | 2611 | 2640 | 2507 | 2569 | 2671 | 2721 | 2654 | 2699 | 2691 | 2554 | 2597 | 2488 | 2902 | 2763 | 3184 | 2903 | 3221 | 2868 | 2883 | 3024 | 2746 | 2808 | 2805 | 2747 | 2841 | 2938 | 3029 | 2821 | 3097 | 3228 | 3158 | 3044 | 2896 | 3048 | 2927 | 2930 |  | 2497 | 2583 | 2607 | 2627 | 2993 | 2465 | 3187 | 2855 | 3374 | 320
5 | 4701.112 | 37.1 |  | 3187 | 3193 | 2990 | 2662 | 2652 | 2599 | 2934 | 2951 | 3015 | 2694 |  | 3220 | 2986 | 3153 | 2934 | 3199 | 3364 | 3006 | 3248 | 3180 | 2870 | 3026 | 2942 | 2583 | 2683 | 2506 | 2620 | 3073 | 2759 | 2724 | 2631 | 2727 | 2805 | 2619 | 2544 | 2899 | 2722 | 3183 | 2977 | 3023 | 3178 | 3111 | 3236 | 2780 | 3348 | 2548 | 2787 | 2637 | 2604 | 2583 | 2598 | 2624 | 2718 | 2627 | 2752 | 2673 | 2592 | 2658 | 2483 | 2883 | 2745 | 3102 | 2917 | 3165 | 2860 | 2865 | 2973 | 2699 | 2857 | 2785 | 2704 | 2881 | 3052 | 3074 | 2885 | 3141 | 3236 | 3283 | 3222 | 3029 | 3152 | 3097 | 3108 |  | 2508 | 2650 | 2623 | 2628 | 3043 | 2510 | 3217 | 2937 | 3373 | 331
6 | 5875.982 | 37.1 |  | 3217 | 3212 | 3032 | 2679 | 2650 | 2561 | 2970 | 2917 | 3014 | 2674 |  | 3183 | 3008 | 3252 | 2904 | 3325 | 3400 | 3130 | 3310 | 3194 | 2930 | 3130 | 2944 | 2572 | 2688 | 2514 | 2569 | 3017 | 2746 | 2750 | 2628 | 2777 | 2754 | 2563 | 2502 | 2850 | 2740 | 3143 | 3025 | 3065 | 3144 | 3060 | 3254 | 2800 | 3318 | 2615 | 2782 | 2613 | 2618 | 2509 | 2580 | 2662 | 2694 | 2632 | 2758 | 2674 | 2633 | 2650 | 2442 | 2945 | 2733 | 3146 | 2945 | 3159 | 2820 | 2824 | 3100 | 2758 | 2866 | 2819 | 2680 | 2891 | 3086 | 3015 | 2935 | 3163 | 3319 | 3286 | 3288 | 3056 | 3205 | 3067 | 3017 |  | 2552 | 2671 | 2628 | 2662 | 2942 | 2447 | 3227 | 2952 | 3481 | 320
7 | 7051.673 | 37 |  | 3215 | 3226 | 2995 | 2662 | 2648 | 2557 | 2955 | 2959 | 3015 | 2695 |  | 3195 | 3060 | 3238 | 2942 | 3261 | 3410 | 3111 | 3356 | 3305 | 3006 | 3146 | 2972 | 2595 | 2670 | 2520 | 2572 | 3050 | 2721 | 2695 | 2582 | 2771 | 2779 | 2580 | 2495 | 2885 | 2764 | 3189 | 3033 | 3095 | 3207 | 3166 | 3295 | 2831 | 3409 | 2630 | 2810 | 2580 | 2661 | 2534 | 2618 | 2651 | 2735 | 2650 | 2749 | 2646 | 2603 | 2651 | 2477 | 2842 | 2784 | 3157 | 2875 | 3231 | 2890 | 2929 | 3053 | 2788 | 2846 | 2838 | 2719 | 2906 | 3103 | 3118 | 2998 | 3216 | 3367 | 3445 | 3375 | 3064 | 3247 | 3202 | 3120 |  | 2525 | 2647 | 2587 | 2672 | 3051 | 2515 | 3326 | 2961 | 3452 | 331
8 | 8226.442 | 37.1 |  | 3214 | 3277 | 3055 | 2734 | 2672 | 2615 | 2972 | 2952 | 2978 | 2685 |  | 3204 | 2991 | 3204 | 2972 | 3282 | 3447 | 3151 | 3401 | 3328 | 3033 | 3152 | 2981 | 2608 | 2696 | 2541 | 2602 | 3058 | 2780 | 2697 | 2638 | 2787 | 2802 | 2621 | 2511 | 2850 | 2787 | 3226 | 3023 | 3070 | 3200 | 3137 | 3305 | 2828 | 3399 | 2581 | 2784 | 2549 | 2667 | 2536 | 2617 | 2614 | 2701 | 2639 | 2750 | 2632 | 2626 | 2628 | 2438 | 2939 | 2757 | 3165 | 2898 | 3131 | 2843 | 2926 | 3048 | 2749 | 2834 | 2797 | 2695 | 2983 | 3269 | 3254 | 3106 | 3425 | 3518 | 3633 | 3440 | 3249 | 3373 | 3289 | 3250 |  | 2528 | 2668 | 2616 | 2649 | 2966 | 2537 | 3355 | 2994 | 3523 | 316
9 | 9401.307 | 37.1 |  | 3361 | 3254 | 3044 | 2675 | 2673 | 2569 | 2948 | 2933 | 3011 | 2634 |  | 3230 | 3045 | 3278 | 3004 | 3309 | 3421 | 3168 | 3351 | 3255 | 3096 | 3190 | 3010 | 2599 | 2649 | 2589 | 2619 | 3106 | 2822 | 2748 | 2653 | 2808 | 2821 | 2608 | 2531 | 2853 | 2807 | 3178 | 3046 | 3103 | 3236 | 3143 | 3267 | 2896 | 3369 | 2632 | 2808 | 2594 | 2652 | 2558 | 2597 | 2634 | 2739 | 2629 | 2770 | 2648 | 2659 | 2695 | 2437 | 2899 | 2757 | 3139 | 2950 | 3182 | 2890 | 2923 | 3083 | 2787 | 2880 | 2814 | 2750 | 3136 | 3551 | 3470 | 3365 | 3684 | 3821 | 3963 | 3796 | 3502 | 3587 | 3507 | 3529 |  | 2537 | 2713 | 2652 | 2621 | 2980 | 2517 | 3465 | 3182 | 3778 | 319
10 | 10577.001 | 37.1 |  | 3417 | 3335 | 3104 | 2739 | 2712 | 2640 | 3033 | 2976 | 3055 | 2690 |  | 3345 | 3103 | 3376 | 3117 | 3420 | 3528 | 3189 | 3529 | 3365 | 3102 | 3306 | 3036 | 2662 | 2789 | 2623 | 2661 | 3101 | 2828 | 2805 | 2644 | 2787 | 2818 | 2641 | 2526 | 2892 | 2876 | 3306 | 3082 | 3070 | 3138 | 3256 | 3353 | 2931 | 3457 | 2651 | 2814 | 2601 | 2717 | 2586 | 2719 | 2727 | 2767 | 2668 | 2825 | 2719 | 2632 | 2697 | 2465 | 2921 | 2856 | 3275 | 2991 | 3258 | 2983 | 3065 | 3167 | 2895 | 2976 | 2955 | 2776 | 3967 | 5561 | 4963 | 4584 | 5311 | 5837 | 5146 | 4771 | 4381 | 4282 | 4251 | 4188 |  | 2646 | 2742 | 2737 | 2696 | 3033 | 2550 | 4219 | 3996 | 4554 | 331
11 | 11751.79 | 37 |  | 3609 | 3447 | 3219 | 2860 | 2775 | 2741 | 3206 | 3175 | 3267 | 2638 |  | 3402 | 3274 | 3497 | 3193 | 3554 | 3607 | 3329 | 3578 | 3509 | 3184 | 3354 | 3104 | 2710 | 2835 | 2671 | 2750 | 3208 | 2939 | 2867 | 2767 | 2903 | 2846 | 2639 | 2587 | 2992 | 3108 | 3517 | 3198 | 3268 | 3329 | 3305 | 3455 | 2982 | 3504 | 2785 | 2854 | 2666 | 2974 | 2705 | 2911 | 2815 | 2916 | 2781 | 2884 | 2810 | 2671 | 2739 | 2501 | 3030 | 3148 | 3405 | 3177 | 3679 | 3115 | 3162 | 3212 | 2916 | 3052 | 3105 | 2921 | 9633 | 14143 | 12165 | 11329 | 12301 | 13575 | 10946 | 9611 | 8483 | 5666 | 5740 | 5742 |  | 2706 | 2862 | 2908 | 2903 | 3348 | 2767 | 10078 | 10247 | 9835 | 333
12 | 12926.666 | 37.1 |  | 4521 | 4345 | 3748 | 2947 | 2931 | 2879 | 4002 | 3912 | 4090 | 2628 |  | 3756 | 3599 | 3743 | 3402 | 3841 | 3851 | 3580 | 3726 | 3626 | 3279 | 3421 | 3225 | 2826 | 2965 | 2790 | 2877 | 3305 | 2990 | 2960 | 2838 | 2932 | 2934 | 2721 | 2587 | 3370 | 3761 | 3994 | 3640 | 3697 | 3668 | 3578 | 3685 | 3204 | 3542 | 2820 | 2979 | 3042 | 3663 | 3215 | 3436 | 3379 | 3433 | 3155 | 3187 | 3093 | 2841 | 2919 | 2633 | 4104 | 5027 | 4799 | 4092 | 5168 | 4388 | 3930 | 3796 | 3607 | 3326 | 3398 | 3094 | 20564 | 26221 | 24233 | 22871 | 23191 | 25031 | 21731 | 19644 | 17737 | 10690 | 11230 | 10943 |  | 3378 | 3662 | 3641 | 4483 | 4750 | 4099 | 23280 | 23356 | 23219 | 319
13 | 14105.451 | 37 |  | 9152 | 8749 | 7201 | 3093 | 3019 | 2950 | 6278 | 6336 | 6667 | 2560 |  | 6220 | 6475 | 5796 | 5061 | 5274 | 4871 | 3999 | 4077 | 3904 | 3377 | 3540 | 3287 | 2914 | 3024 | 2805 | 2951 | 3362 | 3062 | 2961 | 2908 | 3050 | 2918 | 2717 | 2592 | 4191 | 5115 | 5136 | 4245 | 4370 | 4269 | 4065 | 4141 | 3634 | 3618 | 3266 | 3215 | 4083 | 5152 | 4457 | 4341 | 4237 | 4289 | 3768 | 3775 | 3665 | 3134 | 3203 | 2751 | 7517 | 9871 | 8790 | 6990 | 9219 | 7906 | 6535 | 5782 | 6072 | 4102 | 4639 | 3939 | 31397 | 35974 | 35078 | 34336 | 32789 | 34608 | 30697 | 28939 | 27420 | 20620 | 21424 | 21575 |  | 5786 | 6034 | 6265 | 10002 | 10033 | 9293 | 37442 | 36506 | 37670 | 323
14 | 15280.192 | 37 |  | 18274 | 18025 | 15679 | 3174 | 3135 | 3132 | 9834 | 9809 | 10203 | 2539 |  | 13332 | 13761 | 12492 | 10420 | 10546 | 9319 | 6879 | 6510 | 6022 | 4119 | 4168 | 3911 | 3016 | 3096 | 2959 | 3003 | 3485 | 3166 | 3115 | 3040 | 3174 | 3011 | 2847 | 2767 | 5639 | 6109 | 6629 | 4892 | 5048 | 5208 | 4599 | 4777 | 4193 | 4167 | 4230 | 4189 | 5863 | 6785 | 6326 | 5023 | 5158 | 5192 | 4332 | 4468 | 4305 | 4220 | 4272 | 3744 | 14017 | 16588 | 15421 | 12030 | 14533 | 13550 | 10841 | 10119 | 10371 | 7471 | 8626 | 7336 | 40202 | 43801 | 42578 | 42630 | 38607 | 40125 | 35603 | 34611 | 33086 | 30318 | 30939 | 30902 |  | 9399 | 9875 | 10014 | 18715 | 19068 | 18163 | 50221 | 48183 | 49628 | 307
15 | 16455.067 | 37.1 |  | 28446 | 28000 | 25693 | 3253 | 3236 | 3201 | 11760 | 11748 | 12113 | 2561 |  | 22586 | 23012 | 22026 | 18583 | 19200 | 17857 | 13669 | 13039 | 12408 | 6421 | 6301 | 5583 | 3075 | 3160 | 3036 | 3195 | 3593 | 3329 | 3230 | 3095 | 3374 | 3145 | 2998 | 2917 | 6443 | 6556 | 7396 | 5256 | 5419 | 5640 | 4941 | 5204 | 4553 | 4753 | 4720 | 4798 | 7151 | 7356 | 7122 | 5227 | 5485 | 5699 | 4537 | 4759 | 4562 | 4852 | 4934 | 4600 | 19922 | 21145 | 21328 | 16438 | 18024 | 17855 | 14468 | 14421 | 13984 | 12303 | 13238 | 12159 | 45414 | 47853 | 47567 | 47581 | 41324 | 42073 | 37478 | 36319 | 35098 | 35758 | 36181 | 36095 |  | 12229 | 12835 | 12944 | 25840 | 27777 | 26349 | 58251 | 56432 | 58297 | 319
16 | 17630.747 | 37.1 |  | 36997 | 36055 | 34236 | 3275 | 3264 | 3257 | 12277 | 12353 | 12370 | 2478 |  | 31902 | 31645 | 32239 | 27063 | 28985 | 28437 | 23148 | 23099 | 21898 | 13013 | 12405 | 10896 | 3093 | 3255 | 3003 | 3100 | 3556 | 3361 | 3387 | 3175 | 3411 | 3206 | 3078 | 2926 | 6807 | 6669 | 7519 | 5304 | 5237 | 5759 | 5067 | 5443 | 4781 | 4994 | 4928 | 5057 | 7651 | 7475 | 7422 | 5279 | 5403 | 5667 | 4791 | 4974 | 4777 | 5198 | 5233 | 5051 | 23073 | 23150 | 23948 | 18062 | 19289 | 19472 | 16427 | 16953 | 15981 | 15831 | 16148 | 15480 | 48525 | 49187 | 49200 | 50406 | 40864 | 41816 | 37647 | 37727 | 37195 | 39042 | 39281 | 39483 |  | 13106 | 13529 | 13580 | 30239 | 34130 | 32347 | 63133 | 62616 | 65001 | 338
17 | 18805.52 | 37.1 |  | 41066 | 39405 | 38527 | 3263 | 3234 | 3227 | 11896 | 12055 | 12113 | 2482 |  | 36486 | 35712 | 36853 | 30598 | 32349 | 33954 | 29328 | 29985 | 28917 | 21906 | 19978 | 18938 | 3116 | 3262 | 3056 | 3158 | 3652 | 3305 | 3344 | 3262 | 3394 | 3308 | 3149 | 3084 | 6566 | 6483 | 7287 | 5198 | 5233 | 5954 | 5105 | 5357 | 4744 | 5152 | 5149 | 5142 | 7412 | 7386 | 7417 | 5262 | 5454 | 5680 | 4647 | 4874 | 4693 | 5114 | 5169 | 5084 | 24380 | 23516 | 23240 | 18297 | 18913 | 19454 | 16487 | 16945 | 16051 | 16917 | 17532 | 16941 | 49068 | 49134 | 49572 | 50228 | 41452 | 42952 | 39131 | 38850 | 37855 | 40079 | 40322 | 40327 |  | 13090 | 13320 | 13281 | 32464 | 35008 | 33610 | 64942 | 63962 | 65840 | 317
18 | 19980.39 | 37.1 |  | 43200 | 41732 | 41041 | 3331 | 3292 | 3244 | 11769 | 11794 | 11930 | 2492 |  | 37894 | 37472 | 38890 | 31766 | 34567 | 35649 | 32015 | 33626 | 32634 | 28345 | 27770 | 25811 | 3080 | 3171 | 3016 | 3083 | 3538 | 3352 | 3392 | 3296 | 3502 | 3375 | 3213 | 3083 | 6480 | 6363 | 7247 | 5176 | 5242 | 5706 | 5088 | 5360 | 4624 | 5147 | 5207 | 5101 | 7305 | 7194 | 7040 | 5166 | 5193 | 5351 | 4660 | 4911 | 4718 | 5231 | 5191 | 5134 | 23722 | 22653 | 23569 | 17737 | 18349 | 19050 | 16356 | 17454 | 16345 | 17393 | 17449 | 17355 | 48742 | 49012 | 48441 | 50033 | 40656 | 41698 | 37712 | 37020 | 37049 | 40884 | 42291 | 42017 |  | 12562 | 12951 | 12855 | 32806 | 35093 | 34041 | 67046 | 65013 | 67501 | 310
19 | 21156.101 | 37.1 |  | 43081 | 42251 | 41472 | 3270 | 3228 | 3224 | 11408 | 11492 | 11599 | 2549 |  | 38721 | 37388 | 39108 | 32256 | 34624 | 35506 | 33101 | 34199 | 33609 | 32315 | 31650 | 28890 | 3042 | 3207 | 3011 | 3075 | 3517 | 3302 | 3324 | 3277 | 3399 | 3408 | 3284 | 3188 | 6363 | 6171 | 7105 | 5092 | 5181 | 5522 | 4979 | 5249 | 4605 | 5133 | 5191 | 5075 | 7181 | 7107 | 7023 | 4990 | 5149 | 5352 | 4570 | 4792 | 4681 | 5235 | 5284 | 5087 | 23197 | 22694 | 23409 | 17636 | 17938 | 18721 | 16148 | 16929 | 16000 | 17548 | 17892 | 17627 | 47972 | 48200 | 48441 | 49710 | 39283 | 40190 | 35749 | 35475 | 35838 | 40881 | 41777 | 41531 |  | 12259 | 12671 | 12525 | 32410 | 34941 | 33870 | 67299 | 65101 | 67863 | 325
20 | 22330.952 | 37 |  | 42645 | 41126 | 40825 | 3262 | 3260 | 3240 | 11103 | 11139 | 11359 | 2500 |  | 36977 | 36720 | 37944 | 31314 | 33334 | 35019 | 32208 | 33054 | 32895 | 33094 | 32840 | 30550 | 3049 | 3192 | 3015 | 3164 | 3589 | 3332 | 3328 | 3290 | 3374 | 3430 | 3300 | 3158 | 6082 | 6066 | 6784 | 4927 | 5071 | 5519 | 4838 | 5130 | 4618 | 5045 | 5037 | 4977 | 6878 | 6986 | 6848 | 4961 | 5153 | 5236 | 4712 | 4663 | 4549 | 5106 | 5098 | 4914 | 22693 | 21817 | 21790 | 17295 | 17840 | 18039 | 15479 | 16361 | 15524 | 17030 | 17501 | 17336 | 47319 | 47627 | 46963 | 48047 | 38072 | 39236 | 34874 | 34363 | 34471 | 40244 | 40767 | 40730 |  | 11936 | 12233 | 12163 | 30882 | 35198 | 33181 | 65976 | 63549 | 66365 | 314
End Time |  |  | A2: 2018-12-09 17:31:20
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12