## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-01
Time: |  |  |  | 8:32 PM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-01 14:10:15
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-01 14:10:12
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 29.1 |  | 0.1053 | 0.1053 | 0.1042 | 0.104 | 0.104 | 0.1059 | 0.1034 | 0.1056 | 0.1064 | 0.1003 |  | 0.1054 | 0.1052 | 0.1095 | 0.1076 | 0.1072 | 0.1091 | 0.1079 | 0.1063 | 0.1139 | 0.1106 | 0.1093 | 0.1174 | 0.1053 | 0.1029 | 0.1034 | 0.1035 | 0.1035 | 0.1034 | 0.104 | 0.1051 | 0.1069 | 0.1069 | 0.111 | 0.1108 | 0.1057 | 0.1032 | 0.1047 | 0.1047 | 0.105 | 0.1072 | 0.1062 | 0.1036 | 0.1073 | 0.1115 | 0.1112 | 0.113 | 0.1043 | 0.105 | 0.1118 | 0.1054 | 0.1112 | 0.1093 | 0.1101 | 0.1069 | 0.1079 | 0.1121 | 0.1104 | 0.1079 | 0.105 | 0.1057 | 0.106 | 0.104 | 0.1042 | 0.1044 | 0.1036 | 0.1033 | 0.106 | 0.1056 | 0.1054 | 0.1056 | 0.1052 | 0.1044 | 0.1047 | 0.1045 | 0.1067 | 0.1078 | 0.1081 | 0.1032 | 0.1093 | 0.1093 | 0.1135 | 0.1115 |  | 0.107 | 0.1073 | 0.1069 | 0.1052 | 0.1086 | 0.1042 | 0.1045 | 0.1173 | 0.1284 | 0.0871
2 | 1175.753 | 36.9 |  | 0.1088 | 0.1118 | 0.1091 | 0.107 | 0.1098 | 0.1092 | 0.1061 | 0.1082 | 0.1102 | 0.101 |  | 0.1075 | 0.1097 | 0.1137 | 0.1107 | 0.1108 | 0.1117 | 0.1102 | 0.1102 | 0.1096 | 0.1113 | 0.112 | 0.1125 | 0.1071 | 0.1077 | 0.1094 | 0.1093 | 0.1094 | 0.1082 | 0.1097 | 0.1106 | 0.1107 | 0.1112 | 0.11 | 0.1143 | 0.108 | 0.1086 | 0.1096 | 0.111 | 0.1108 | 0.1094 | 0.1125 | 0.1113 | 0.1125 | 0.1135 | 0.1119 | 0.1144 | 0.1084 | 0.1094 | 0.1108 | 0.1099 | 0.1106 | 0.1095 | 0.1104 | 0.1113 | 0.111 | 0.1111 | 0.1107 | 0.1103 | 0.1077 | 0.1087 | 0.1091 | 0.1079 | 0.1082 | 0.1083 | 0.1074 | 0.107 | 0.1087 | 0.1075 | 0.1065 | 0.1083 | 0.1057 | 0.1075 | 0.1092 | 0.1065 | 0.1073 | 0.1081 | 0.1078 | 0.1076 | 0.1089 | 0.1083 | 0.1104 | 0.1105 |  | 0.1104 | 0.1113 | 0.112 | 0.1087 | 0.1094 | 0.109 | 0.1074 | 0.1095 | 0.119 | 0.2075
3 | 2351.333 | 37.1 |  | 0.1115 | 0.1155 | 0.1137 | 0.1105 | 0.1153 | 0.1131 | 0.1099 | 0.1125 | 0.114 | 0.1006 |  | 0.1114 | 0.1135 | 0.1172 | 0.1145 | 0.1142 | 0.1145 | 0.1112 | 0.1124 | 0.1133 | 0.1115 | 0.1146 | 0.1169 | 0.1115 | 0.1128 | 0.1146 | 0.1138 | 0.1139 | 0.1118 | 0.1126 | 0.1135 | 0.1137 | 0.1141 | 0.1127 | 0.1167 | 0.1114 | 0.1125 | 0.1133 | 0.1167 | 0.1132 | 0.1143 | 0.1135 | 0.1131 | 0.116 | 0.1165 | 0.1168 | 0.117 | 0.1143 | 0.1146 | 0.116 | 0.1147 | 0.1138 | 0.1128 | 0.1127 | 0.1139 | 0.1136 | 0.1132 | 0.1133 | 0.1125 | 0.1102 | 0.1111 | 0.1119 | 0.1093 | 0.1095 | 0.1102 | 0.1099 | 0.1077 | 0.1084 | 0.1087 | 0.1098 | 0.1124 | 0.109 | 0.1102 | 0.1124 | 0.1085 | 0.1099 | 0.1107 | 0.1099 | 0.1099 | 0.1119 | 0.1109 | 0.1136 | 0.1138 |  | 0.1137 | 0.1145 | 0.1158 | 0.1107 | 0.1127 | 0.1113 | 0.1092 | 0.1119 | 0.1287 | 0.1016
4 | 3526.452 | 36.9 |  | 0.1179 | 0.1237 | 0.1221 | 0.118 | 0.1241 | 0.121 | 0.1163 | 0.12 | 0.1229 | 0.1005 |  | 0.1189 | 0.1195 | 0.1235 | 0.1226 | 0.1209 | 0.1215 | 0.1181 | 0.1174 | 0.1194 | 0.1193 | 0.1196 | 0.1244 | 0.1197 | 0.1205 | 0.1227 | 0.1223 | 0.122 | 0.1182 | 0.119 | 0.1218 | 0.1205 | 0.1217 | 0.1192 | 0.1237 | 0.1196 | 0.1222 | 0.1211 | 0.1276 | 0.1216 | 0.1224 | 0.1228 | 0.1197 | 0.1246 | 0.1251 | 0.1246 | 0.1247 | 0.121 | 0.1245 | 0.1253 | 0.124 | 0.1236 | 0.1213 | 0.1201 | 0.121 | 0.1221 | 0.1207 | 0.1206 | 0.1204 | 0.1153 | 0.1164 | 0.1177 | 0.1152 | 0.1152 | 0.1147 | 0.1133 | 0.113 | 0.1141 | 0.1124 | 0.1153 | 0.1166 | 0.1171 | 0.1186 | 0.1213 | 0.1143 | 0.1154 | 0.1166 | 0.1158 | 0.1161 | 0.1198 | 0.1165 | 0.1213 | 0.1212 |  | 0.1218 | 0.1241 | 0.126 | 0.1159 | 0.1195 | 0.1173 | 0.1139 | 0.1177 | 0.1353 | 0.1195
5 | 4701.449 | 36.9 |  | 0.1288 | 0.1395 | 0.1357 | 0.1315 | 0.1423 | 0.1373 | 0.1272 | 0.1343 | 0.1372 | 0.0994 |  | 0.1283 | 0.1314 | 0.1331 | 0.1333 | 0.1304 | 0.1306 | 0.1252 | 0.1243 | 0.1274 | 0.1249 | 0.124 | 0.1382 | 0.1276 | 0.1312 | 0.1333 | 0.133 | 0.1335 | 0.128 | 0.1284 | 0.1302 | 0.1307 | 0.1307 | 0.1279 | 0.1327 | 0.1267 | 0.1283 | 0.1309 | 0.1374 | 0.1305 | 0.1325 | 0.1358 | 0.1284 | 0.1362 | 0.1348 | 0.1342 | 0.137 | 0.1327 | 0.1344 | 0.1367 | 0.1339 | 0.1354 | 0.1317 | 0.131 | 0.1315 | 0.1335 | 0.1322 | 0.1324 | 0.1325 | 0.1221 | 0.124 | 0.1252 | 0.1209 | 0.1223 | 0.1204 | 0.1196 | 0.119 | 0.1191 | 0.1184 | 0.1206 | 0.125 | 0.1261 | 0.1268 | 0.1301 | 0.1205 | 0.1225 | 0.1257 | 0.1243 | 0.125 | 0.1304 | 0.1243 | 0.132 | 0.1325 |  | 0.1359 | 0.1391 | 0.1443 | 0.125 | 0.1313 | 0.1277 | 0.1228 | 0.1286 | 0.1407 | 0.087
6 | 5877.254 | 36.9 |  | 0.154 | 0.1605 | 0.1631 | 0.1554 | 0.1745 | 0.1631 | 0.1481 | 0.1626 | 0.1638 | 0.0998 |  | 0.1434 | 0.1484 | 0.1503 | 0.1508 | 0.1473 | 0.1472 | 0.142 | 0.1402 | 0.1411 | 0.1417 | 0.1396 | 0.1536 | 0.1492 | 0.1542 | 0.1562 | 0.1533 | 0.1548 | 0.1481 | 0.1471 | 0.1487 | 0.1493 | 0.1478 | 0.1458 | 0.1505 | 0.1479 | 0.1521 | 0.1529 | 0.1644 | 0.1531 | 0.1566 | 0.1581 | 0.1479 | 0.1589 | 0.1594 | 0.1559 | 0.16 | 0.1589 | 0.1621 | 0.1634 | 0.1566 | 0.1604 | 0.1535 | 0.1505 | 0.1518 | 0.1562 | 0.1524 | 0.1539 | 0.1541 | 0.1408 | 0.1428 | 0.145 | 0.1374 | 0.139 | 0.1348 | 0.1337 | 0.1303 | 0.1301 | 0.1319 | 0.1336 | 0.1404 | 0.1495 | 0.15 | 0.1531 | 0.1353 | 0.138 | 0.1449 | 0.1416 | 0.1435 | 0.1514 | 0.1426 | 0.1537 | 0.1568 |  | 0.163 | 0.175 | 0.1793 | 0.1447 | 0.1594 | 0.1505 | 0.1401 | 0.1512 | 0.1574 | 0.0871
7 | 7052.24 | 37 |  | 0.1761 | 0.1868 | 0.2002 | 0.1891 | 0.2177 | 0.2004 | 0.1804 | 0.2069 | 0.2057 | 0.1002 |  | 0.1681 | 0.1675 | 0.1679 | 0.1769 | 0.1755 | 0.1695 | 0.1612 | 0.1618 | 0.1695 | 0.1636 | 0.1615 | 0.1843 | 0.1901 | 0.1939 | 0.1894 | 0.1877 | 0.1926 | 0.1792 | 0.178 | 0.1829 | 0.1851 | 0.1809 | 0.1824 | 0.1877 | 0.1855 | 0.1911 | 0.1918 | 0.2085 | 0.1919 | 0.1966 | 0.1983 | 0.1888 | 0.2049 | 0.1971 | 0.2008 | 0.207 | 0.202 | 0.2003 | 0.2051 | 0.1933 | 0.2027 | 0.1886 | 0.1872 | 0.1915 | 0.1986 | 0.1922 | 0.1942 | 0.1957 | 0.177 | 0.1758 | 0.1779 | 0.164 | 0.1702 | 0.161 | 0.1627 | 0.1577 | 0.1578 | 0.1554 | 0.16 | 0.1726 | 0.1885 | 0.1936 | 0.1967 | 0.1668 | 0.1679 | 0.1821 | 0.176 | 0.1792 | 0.1895 | 0.1762 | 0.1941 | 0.2047 |  | 0.2223 | 0.235 | 0.2445 | 0.1848 | 0.2085 | 0.1955 | 0.1799 | 0.1976 | 0.1975 | 0.0882
8 | 8228.046 | 36.9 |  | 0.2914 | 0.3181 | 0.3684 | 0.3655 | 0.4132 | 0.2943 | 0.3301 | 0.3297 | 0.3367 | 0.0996 |  | 0.2626 | 0.2633 | 0.2439 | 0.2514 | 0.2496 | 0.2311 | 0.2112 | 0.212 | 0.2197 | 0.2153 | 0.2037 | 0.2445 | 0.3005 | 0.3189 | 0.2981 | 0.2777 | 0.2833 | 0.2491 | 0.246 | 0.248 | 0.2485 | 0.2366 | 0.2406 | 0.2465 | 0.2845 | 0.2993 | 0.2921 | 0.3207 | 0.2783 | 0.2768 | 0.2766 | 0.2578 | 0.2812 | 0.2707 | 0.2687 | 0.279 | 0.3334 | 0.3193 | 0.3339 | 0.2992 | 0.2984 | 0.2748 | 0.2532 | 0.2539 | 0.271 | 0.2545 | 0.2548 | 0.2584 | 0.2498 | 0.2522 | 0.2542 | 0.2247 | 0.2326 | 0.2123 | 0.2115 | 0.1998 | 0.201 | 0.1981 | 0.2057 | 0.2228 | 0.2835 | 0.2796 | 0.2847 | 0.2237 | 0.227 | 0.2492 | 0.2353 | 0.2393 | 0.257 | 0.2292 | 0.2594 | 0.2744 |  | 0.3053 | 0.3324 | 0.3392 | 0.2474 | 0.284 | 0.2665 | 0.2387 | 0.2663 | 0.2588 | 0.0868
9 | 9402.943 | 36.9 |  | 0.4241 | 0.4553 | 0.4859 | 0.4962 | 0.5479 | 0.4108 | 0.446 | 0.4462 | 0.451 | 0.1006 |  | 0.3466 | 0.3501 | 0.3285 | 0.3458 | 0.3478 | 0.3152 | 0.2863 | 0.2854 | 0.2983 | 0.27 | 0.2677 | 0.3132 | 0.4033 | 0.4118 | 0.3947 | 0.3892 | 0.3885 | 0.3574 | 0.3439 | 0.3404 | 0.3411 | 0.309 | 0.3126 | 0.3151 | 0.3844 | 0.3932 | 0.3882 | 0.4101 | 0.3731 | 0.3755 | 0.3756 | 0.3576 | 0.3792 | 0.3519 | 0.3422 | 0.3558 | 0.4328 | 0.4179 | 0.4277 | 0.3864 | 0.3989 | 0.3672 | 0.3499 | 0.3539 | 0.3738 | 0.3308 | 0.3341 | 0.3364 | 0.347 | 0.353 | 0.3618 | 0.3189 | 0.3296 | 0.2947 | 0.2912 | 0.2748 | 0.2754 | 0.265 | 0.2749 | 0.295 | 0.391 | 0.3872 | 0.3991 | 0.3305 | 0.3279 | 0.3508 | 0.3317 | 0.3394 | 0.3627 | 0.3021 | 0.3403 | 0.3561 |  | 0.4113 | 0.4422 | 0.4459 | 0.3458 | 0.387 | 0.3691 | 0.3384 | 0.3678 | 0.363 | 0.0869
10 | 10577.931 | 36.9 |  | 0.4569 | 0.4764 | 0.5099 | 0.5051 | 0.5487 | 0.5002 | 0.5009 | 0.5194 | 0.5218 | 0.1006 |  | 0.4308 | 0.4264 | 0.417 | 0.4275 | 0.4185 | 0.3994 | 0.3765 | 0.3724 | 0.3933 | 0.3452 | 0.3413 | 0.3853 | 0.4831 | 0.4841 | 0.4778 | 0.4653 | 0.4688 | 0.4445 | 0.4406 | 0.4394 | 0.4435 | 0.3891 | 0.3996 | 0.4035 | 0.4686 | 0.4817 | 0.4847 | 0.4837 | 0.4621 | 0.4685 | 0.4619 | 0.4482 | 0.4726 | 0.4133 | 0.4144 | 0.4222 | 0.5089 | 0.506 | 0.517 | 0.4757 | 0.4901 | 0.457 | 0.4283 | 0.4454 | 0.4628 | 0.3999 | 0.4068 | 0.4168 | 0.4421 | 0.4428 | 0.449 | 0.4058 | 0.4189 | 0.3952 | 0.385 | 0.3669 | 0.3715 | 0.3389 | 0.3521 | 0.3773 | 0.4845 | 0.4979 | 0.4973 | 0.424 | 0.4218 | 0.46 | 0.4369 | 0.4412 | 0.4683 | 0.3867 | 0.4182 | 0.4345 |  | 0.5291 | 0.5637 | 0.5579 | 0.4647 | 0.5089 | 0.4902 | 0.4489 | 0.4938 | 0.4856 | 0.0864
11 | 11753.736 | 37.1 |  | 0.5455 | 0.5693 | 0.5958 | 0.5851 | 0.6233 | 0.5973 | 0.5666 | 0.6071 | 0.6025 | 0.1006 |  | 0.5188 | 0.5186 | 0.5057 | 0.5027 | 0.5003 | 0.4841 | 0.4621 | 0.4557 | 0.475 | 0.4112 | 0.4099 | 0.4301 | 0.5899 | 0.5888 | 0.5744 | 0.5418 | 0.5454 | 0.5253 | 0.5178 | 0.5196 | 0.5245 | 0.4347 | 0.4433 | 0.4434 | 0.5699 | 0.5784 | 0.5775 | 0.5535 | 0.5392 | 0.546 | 0.5373 | 0.5277 | 0.5463 | 0.4565 | 0.4569 | 0.4645 | 0.6187 | 0.6087 | 0.6203 | 0.5489 | 0.5677 | 0.542 | 0.5 | 0.5263 | 0.5463 | 0.4476 | 0.4524 | 0.4539 | 0.5417 | 0.5468 | 0.5513 | 0.5025 | 0.5135 | 0.489 | 0.4819 | 0.4624 | 0.4698 | 0.4018 | 0.4092 | 0.4275 | 0.5889 | 0.606 | 0.5962 | 0.5103 | 0.5083 | 0.5452 | 0.5145 | 0.5175 | 0.5451 | 0.4246 | 0.4593 | 0.4699 |  | 0.6298 | 0.6501 | 0.6447 | 0.5654 | 0.602 | 0.592 | 0.5634 | 0.594 | 0.593 | 0.088
12 | 12932.089 | 36.8 |  | 0.6156 | 0.6349 | 0.6658 | 0.6565 | 0.689 | 0.669 | 0.6346 | 0.6759 | 0.6782 | 0.1002 |  | 0.6203 | 0.6046 | 0.5868 | 0.5684 | 0.562 | 0.5511 | 0.5235 | 0.5352 | 0.5507 | 0.4411 | 0.4414 | 0.4559 | 0.6686 | 0.6665 | 0.665 | 0.6081 | 0.6132 | 0.6012 | 0.5911 | 0.5956 | 0.5997 | 0.4684 | 0.4781 | 0.4764 | 0.6532 | 0.6546 | 0.6622 | 0.5912 | 0.5972 | 0.6041 | 0.5878 | 0.5902 | 0.6033 | 0.4844 | 0.4854 | 0.4908 | 0.6934 | 0.6946 | 0.7061 | 0.6145 | 0.6302 | 0.6168 | 0.5507 | 0.6065 | 0.619 | 0.4792 | 0.4888 | 0.4873 | 0.6435 | 0.6372 | 0.638 | 0.5707 | 0.5883 | 0.5675 | 0.5611 | 0.5449 | 0.5577 | 0.4382 | 0.447 | 0.4639 | 0.6473 | 0.6873 | 0.6847 | 0.5902 | 0.5846 | 0.6298 | 0.5799 | 0.5897 | 0.6155 | 0.4525 | 0.4902 | 0.4987 |  | 0.715 | 0.7224 | 0.7096 | 0.6512 | 0.6728 | 0.6684 | 0.6496 | 0.6788 | 0.6919 | 0.087
13 | 14107.854 | 37 |  | 0.6774 | 0.7024 | 0.741 | 0.716 | 0.7657 | 0.7151 | 0.7063 | 0.732 | 0.716 | 0.1005 |  | 0.6797 | 0.6726 | 0.6603 | 0.6086 | 0.6097 | 0.6102 | 0.5724 | 0.5793 | 0.6019 | 0.4591 | 0.4559 | 0.462 | 0.7291 | 0.7249 | 0.7222 | 0.6388 | 0.6414 | 0.6487 | 0.6321 | 0.6362 | 0.6396 | 0.4771 | 0.4847 | 0.4822 | 0.6952 | 0.6968 | 0.6964 | 0.6079 | 0.6159 | 0.6239 | 0.6081 | 0.6151 | 0.6184 | 0.4903 | 0.4898 | 0.4921 | 0.7581 | 0.7363 | 0.7385 | 0.6277 | 0.6482 | 0.6469 | 0.5708 | 0.6335 | 0.6409 | 0.4872 | 0.4936 | 0.4932 | 0.6785 | 0.6874 | 0.6841 | 0.6064 | 0.6228 | 0.6243 | 0.6069 | 0.6032 | 0.6082 | 0.4634 | 0.4697 | 0.4791 | 0.6823 | 0.7362 | 0.7164 | 0.6199 | 0.6243 | 0.6503 | 0.606 | 0.6183 | 0.6378 | 0.4589 | 0.503 | 0.5164 |  | 0.7378 | 0.7361 | 0.7241 | 0.6764 | 0.6948 | 0.6849 | 0.6778 | 0.7025 | 0.7219 | 0.0874
14 | 15282.74 | 36.8 |  | 0.7264 | 0.7645 | 0.7978 | 0.774 | 0.7809 | 0.7454 | 0.748 | 0.7551 | 0.7358 | 0.1001 |  | 0.7035 | 0.6915 | 0.6972 | 0.6054 | 0.6076 | 0.6234 | 0.5909 | 0.602 | 0.624 | 0.4669 | 0.4642 | 0.4696 | 0.7841 | 0.755 | 0.7483 | 0.6437 | 0.6666 | 0.6596 | 0.6467 | 0.6487 | 0.653 | 0.4821 | 0.4894 | 0.4878 | 0.7172 | 0.7092 | 0.7179 | 0.6186 | 0.6218 | 0.6322 | 0.6191 | 0.6297 | 0.6326 | 0.4923 | 0.4901 | 0.4979 | 0.7834 | 0.7496 | 0.7614 | 0.6425 | 0.6608 | 0.6608 | 0.5805 | 0.6484 | 0.6557 | 0.4915 | 0.499 | 0.4943 | 0.7053 | 0.7107 | 0.7082 | 0.6231 | 0.6326 | 0.6386 | 0.6223 | 0.6132 | 0.6262 | 0.4726 | 0.4763 | 0.484 | 0.74 | 0.7349 | 0.7279 | 0.6404 | 0.6337 | 0.6678 | 0.6276 | 0.637 | 0.6403 | 0.4597 | 0.5089 | 0.5192 |  | 0.7666 | 0.7651 | 0.7488 | 0.733 | 0.7516 | 0.7417 | 0.729 | 0.7484 | 0.7561 | 0.0876
15 | 16457.908 | 36.9 |  | 0.7737 | 0.8078 | 0.8626 | 0.8334 | 0.8353 | 0.7818 | 0.7804 | 0.8004 | 0.7688 | 0.1005 |  | 0.769 | 0.744 | 0.7376 | 0.6559 | 0.6642 | 0.657 | 0.6214 | 0.6334 | 0.6533 | 0.4702 | 0.4701 | 0.4791 | 0.8542 | 0.8242 | 0.8161 | 0.7196 | 0.7372 | 0.7037 | 0.6904 | 0.6878 | 0.6886 | 0.4934 | 0.4995 | 0.5012 | 0.7858 | 0.7782 | 0.7588 | 0.6647 | 0.6642 | 0.6677 | 0.6506 | 0.664 | 0.6515 | 0.5047 | 0.4978 | 0.5089 | 0.827 | 0.8018 | 0.8104 | 0.6904 | 0.7098 | 0.6992 | 0.6128 | 0.6758 | 0.6807 | 0.5011 | 0.5067 | 0.5111 | 0.7763 | 0.7681 | 0.7556 | 0.6548 | 0.6665 | 0.6737 | 0.6452 | 0.6402 | 0.6445 | 0.4771 | 0.4781 | 0.4948 | 0.7323 | 0.7859 | 0.7709 | 0.6711 | 0.6578 | 0.6955 | 0.6527 | 0.6536 | 0.6707 | 0.4621 | 0.5059 | 0.5197 |  | 0.792 | 0.7896 | 0.7758 | 0.769 | 0.7845 | 0.7699 | 0.7664 | 0.7924 | 0.7949 | 0.0875
16 | 17633.726 | 37 |  | 0.8207 | 0.8566 | 0.8661 | 0.8522 | 0.8561 | 0.8017 | 0.8055 | 0.8159 | 0.7866 | 0.0992 |  | 0.8082 | 0.7798 | 0.7771 | 0.692 | 0.6888 | 0.676 | 0.6361 | 0.6456 | 0.6628 | 0.4753 | 0.4677 | 0.4795 | 0.9001 | 0.8546 | 0.8469 | 0.7483 | 0.7545 | 0.7235 | 0.7057 | 0.7021 | 0.698 | 0.4926 | 0.499 | 0.5007 | 0.7863 | 0.7709 | 0.7639 | 0.6741 | 0.6817 | 0.6796 | 0.6655 | 0.6827 | 0.6617 | 0.5117 | 0.5018 | 0.5091 | 0.8766 | 0.8159 | 0.8172 | 0.709 | 0.722 | 0.7142 | 0.6225 | 0.6841 | 0.6861 | 0.5029 | 0.5054 | 0.5054 | 0.7566 | 0.7496 | 0.7536 | 0.6623 | 0.6712 | 0.695 | 0.6682 | 0.649 | 0.665 | 0.4763 | 0.4796 | 0.4912 | 0.7884 | 0.7864 | 0.7512 | 0.67 | 0.6658 | 0.6968 | 0.661 | 0.6591 | 0.6732 | 0.4621 | 0.5068 | 0.5175 |  | 0.7939 | 0.8026 | 0.7918 | 0.7949 | 0.8145 | 0.7953 | 0.795 | 0.8149 | 0.8297 | 0.0862
17 | 18808.712 | 37.1 |  | 0.6965 | 0.743 | 0.7493 | 0.7653 | 0.7654 | 0.7679 | 0.7529 | 0.7789 | 0.7544 | 0.1003 |  | 0.6972 | 0.7016 | 0.726 | 0.624 | 0.6319 | 0.6504 | 0.6166 | 0.6243 | 0.6506 | 0.4629 | 0.4587 | 0.4773 | 0.783 | 0.7358 | 0.7483 | 0.6606 | 0.6793 | 0.6803 | 0.6749 | 0.6807 | 0.6819 | 0.487 | 0.498 | 0.5011 | 0.7031 | 0.6976 | 0.6932 | 0.6198 | 0.6274 | 0.6392 | 0.6289 | 0.6509 | 0.6477 | 0.5001 | 0.4989 | 0.5104 | 0.797 | 0.739 | 0.7486 | 0.6463 | 0.6712 | 0.6701 | 0.5958 | 0.6601 | 0.6694 | 0.4869 | 0.4921 | 0.5008 | 0.7158 | 0.7013 | 0.7072 | 0.629 | 0.6468 | 0.657 | 0.6415 | 0.6354 | 0.6488 | 0.4683 | 0.4772 | 0.4875 | 0.7567 | 0.7376 | 0.72 | 0.6518 | 0.6476 | 0.6845 | 0.6465 | 0.6401 | 0.6571 | 0.4557 | 0.502 | 0.5169 |  | 0.7624 | 0.7684 | 0.7539 | 0.7722 | 0.7847 | 0.7757 | 0.7897 | 0.7978 | 0.8104 | 0.0879
18 | 19984.514 | 37 |  | 0.7744 | 0.797 | 0.8318 | 0.8157 | 0.8244 | 0.7705 | 0.796 | 0.8135 | 0.789 | 0.1005 |  | 0.7599 | 0.7426 | 0.7445 | 0.6811 | 0.6738 | 0.6697 | 0.6425 | 0.6518 | 0.6689 | 0.4762 | 0.4652 | 0.4771 | 0.8509 | 0.8049 | 0.793 | 0.7185 | 0.739 | 0.7051 | 0.7005 | 0.6978 | 0.6916 | 0.4872 | 0.4966 | 0.4975 | 0.7239 | 0.7116 | 0.7045 | 0.6537 | 0.6653 | 0.6605 | 0.6567 | 0.6719 | 0.6584 | 0.5065 | 0.5013 | 0.5095 | 0.8292 | 0.7709 | 0.7738 | 0.6838 | 0.7022 | 0.7073 | 0.6269 | 0.6722 | 0.6922 | 0.5037 | 0.5104 | 0.5097 | 0.7126 | 0.7034 | 0.7064 | 0.6471 | 0.6646 | 0.6734 | 0.6606 | 0.6494 | 0.6648 | 0.4778 | 0.4801 | 0.4918 | 0.7409 | 0.7442 | 0.7179 | 0.6767 | 0.6628 | 0.7091 | 0.664 | 0.6566 | 0.6792 | 0.4675 | 0.5212 | 0.5325 |  | 0.7817 | 0.7947 | 0.7783 | 0.7903 | 0.8099 | 0.8025 | 0.8149 | 0.8281 | 0.8525 | 0.0872
19 | 21159.42 | 37.1 |  | 0.806 | 0.8331 | 0.8527 | 0.8175 | 0.8536 | 0.7854 | 0.8173 | 0.8348 | 0.8041 | 0.0996 |  | 0.7786 | 0.7704 | 0.7496 | 0.7161 | 0.6858 | 0.6804 | 0.6427 | 0.6683 | 0.6833 | 0.4865 | 0.4713 | 0.4817 | 0.883 | 0.8368 | 0.8126 | 0.7443 | 0.7593 | 0.724 | 0.7205 | 0.7128 | 0.7067 | 0.4939 | 0.5014 | 0.4993 | 0.7189 | 0.7173 | 0.7168 | 0.6654 | 0.6677 | 0.6656 | 0.6602 | 0.6821 | 0.6591 | 0.512 | 0.5054 | 0.5107 | 0.8712 | 0.7938 | 0.8166 | 0.6992 | 0.7551 | 0.7135 | 0.6491 | 0.6958 | 0.7053 | 0.504 | 0.5087 | 0.5124 | 0.7383 | 0.7075 | 0.7101 | 0.6633 | 0.677 | 0.6861 | 0.669 | 0.6611 | 0.6704 | 0.4791 | 0.4816 | 0.4959 | 0.7189 | 0.7415 | 0.7407 | 0.6662 | 0.6858 | 0.7065 | 0.6668 | 0.665 | 0.6818 | 0.4724 | 0.5166 | 0.5242 |  | 0.8181 | 0.8249 | 0.8107 | 0.8208 | 0.8311 | 0.8396 | 0.832 | 0.845 | 0.8671 | 0.0877
20 | 22334.786 | 37 |  | 0.6741 | 0.715 | 0.7094 | 0.7719 | 0.8082 | 0.749 | 0.7831 | 0.8018 | 0.7756 | 0.1003 |  | 0.7143 | 0.7038 | 0.7086 | 0.636 | 0.6516 | 0.6489 | 0.6206 | 0.6363 | 0.654 | 0.4574 | 0.4555 | 0.4696 | 0.7973 | 0.7524 | 0.7493 | 0.6802 | 0.6814 | 0.6841 | 0.6827 | 0.687 | 0.6871 | 0.4762 | 0.4907 | 0.5009 | 0.6951 | 0.686 | 0.6964 | 0.6247 | 0.6318 | 0.6489 | 0.6307 | 0.6514 | 0.6466 | 0.4958 | 0.492 | 0.5083 | 0.7687 | 0.7409 | 0.7349 | 0.6499 | 0.6823 | 0.6705 | 0.598 | 0.6592 | 0.6694 | 0.4895 | 0.4917 | 0.4985 | 0.7069 | 0.6922 | 0.699 | 0.641 | 0.6487 | 0.6582 | 0.6508 | 0.6422 | 0.6515 | 0.4684 | 0.4738 | 0.488 | 0.7397 | 0.7185 | 0.7091 | 0.655 | 0.6455 | 0.6791 | 0.6443 | 0.6431 | 0.6602 | 0.4624 | 0.5105 | 0.523 |  | 0.7925 | 0.7924 | 0.7913 | 0.809 | 0.8181 | 0.8347 | 0.8278 | 0.8331 | 0.8392 | 0.0866
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 29.1 |  | 3949 | 3847 | 3542 | 3791 | 3658 | 4052 | 3737 | 3551 | 3743 | 3390 |  | 3949 | 3992 | 4274 | 3906 | 3867 | 4095 | 4198 | 3974 | 3767 | 3825 | 3933 | 3928 | 3538 | 3680 | 3856 | 3789 | 3755 | 3983 | 3827 | 3691 | 3732 | 3669 | 3663 | 3850 | 3859 | 3890 | 4000 | 3972 | 3925 | 4084 | 3977 | 3683 | 3877 | 3732 | 3712 | 3567 | 3637 | 3832 | 3858 | 3885 | 3664 | 3874 | 3825 | 3809 | 3646 | 3492 | 3664 | 3584 | 3737 | 3943 | 3822 | 3791 | 3830 | 3827 | 3680 | 3841 | 3726 | 3700 | 3749 | 3664 | 3712 | 3632 | 3716 | 3739 | 3936 | 3718 | 3816 | 3814 | 3723 | 3558 | 3796 | 3530 |  | 3672 | 3647 | 3693 | 3551 | 3609 | 3726 | 3934 | 3632 | 3723 | 296
2 | 1175.753 | 37 |  | 3761 | 3676 | 3412 | 3594 | 3491 | 3873 | 3529 | 3464 | 3639 | 3278 |  | 3790 | 3899 | 4096 | 3802 | 3822 | 4052 | 4134 | 3890 | 3720 | 3719 | 3785 | 3854 | 3437 | 3544 | 3753 | 3662 | 3641 | 3870 | 3729 | 3641 | 3702 | 3736 | 3579 | 3719 | 3755 | 3787 | 3965 | 3816 | 3832 | 3973 | 3795 | 3694 | 3773 | 3615 | 3535 | 3496 | 3504 | 3616 | 3686 | 3676 | 3568 | 3682 | 3699 | 3728 | 3659 | 3439 | 3615 | 3573 | 3578 | 3766 | 3646 | 3709 | 3763 | 3717 | 3675 | 3771 | 3650 | 3618 | 3500 | 3484 | 3582 | 3505 | 3605 | 3620 | 3874 | 3601 | 3757 | 3745 | 3719 | 3495 | 3701 | 3486 |  | 3617 | 3486 | 3618 | 3426 | 3538 | 3707 | 3797 | 3617 | 3599 | 289
3 | 2351.333 | 37 |  | 3644 | 3603 | 3345 | 3498 | 3393 | 3775 | 3430 | 3334 | 3498 | 3135 |  | 3686 | 3778 | 3998 | 3701 | 3626 | 3859 | 3962 | 3748 | 3573 | 3618 | 3683 | 3639 | 3323 | 3480 | 3613 | 3527 | 3501 | 3619 | 3488 | 3449 | 3572 | 3526 | 3411 | 3544 | 3661 | 3698 | 3804 | 3712 | 3689 | 3968 | 3725 | 3500 | 3589 | 3562 | 3462 | 3448 | 3457 | 3547 | 3643 | 3672 | 3499 | 3688 | 3668 | 3697 | 3613 | 3392 | 3596 | 3451 | 3482 | 3633 | 3483 | 3657 | 3589 | 3628 | 3553 | 3767 | 3550 | 3551 | 3549 | 3431 | 3457 | 3462 | 3542 | 3530 | 3632 | 3582 | 3556 | 3601 | 3585 | 3457 | 3572 | 3415 |  | 3498 | 3404 | 3622 | 3316 | 3437 | 3537 | 3713 | 3513 | 3493 | 286
4 | 3526.452 | 37.1 |  | 3731 | 3498 | 3308 | 3482 | 3375 | 3792 | 3471 | 3321 | 3442 | 3156 |  | 3698 | 3824 | 3996 | 3705 | 3636 | 3855 | 3879 | 3797 | 3628 | 3606 | 3705 | 3687 | 3273 | 3430 | 3595 | 3490 | 3450 | 3590 | 3541 | 3465 | 3535 | 3499 | 3407 | 3535 | 3654 | 3589 | 3732 | 3726 | 3655 | 3826 | 3730 | 3497 | 3683 | 3503 | 3380 | 3392 | 3450 | 3627 | 3579 | 3645 | 3512 | 3678 | 3700 | 3642 | 3543 | 3304 | 3391 | 3380 | 3494 | 3633 | 3560 | 3545 | 3581 | 3633 | 3430 | 3534 | 3524 | 3532 | 3525 | 3419 | 3493 | 3516 | 3575 | 3480 | 3686 | 3533 | 3578 | 3687 | 3684 | 3388 | 3648 | 3507 |  | 3476 | 3386 | 3633 | 3359 | 3372 | 3477 | 3715 | 3542 | 3575 | 302
5 | 4701.449 | 37.1 |  | 3729 | 3583 | 3387 | 3408 | 3389 | 3843 | 3386 | 3333 | 3390 | 3119 |  | 3834 | 3877 | 4009 | 3839 | 3836 | 4038 | 4038 | 3899 | 3729 | 3782 | 3793 | 3838 | 3378 | 3460 | 3585 | 3562 | 3511 | 3608 | 3555 | 3510 | 3626 | 3660 | 3493 | 3616 | 3578 | 3619 | 3712 | 3678 | 3634 | 3801 | 3629 | 3452 | 3670 | 3508 | 3419 | 3381 | 3499 | 3670 | 3686 | 3741 | 3527 | 3679 | 3647 | 3779 | 3575 | 3337 | 3526 | 3411 | 3563 | 3784 | 3585 | 3735 | 3663 | 3634 | 3430 | 3558 | 3568 | 3497 | 3565 | 3475 | 3510 | 3442 | 3522 | 3489 | 3672 | 3580 | 3554 | 3695 | 3619 | 3344 | 3673 | 3483 |  | 3582 | 3533 | 3644 | 3263 | 3491 | 3537 | 3745 | 3526 | 3571 | 289
6 | 5877.254 | 36.9 |  | 3785 | 3732 | 3450 | 3424 | 3348 | 3768 | 3380 | 3238 | 3425 | 3078 |  | 4019 | 4054 | 4250 | 4036 | 4052 | 4166 | 4231 | 4060 | 3922 | 3944 | 3999 | 4168 | 3511 | 3591 | 3773 | 3725 | 3626 | 3738 | 3649 | 3746 | 3743 | 3789 | 3663 | 3744 | 3625 | 3607 | 3689 | 3640 | 3653 | 3802 | 3700 | 3415 | 3548 | 3472 | 3413 | 3329 | 3574 | 3881 | 3775 | 3817 | 3708 | 3707 | 3744 | 3695 | 3801 | 3630 | 3639 | 3518 | 3543 | 3686 | 3605 | 3674 | 3596 | 3654 | 3444 | 3679 | 3535 | 3587 | 3622 | 3496 | 3620 | 3566 | 3618 | 3503 | 3687 | 3552 | 3600 | 3690 | 3704 | 3454 | 3666 | 3481 |  | 3654 | 3632 | 3751 | 3256 | 3397 | 3402 | 3639 | 3411 | 3544 | 283
7 | 7052.24 | 37 |  | 4006 | 3865 | 3664 | 3568 | 3510 | 3853 | 3418 | 3258 | 3428 | 3127 |  | 4580 | 4695 | 4803 | 4725 | 4612 | 4727 | 4710 | 4529 | 4408 | 4449 | 4524 | 4766 | 3750 | 3988 | 4140 | 4010 | 3954 | 4072 | 3855 | 3823 | 3941 | 4010 | 3987 | 4040 | 3650 | 3660 | 3827 | 3669 | 3604 | 3862 | 3763 | 3500 | 3654 | 3553 | 3530 | 3415 | 3750 | 3995 | 3950 | 3982 | 3864 | 3948 | 3913 | 3967 | 3858 | 3736 | 3894 | 3783 | 3665 | 3845 | 3637 | 3677 | 3736 | 3790 | 3633 | 3741 | 3629 | 3672 | 3698 | 3640 | 3472 | 3615 | 3621 | 3568 | 3774 | 3620 | 3602 | 3641 | 3675 | 3440 | 3704 | 3467 |  | 3809 | 3807 | 3970 | 3309 | 3512 | 3543 | 3763 | 3583 | 3643 | 282
8 | 8228.046 | 37 |  | 4213 | 4141 | 3965 | 3739 | 3682 | 4029 | 3458 | 3284 | 3498 | 3105 |  | 5618 | 5618 | 5588 | 5681 | 5405 | 5565 | 5398 | 5202 | 5116 | 5361 | 5316 | 5821 | 4288 | 4597 | 4686 | 4740 | 4641 | 4533 | 4439 | 4488 | 4452 | 4705 | 4586 | 4674 | 3653 | 3668 | 3759 | 3753 | 3755 | 3945 | 3836 | 3545 | 3745 | 3627 | 3435 | 3424 | 4164 | 4484 | 4375 | 4447 | 4295 | 4172 | 4194 | 4109 | 4276 | 4196 | 4285 | 4217 | 3783 | 4025 | 3869 | 4011 | 4006 | 3845 | 3726 | 3873 | 3769 | 3902 | 4045 | 3995 | 3702 | 3600 | 3807 | 3650 | 3816 | 3738 | 3771 | 3814 | 3861 | 3530 | 3874 | 3641 |  | 4135 | 4213 | 4280 | 3544 | 3643 | 3665 | 3833 | 3690 | 3659 | 299
9 | 9402.943 | 37.1 |  | 4918 | 5011 | 5106 | 4070 | 4444 | 4356 | 3426 | 3342 | 3573 | 3046 |  | 7662 | 7630 | 7436 | 7865 | 7537 | 7245 | 6934 | 6629 | 6674 | 6767 | 6862 | 7725 | 5924 | 6525 | 6380 | 6344 | 6468 | 5793 | 5745 | 5717 | 5906 | 6088 | 5984 | 6202 | 3738 | 3730 | 3899 | 3972 | 3878 | 4069 | 3967 | 3694 | 3841 | 3778 | 3535 | 3595 | 5515 | 5766 | 5736 | 5576 | 5409 | 5004 | 5145 | 4817 | 5060 | 5210 | 5512 | 5396 | 4213 | 4521 | 4397 | 4560 | 4555 | 4442 | 4213 | 4265 | 4018 | 4698 | 4930 | 4979 | 3847 | 3900 | 4033 | 3757 | 3950 | 3855 | 3919 | 3962 | 3995 | 3673 | 3977 | 3885 |  | 5388 | 5932 | 6301 | 3596 | 3805 | 3861 | 4001 | 3942 | 3869 | 291
10 | 10577.931 | 37.1 |  | 9306 | 9622 | 10836 | 6539 | 8525 | 6912 | 3583 | 3445 | 3628 | 3082 |  | 13369 | 13184 | 12062 | 13343 | 12697 | 11595 | 10560 | 10288 | 10494 | 10294 | 10088 | 11679 | 11304 | 12433 | 11899 | 11598 | 12152 | 10191 | 9654 | 9546 | 9794 | 9553 | 9689 | 9884 | 4190 | 4238 | 4406 | 4611 | 4229 | 4519 | 4353 | 4045 | 4410 | 4184 | 4080 | 4051 | 10475 | 11234 | 11452 | 10101 | 10313 | 9151 | 8465 | 7928 | 9008 | 8368 | 8524 | 8412 | 5693 | 6026 | 5943 | 6686 | 6802 | 6082 | 5902 | 5759 | 5490 | 6611 | 6911 | 7359 | 4342 | 4359 | 4475 | 4142 | 4371 | 4323 | 4244 | 4296 | 4451 | 4081 | 4516 | 4292 |  | 11963 | 13852 | 15113 | 3945 | 4290 | 4382 | 4327 | 4272 | 4181 | 295
11 | 11753.736 | 37.1 |  | 19223 | 19114 | 20662 | 13730 | 16998 | 14469 | 3710 | 3741 | 3858 | 3048 |  | 23889 | 23434 | 21657 | 23420 | 22670 | 20736 | 17984 | 18227 | 18945 | 16464 | 15887 | 18121 | 21352 | 22682 | 21824 | 21546 | 22886 | 18989 | 18281 | 18439 | 18746 | 15624 | 16212 | 16442 | 5242 | 5252 | 5555 | 6138 | 5487 | 5832 | 5693 | 5064 | 5697 | 5229 | 5130 | 5101 | 20431 | 21618 | 22181 | 18920 | 19967 | 16981 | 15993 | 15583 | 17596 | 13665 | 14317 | 14352 | 8911 | 9651 | 9449 | 11189 | 11623 | 10107 | 10349 | 9837 | 9275 | 9955 | 10671 | 10947 | 5019 | 4981 | 5059 | 4690 | 4944 | 4890 | 4908 | 5001 | 5203 | 4981 | 5671 | 5592 |  | 25615 | 27309 | 28935 | 4651 | 4814 | 4901 | 4975 | 4939 | 4802 | 293
12 | 12932.089 | 37 |  | 29559 | 28619 | 29230 | 21782 | 24923 | 23649 | 3845 | 3771 | 3976 | 2971 |  | 36407 | 35790 | 34746 | 34961 | 33946 | 31977 | 29439 | 29078 | 30548 | 22762 | 22621 | 23698 | 31428 | 33055 | 33600 | 32456 | 33337 | 30641 | 29129 | 29699 | 30479 | 22495 | 22897 | 23378 | 6831 | 6971 | 7182 | 7758 | 7227 | 7778 | 7340 | 6776 | 7618 | 6194 | 5948 | 5925 | 30324 | 31458 | 32400 | 29443 | 29791 | 26938 | 25212 | 26505 | 28447 | 20293 | 20997 | 20666 | 13899 | 14895 | 15008 | 18071 | 18948 | 17040 | 17056 | 16376 | 15873 | 14097 | 14598 | 14968 | 5982 | 5866 | 5843 | 5377 | 5842 | 5779 | 5895 | 5906 | 6176 | 5914 | 7110 | 7145 |  | 36342 | 39539 | 40434 | 5095 | 5328 | 5407 | 5833 | 5941 | 5728 | 263
13 | 14107.854 | 37.1 |  | 36948 | 36117 | 35985 | 27813 | 29034 | 31026 | 4064 | 4001 | 4207 | 2988 |  | 46103 | 45221 | 45172 | 44410 | 44115 | 43980 | 40094 | 40490 | 41703 | 28208 | 28126 | 27939 | 39694 | 41401 | 41663 | 40267 | 42174 | 40775 | 39530 | 40320 | 41116 | 28701 | 29204 | 29217 | 8346 | 8471 | 8756 | 8895 | 8492 | 9416 | 8919 | 8483 | 9217 | 6730 | 6794 | 6363 | 37653 | 38992 | 40253 | 36486 | 37950 | 36511 | 33044 | 35483 | 37241 | 25082 | 26192 | 24898 | 18573 | 19960 | 19556 | 24824 | 26031 | 25287 | 25344 | 24736 | 23775 | 18139 | 18736 | 18210 | 7059 | 7025 | 6994 | 6630 | 6955 | 6996 | 7440 | 7625 | 7725 | 7479 | 8812 | 8856 |  | 45537 | 46670 | 47817 | 5647 | 5808 | 5810 | 7169 | 7415 | 7136 | 250
14 | 15282.74 | 37 |  | 41008 | 38600 | 37894 | 29181 | 30237 | 33047 | 4104 | 3952 | 4196 | 2941 |  | 52873 | 51537 | 51685 | 49797 | 49388 | 50700 | 47457 | 48037 | 49697 | 31295 | 30724 | 29835 | 44526 | 45212 | 45086 | 45114 | 47641 | 46627 | 46439 | 47702 | 48426 | 32141 | 32296 | 31991 | 9359 | 9185 | 9568 | 9365 | 9486 | 10207 | 9769 | 9712 | 10215 | 6951 | 6694 | 6576 | 42241 | 43497 | 44451 | 40886 | 42342 | 42404 | 37148 | 42240 | 45009 | 27825 | 28446 | 26925 | 21699 | 22610 | 22260 | 28955 | 29771 | 30841 | 30564 | 30722 | 30352 | 20251 | 20385 | 19236 | 7855 | 7680 | 7870 | 7926 | 7973 | 8028 | 9274 | 9353 | 9191 | 8037 | 9780 | 9555 |  | 50541 | 52319 | 51577 | 5895 | 5939 | 6183 | 9333 | 9185 | 9452 | 267
15 | 16457.908 | 37.1 |  | 42215 | 39728 | 38475 | 29538 | 30266 | 33876 | 4053 | 3900 | 4217 | 2952 |  | 55593 | 54067 | 54526 | 52075 | 51798 | 53403 | 50121 | 53511 | 54574 | 32245 | 32584 | 30221 | 47102 | 47602 | 48040 | 47842 | 50869 | 50768 | 51188 | 52118 | 53012 | 33988 | 34077 | 33963 | 9526 | 9500 | 9826 | 9313 | 9612 | 10652 | 10364 | 10111 | 10540 | 6972 | 6818 | 6546 | 44079 | 45931 | 47188 | 42864 | 45048 | 45543 | 39119 | 45854 | 48620 | 27949 | 29186 | 27844 | 22384 | 23261 | 22885 | 30484 | 32241 | 33290 | 32727 | 33774 | 33363 | 20757 | 21129 | 19792 | 8453 | 8450 | 8207 | 8569 | 8802 | 9028 | 10978 | 11194 | 10759 | 8612 | 10450 | 10130 |  | 53841 | 54588 | 54363 | 6006 | 6095 | 6272 | 10584 | 10602 | 10557 | 273
16 | 17633.726 | 37 |  | 41764 | 40284 | 38485 | 29164 | 29634 | 32699 | 4100 | 3947 | 4218 | 2995 |  | 56754 | 55582 | 55808 | 52970 | 52912 | 55998 | 54865 | 54704 | 56055 | 32925 | 33293 | 30874 | 48660 | 49386 | 49438 | 49207 | 52972 | 52755 | 53226 | 55698 | 56534 | 34199 | 34348 | 33960 | 9446 | 9367 | 9731 | 9127 | 9660 | 10392 | 10113 | 10081 | 10609 | 6868 | 6663 | 6517 | 45630 | 45964 | 47326 | 44220 | 46510 | 47319 | 40239 | 48573 | 50249 | 28482 | 29084 | 27710 | 22004 | 22692 | 22492 | 30738 | 32503 | 34053 | 33827 | 34859 | 35103 | 20506 | 20427 | 19596 | 8574 | 8214 | 8243 | 9037 | 9244 | 9526 | 11867 | 11830 | 11542 | 8641 | 10581 | 10181 |  | 54772 | 53866 | 56537 | 5970 | 6085 | 6259 | 11284 | 11328 | 11305 | 257
17 | 18808.712 | 37.1 |  | 41468 | 39034 | 38518 | 28578 | 29031 | 32009 | 4040 | 3863 | 4141 | 2914 |  | 56960 | 56936 | 56765 | 53682 | 54246 | 56978 | 53513 | 56752 | 57061 | 33125 | 33148 | 30230 | 48908 | 49989 | 49685 | 49864 | 54105 | 54488 | 54484 | 57227 | 57756 | 34371 | 34138 | 33273 | 8877 | 9096 | 9113 | 9217 | 9429 | 10392 | 9956 | 10243 | 10868 | 6863 | 6566 | 6258 | 45938 | 46213 | 48377 | 43769 | 46140 | 47695 | 40828 | 49331 | 52447 | 27454 | 28395 | 27433 | 22108 | 23074 | 22684 | 30866 | 32468 | 35258 | 34952 | 35920 | 36673 | 20485 | 20657 | 19610 | 8697 | 8222 | 8395 | 9149 | 9217 | 9642 | 12725 | 12705 | 12005 | 8557 | 10273 | 9913 |  | 56515 | 55472 | 57347 | 5922 | 6089 | 5997 | 11749 | 11545 | 11814 | 279
18 | 19984.514 | 37.1 |  | 40636 | 38404 | 37819 | 28105 | 28268 | 31092 | 4072 | 3938 | 4140 | 2963 |  | 57979 | 56744 | 55959 | 52532 | 53821 | 55465 | 53810 | 55800 | 58203 | 32836 | 33174 | 30081 | 49100 | 49528 | 49444 | 49515 | 53611 | 53250 | 54375 | 56632 | 58525 | 33540 | 33634 | 32763 | 8961 | 8845 | 9363 | 8839 | 9148 | 9897 | 9669 | 10451 | 10706 | 6751 | 6649 | 6376 | 46481 | 45823 | 47947 | 44131 | 47976 | 48606 | 39915 | 49608 | 51777 | 28307 | 28697 | 27397 | 21509 | 21971 | 21520 | 29562 | 32306 | 34487 | 34883 | 35759 | 36715 | 19742 | 20403 | 19193 | 8536 | 8193 | 8104 | 9222 | 9262 | 9935 | 12795 | 13114 | 12476 | 8814 | 10505 | 10009 |  | 54759 | 57092 | 57341 | 5865 | 6006 | 6033 | 11781 | 11454 | 11929 | 270
19 | 21159.42 | 37.1 |  | 39414 | 37655 | 36981 | 27404 | 27799 | 30466 | 4040 | 3918 | 4086 | 3005 |  | 56635 | 54803 | 54691 | 51943 | 52684 | 55521 | 54094 | 56362 | 58715 | 32517 | 33025 | 29610 | 49060 | 48639 | 48910 | 49189 | 53897 | 53665 | 54312 | 57319 | 57683 | 33085 | 32970 | 32817 | 8736 | 8796 | 9241 | 8730 | 9044 | 9977 | 9692 | 10271 | 10580 | 6559 | 6374 | 6168 | 46204 | 45104 | 46926 | 43486 | 46780 | 47616 | 38948 | 50157 | 52077 | 26913 | 27890 | 26762 | 21129 | 21614 | 21520 | 30057 | 31372 | 34129 | 34358 | 35737 | 36255 | 19890 | 20255 | 18901 | 8505 | 8158 | 8111 | 8897 | 9152 | 9774 | 12805 | 13083 | 12296 | 8461 | 10113 | 9539 |  | 54925 | 55123 | 55576 | 5976 | 5913 | 6052 | 11663 | 11392 | 11667 | 256
20 | 22334.786 | 37.1 |  | 39055 | 36830 | 36077 | 26099 | 27225 | 29732 | 4116 | 3899 | 4064 | 2887 |  | 55282 | 53935 | 54254 | 53051 | 53807 | 55952 | 53577 | 56380 | 58137 | 31807 | 31531 | 28674 | 48773 | 48680 | 48863 | 50133 | 54056 | 53619 | 55142 | 57854 | 59358 | 33439 | 33295 | 32373 | 8552 | 8715 | 8903 | 8577 | 8899 | 9694 | 9400 | 9897 | 10354 | 6629 | 6361 | 6030 | 45544 | 45655 | 46628 | 43143 | 46312 | 47207 | 38276 | 49422 | 52297 | 26603 | 27975 | 26823 | 20026 | 20789 | 20348 | 28453 | 31536 | 33915 | 33724 | 35263 | 36091 | 19921 | 19688 | 18374 | 8289 | 7919 | 7978 | 8795 | 8963 | 9556 | 12494 | 12697 | 12118 | 8424 | 10028 | 9511 |  | 54231 | 55857 | 55986 | 5685 | 5907 | 6091 | 11445 | 11248 | 11792 | 266
End Time |  |  | A2: 2018-12-01 20:23:13
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12