## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-02
Time: |  |  |  | 8:28 AM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-01 20:34:06
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-01 20:34:03
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36 |  | 0.1061 | 0.1052 | 0.1037 | 0.1027 | 0.1052 | 0.1033 | 0.1109 | 0.1078 | 0.1045 | 0.1003 |  | 0.11 | 0.1071 | 0.1084 | 0.1124 | 0.1133 | 0.1094 | 0.1115 | 0.1063 | 0.1103 | 0.1115 | 0.1089 | 0.1095 | 0.1049 | 0.1126 | 0.1188 | 0.1115 | 0.1117 | 0.1098 | 0.1062 | 0.1042 | 0.1107 | 0.1092 | 0.1055 | 0.1053 | 0.1082 | 0.1107 | 0.1059 | 0.1086 | 0.1084 | 0.1053 | 0.1063 | 0.1066 | 0.106 | 0.108 | 0.1074 | 0.1099 | 0.1058 | 0.1163 | 0.1097 | 0.1127 | 0.1097 | 0.1094 | 0.1078 | 0.1059 | 0.1078 | 0.1086 | 0.1161 | 0.1131 | 0.1049 | 0.1088 | 0.1082 | 0.105 | 0.1086 | 0.1087 | 0.1064 | 0.1044 | 0.1059 | 0.103 | 0.1099 | 0.1039 | 0.1043 | 0.1105 | 0.1192 | 0.1136 | 0.1091 | 0.1139 | 0.1053 | 0.1086 | 0.1071 | 0.1124 | 0.1096 | 0.1086 |  | 0.1079 | 0.1096 | 0.1082 | 0.1069 | 0.1071 | 0.1054 | 0.1064 | 0.1114 | 0.1089 | 0.0853
2 | 1174.858 | 36.9 |  | 0.1085 | 0.1074 | 0.1067 | 0.1059 | 0.1091 | 0.107 | 0.1098 | 0.1095 | 0.1076 | 0.1008 |  | 0.1095 | 0.1126 | 0.1112 | 0.1113 | 0.1108 | 0.1099 | 0.1115 | 0.1091 | 0.1103 | 0.1103 | 0.1121 | 0.1089 | 0.1079 | 0.1129 | 0.1117 | 0.1118 | 0.1104 | 0.1105 | 0.11 | 0.111 | 0.1093 | 0.1111 | 0.1092 | 0.1091 | 0.1096 | 0.1119 | 0.1113 | 0.1143 | 0.1104 | 0.1089 | 0.1109 | 0.1087 | 0.1102 | 0.1116 | 0.1121 | 0.1127 | 0.1098 | 0.1153 | 0.112 | 0.1118 | 0.1103 | 0.1111 | 0.1116 | 0.1101 | 0.1092 | 0.1109 | 0.1125 | 0.1111 | 0.1078 | 0.1114 | 0.1082 | 0.1075 | 0.109 | 0.1091 | 0.1092 | 0.1094 | 0.1083 | 0.1067 | 0.1106 | 0.1067 | 0.1082 | 0.1103 | 0.1102 | 0.1107 | 0.1094 | 0.1105 | 0.1086 | 0.1074 | 0.1072 | 0.1074 | 0.1086 | 0.1095 |  | 0.1113 | 0.1119 | 0.1117 | 0.1093 | 0.1089 | 0.1077 | 0.1095 | 0.1117 | 0.1112 | 0.099
3 | 2349.841 | 36.9 |  | 0.1112 | 0.1102 | 0.1101 | 0.1098 | 0.1132 | 0.1117 | 0.117 | 0.1127 | 0.1113 | 0.0999 |  | 0.1109 | 0.1135 | 0.1134 | 0.1131 | 0.1126 | 0.1119 | 0.1121 | 0.1109 | 0.1119 | 0.1127 | 0.113 | 0.1114 | 0.1108 | 0.1146 | 0.1143 | 0.1138 | 0.1123 | 0.1129 | 0.1117 | 0.1116 | 0.1111 | 0.111 | 0.1114 | 0.1099 | 0.1123 | 0.1142 | 0.1136 | 0.1145 | 0.113 | 0.1133 | 0.1123 | 0.1118 | 0.1126 | 0.1133 | 0.1141 | 0.114 | 0.1114 | 0.1164 | 0.1138 | 0.1127 | 0.112 | 0.113 | 0.1128 | 0.1121 | 0.111 | 0.1112 | 0.114 | 0.1124 | 0.1096 | 0.114 | 0.1112 | 0.1089 | 0.1107 | 0.111 | 0.1106 | 0.111 | 0.1092 | 0.1092 | 0.1122 | 0.1079 | 0.1099 | 0.1117 | 0.1123 | 0.1127 | 0.1108 | 0.1118 | 0.11 | 0.1079 | 0.1078 | 0.1084 | 0.1095 | 0.1103 |  | 0.1144 | 0.1155 | 0.1156 | 0.1114 | 0.1117 | 0.1103 | 0.112 | 0.1143 | 0.1142 | 0.0867
4 | 3525.67 | 37 |  | 0.1175 | 0.1179 | 0.1186 | 0.1186 | 0.1228 | 0.1218 | 0.1299 | 0.1206 | 0.1211 | 0.1008 |  | 0.1162 | 0.1226 | 0.1192 | 0.1211 | 0.1191 | 0.1179 | 0.1178 | 0.1144 | 0.114 | 0.1141 | 0.1147 | 0.1107 | 0.1169 | 0.1253 | 0.1234 | 0.1221 | 0.12 | 0.12 | 0.1174 | 0.1171 | 0.1161 | 0.114 | 0.1139 | 0.1124 | 0.1185 | 0.1212 | 0.1211 | 0.122 | 0.1191 | 0.1185 | 0.1162 | 0.1148 | 0.1164 | 0.1153 | 0.1169 | 0.1158 | 0.1193 | 0.125 | 0.1219 | 0.1206 | 0.1192 | 0.1198 | 0.1188 | 0.1174 | 0.1159 | 0.1139 | 0.1164 | 0.115 | 0.1147 | 0.1192 | 0.1157 | 0.1143 | 0.1157 | 0.1163 | 0.1151 | 0.1156 | 0.1129 | 0.1094 | 0.1146 | 0.1093 | 0.1154 | 0.1195 | 0.1196 | 0.1186 | 0.1163 | 0.1174 | 0.1132 | 0.1113 | 0.1113 | 0.1107 | 0.1115 | 0.1121 |  | 0.1215 | 0.1244 | 0.1238 | 0.1171 | 0.1181 | 0.1157 | 0.1183 | 0.1239 | 0.1217 | 0.0862
5 | 4700.669 | 37.1 |  | 0.1295 | 0.1314 | 0.1329 | 0.1343 | 0.141 | 0.1387 | 0.1538 | 0.1339 | 0.1357 | 0.1003 |  | 0.1273 | 0.135 | 0.1296 | 0.13 | 0.1277 | 0.1257 | 0.1231 | 0.121 | 0.1211 | 0.1187 | 0.1177 | 0.1144 | 0.1321 | 0.1426 | 0.1393 | 0.136 | 0.1322 | 0.1304 | 0.1254 | 0.1249 | 0.124 | 0.1179 | 0.1173 | 0.1155 | 0.131 | 0.1391 | 0.135 | 0.1343 | 0.1295 | 0.1287 | 0.1246 | 0.1212 | 0.1241 | 0.1195 | 0.1201 | 0.1187 | 0.133 | 0.1427 | 0.1371 | 0.1335 | 0.1309 | 0.1314 | 0.1278 | 0.1261 | 0.1234 | 0.1176 | 0.1202 | 0.1185 | 0.1232 | 0.1293 | 0.126 | 0.1216 | 0.1237 | 0.1234 | 0.1215 | 0.1221 | 0.118 | 0.1123 | 0.1164 | 0.1115 | 0.1263 | 0.1328 | 0.1315 | 0.1284 | 0.1246 | 0.1252 | 0.1175 | 0.1145 | 0.1151 | 0.1125 | 0.1131 | 0.1139 |  | 0.1324 | 0.137 | 0.137 | 0.1254 | 0.1289 | 0.1246 | 0.1295 | 0.1368 | 0.1348 | 0.0858
6 | 5876.48 | 37 |  | 0.157 | 0.1625 | 0.1764 | 0.1801 | 0.1751 | 0.1859 | 0.1992 | 0.1609 | 0.1678 | 0.1003 |  | 0.1582 | 0.1725 | 0.1567 | 0.1551 | 0.154 | 0.1463 | 0.1358 | 0.1311 | 0.132 | 0.1224 | 0.1218 | 0.1219 | 0.1699 | 0.1841 | 0.1803 | 0.1703 | 0.1628 | 0.1565 | 0.1414 | 0.1397 | 0.1387 | 0.1238 | 0.1225 | 0.1213 | 0.1635 | 0.1781 | 0.1683 | 0.1654 | 0.1566 | 0.151 | 0.1403 | 0.1347 | 0.138 | 0.123 | 0.1266 | 0.1238 | 0.1687 | 0.1903 | 0.1741 | 0.1653 | 0.1585 | 0.158 | 0.1452 | 0.1406 | 0.1362 | 0.125 | 0.1274 | 0.1239 | 0.1444 | 0.1586 | 0.1536 | 0.1391 | 0.1395 | 0.1401 | 0.1318 | 0.1323 | 0.1267 | 0.1161 | 0.1208 | 0.1161 | 0.1536 | 0.178 | 0.165 | 0.1513 | 0.1457 | 0.1445 | 0.1265 | 0.1222 | 0.1228 | 0.1167 | 0.1172 | 0.1168 |  | 0.1575 | 0.1676 | 0.1681 | 0.1448 | 0.1499 | 0.1423 | 0.1499 | 0.1588 | 0.155 | 0.0872
7 | 7051.365 | 37 |  | 0.191 | 0.1978 | 0.2074 | 0.2132 | 0.228 | 0.2246 | 0.2649 | 0.2021 | 0.2069 | 0.1007 |  | 0.1772 | 0.1916 | 0.1802 | 0.1707 | 0.1678 | 0.1699 | 0.1468 | 0.1416 | 0.1457 | 0.1272 | 0.1267 | 0.1229 | 0.1951 | 0.2137 | 0.2035 | 0.1904 | 0.1854 | 0.1836 | 0.1567 | 0.1542 | 0.1556 | 0.1294 | 0.1286 | 0.1266 | 0.1923 | 0.2043 | 0.1972 | 0.1921 | 0.1809 | 0.1755 | 0.1527 | 0.1453 | 0.1502 | 0.1279 | 0.1323 | 0.1296 | 0.1989 | 0.209 | 0.2004 | 0.1883 | 0.1829 | 0.1818 | 0.1594 | 0.1545 | 0.1493 | 0.13 | 0.1328 | 0.1301 | 0.176 | 0.1807 | 0.1766 | 0.1595 | 0.16 | 0.1591 | 0.1431 | 0.1467 | 0.1396 | 0.1205 | 0.1254 | 0.1195 | 0.1846 | 0.2059 | 0.1941 | 0.175 | 0.1648 | 0.1673 | 0.1334 | 0.1292 | 0.1307 | 0.1195 | 0.12 | 0.1194 |  | 0.1972 | 0.21 | 0.2123 | 0.1754 | 0.183 | 0.1713 | 0.182 | 0.1984 | 0.1948 | 0.0928
8 | 8226.497 | 37 |  | 0.2954 | 0.3183 | 0.3518 | 0.3401 | 0.3269 | 0.349 | 0.3811 | 0.2733 | 0.3091 | 0.1006 |  | 0.2539 | 0.2807 | 0.257 | 0.2445 | 0.2402 | 0.224 | 0.1695 | 0.1671 | 0.1659 | 0.1378 | 0.1337 | 0.1326 | 0.3007 | 0.3183 | 0.3208 | 0.2924 | 0.2899 | 0.2722 | 0.191 | 0.1919 | 0.1847 | 0.1401 | 0.1381 | 0.1368 | 0.2849 | 0.3085 | 0.302 | 0.2802 | 0.2718 | 0.2523 | 0.1843 | 0.1713 | 0.1793 | 0.1379 | 0.1425 | 0.1383 | 0.2972 | 0.3337 | 0.299 | 0.2755 | 0.2647 | 0.2615 | 0.1934 | 0.1848 | 0.1786 | 0.141 | 0.1435 | 0.1392 | 0.2466 | 0.2581 | 0.2492 | 0.2136 | 0.2117 | 0.2063 | 0.1682 | 0.1729 | 0.1621 | 0.1281 | 0.1334 | 0.1271 | 0.2759 | 0.3033 | 0.2819 | 0.2418 | 0.2334 | 0.2208 | 0.1481 | 0.1416 | 0.1449 | 0.1243 | 0.1247 | 0.1236 |  | 0.2756 | 0.2984 | 0.3013 | 0.24 | 0.2539 | 0.2307 | 0.2479 | 0.273 | 0.2647 | 0.0871
9 | 9402.305 | 36.9 |  | 0.3404 | 0.3532 | 0.3789 | 0.3988 | 0.4048 | 0.4134 | 0.487 | 0.377 | 0.3939 | 0.0998 |  | 0.3037 | 0.33 | 0.2941 | 0.2734 | 0.2722 | 0.2606 | 0.1953 | 0.1907 | 0.1921 | 0.1414 | 0.1388 | 0.1393 | 0.3589 | 0.3831 | 0.3572 | 0.3307 | 0.3268 | 0.3077 | 0.207 | 0.2109 | 0.2066 | 0.1452 | 0.1448 | 0.1432 | 0.3579 | 0.3824 | 0.3577 | 0.3412 | 0.3313 | 0.3135 | 0.2149 | 0.1963 | 0.2085 | 0.1439 | 0.1496 | 0.1463 | 0.3739 | 0.3792 | 0.3565 | 0.3387 | 0.3214 | 0.3159 | 0.2211 | 0.2098 | 0.2048 | 0.1466 | 0.1487 | 0.1461 | 0.3392 | 0.3416 | 0.3229 | 0.2804 | 0.2796 | 0.2682 | 0.1961 | 0.2027 | 0.1889 | 0.1339 | 0.1395 | 0.1331 | 0.3556 | 0.3838 | 0.3671 | 0.3267 | 0.2928 | 0.296 | 0.1648 | 0.1576 | 0.1617 | 0.1292 | 0.1303 | 0.1288 |  | 0.3692 | 0.3942 | 0.3997 | 0.3354 | 0.3522 | 0.3208 | 0.3449 | 0.3697 | 0.36 | 0.0866
10 | 10577.307 | 37.1 |  | 0.5143 | 0.5378 | 0.5722 | 0.5567 | 0.537 | 0.5757 | 0.61 | 0.4937 | 0.5445 | 0.0996 |  | 0.449 | 0.4718 | 0.4238 | 0.3969 | 0.3869 | 0.3752 | 0.2416 | 0.2362 | 0.2333 | 0.1536 | 0.1485 | 0.1543 | 0.5206 | 0.5338 | 0.5248 | 0.4822 | 0.488 | 0.4585 | 0.2746 | 0.2869 | 0.2695 | 0.1599 | 0.1582 | 0.159 | 0.5047 | 0.5264 | 0.5107 | 0.481 | 0.4838 | 0.4573 | 0.2889 | 0.2539 | 0.2694 | 0.159 | 0.1649 | 0.1594 | 0.5278 | 0.5312 | 0.5044 | 0.484 | 0.4734 | 0.4651 | 0.2917 | 0.2694 | 0.2611 | 0.16 | 0.1624 | 0.1583 | 0.4642 | 0.4693 | 0.4468 | 0.3993 | 0.4027 | 0.3874 | 0.2524 | 0.2572 | 0.2378 | 0.1444 | 0.1505 | 0.1434 | 0.5 | 0.5273 | 0.5022 | 0.4486 | 0.42 | 0.418 | 0.1986 | 0.1871 | 0.1942 | 0.138 | 0.1377 | 0.1355 |  | 0.495 | 0.5169 | 0.5202 | 0.4456 | 0.4644 | 0.43 | 0.4552 | 0.4908 | 0.4785 | 0.1055
11 | 11753.114 | 37.1 |  | 0.5556 | 0.5647 | 0.5834 | 0.602 | 0.6169 | 0.6123 | 0.6689 | 0.5861 | 0.6009 | 0.1006 |  | 0.527 | 0.5514 | 0.5076 | 0.4771 | 0.4778 | 0.4731 | 0.2943 | 0.2834 | 0.2807 | 0.1591 | 0.1556 | 0.1536 | 0.6054 | 0.6206 | 0.5901 | 0.549 | 0.5465 | 0.528 | 0.3133 | 0.3213 | 0.3088 | 0.1656 | 0.1655 | 0.1635 | 0.5779 | 0.6076 | 0.5717 | 0.556 | 0.5499 | 0.5331 | 0.3356 | 0.3009 | 0.3221 | 0.1651 | 0.1741 | 0.1682 | 0.6165 | 0.6097 | 0.5811 | 0.5517 | 0.5388 | 0.5317 | 0.3284 | 0.3162 | 0.3089 | 0.1682 | 0.1699 | 0.1665 | 0.5493 | 0.557 | 0.5315 | 0.4901 | 0.4901 | 0.476 | 0.2945 | 0.3085 | 0.2885 | 0.1513 | 0.1578 | 0.1515 | 0.5941 | 0.6178 | 0.5892 | 0.5407 | 0.5152 | 0.518 | 0.2309 | 0.2198 | 0.2299 | 0.142 | 0.143 | 0.1405 |  | 0.5855 | 0.6024 | 0.6058 | 0.541 | 0.5645 | 0.5331 | 0.5632 | 0.6003 | 0.5856 | 0.087
12 | 12931.472 | 37.1 |  | 0.6654 | 0.675 | 0.7016 | 0.7235 | 0.7072 | 0.7342 | 0.7536 | 0.6752 | 0.6921 | 0.1007 |  | 0.6666 | 0.6715 | 0.6291 | 0.5966 | 0.5933 | 0.5801 | 0.3689 | 0.3486 | 0.3374 | 0.1723 | 0.1685 | 0.1721 | 0.7143 | 0.7311 | 0.7025 | 0.6671 | 0.6651 | 0.644 | 0.3974 | 0.412 | 0.3835 | 0.1839 | 0.182 | 0.1802 | 0.6923 | 0.7079 | 0.6763 | 0.6637 | 0.6594 | 0.6468 | 0.4295 | 0.3806 | 0.4088 | 0.1827 | 0.1888 | 0.181 | 0.728 | 0.7204 | 0.6948 | 0.6712 | 0.6589 | 0.6504 | 0.4165 | 0.3934 | 0.3829 | 0.1858 | 0.1861 | 0.1807 | 0.683 | 0.6831 | 0.6485 | 0.6127 | 0.6147 | 0.5981 | 0.3759 | 0.3848 | 0.3664 | 0.1644 | 0.1713 | 0.1637 | 0.7032 | 0.7211 | 0.6983 | 0.6613 | 0.6387 | 0.6432 | 0.2976 | 0.2823 | 0.2958 | 0.1566 | 0.1541 | 0.15 |  | 0.6906 | 0.7058 | 0.7074 | 0.6447 | 0.6607 | 0.6345 | 0.6588 | 0.6861 | 0.6781 | 0.0863
13 | 14107.241 | 37 |  | 0.7194 | 0.7231 | 0.7435 | 0.8154 | 0.764 | 0.8234 | 0.8316 | 0.7275 | 0.7476 | 0.1007 |  | 0.7338 | 0.7314 | 0.7059 | 0.6842 | 0.684 | 0.6723 | 0.4264 | 0.409 | 0.3893 | 0.1843 | 0.1802 | 0.1814 | 0.794 | 0.7903 | 0.7626 | 0.7482 | 0.7474 | 0.7271 | 0.452 | 0.4598 | 0.4335 | 0.1961 | 0.1932 | 0.1909 | 0.7653 | 0.7889 | 0.745 | 0.7298 | 0.7278 | 0.7215 | 0.4906 | 0.4385 | 0.4697 | 0.1961 | 0.2021 | 0.1927 | 0.8178 | 0.7872 | 0.7574 | 0.7393 | 0.7344 | 0.7251 | 0.4607 | 0.4406 | 0.4306 | 0.1999 | 0.2024 | 0.1935 | 0.7458 | 0.741 | 0.7066 | 0.6887 | 0.694 | 0.6827 | 0.436 | 0.4474 | 0.4316 | 0.178 | 0.1833 | 0.1758 | 0.8039 | 0.7618 | 0.7347 | 0.7193 | 0.7053 | 0.7062 | 0.351 | 0.3379 | 0.3532 | 0.1663 | 0.1628 | 0.1572 |  | 0.7333 | 0.7416 | 0.7512 | 0.6982 | 0.7136 | 0.6892 | 0.7086 | 0.7274 | 0.719 | 0.2076
14 | 15282.134 | 36.9 |  | 0.6867 | 0.6838 | 0.7375 | 0.7818 | 0.7825 | 0.8101 | 0.8352 | 0.7537 | 0.7856 | 0.1006 |  | 0.7046 | 0.7011 | 0.6944 | 0.6724 | 0.6792 | 0.6914 | 0.4451 | 0.4256 | 0.4091 | 0.1842 | 0.1829 | 0.1824 | 0.7582 | 0.751 | 0.7305 | 0.715 | 0.7211 | 0.7191 | 0.4643 | 0.4861 | 0.453 | 0.1966 | 0.1968 | 0.1931 | 0.743 | 0.7523 | 0.7222 | 0.7253 | 0.725 | 0.7191 | 0.5146 | 0.479 | 0.5139 | 0.2021 | 0.2097 | 0.2008 | 0.7937 | 0.7467 | 0.7371 | 0.7397 | 0.7362 | 0.7339 | 0.4823 | 0.4728 | 0.467 | 0.2017 | 0.202 | 0.1989 | 0.7268 | 0.7122 | 0.6878 | 0.6896 | 0.6969 | 0.6868 | 0.4782 | 0.4932 | 0.4852 | 0.1842 | 0.1922 | 0.1832 | 0.7809 | 0.7566 | 0.7197 | 0.7224 | 0.708 | 0.7182 | 0.3945 | 0.3903 | 0.4085 | 0.1695 | 0.1689 | 0.1648 |  | 0.7506 | 0.7446 | 0.7459 | 0.7135 | 0.7353 | 0.7105 | 0.7391 | 0.7508 | 0.7341 | 0.0869
15 | 16457.188 | 37.1 |  | 0.7855 | 0.7944 | 0.8361 | 0.8418 | 0.8041 | 0.8541 | 0.8436 | 0.7524 | 0.8142 | 0.1004 |  | 0.7991 | 0.7992 | 0.7483 | 0.7526 | 0.7576 | 0.7582 | 0.5017 | 0.477 | 0.4395 | 0.1976 | 0.1951 | 0.1976 | 0.8651 | 0.8492 | 0.8239 | 0.7946 | 0.8075 | 0.7878 | 0.5256 | 0.5405 | 0.5075 | 0.2129 | 0.2106 | 0.2066 | 0.8264 | 0.8384 | 0.7954 | 0.7821 | 0.7741 | 0.7524 | 0.5561 | 0.5257 | 0.558 | 0.2152 | 0.2198 | 0.2128 | 0.8877 | 0.8022 | 0.7895 | 0.8018 | 0.79 | 0.7857 | 0.5239 | 0.5208 | 0.5156 | 0.2173 | 0.2172 | 0.2152 | 0.8244 | 0.7863 | 0.768 | 0.7515 | 0.7437 | 0.7294 | 0.5238 | 0.5377 | 0.5343 | 0.2007 | 0.2048 | 0.2005 | 0.8441 | 0.7871 | 0.7696 | 0.7685 | 0.7511 | 0.7513 | 0.4401 | 0.4304 | 0.4511 | 0.1839 | 0.1808 | 0.1748 |  | 0.7876 | 0.7945 | 0.8014 | 0.7772 | 0.7941 | 0.7616 | 0.7853 | 0.7962 | 0.7796 | 0.0859
16 | 17632.997 | 36.9 |  | 0.8139 | 0.8152 | 0.8533 | 0.8628 | 0.8215 | 0.8547 | 0.866 | 0.7555 | 0.8265 | 0.1006 |  | 0.8281 | 0.8124 | 0.7913 | 0.7994 | 0.8085 | 0.7948 | 0.5301 | 0.5126 | 0.4825 | 0.2111 | 0.208 | 0.2029 | 0.9009 | 0.8778 | 0.8406 | 0.8458 | 0.8512 | 0.821 | 0.5503 | 0.5631 | 0.5411 | 0.2219 | 0.2194 | 0.2141 | 0.8476 | 0.8439 | 0.8273 | 0.8102 | 0.8058 | 0.7791 | 0.6213 | 0.5626 | 0.6163 | 0.223 | 0.2276 | 0.2203 | 0.943 | 0.8565 | 0.8358 | 0.8693 | 0.8482 | 0.8244 | 0.5417 | 0.5391 | 0.5325 | 0.2242 | 0.2263 | 0.2227 | 0.8266 | 0.7845 | 0.7509 | 0.7587 | 0.7684 | 0.7443 | 0.5475 | 0.5698 | 0.5656 | 0.2085 | 0.2127 | 0.2079 | 0.9336 | 0.8088 | 0.7817 | 0.784 | 0.7616 | 0.7799 | 0.4852 | 0.4808 | 0.5009 | 0.1974 | 0.1948 | 0.1862 |  | 0.7873 | 0.7858 | 0.7899 | 0.7786 | 0.8047 | 0.7769 | 0.7913 | 0.8033 | 0.7994 | 0.0868
17 | 18807.995 | 36.9 |  | 0.7124 | 0.7304 | 0.7629 | 0.8002 | 0.7788 | 0.842 | 0.8543 | 0.7574 | 0.8165 | 0.1003 |  | 0.7318 | 0.721 | 0.7038 | 0.7092 | 0.7278 | 0.7486 | 0.5066 | 0.5069 | 0.484 | 0.2152 | 0.2107 | 0.2093 | 0.7744 | 0.7667 | 0.761 | 0.741 | 0.7591 | 0.7616 | 0.532 | 0.5552 | 0.5332 | 0.2265 | 0.2247 | 0.219 | 0.7521 | 0.7491 | 0.7338 | 0.727 | 0.7389 | 0.7347 | 0.6051 | 0.5704 | 0.6189 | 0.2257 | 0.2291 | 0.2251 | 0.837 | 0.7546 | 0.7266 | 0.7454 | 0.7478 | 0.7517 | 0.5293 | 0.5288 | 0.5279 | 0.2292 | 0.2305 | 0.2291 | 0.7677 | 0.7404 | 0.7088 | 0.716 | 0.728 | 0.7176 | 0.5587 | 0.5847 | 0.5921 | 0.2182 | 0.2206 | 0.2175 | 0.8255 | 0.7581 | 0.7392 | 0.7437 | 0.7245 | 0.7455 | 0.5087 | 0.5074 | 0.5281 | 0.2024 | 0.2022 | 0.197 |  | 0.7609 | 0.7592 | 0.7661 | 0.7694 | 0.7861 | 0.7696 | 0.8046 | 0.804 | 0.8023 | 0.086
18 | 19983.802 | 37 |  | 0.7963 | 0.802 | 0.8206 | 0.8312 | 0.7941 | 0.8461 | 0.8535 | 0.7525 | 0.8239 | 0.1007 |  | 0.8064 | 0.7868 | 0.7461 | 0.7772 | 0.773 | 0.7725 | 0.5314 | 0.5218 | 0.4996 | 0.2244 | 0.2241 | 0.2156 | 0.892 | 0.8394 | 0.8002 | 0.7961 | 0.7885 | 0.7808 | 0.551 | 0.5845 | 0.5436 | 0.235 | 0.2303 | 0.2234 | 0.7903 | 0.8066 | 0.7531 | 0.7655 | 0.7627 | 0.7488 | 0.6649 | 0.6214 | 0.6694 | 0.2325 | 0.2339 | 0.228 | 0.9209 | 0.8068 | 0.7814 | 0.8165 | 0.7975 | 0.7906 | 0.5515 | 0.548 | 0.5504 | 0.2402 | 0.2408 | 0.2388 | 0.775 | 0.7476 | 0.708 | 0.7188 | 0.7322 | 0.7349 | 0.6061 | 0.641 | 0.6424 | 0.2258 | 0.2308 | 0.2275 | 0.8482 | 0.7703 | 0.7473 | 0.7528 | 0.7399 | 0.7604 | 0.5477 | 0.5487 | 0.571 | 0.2158 | 0.2143 | 0.2074 |  | 0.795 | 0.8014 | 0.8121 | 0.8099 | 0.8326 | 0.8227 | 0.8422 | 0.8391 | 0.8197 | 0.086
19 | 21158.78 | 37 |  | 0.8151 | 0.8236 | 0.8344 | 0.8184 | 0.8017 | 0.8415 | 0.8668 | 0.7605 | 0.834 | 0.1006 |  | 0.8589 | 0.8361 | 0.7842 | 0.8116 | 0.7949 | 0.7869 | 0.5511 | 0.542 | 0.5055 | 0.2311 | 0.2299 | 0.2248 | 0.8496 | 0.8262 | 0.7975 | 0.8173 | 0.8083 | 0.7932 | 0.5818 | 0.6159 | 0.5652 | 0.2427 | 0.2376 | 0.2309 | 0.8216 | 0.8428 | 0.7884 | 0.7933 | 0.7859 | 0.7613 | 0.686 | 0.6466 | 0.6848 | 0.2372 | 0.2356 | 0.2321 | 0.9278 | 0.8158 | 0.8011 | 0.8372 | 0.8215 | 0.8174 | 0.5862 | 0.5763 | 0.5741 | 0.2484 | 0.2492 | 0.2475 | 0.8099 | 0.7769 | 0.7121 | 0.7212 | 0.7296 | 0.7371 | 0.6167 | 0.6508 | 0.6568 | 0.2302 | 0.2324 | 0.235 | 0.8241 | 0.7901 | 0.7577 | 0.7557 | 0.7457 | 0.7797 | 0.5708 | 0.5707 | 0.5828 | 0.2276 | 0.2262 | 0.2183 |  | 0.8158 | 0.8493 | 0.8571 | 0.8539 | 0.8702 | 0.8264 | 0.8637 | 0.8559 | 0.8266 | 0.0865
20 | 22334.605 | 37 |  | 0.8081 | 0.8195 | 0.8107 | 0.8331 | 0.8086 | 0.834 | 0.8622 | 0.7561 | 0.8246 | 0.1005 |  | 0.8188 | 0.8085 | 0.789 | 0.8161 | 0.7925 | 0.7855 | 0.5474 | 0.5411 | 0.5109 | 0.2352 | 0.2351 | 0.2257 | 0.8131 | 0.7832 | 0.7656 | 0.8201 | 0.7903 | 0.7822 | 0.5876 | 0.6153 | 0.5636 | 0.2449 | 0.2392 | 0.2313 | 0.79 | 0.8223 | 0.7809 | 0.7939 | 0.7864 | 0.7699 | 0.6887 | 0.664 | 0.7056 | 0.2345 | 0.2334 | 0.2307 | 0.8975 | 0.8167 | 0.7865 | 0.8188 | 0.8041 | 0.7985 | 0.5688 | 0.5658 | 0.5677 | 0.2517 | 0.2523 | 0.2511 | 0.7751 | 0.7565 | 0.7104 | 0.7261 | 0.7467 | 0.7409 | 0.6248 | 0.6651 | 0.6685 | 0.2332 | 0.2352 | 0.2396 | 0.8253 | 0.778 | 0.7512 | 0.7528 | 0.7374 | 0.7681 | 0.5645 | 0.5672 | 0.5794 | 0.2316 | 0.2319 | 0.2229 |  | 0.7862 | 0.7877 | 0.7983 | 0.8076 | 0.8302 | 0.8029 | 0.8331 | 0.8358 | 0.8223 | 0.0866
21 | 23509.495 | 37 |  | 0.789 | 0.797 | 0.786 | 0.8504 | 0.8271 | 0.8529 | 0.8748 | 0.7609 | 0.8346 | 0.1006 |  | 0.7872 | 0.7773 | 0.765 | 0.7976 | 0.7731 | 0.7615 | 0.5542 | 0.5492 | 0.5144 | 0.2394 | 0.2403 | 0.23 | 0.8319 | 0.7951 | 0.7583 | 0.7911 | 0.7607 | 0.7613 | 0.5971 | 0.6243 | 0.566 | 0.2494 | 0.2425 | 0.2346 | 0.8195 | 0.8323 | 0.7838 | 0.7949 | 0.7967 | 0.771 | 0.6864 | 0.6739 | 0.6952 | 0.2352 | 0.2328 | 0.2301 | 0.9052 | 0.8041 | 0.7744 | 0.8154 | 0.7975 | 0.7968 | 0.5834 | 0.5679 | 0.5695 | 0.2553 | 0.2552 | 0.2547 | 0.7891 | 0.7704 | 0.7131 | 0.7412 | 0.7577 | 0.7466 | 0.637 | 0.6705 | 0.6785 | 0.236 | 0.2367 | 0.2415 | 0.8592 | 0.7896 | 0.758 | 0.7666 | 0.7491 | 0.7805 | 0.5705 | 0.5778 | 0.5897 | 0.2412 | 0.2429 | 0.2337 |  | 0.7924 | 0.7896 | 0.7797 | 0.804 | 0.8273 | 0.8029 | 0.8454 | 0.8465 | 0.8386 | 0.0871
22 | 24684.481 | 37 |  | 0.6826 | 0.6856 | 0.6983 | 0.7825 | 0.7675 | 0.7965 | 0.8273 | 0.7529 | 0.8139 | 0.1002 |  | 0.7194 | 0.6936 | 0.6779 | 0.6944 | 0.6983 | 0.7082 | 0.5522 | 0.5377 | 0.5057 | 0.2416 | 0.2421 | 0.2337 | 0.7796 | 0.7612 | 0.7191 | 0.7224 | 0.7263 | 0.7236 | 0.5718 | 0.6031 | 0.5551 | 0.2509 | 0.2453 | 0.2378 | 0.7686 | 0.7792 | 0.7357 | 0.7492 | 0.7446 | 0.7322 | 0.6618 | 0.6364 | 0.6927 | 0.2356 | 0.2319 | 0.2312 | 0.8271 | 0.744 | 0.7259 | 0.7737 | 0.7534 | 0.7461 | 0.5675 | 0.5559 | 0.5555 | 0.2548 | 0.2537 | 0.253 | 0.7842 | 0.7362 | 0.6996 | 0.7231 | 0.7494 | 0.7259 | 0.6157 | 0.663 | 0.6697 | 0.2331 | 0.2348 | 0.2402 | 0.8033 | 0.7546 | 0.7389 | 0.7514 | 0.7289 | 0.7574 | 0.5584 | 0.5625 | 0.5741 | 0.2426 | 0.2455 | 0.2378 |  | 0.7871 | 0.7722 | 0.7711 | 0.8058 | 0.8331 | 0.8046 | 0.8402 | 0.8299 | 0.8175 | 0.0862
23 | 25860.288 | 36.9 |  | 0.6854 | 0.6912 | 0.7125 | 0.7667 | 0.7629 | 0.7794 | 0.8217 | 0.7441 | 0.8102 | 0.1004 |  | 0.7177 | 0.693 | 0.6749 | 0.692 | 0.7021 | 0.7076 | 0.5483 | 0.5332 | 0.4954 | 0.2448 | 0.2433 | 0.2339 | 0.8193 | 0.7672 | 0.7353 | 0.7108 | 0.7171 | 0.718 | 0.5614 | 0.5962 | 0.5453 | 0.2516 | 0.2457 | 0.2375 | 0.7487 | 0.7595 | 0.7243 | 0.7653 | 0.7498 | 0.7378 | 0.6729 | 0.6514 | 0.7039 | 0.2331 | 0.2303 | 0.2294 | 0.8167 | 0.7268 | 0.7079 | 0.745 | 0.7345 | 0.7345 | 0.5642 | 0.5502 | 0.5571 | 0.255 | 0.2538 | 0.2529 | 0.7558 | 0.7244 | 0.688 | 0.7204 | 0.7378 | 0.719 | 0.618 | 0.6671 | 0.6769 | 0.2341 | 0.2354 | 0.2389 | 0.8278 | 0.7446 | 0.7297 | 0.7636 | 0.7347 | 0.7754 | 0.5644 | 0.57 | 0.584 | 0.2493 | 0.2512 | 0.2426 |  | 0.7373 | 0.7358 | 0.7349 | 0.7793 | 0.8072 | 0.7935 | 0.8345 | 0.8256 | 0.8065 | 0.0865
24 | 27035.274 | 36.9 |  | 0.6664 | 0.6672 | 0.6947 | 0.7446 | 0.7394 | 0.7757 | 0.8226 | 0.7496 | 0.8419 | 0.0999 |  | 0.6993 | 0.6655 | 0.6489 | 0.654 | 0.6714 | 0.6667 | 0.5191 | 0.5136 | 0.4782 | 0.2443 | 0.2453 | 0.2364 | 0.7645 | 0.7383 | 0.7154 | 0.6956 | 0.7138 | 0.7094 | 0.5531 | 0.5932 | 0.5463 | 0.2544 | 0.2502 | 0.2413 | 0.7583 | 0.7614 | 0.7121 | 0.7143 | 0.7225 | 0.7194 | 0.6681 | 0.6498 | 0.7019 | 0.2336 | 0.2325 | 0.2303 | 0.8346 | 0.7297 | 0.702 | 0.7383 | 0.7251 | 0.7262 | 0.5584 | 0.5479 | 0.556 | 0.2571 | 0.2553 | 0.2573 | 0.7658 | 0.7378 | 0.7013 | 0.7169 | 0.7324 | 0.7166 | 0.6193 | 0.6731 | 0.6853 | 0.2334 | 0.2348 | 0.2412 | 0.8721 | 0.756 | 0.7402 | 0.7455 | 0.7406 | 0.7558 | 0.567 | 0.5569 | 0.5735 | 0.2512 | 0.2545 | 0.2478 |  | 0.7746 | 0.7534 | 0.7484 | 0.7741 | 0.7977 | 0.7807 | 0.8213 | 0.8188 | 0.8141 | 0.0862
25 | 28211.094 | 37.2 |  | 0.7418 | 0.7311 | 0.7861 | 0.8056 | 0.7704 | 0.8256 | 0.8367 | 0.7356 | 0.8348 | 0.1007 |  | 0.746 | 0.7092 | 0.6611 | 0.6792 | 0.6824 | 0.6807 | 0.5592 | 0.5396 | 0.4909 | 0.2464 | 0.2485 | 0.2379 | 0.8678 | 0.8018 | 0.7496 | 0.7112 | 0.7179 | 0.7151 | 0.5844 | 0.614 | 0.5596 | 0.2559 | 0.2497 | 0.2408 | 0.7884 | 0.7843 | 0.7363 | 0.75 | 0.7503 | 0.738 | 0.7052 | 0.6767 | 0.7224 | 0.2337 | 0.232 | 0.2291 | 0.8527 | 0.7443 | 0.7252 | 0.7541 | 0.7411 | 0.7425 | 0.5874 | 0.5715 | 0.576 | 0.2602 | 0.2575 | 0.2582 | 0.7947 | 0.7338 | 0.6985 | 0.7264 | 0.7418 | 0.7287 | 0.6384 | 0.7002 | 0.7071 | 0.2356 | 0.2363 | 0.2415 | 0.8396 | 0.7632 | 0.7522 | 0.7563 | 0.7329 | 0.7714 | 0.5733 | 0.5771 | 0.5938 | 0.2576 | 0.2603 | 0.2502 |  | 0.7482 | 0.7464 | 0.7498 | 0.8206 | 0.8477 | 0.8217 | 0.8573 | 0.8559 | 0.8311 | 0.0862
26 | 29386.079 | 37.1 |  | 0.7594 | 0.7568 | 0.7978 | 0.8432 | 0.7941 | 0.8453 | 0.8491 | 0.7634 | 0.8537 | 0.0999 |  | 0.7766 | 0.7171 | 0.6724 | 0.6891 | 0.6871 | 0.6781 | 0.5724 | 0.549 | 0.4963 | 0.2513 | 0.2482 | 0.2413 | 0.8352 | 0.8088 | 0.7631 | 0.7141 | 0.7323 | 0.7194 | 0.5964 | 0.6148 | 0.5641 | 0.2578 | 0.2506 | 0.2417 | 0.7921 | 0.7948 | 0.7358 | 0.744 | 0.7481 | 0.744 | 0.7052 | 0.6754 | 0.7138 | 0.2336 | 0.2301 | 0.2287 | 0.8375 | 0.7511 | 0.7352 | 0.7609 | 0.7434 | 0.7533 | 0.5984 | 0.5856 | 0.5867 | 0.2641 | 0.2633 | 0.2615 | 0.7853 | 0.7484 | 0.7059 | 0.7269 | 0.7432 | 0.7255 | 0.6365 | 0.6955 | 0.7073 | 0.2336 | 0.2353 | 0.2409 | 0.8181 | 0.7645 | 0.7523 | 0.7585 | 0.7361 | 0.7598 | 0.5716 | 0.5707 | 0.5842 | 0.2591 | 0.2617 | 0.2531 |  | 0.7616 | 0.7697 | 0.7711 | 0.8109 | 0.8435 | 0.8261 | 0.8568 | 0.8476 | 0.83 | 0.0866
27 | 30561.895 | 37.1 |  | 0.7584 | 0.7526 | 0.8043 | 0.8305 | 0.7883 | 0.8401 | 0.8325 | 0.76 | 0.8373 | 0.1004 |  | 0.7767 | 0.7264 | 0.6654 | 0.6781 | 0.6795 | 0.679 | 0.5676 | 0.5492 | 0.4975 | 0.2485 | 0.2502 | 0.2395 | 0.866 | 0.8028 | 0.747 | 0.7066 | 0.7251 | 0.7154 | 0.5929 | 0.6191 | 0.5618 | 0.2578 | 0.251 | 0.2432 | 0.7824 | 0.7753 | 0.7283 | 0.7215 | 0.7312 | 0.733 | 0.7161 | 0.6831 | 0.7381 | 0.2313 | 0.2296 | 0.2279 | 0.8441 | 0.744 | 0.7117 | 0.7478 | 0.7309 | 0.7325 | 0.5852 | 0.5717 | 0.5733 | 0.2607 | 0.2589 | 0.2589 | 0.7572 | 0.7282 | 0.6899 | 0.7096 | 0.7288 | 0.7186 | 0.642 | 0.7078 | 0.7102 | 0.2342 | 0.234 | 0.24 | 0.8449 | 0.754 | 0.7434 | 0.7401 | 0.7408 | 0.7458 | 0.5722 | 0.5747 | 0.5921 | 0.2599 | 0.2628 | 0.2552 |  | 0.7437 | 0.7506 | 0.7509 | 0.7852 | 0.8233 | 0.8015 | 0.8529 | 0.8361 | 0.8352 | 0.0872
28 | 31736.782 | 37 |  | 0.7784 | 0.7733 | 0.8193 | 0.8408 | 0.8052 | 0.8587 | 0.8355 | 0.7649 | 0.834 | 0.1006 |  | 0.7598 | 0.7095 | 0.6694 | 0.6764 | 0.6749 | 0.6723 | 0.5735 | 0.5451 | 0.4979 | 0.2493 | 0.2511 | 0.2384 | 0.8759 | 0.8126 | 0.7587 | 0.7102 | 0.7308 | 0.7148 | 0.6016 | 0.6182 | 0.5627 | 0.2585 | 0.2519 | 0.2427 | 0.7742 | 0.7749 | 0.7227 | 0.7245 | 0.7308 | 0.7278 | 0.7132 | 0.6828 | 0.7268 | 0.233 | 0.2309 | 0.2271 | 0.8424 | 0.7348 | 0.7098 | 0.7431 | 0.7274 | 0.7299 | 0.5979 | 0.5774 | 0.5818 | 0.2618 | 0.2591 | 0.2589 | 0.761 | 0.7237 | 0.6898 | 0.7057 | 0.7225 | 0.7176 | 0.6555 | 0.707 | 0.7121 | 0.2341 | 0.2354 | 0.2388 | 0.8591 | 0.764 | 0.7449 | 0.7467 | 0.7192 | 0.7472 | 0.5769 | 0.5773 | 0.5967 | 0.2625 | 0.2647 | 0.2553 |  | 0.77 | 0.7835 | 0.7897 | 0.8093 | 0.8481 | 0.8266 | 0.8808 | 0.8614 | 0.8498 | 0.0868
29 | 32911.769 | 37 |  | 0.759 | 0.7771 | 0.7959 | 0.8376 | 0.8006 | 0.8423 | 0.814 | 0.761 | 0.8224 | 0.1004 |  | 0.7704 | 0.727 | 0.6673 | 0.6745 | 0.6724 | 0.6687 | 0.5687 | 0.5407 | 0.4894 | 0.2502 | 0.251 | 0.2418 | 0.8366 | 0.804 | 0.7505 | 0.7122 | 0.7408 | 0.7199 | 0.6001 | 0.616 | 0.5647 | 0.2602 | 0.2549 | 0.2477 | 0.7684 | 0.7697 | 0.7109 | 0.716 | 0.7205 | 0.7148 | 0.705 | 0.6777 | 0.7135 | 0.2325 | 0.2283 | 0.2291 | 0.8188 | 0.7317 | 0.703 | 0.7407 | 0.7338 | 0.7206 | 0.5899 | 0.5703 | 0.5759 | 0.2615 | 0.2603 | 0.2612 | 0.7718 | 0.7308 | 0.6845 | 0.693 | 0.7068 | 0.7003 | 0.637 | 0.6872 | 0.6936 | 0.2361 | 0.2339 | 0.2392 | 0.8354 | 0.7611 | 0.7381 | 0.7501 | 0.7171 | 0.7467 | 0.5726 | 0.5742 | 0.5874 | 0.2613 | 0.2636 | 0.2563 |  | 0.7838 | 0.786 | 0.7892 | 0.7945 | 0.819 | 0.8039 | 0.8575 | 0.8354 | 0.8253 | 0.0865
30 | 34087.569 | 37.1 |  | 0.6573 | 0.654 | 0.7126 | 0.7656 | 0.743 | 0.8299 | 0.7696 | 0.7401 | 0.8196 | 0.1007 |  | 0.6886 | 0.6452 | 0.6158 | 0.6299 | 0.6336 | 0.643 | 0.5286 | 0.513 | 0.4684 | 0.244 | 0.2471 | 0.2376 | 0.769 | 0.7318 | 0.6963 | 0.6628 | 0.6844 | 0.6777 | 0.5504 | 0.5906 | 0.5413 | 0.2566 | 0.2526 | 0.2461 | 0.7308 | 0.7113 | 0.6768 | 0.6721 | 0.6825 | 0.6783 | 0.6752 | 0.6608 | 0.7085 | 0.232 | 0.2268 | 0.2278 | 0.8512 | 0.7037 | 0.6793 | 0.7169 | 0.6968 | 0.7026 | 0.5602 | 0.5524 | 0.5644 | 0.2595 | 0.256 | 0.2574 | 0.7356 | 0.6926 | 0.6561 | 0.6625 | 0.6815 | 0.6769 | 0.6199 | 0.6811 | 0.6894 | 0.2334 | 0.2323 | 0.2372 | 0.8337 | 0.746 | 0.7194 | 0.7257 | 0.7025 | 0.7239 | 0.5452 | 0.5535 | 0.5753 | 0.2593 | 0.2639 | 0.256 |  | 0.745 | 0.7474 | 0.7523 | 0.758 | 0.7831 | 0.7585 | 0.793 | 0.7919 | 0.7934 | 0.0862
31 | 35262.555 | 37.1 |  | 0.6892 | 0.6893 | 0.7322 | 0.755 | 0.7225 | 0.7784 | 0.7616 | 0.7127 | 0.7795 | 0.1005 |  | 0.7178 | 0.6606 | 0.6194 | 0.6281 | 0.6306 | 0.6303 | 0.5301 | 0.5154 | 0.4637 | 0.2462 | 0.2472 | 0.2367 | 0.7813 | 0.7475 | 0.7049 | 0.6697 | 0.688 | 0.6826 | 0.5578 | 0.5869 | 0.536 | 0.2566 | 0.2515 | 0.2445 | 0.7528 | 0.7254 | 0.6843 | 0.6826 | 0.6831 | 0.6776 | 0.6746 | 0.6599 | 0.7021 | 0.2292 | 0.2266 | 0.2253 | 0.8382 | 0.7035 | 0.6817 | 0.7128 | 0.6918 | 0.6989 | 0.5654 | 0.5521 | 0.5606 | 0.2593 | 0.2562 | 0.2575 | 0.7636 | 0.7045 | 0.6656 | 0.6687 | 0.6851 | 0.6765 | 0.6236 | 0.6757 | 0.678 | 0.2311 | 0.2302 | 0.2367 | 0.8017 | 0.7424 | 0.7329 | 0.7346 | 0.6944 | 0.7227 | 0.5562 | 0.5618 | 0.5791 | 0.2598 | 0.2638 | 0.2603 |  | 0.7442 | 0.7452 | 0.7494 | 0.745 | 0.7833 | 0.7548 | 0.8001 | 0.7906 | 0.7795 | 0.0872
32 | 36438.345 | 37 |  | 0.7009 | 0.7066 | 0.7484 | 0.7691 | 0.722 | 0.7861 | 0.7679 | 0.7071 | 0.7883 | 0.1 |  | 0.7115 | 0.6618 | 0.6158 | 0.6316 | 0.6339 | 0.6323 | 0.5327 | 0.5171 | 0.4646 | 0.246 | 0.2468 | 0.2367 | 0.8119 | 0.7544 | 0.7149 | 0.6809 | 0.6949 | 0.6882 | 0.5627 | 0.5957 | 0.537 | 0.2579 | 0.2526 | 0.2434 | 0.7345 | 0.7213 | 0.6806 | 0.6836 | 0.6873 | 0.6806 | 0.6775 | 0.6654 | 0.6977 | 0.2294 | 0.224 | 0.2233 | 0.8504 | 0.7065 | 0.6745 | 0.7198 | 0.693 | 0.701 | 0.5645 | 0.5477 | 0.5589 | 0.2601 | 0.2556 | 0.2552 | 0.7477 | 0.6857 | 0.6531 | 0.6588 | 0.6831 | 0.6821 | 0.6241 | 0.6826 | 0.6907 | 0.2303 | 0.2284 | 0.2351 | 0.8314 | 0.7392 | 0.7123 | 0.715 | 0.6801 | 0.7132 | 0.5502 | 0.553 | 0.5715 | 0.2576 | 0.2612 | 0.2534 |  | 0.7444 | 0.7484 | 0.7519 | 0.756 | 0.7893 | 0.7654 | 0.8025 | 0.7986 | 0.7896 | 0.0863
33 | 37613.308 | 37.1 |  | 0.7415 | 0.7351 | 0.7739 | 0.813 | 0.7512 | 0.8167 | 0.796 | 0.716 | 0.7994 | 0.1005 |  | 0.7751 | 0.7221 | 0.6387 | 0.6449 | 0.6458 | 0.6397 | 0.5564 | 0.5356 | 0.4827 | 0.2444 | 0.248 | 0.239 | 0.8353 | 0.7826 | 0.742 | 0.7096 | 0.7103 | 0.6957 | 0.5846 | 0.6087 | 0.5467 | 0.2597 | 0.2549 | 0.246 | 0.7628 | 0.763 | 0.7041 | 0.7007 | 0.7016 | 0.6872 | 0.696 | 0.6701 | 0.6959 | 0.2311 | 0.2259 | 0.2253 | 0.8395 | 0.7164 | 0.7066 | 0.7238 | 0.7263 | 0.7248 | 0.5852 | 0.5648 | 0.5719 | 0.2602 | 0.2574 | 0.2591 | 0.7642 | 0.7156 | 0.6719 | 0.6862 | 0.6956 | 0.6872 | 0.6279 | 0.6875 | 0.6858 | 0.2307 | 0.2293 | 0.2362 | 0.8 | 0.7438 | 0.7345 | 0.723 | 0.6848 | 0.7286 | 0.5764 | 0.5786 | 0.5923 | 0.2624 | 0.2644 | 0.257 |  | 0.795 | 0.7882 | 0.7906 | 0.7713 | 0.8003 | 0.7812 | 0.8021 | 0.8014 | 0.7884 | 0.0869
34 | 38789.124 | 37.1 |  | 0.6719 | 0.6699 | 0.6998 | 0.7262 | 0.7 | 0.766 | 0.7516 | 0.6969 | 0.766 | 0.1006 |  | 0.6975 | 0.6483 | 0.604 | 0.6105 | 0.6185 | 0.6174 | 0.5311 | 0.508 | 0.46 | 0.2413 | 0.2457 | 0.2352 | 0.7901 | 0.7392 | 0.6898 | 0.6545 | 0.6752 | 0.6658 | 0.5531 | 0.5848 | 0.5338 | 0.2567 | 0.2529 | 0.2468 | 0.7333 | 0.7113 | 0.6732 | 0.6751 | 0.6749 | 0.6653 | 0.6652 | 0.6509 | 0.6964 | 0.2294 | 0.2243 | 0.2236 | 0.8261 | 0.7011 | 0.6695 | 0.7079 | 0.6905 | 0.6989 | 0.5603 | 0.5492 | 0.5593 | 0.2587 | 0.2567 | 0.2583 | 0.7396 | 0.6853 | 0.6409 | 0.6512 | 0.6667 | 0.6634 | 0.6163 | 0.6738 | 0.6877 | 0.2322 | 0.2304 | 0.2367 | 0.786 | 0.7383 | 0.7055 | 0.7071 | 0.6733 | 0.7068 | 0.5517 | 0.5561 | 0.5756 | 0.2567 | 0.2617 | 0.2559 |  | 0.7307 | 0.7256 | 0.7326 | 0.7393 | 0.7701 | 0.7526 | 0.7833 | 0.7849 | 0.7825 | 0.0869
35 | 39963.999 | 37 |  | 0.7109 | 0.6996 | 0.7389 | 0.7747 | 0.7101 | 0.8165 | 0.7739 | 0.6977 | 0.7735 | 0.0998 |  | 0.7161 | 0.6691 | 0.622 | 0.6182 | 0.6188 | 0.6138 | 0.5454 | 0.522 | 0.4656 | 0.2468 | 0.2481 | 0.2359 | 0.7996 | 0.7528 | 0.7083 | 0.6728 | 0.6873 | 0.6746 | 0.5688 | 0.6018 | 0.5417 | 0.258 | 0.2533 | 0.2458 | 0.7367 | 0.7276 | 0.6807 | 0.6874 | 0.6874 | 0.6727 | 0.6851 | 0.6641 | 0.7055 | 0.228 | 0.2248 | 0.2226 | 0.8535 | 0.6926 | 0.675 | 0.7102 | 0.6911 | 0.7026 | 0.5737 | 0.5578 | 0.57 | 0.2598 | 0.257 | 0.2582 | 0.7487 | 0.6863 | 0.646 | 0.6496 | 0.675 | 0.6667 | 0.6241 | 0.681 | 0.6928 | 0.2314 | 0.2296 | 0.2353 | 0.827 | 0.7288 | 0.7042 | 0.7183 | 0.6766 | 0.7137 | 0.565 | 0.5743 | 0.5857 | 0.2591 | 0.2613 | 0.2555 |  | 0.7604 | 0.7593 | 0.7633 | 0.7606 | 0.7956 | 0.772 | 0.8006 | 0.7932 | 0.7892 | 0.0867
36 | 41138.981 | 36.9 |  | 0.6815 | 0.675 | 0.7241 | 0.7492 | 0.6993 | 0.7888 | 0.7551 | 0.6934 | 0.7646 | 0.1003 |  | 0.7304 | 0.6615 | 0.6066 | 0.6127 | 0.611 | 0.6065 | 0.5313 | 0.5053 | 0.4553 | 0.2431 | 0.2451 | 0.2379 | 0.7675 | 0.7366 | 0.7034 | 0.659 | 0.6841 | 0.6723 | 0.5652 | 0.5942 | 0.5416 | 0.2603 | 0.2575 | 0.2502 | 0.7543 | 0.7315 | 0.6757 | 0.675 | 0.674 | 0.6599 | 0.6672 | 0.6585 | 0.6974 | 0.2291 | 0.2243 | 0.224 | 0.8383 | 0.6932 | 0.6698 | 0.6976 | 0.6836 | 0.695 | 0.5665 | 0.5508 | 0.5579 | 0.2588 | 0.2571 | 0.2551 | 0.7651 | 0.6912 | 0.6495 | 0.6515 | 0.6707 | 0.6621 | 0.6163 | 0.669 | 0.6851 | 0.2282 | 0.2271 | 0.2325 | 0.8025 | 0.7321 | 0.7114 | 0.7108 | 0.6681 | 0.7057 | 0.5626 | 0.5683 | 0.5777 | 0.2556 | 0.2595 | 0.2533 |  | 0.7762 | 0.7741 | 0.7725 | 0.764 | 0.7916 | 0.7741 | 0.8099 | 0.7935 | 0.7903 | 0.0866
37 | 42314.8 | 37.1 |  | 0.7468 | 0.7294 | 0.7832 | 0.7918 | 0.7372 | 0.8151 | 0.7938 | 0.7059 | 0.7895 | 0.1004 |  | 0.747 | 0.6866 | 0.6206 | 0.6239 | 0.6202 | 0.6132 | 0.5599 | 0.5178 | 0.4592 | 0.245 | 0.2466 | 0.2371 | 0.8397 | 0.7858 | 0.72 | 0.683 | 0.6943 | 0.6776 | 0.5758 | 0.6012 | 0.5418 | 0.2601 | 0.2561 | 0.2479 | 0.7661 | 0.7561 | 0.6973 | 0.6925 | 0.6938 | 0.6771 | 0.692 | 0.6743 | 0.7058 | 0.2288 | 0.224 | 0.222 | 0.8575 | 0.7166 | 0.6952 | 0.7258 | 0.7071 | 0.7152 | 0.5891 | 0.5641 | 0.5721 | 0.2606 | 0.2571 | 0.2568 | 0.7659 | 0.6996 | 0.6628 | 0.6651 | 0.6892 | 0.676 | 0.6363 | 0.6902 | 0.7008 | 0.229 | 0.2286 | 0.2335 | 0.8369 | 0.7401 | 0.7282 | 0.725 | 0.6854 | 0.721 | 0.5803 | 0.5902 | 0.6045 | 0.2594 | 0.263 | 0.2567 |  | 0.7644 | 0.7564 | 0.7631 | 0.75 | 0.7901 | 0.7708 | 0.7974 | 0.8054 | 0.788 | 0.0867
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36 |  | 3694 | 3692 | 3477 | 3157 | 3825 | 3103 | 3392 | 4044 | 3517 | 3496 |  | 3900 | 3607 | 4085 | 3644 | 3912 | 3999 | 3655 | 3874 | 4091 | 3819 | 3764 | 3677 | 3504 | 3530 | 3684 | 3684 | 3644 | 3686 | 3732 | 3511 | 3823 | 3662 | 3672 | 3743 | 3639 | 3519 | 3718 | 3669 | 3663 | 3749 | 3752 | 3688 | 3706 | 3884 | 3714 | 3624 | 3531 | 3824 | 3667 | 3446 | 3603 | 3565 | 3537 | 3833 | 3682 | 3607 | 3872 | 3658 | 3596 | 3653 | 3629 | 3655 | 3701 | 3665 | 3594 | 3581 | 3644 | 3632 | 3633 | 3407 | 3508 | 3558 | 3478 | 3515 | 3584 | 3593 | 3675 | 3560 | 3520 | 3750 | 3627 | 3646 |  | 3603 | 3473 | 3479 | 3378 | 3414 | 3516 | 3615 | 3600 | 3583 | 306
2 | 1174.858 | 37.1 |  | 3585 | 3585 | 3387 | 3012 | 3712 | 3018 | 3277 | 3911 | 3347 | 3311 |  | 3690 | 3534 | 3858 | 3497 | 3780 | 3863 | 3552 | 3747 | 3907 | 3669 | 3623 | 3509 | 3429 | 3359 | 3529 | 3539 | 3492 | 3552 | 3606 | 3358 | 3713 | 3468 | 3485 | 3524 | 3545 | 3354 | 3618 | 3574 | 3529 | 3778 | 3678 | 3639 | 3647 | 3735 | 3554 | 3463 | 3346 | 3579 | 3583 | 3413 | 3515 | 3535 | 3449 | 3776 | 3599 | 3505 | 3714 | 3549 | 3405 | 3572 | 3587 | 3516 | 3608 | 3571 | 3533 | 3419 | 3506 | 3541 | 3524 | 3385 | 3442 | 3532 | 3487 | 3444 | 3571 | 3596 | 3662 | 3556 | 3492 | 3655 | 3515 | 3544 |  | 3484 | 3261 | 3288 | 3203 | 3236 | 3389 | 3553 | 3566 | 3525 | 295
3 | 2349.841 | 37.1 |  | 3464 | 3514 | 3300 | 2963 | 3602 | 2925 | 3206 | 3869 | 3302 | 3283 |  | 3629 | 3556 | 3905 | 3531 | 3711 | 3805 | 3524 | 3699 | 3936 | 3629 | 3536 | 3487 | 3350 | 3248 | 3480 | 3475 | 3496 | 3457 | 3569 | 3315 | 3720 | 3525 | 3514 | 3514 | 3463 | 3376 | 3494 | 3571 | 3560 | 3705 | 3600 | 3531 | 3601 | 3720 | 3567 | 3440 | 3381 | 3633 | 3564 | 3343 | 3454 | 3438 | 3386 | 3673 | 3509 | 3475 | 3657 | 3522 | 3410 | 3551 | 3556 | 3530 | 3588 | 3506 | 3460 | 3381 | 3434 | 3513 | 3414 | 3315 | 3351 | 3439 | 3489 | 3377 | 3563 | 3568 | 3751 | 3552 | 3557 | 3610 | 3623 | 3542 |  | 3499 | 3333 | 3278 | 3226 | 3204 | 3404 | 3458 | 3519 | 3369 | 288
4 | 3525.67 | 36.9 |  | 3534 | 3554 | 3318 | 2953 | 3669 | 2933 | 3239 | 3777 | 3310 | 3272 |  | 3747 | 3545 | 3884 | 3530 | 3615 | 3785 | 3478 | 3701 | 3884 | 3619 | 3547 | 3506 | 3454 | 3375 | 3496 | 3486 | 3452 | 3549 | 3494 | 3360 | 3694 | 3421 | 3447 | 3511 | 3463 | 3389 | 3485 | 3516 | 3448 | 3706 | 3502 | 3535 | 3552 | 3674 | 3508 | 3438 | 3471 | 3683 | 3579 | 3392 | 3525 | 3487 | 3351 | 3631 | 3518 | 3471 | 3635 | 3449 | 3417 | 3462 | 3546 | 3509 | 3517 | 3527 | 3469 | 3452 | 3462 | 3523 | 3394 | 3310 | 3383 | 3522 | 3446 | 3546 | 3729 | 3679 | 3894 | 3799 | 3653 | 3714 | 3701 | 3570 |  | 3544 | 3302 | 3303 | 3217 | 3244 | 3304 | 3508 | 3493 | 3436 | 298
5 | 4700.669 | 37 |  | 3618 | 3553 | 3407 | 3019 | 3674 | 2959 | 3220 | 3788 | 3317 | 3277 |  | 3818 | 3712 | 4000 | 3688 | 3878 | 3963 | 3657 | 3828 | 4031 | 3765 | 3686 | 3572 | 3447 | 3491 | 3671 | 3605 | 3555 | 3626 | 3617 | 3382 | 3706 | 3416 | 3481 | 3464 | 3418 | 3346 | 3480 | 3414 | 3511 | 3713 | 3621 | 3610 | 3519 | 3713 | 3479 | 3481 | 3694 | 3881 | 3830 | 3576 | 3646 | 3695 | 3510 | 3847 | 3587 | 3527 | 3695 | 3467 | 3444 | 3482 | 3635 | 3535 | 3560 | 3560 | 3523 | 3460 | 3465 | 3532 | 3423 | 3316 | 3375 | 3398 | 3470 | 3787 | 3760 | 3763 | 4328 | 4108 | 3957 | 3834 | 3784 | 3725 |  | 3514 | 3406 | 3384 | 3199 | 3222 | 3354 | 3523 | 3524 | 3485 | 313
6 | 5876.48 | 37.1 |  | 3675 | 3594 | 3429 | 2997 | 3641 | 3007 | 3278 | 3879 | 3282 | 3226 |  | 3952 | 3936 | 4244 | 3904 | 4174 | 4240 | 3812 | 4035 | 4221 | 3831 | 3697 | 3646 | 3586 | 3634 | 3711 | 3885 | 3851 | 3760 | 3731 | 3475 | 3809 | 3405 | 3450 | 3594 | 3463 | 3366 | 3336 | 3532 | 3634 | 3708 | 3588 | 3562 | 3531 | 3668 | 3386 | 3366 | 3834 | 4190 | 4108 | 3989 | 4038 | 4012 | 3951 | 4263 | 3984 | 3739 | 3866 | 3653 | 3352 | 3557 | 3574 | 3493 | 3571 | 3436 | 3496 | 3431 | 3479 | 3445 | 3384 | 3349 | 3398 | 3523 | 3507 | 3917 | 3931 | 3918 | 4873 | 4547 | 4489 | 4197 | 4058 | 4033 |  | 3596 | 3497 | 3451 | 3243 | 3286 | 3409 | 3572 | 3567 | 3476 | 297
7 | 7051.365 | 37.1 |  | 3754 | 3758 | 3581 | 3040 | 3753 | 3099 | 3223 | 3841 | 3349 | 3281 |  | 4244 | 4238 | 4528 | 4594 | 4804 | 4611 | 4258 | 4477 | 4615 | 4075 | 4025 | 3866 | 3807 | 3815 | 3904 | 4444 | 4330 | 4262 | 4143 | 3887 | 4162 | 3620 | 3600 | 3629 | 3411 | 3400 | 3545 | 3564 | 3622 | 3751 | 3591 | 3621 | 3578 | 3697 | 3454 | 3465 | 4268 | 4532 | 4436 | 4805 | 4764 | 4686 | 4579 | 4751 | 4465 | 3967 | 4169 | 3858 | 3430 | 3576 | 3585 | 3676 | 3639 | 3656 | 3547 | 3559 | 3580 | 3532 | 3535 | 3432 | 3495 | 3593 | 3604 | 3977 | 4023 | 4028 | 5303 | 5011 | 5098 | 4455 | 4372 | 4265 |  | 3759 | 3593 | 3630 | 3244 | 3270 | 3383 | 3619 | 3649 | 3523 | 304
8 | 8226.497 | 37.1 |  | 3942 | 3996 | 3903 | 3270 | 3973 | 3220 | 3274 | 3840 | 3339 | 3280 |  | 4683 | 4728 | 4865 | 5365 | 5488 | 5377 | 4963 | 5057 | 5249 | 4505 | 4374 | 4183 | 4074 | 4216 | 4279 | 5407 | 5283 | 5245 | 4866 | 4643 | 4843 | 4002 | 3924 | 3892 | 3424 | 3429 | 3581 | 3627 | 3624 | 3762 | 3642 | 3622 | 3616 | 3751 | 3565 | 3398 | 4817 | 5239 | 5144 | 6178 | 6003 | 5838 | 5544 | 5675 | 5242 | 4384 | 4633 | 4261 | 3512 | 3698 | 3769 | 3658 | 3731 | 3619 | 3724 | 3664 | 3651 | 3632 | 3578 | 3457 | 3524 | 3732 | 3726 | 4108 | 4214 | 4207 | 6179 | 5773 | 5829 | 4927 | 4734 | 4590 |  | 3919 | 3733 | 3908 | 3451 | 3469 | 3524 | 3698 | 3724 | 3695 | 301
9 | 9402.305 | 37 |  | 4694 | 4873 | 4910 | 3873 | 4398 | 3895 | 3373 | 3840 | 3318 | 3209 |  | 5333 | 5694 | 5778 | 7130 | 7350 | 6854 | 6111 | 6234 | 6365 | 4928 | 4938 | 4630 | 4806 | 5125 | 5112 | 7278 | 7153 | 6698 | 5995 | 5848 | 6015 | 4338 | 4397 | 4335 | 3437 | 3499 | 3615 | 3643 | 3693 | 3836 | 3730 | 3669 | 3706 | 3717 | 3643 | 3488 | 5873 | 6805 | 6530 | 8441 | 8249 | 7948 | 7382 | 7346 | 6697 | 5038 | 5348 | 4929 | 3698 | 3825 | 3937 | 3838 | 3851 | 3895 | 3906 | 3879 | 3776 | 3744 | 3601 | 3532 | 3734 | 3920 | 3897 | 4460 | 4377 | 4328 | 7063 | 6628 | 6735 | 5197 | 5171 | 4955 |  | 4687 | 4844 | 4942 | 3585 | 3626 | 3749 | 3858 | 3924 | 3863 | 299
10 | 10577.307 | 37.1 |  | 8201 | 8704 | 9322 | 6624 | 6803 | 6900 | 3524 | 4053 | 3517 | 3269 |  | 7794 | 8740 | 8026 | 10202 | 10543 | 9292 | 7928 | 7971 | 8002 | 5597 | 5507 | 5277 | 7631 | 8613 | 8254 | 11670 | 11258 | 10192 | 7998 | 7817 | 7776 | 5054 | 5064 | 4884 | 3571 | 3593 | 3707 | 3838 | 3889 | 3968 | 3892 | 3819 | 3797 | 3763 | 3701 | 3531 | 10247 | 11588 | 10780 | 13853 | 12962 | 12531 | 9943 | 9927 | 9037 | 5966 | 6366 | 5641 | 3982 | 4137 | 4117 | 4010 | 4107 | 4103 | 4216 | 4258 | 4126 | 3774 | 3717 | 3562 | 4093 | 4301 | 4188 | 4749 | 4738 | 4786 | 8374 | 7720 | 7819 | 5747 | 5587 | 5423 |  | 8385 | 9521 | 9758 | 3757 | 3908 | 4010 | 4203 | 4257 | 4255 | 286
11 | 11753.114 | 37 |  | 17621 | 18307 | 18950 | 14155 | 14553 | 14724 | 3714 | 4104 | 3612 | 3179 |  | 16084 | 17720 | 15324 | 18173 | 17781 | 15708 | 11253 | 11104 | 11134 | 6410 | 6122 | 5935 | 15465 | 17629 | 16560 | 20892 | 20171 | 18106 | 11577 | 11719 | 11428 | 5993 | 6027 | 5893 | 3802 | 3799 | 3960 | 4169 | 4147 | 4288 | 4213 | 4054 | 4043 | 3781 | 3598 | 3486 | 21230 | 23431 | 21830 | 24067 | 22356 | 21596 | 14444 | 14034 | 13002 | 6958 | 7444 | 6550 | 4568 | 4727 | 4786 | 4522 | 4520 | 4426 | 4866 | 4958 | 4641 | 3921 | 3832 | 3669 | 4708 | 5024 | 4928 | 5269 | 5245 | 5215 | 10636 | 9666 | 10051 | 6420 | 6144 | 5989 |  | 19874 | 22019 | 22583 | 4377 | 4496 | 4473 | 4763 | 4934 | 4866 | 288
12 | 12931.472 | 37 |  | 26562 | 26357 | 26823 | 19882 | 22285 | 21671 | 3881 | 4428 | 3865 | 3205 |  | 25992 | 27411 | 25002 | 27591 | 27938 | 25110 | 16156 | 15626 | 15340 | 7414 | 7135 | 6905 | 23338 | 25490 | 24700 | 30762 | 30805 | 28679 | 17098 | 17226 | 16634 | 7037 | 7112 | 6702 | 3950 | 3973 | 4075 | 4550 | 4518 | 4599 | 4856 | 4556 | 4639 | 3824 | 3619 | 3522 | 31359 | 33726 | 31769 | 34762 | 33402 | 32835 | 19862 | 19613 | 18179 | 8377 | 8692 | 7738 | 4993 | 5192 | 5125 | 4860 | 4964 | 4852 | 6082 | 6315 | 5741 | 4056 | 4031 | 3777 | 5306 | 5780 | 5655 | 5854 | 5758 | 5823 | 14488 | 12857 | 13370 | 6930 | 6650 | 6394 |  | 30606 | 32439 | 32704 | 4873 | 4972 | 4913 | 5471 | 5777 | 5680 | 279
13 | 14107.241 | 37.1 |  | 32537 | 31909 | 31838 | 23601 | 26649 | 26014 | 3906 | 4596 | 3944 | 3148 |  | 34824 | 34959 | 34181 | 37857 | 39168 | 36874 | 22709 | 21639 | 21499 | 8423 | 8317 | 7755 | 28957 | 31113 | 29837 | 39081 | 39580 | 38623 | 23420 | 23835 | 22713 | 8051 | 8195 | 7781 | 4103 | 4098 | 4216 | 4680 | 4790 | 4993 | 6152 | 5545 | 5770 | 3980 | 3704 | 3676 | 39583 | 41248 | 38762 | 43003 | 43723 | 44876 | 27615 | 27147 | 24896 | 9692 | 10209 | 9014 | 5528 | 5638 | 5603 | 5510 | 5614 | 5412 | 8455 | 8929 | 8033 | 4228 | 4255 | 3870 | 6134 | 6718 | 6324 | 6709 | 6501 | 6572 | 20709 | 18846 | 19579 | 7530 | 7103 | 6865 |  | 40134 | 41274 | 41589 | 5375 | 5391 | 5460 | 6551 | 6988 | 6859 | 291
14 | 15282.134 | 37 |  | 37202 | 35407 | 34787 | 25023 | 28422 | 27383 | 3921 | 4679 | 4066 | 3111 |  | 40962 | 41443 | 41357 | 45556 | 49191 | 48285 | 30959 | 30247 | 28168 | 9804 | 9400 | 8761 | 32290 | 33301 | 33600 | 45660 | 46905 | 47471 | 31166 | 32172 | 30625 | 9617 | 9616 | 9043 | 4099 | 4194 | 4138 | 4844 | 4966 | 5180 | 7805 | 7044 | 7538 | 4127 | 3902 | 3782 | 45941 | 47353 | 44901 | 50792 | 51789 | 52167 | 34614 | 35663 | 33150 | 11473 | 12093 | 10688 | 5621 | 5992 | 5866 | 5805 | 5962 | 5826 | 11667 | 12544 | 11551 | 4644 | 4534 | 4086 | 7021 | 7346 | 7157 | 7377 | 7545 | 7613 | 28754 | 26672 | 28110 | 8253 | 7771 | 7427 |  | 45802 | 45511 | 45668 | 5526 | 5779 | 5737 | 8252 | 8537 | 8443 | 286
15 | 16457.188 | 37.1 |  | 38368 | 36607 | 35606 | 24989 | 28349 | 26986 | 3865 | 4497 | 4016 | 3118 |  | 43574 | 42987 | 44183 | 50497 | 55236 | 54076 | 38582 | 37745 | 34320 | 11270 | 10838 | 10079 | 32725 | 33950 | 33304 | 47592 | 49347 | 50526 | 37339 | 38975 | 37494 | 11048 | 11076 | 10396 | 4143 | 4108 | 4266 | 4796 | 4915 | 5225 | 9433 | 8658 | 9457 | 4290 | 4134 | 3998 | 49469 | 49535 | 48412 | 55061 | 57401 | 57481 | 41032 | 42290 | 39668 | 13440 | 13900 | 12444 | 5655 | 5891 | 5899 | 5929 | 5964 | 6039 | 14526 | 15213 | 14608 | 5050 | 4982 | 4420 | 7479 | 7669 | 7480 | 8151 | 8174 | 8380 | 37470 | 35372 | 36414 | 9239 | 8601 | 8182 |  | 48738 | 49022 | 48283 | 5667 | 5837 | 5993 | 9430 | 9697 | 9618 | 298
16 | 17632.997 | 37.1 |  | 38425 | 37168 | 36107 | 25285 | 28104 | 26892 | 3983 | 4625 | 4033 | 3107 |  | 44284 | 43808 | 44675 | 52621 | 57068 | 56977 | 43952 | 43174 | 38644 | 12709 | 12358 | 11417 | 33141 | 32486 | 33039 | 48364 | 50426 | 52788 | 44230 | 45876 | 42614 | 12643 | 12518 | 11688 | 4007 | 4024 | 4121 | 4743 | 4873 | 5165 | 10772 | 10078 | 10985 | 4521 | 4282 | 4093 | 50057 | 51032 | 48346 | 55312 | 58109 | 60133 | 45125 | 47946 | 45193 | 15294 | 15470 | 13955 | 5638 | 5805 | 5855 | 5885 | 6052 | 6113 | 16561 | 16985 | 16903 | 5475 | 5395 | 4822 | 7606 | 7784 | 7722 | 8125 | 8360 | 8720 | 44418 | 42691 | 43850 | 10357 | 9588 | 9136 |  | 50540 | 49385 | 50948 | 5769 | 5883 | 6012 | 10164 | 10478 | 10370 | 291
17 | 18807.995 | 37.1 |  | 38542 | 36447 | 36026 | 24551 | 27733 | 26980 | 3971 | 4549 | 4000 | 3127 |  | 44297 | 43276 | 45120 | 52971 | 56358 | 58884 | 48044 | 48483 | 43102 | 14430 | 13795 | 12625 | 32239 | 32920 | 33023 | 49252 | 52096 | 54326 | 47191 | 49728 | 48316 | 14586 | 13855 | 12821 | 3983 | 4027 | 4226 | 4761 | 4871 | 5029 | 11409 | 11125 | 12172 | 4726 | 4432 | 4333 | 51866 | 50915 | 49091 | 58208 | 61271 | 63400 | 48674 | 52692 | 51080 | 17175 | 17330 | 15515 | 5545 | 5787 | 5791 | 5797 | 5911 | 5900 | 17357 | 18099 | 18415 | 5882 | 6028 | 5347 | 7561 | 7789 | 7489 | 8394 | 8336 | 8988 | 51723 | 48977 | 50388 | 11895 | 10858 | 10382 |  | 51385 | 51538 | 50546 | 5570 | 5792 | 5966 | 10407 | 10325 | 10656 | 288
18 | 19983.802 | 37.2 |  | 37508 | 35534 | 35160 | 24178 | 26797 | 26200 | 3907 | 4436 | 3997 | 3166 |  | 43517 | 42506 | 43634 | 52715 | 57342 | 58845 | 49360 | 50239 | 45176 | 15649 | 15035 | 13724 | 31596 | 33023 | 32205 | 48324 | 50680 | 53311 | 48872 | 51628 | 49755 | 15519 | 15300 | 14041 | 3999 | 4074 | 4169 | 4662 | 4783 | 4958 | 11744 | 11807 | 12780 | 4757 | 4407 | 4307 | 51769 | 50637 | 49084 | 58817 | 61177 | 63049 | 50239 | 54205 | 52721 | 18191 | 18470 | 17159 | 5440 | 5600 | 5712 | 5728 | 5872 | 5944 | 17802 | 18309 | 18938 | 6590 | 6465 | 5941 | 7416 | 7525 | 7420 | 8130 | 8419 | 8967 | 56911 | 55818 | 57810 | 13726 | 12745 | 11851 |  | 51606 | 50978 | 50935 | 5476 | 5669 | 5879 | 10572 | 10610 | 10503 | 287
19 | 21158.78 | 37.1 |  | 37168 | 34153 | 34604 | 23674 | 26065 | 25709 | 3900 | 4526 | 3995 | 3159 |  | 42311 | 41470 | 42828 | 52032 | 56351 | 57705 | 50909 | 51626 | 46915 | 16868 | 16496 | 14503 | 30501 | 31859 | 31234 | 47176 | 49741 | 52405 | 49195 | 52311 | 51174 | 16318 | 15608 | 14476 | 3982 | 4120 | 4173 | 4639 | 4805 | 4997 | 11929 | 12173 | 12822 | 4743 | 4305 | 4297 | 51290 | 50367 | 49570 | 58818 | 59719 | 63673 | 52146 | 56226 | 54748 | 19335 | 19397 | 18045 | 5324 | 5578 | 5660 | 5614 | 5808 | 5777 | 17859 | 18467 | 19100 | 6806 | 6526 | 6385 | 7348 | 7398 | 7351 | 8045 | 8208 | 8986 | 61288 | 60736 | 62490 | 15780 | 14727 | 13702 |  | 51509 | 51476 | 52194 | 5457 | 5782 | 5945 | 10650 | 10561 | 10505 | 284
20 | 22334.605 | 37.1 |  | 35875 | 34175 | 34196 | 23205 | 25541 | 25090 | 3851 | 4480 | 3970 | 3139 |  | 41310 | 40903 | 41283 | 50711 | 55371 | 57167 | 50944 | 51942 | 46731 | 17517 | 17281 | 15191 | 30261 | 31086 | 31014 | 46770 | 48684 | 51562 | 51036 | 53582 | 51520 | 16529 | 15885 | 14942 | 3894 | 3959 | 4214 | 4588 | 4630 | 4941 | 11541 | 11973 | 12665 | 4602 | 4225 | 4231 | 50433 | 50496 | 48356 | 58318 | 59887 | 62245 | 52277 | 56223 | 54771 | 19388 | 19407 | 18635 | 5269 | 5511 | 5527 | 5504 | 5691 | 5827 | 17677 | 17403 | 18683 | 6807 | 6468 | 6477 | 7160 | 7343 | 7071 | 7799 | 7997 | 8608 | 63979 | 62486 | 63666 | 17006 | 16272 | 15088 |  | 51182 | 50148 | 50764 | 5423 | 5525 | 5689 | 10287 | 10431 | 10403 | 285
21 | 23509.495 | 37.1 |  | 35106 | 33458 | 32427 | 22204 | 24674 | 24246 | 3817 | 4443 | 3880 | 3109 |  | 40125 | 39529 | 39488 | 48921 | 54876 | 55476 | 51149 | 52126 | 47030 | 17827 | 17688 | 15577 | 29178 | 30540 | 29719 | 45232 | 47386 | 51436 | 50460 | 54937 | 53070 | 16847 | 15915 | 15086 | 3860 | 4002 | 4105 | 4535 | 4651 | 4975 | 11626 | 11945 | 12364 | 4574 | 4209 | 4094 | 49929 | 49148 | 47048 | 57090 | 59098 | 63042 | 51574 | 56827 | 54752 | 19532 | 19980 | 18641 | 5200 | 5408 | 5377 | 5451 | 5603 | 5639 | 17389 | 17790 | 18219 | 6710 | 6444 | 6429 | 7124 | 7214 | 7101 | 7728 | 7811 | 8499 | 64119 | 65449 | 66160 | 19028 | 17734 | 16491 |  | 49730 | 50892 | 49755 | 5394 | 5539 | 5754 | 10213 | 10335 | 10292 | 296
22 | 24684.481 | 37.1 |  | 34413 | 32188 | 32144 | 22168 | 24381 | 24223 | 3794 | 4434 | 3902 | 3159 |  | 39335 | 38576 | 39142 | 48965 | 53761 | 54881 | 51192 | 52536 | 46923 | 18329 | 18381 | 15978 | 28364 | 30157 | 29430 | 44365 | 46358 | 49224 | 50526 | 55357 | 52653 | 16788 | 15813 | 14868 | 3901 | 3948 | 4128 | 4573 | 4689 | 4994 | 11434 | 11912 | 12486 | 4639 | 4257 | 4121 | 49542 | 48111 | 46442 | 56976 | 59075 | 61041 | 51424 | 56009 | 54673 | 18895 | 19205 | 18290 | 5267 | 5456 | 5352 | 5326 | 5658 | 5652 | 16970 | 17466 | 17984 | 6682 | 6131 | 6361 | 6951 | 7213 | 6939 | 7558 | 7912 | 8331 | 67470 | 67502 | 68886 | 20167 | 19398 | 17932 |  | 49399 | 48097 | 50224 | 5303 | 5419 | 5683 | 10007 | 9909 | 10259 | 295
23 | 25860.288 | 37.1 |  | 33823 | 31683 | 31576 | 21681 | 23561 | 23674 | 3848 | 4430 | 3882 | 3089 |  | 38377 | 38320 | 38128 | 47980 | 52076 | 53256 | 50315 | 51512 | 46665 | 18216 | 18115 | 15786 | 28030 | 29156 | 29005 | 44283 | 46365 | 48903 | 50675 | 55586 | 52403 | 16356 | 15642 | 14821 | 3893 | 4047 | 4155 | 4524 | 4627 | 4920 | 11139 | 11630 | 12172 | 4542 | 4249 | 4096 | 48423 | 46668 | 46021 | 56420 | 58409 | 61297 | 51676 | 56197 | 56298 | 19040 | 19289 | 18163 | 5101 | 5363 | 5401 | 5351 | 5590 | 5542 | 16688 | 17149 | 17777 | 6515 | 6296 | 6227 | 6779 | 7078 | 6818 | 7518 | 7644 | 8455 | 68127 | 69242 | 70697 | 21145 | 20541 | 18920 |  | 49461 | 50411 | 48940 | 5254 | 5536 | 5641 | 10110 | 9942 | 10158 | 296
24 | 27035.274 | 37 |  | 33337 | 31817 | 30968 | 21477 | 23484 | 23523 | 3744 | 4362 | 3880 | 3128 |  | 37971 | 37223 | 38457 | 46479 | 50825 | 52453 | 50185 | 51395 | 45035 | 17881 | 17811 | 15566 | 26933 | 29068 | 28363 | 43520 | 45655 | 48142 | 50332 | 54622 | 52868 | 16098 | 15414 | 14641 | 3884 | 4033 | 4129 | 4471 | 4690 | 4837 | 11228 | 11598 | 12030 | 4599 | 4300 | 4075 | 48171 | 47427 | 45932 | 55092 | 57245 | 61465 | 51628 | 57087 | 55262 | 18852 | 18978 | 18143 | 5097 | 5336 | 5282 | 5294 | 5446 | 5435 | 16146 | 16593 | 17370 | 6604 | 6258 | 6081 | 6817 | 6956 | 6960 | 7368 | 7520 | 8091 | 68631 | 68523 | 71510 | 21549 | 20812 | 19397 |  | 47452 | 47715 | 47255 | 5178 | 5287 | 5462 | 9802 | 9756 | 9775 | 292
25 | 28211.094 | 37 |  | 32394 | 30622 | 30787 | 21157 | 23027 | 23188 | 3849 | 4387 | 3880 | 3136 |  | 36672 | 36702 | 37301 | 46482 | 50147 | 51813 | 50005 | 50813 | 45256 | 17628 | 17480 | 15656 | 26920 | 28114 | 27654 | 42872 | 45090 | 47222 | 49931 | 54307 | 51928 | 15882 | 15269 | 14441 | 3772 | 3980 | 4107 | 4516 | 4625 | 4772 | 10937 | 11352 | 12040 | 4482 | 4285 | 4047 | 47485 | 46560 | 45309 | 54550 | 54851 | 59076 | 50794 | 54787 | 53965 | 18222 | 18560 | 17542 | 4939 | 5322 | 5304 | 5366 | 5475 | 5432 | 15758 | 16598 | 17381 | 6340 | 6258 | 6051 | 6704 | 6865 | 6564 | 7321 | 7498 | 8091 | 70327 | 70110 | 72245 | 21811 | 21106 | 20127 |  | 47779 | 47051 | 47213 | 5141 | 5226 | 5500 | 9808 | 9730 | 9825 | 298
26 | 29386.079 | 37.1 |  | 31575 | 30144 | 30264 | 20857 | 22841 | 22433 | 3727 | 4335 | 3838 | 3088 |  | 35726 | 36451 | 35770 | 45084 | 49145 | 50544 | 49026 | 49420 | 44046 | 16959 | 16915 | 15269 | 26525 | 27812 | 27193 | 42416 | 44331 | 46589 | 50216 | 54217 | 50267 | 15243 | 14691 | 13950 | 3793 | 4015 | 4134 | 4525 | 4573 | 4775 | 10929 | 11136 | 11709 | 4558 | 4148 | 3986 | 46321 | 45994 | 43732 | 54104 | 55563 | 58481 | 49914 | 54597 | 53792 | 17870 | 18005 | 17238 | 4990 | 5267 | 5341 | 5281 | 5479 | 5495 | 16149 | 16553 | 16954 | 6379 | 6041 | 6048 | 6578 | 6741 | 6619 | 7160 | 7372 | 8049 | 69600 | 70148 | 71783 | 21038 | 20486 | 19746 |  | 47581 | 47109 | 46596 | 5222 | 5422 | 5388 | 9573 | 9661 | 9750 | 292
27 | 30561.895 | 37.1 |  | 31316 | 29582 | 29740 | 20508 | 21964 | 21714 | 3716 | 4344 | 3786 | 3044 |  | 35350 | 35099 | 34680 | 43661 | 48986 | 49679 | 47965 | 49448 | 43352 | 16418 | 16465 | 14773 | 25708 | 27156 | 27038 | 40411 | 42427 | 44411 | 48295 | 52235 | 50215 | 15102 | 14518 | 13697 | 3748 | 3985 | 4105 | 4462 | 4579 | 4825 | 10777 | 10989 | 11682 | 4517 | 4038 | 4087 | 46350 | 44458 | 43732 | 52323 | 54273 | 57696 | 49351 | 53932 | 53220 | 17737 | 17978 | 16596 | 4914 | 5274 | 5271 | 5263 | 5462 | 5420 | 15841 | 16412 | 16719 | 6245 | 5872 | 5913 | 6502 | 6699 | 6635 | 7114 | 7427 | 8054 | 71726 | 73068 | 74305 | 21559 | 20062 | 19637 |  | 45503 | 45997 | 45950 | 5003 | 5308 | 5355 | 9338 | 9497 | 9323 | 292
28 | 31736.782 | 37.1 |  | 30340 | 29088 | 29247 | 19987 | 21771 | 22034 | 3788 | 4366 | 3805 | 3090 |  | 34829 | 34610 | 34454 | 42365 | 46802 | 47532 | 47141 | 47900 | 42593 | 16410 | 16209 | 14534 | 24757 | 26748 | 26397 | 40433 | 42249 | 44664 | 48628 | 53039 | 50422 | 15069 | 14551 | 13793 | 3751 | 3934 | 4119 | 4446 | 4504 | 4728 | 10568 | 10833 | 11493 | 4477 | 4156 | 4022 | 45907 | 43946 | 42696 | 52642 | 55007 | 57802 | 49629 | 55076 | 53792 | 17793 | 17852 | 16859 | 4906 | 5144 | 5248 | 5270 | 5381 | 5341 | 15683 | 16201 | 16400 | 6201 | 5944 | 5794 | 6449 | 6597 | 6554 | 7169 | 7275 | 7894 | 71428 | 72540 | 74315 | 21051 | 20142 | 19570 |  | 44843 | 45974 | 46000 | 5001 | 5184 | 5380 | 9332 | 9411 | 9452 | 302
29 | 32911.769 | 37.1 |  | 30037 | 28761 | 28973 | 19858 | 21338 | 21505 | 3762 | 4322 | 3809 | 3068 |  | 34252 | 34132 | 33702 | 43044 | 45735 | 47135 | 47521 | 48021 | 41995 | 16076 | 16060 | 14339 | 24917 | 26157 | 25758 | 39806 | 41998 | 43825 | 48536 | 52926 | 50387 | 15085 | 14480 | 13691 | 3748 | 3985 | 4080 | 4398 | 4492 | 4817 | 10363 | 10874 | 11351 | 4475 | 4132 | 3988 | 45273 | 42707 | 42741 | 52125 | 53464 | 57168 | 50251 | 54278 | 53674 | 17530 | 17812 | 16760 | 4713 | 5033 | 5039 | 5066 | 5268 | 5291 | 15354 | 15953 | 16323 | 6213 | 5888 | 5694 | 6386 | 6781 | 6526 | 7084 | 7319 | 7981 | 71057 | 73387 | 75009 | 20556 | 19667 | 19134 |  | 44903 | 44991 | 46078 | 4989 | 5272 | 5464 | 9240 | 9260 | 9424 | 295
30 | 34087.569 | 37 |  | 29575 | 28017 | 28470 | 19580 | 21471 | 21422 | 3762 | 4352 | 3827 | 3096 |  | 33181 | 33319 | 32820 | 41214 | 45406 | 46622 | 46206 | 47654 | 41495 | 15786 | 15696 | 14017 | 24573 | 25738 | 26127 | 39478 | 40931 | 43104 | 47286 | 51369 | 48588 | 14699 | 14104 | 13290 | 3756 | 3951 | 4083 | 4401 | 4544 | 4816 | 10444 | 10529 | 11299 | 4439 | 4164 | 4019 | 44851 | 43282 | 42098 | 50572 | 53681 | 56456 | 49411 | 54152 | 53843 | 17366 | 17791 | 16584 | 4810 | 5182 | 5195 | 5124 | 5243 | 5314 | 15249 | 16135 | 16377 | 6133 | 5858 | 5788 | 6319 | 6661 | 6453 | 6932 | 6972 | 7643 | 70963 | 70456 | 73606 | 19938 | 19018 | 18376 |  | 43791 | 44202 | 43964 | 4942 | 5097 | 5245 | 9044 | 9112 | 9196 | 300
31 | 35262.555 | 37.1 |  | 29797 | 27912 | 27815 | 19164 | 20734 | 20779 | 3753 | 4337 | 3797 | 3041 |  | 33039 | 33445 | 32997 | 40371 | 45414 | 46469 | 46385 | 47602 | 41435 | 15463 | 15463 | 13644 | 24302 | 25713 | 25606 | 39394 | 40658 | 41915 | 47052 | 51257 | 50205 | 14798 | 13999 | 13741 | 3688 | 4013 | 4090 | 4434 | 4571 | 4846 | 10382 | 10520 | 10957 | 4448 | 4169 | 4031 | 43512 | 42369 | 41294 | 50666 | 52185 | 54886 | 47547 | 52525 | 51263 | 16676 | 17093 | 15942 | 4808 | 5216 | 5131 | 5106 | 5333 | 5351 | 15389 | 16110 | 16107 | 6070 | 5722 | 5733 | 6300 | 6760 | 6537 | 6976 | 7060 | 7615 | 71310 | 72523 | 74816 | 19696 | 18964 | 18182 |  | 44381 | 43991 | 43456 | 5052 | 5059 | 5330 | 9120 | 9196 | 9160 | 285
32 | 36438.345 | 37.1 |  | 29027 | 26993 | 27356 | 18881 | 20459 | 20418 | 3662 | 4251 | 3724 | 3041 |  | 32549 | 32409 | 32082 | 40328 | 43482 | 44120 | 44522 | 46032 | 40341 | 15191 | 15050 | 13580 | 23781 | 25280 | 24741 | 37649 | 39731 | 41116 | 47004 | 50429 | 48093 | 14342 | 14084 | 13415 | 3648 | 3980 | 4120 | 4360 | 4563 | 4715 | 10510 | 10545 | 11295 | 4493 | 4197 | 3966 | 43102 | 41252 | 40753 | 51010 | 52764 | 55301 | 48324 | 52996 | 53128 | 17226 | 17505 | 16489 | 4732 | 5069 | 5010 | 4973 | 5256 | 5221 | 14939 | 15480 | 15704 | 6094 | 5780 | 5541 | 6079 | 6494 | 6445 | 6747 | 7010 | 7471 | 70562 | 70648 | 73858 | 19130 | 18835 | 17867 |  | 43178 | 43652 | 44081 | 4949 | 5089 | 5195 | 8835 | 8989 | 8995 | 298
33 | 37613.308 | 37.1 |  | 28512 | 26904 | 26987 | 18712 | 20303 | 20521 | 3721 | 4273 | 3742 | 3013 |  | 31646 | 32696 | 32178 | 41168 | 43967 | 44672 | 45096 | 46245 | 40338 | 15310 | 15088 | 13492 | 23248 | 24800 | 24776 | 37348 | 39197 | 41686 | 46161 | 50765 | 48731 | 14372 | 14206 | 13145 | 3728 | 3923 | 4125 | 4300 | 4500 | 4621 | 10337 | 10569 | 11377 | 4430 | 4213 | 4015 | 42170 | 41781 | 40942 | 49176 | 50594 | 52738 | 46623 | 51438 | 50759 | 16586 | 16655 | 15769 | 4721 | 5134 | 5159 | 5152 | 5240 | 5242 | 14771 | 15769 | 16012 | 6051 | 5791 | 5749 | 6196 | 6546 | 6399 | 6883 | 6995 | 7556 | 71803 | 72861 | 75610 | 19076 | 18473 | 18097 |  | 42584 | 42726 | 42570 | 4933 | 5116 | 5246 | 8913 | 8913 | 8898 | 296
34 | 38789.124 | 37 |  | 27936 | 26714 | 26816 | 18497 | 19942 | 20132 | 3743 | 4297 | 3776 | 3066 |  | 31284 | 31495 | 31524 | 39724 | 42237 | 43246 | 44236 | 44669 | 39373 | 14882 | 15043 | 13259 | 22986 | 24833 | 24602 | 37502 | 39776 | 41151 | 45223 | 49564 | 46789 | 14197 | 13954 | 13213 | 3672 | 3994 | 4105 | 4403 | 4495 | 4824 | 10225 | 10500 | 11075 | 4317 | 4177 | 4017 | 41716 | 40723 | 39616 | 48557 | 50746 | 52631 | 47755 | 51453 | 51416 | 16704 | 16723 | 15750 | 4673 | 5060 | 5122 | 5064 | 5131 | 5214 | 14400 | 14752 | 15875 | 5787 | 5833 | 5626 | 6053 | 6434 | 6313 | 6815 | 6999 | 7498 | 71703 | 72933 | 75970 | 18781 | 18034 | 17655 |  | 41235 | 42011 | 42160 | 4991 | 4945 | 5280 | 8847 | 8862 | 8912 | 281
35 | 39963.999 | 37.1 |  | 27817 | 26378 | 26712 | 18465 | 20139 | 20238 | 3750 | 4294 | 3778 | 3096 |  | 30386 | 30953 | 30806 | 39655 | 41550 | 42648 | 43916 | 45244 | 39309 | 14874 | 14902 | 13136 | 22698 | 24488 | 24049 | 36450 | 38242 | 39954 | 45665 | 48933 | 47140 | 14352 | 14080 | 13169 | 3685 | 3959 | 4085 | 4461 | 4499 | 4605 | 9903 | 10241 | 11054 | 4450 | 4177 | 4000 | 41810 | 40159 | 38852 | 49403 | 48949 | 51503 | 46343 | 51280 | 50735 | 16266 | 16834 | 15632 | 4621 | 4933 | 4946 | 5018 | 5158 | 5204 | 14628 | 14790 | 15878 | 5986 | 5863 | 5628 | 6086 | 6391 | 6300 | 6787 | 6773 | 7351 | 69894 | 71624 | 74619 | 18367 | 17779 | 17228 |  | 42229 | 41995 | 42545 | 4871 | 5074 | 5202 | 8656 | 8857 | 8845 | 294
36 | 41138.981 | 37.1 |  | 27333 | 25739 | 25996 | 18095 | 19536 | 19748 | 3671 | 4168 | 3707 | 2977 |  | 30965 | 30548 | 30661 | 38353 | 40954 | 41926 | 42712 | 44187 | 38506 | 14574 | 14536 | 12898 | 22532 | 24117 | 23725 | 35892 | 38326 | 38985 | 44428 | 48575 | 45974 | 14041 | 13914 | 13368 | 3652 | 3919 | 4035 | 4405 | 4443 | 4677 | 9855 | 10166 | 10753 | 4401 | 4165 | 3963 | 40708 | 39399 | 38383 | 48548 | 49344 | 51368 | 45661 | 49995 | 49732 | 16101 | 16355 | 15197 | 4678 | 4951 | 5060 | 5061 | 5205 | 5240 | 14611 | 15050 | 15382 | 5891 | 5564 | 5635 | 5979 | 6315 | 6254 | 6547 | 6799 | 7304 | 70418 | 71203 | 73695 | 18162 | 17403 | 16969 |  | 40684 | 42373 | 41832 | 4876 | 4952 | 5146 | 8671 | 8756 | 8760 | 289
37 | 42314.8 | 37.1 |  | 26967 | 25587 | 25679 | 17866 | 19176 | 19559 | 3675 | 4175 | 3692 | 3026 |  | 30365 | 30430 | 29429 | 37264 | 40484 | 41766 | 42858 | 43945 | 37888 | 14521 | 14568 | 12844 | 21975 | 24058 | 23346 | 35047 | 36936 | 38417 | 43353 | 48039 | 45179 | 14096 | 13994 | 13479 | 3537 | 3990 | 4133 | 4421 | 4512 | 4664 | 10123 | 10263 | 10735 | 4426 | 4180 | 3974 | 40128 | 38580 | 37997 | 47441 | 47476 | 50449 | 45093 | 49479 | 48529 | 16083 | 16391 | 15281 | 4665 | 5073 | 5029 | 5018 | 5145 | 5195 | 14256 | 14794 | 15102 | 5791 | 5514 | 5574 | 5926 | 6291 | 6232 | 6548 | 6704 | 7230 | 70916 | 72217 | 73822 | 17965 | 17332 | 16820 |  | 40912 | 40616 | 41296 | 4837 | 4927 | 5119 | 8618 | 8520 | 8721 | 291
End Time |  |  | A2: 2018-12-02 08:20:04
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12