## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-02
Time: |  |  |  | 2:48 PM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-02 09:06:48
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-02 09:06:45
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 31.5 |  | 0.1077 | 0.1104 | 0.1092 | 0.1132 | 0.1113 | 0.1061 | 0.111 | 0.1117 | 0.1088 | 0.1011 |  | 0.1075 | 0.1085 | 0.1077 | 0.1067 | 0.107 | 0.1082 | 0.107 | 0.1066 | 0.1062 | 0.1067 | 0.1062 | 0.1098 | 0.1055 | 0.1063 | 0.1091 | 0.1062 | 0.1044 | 0.1073 | 0.1086 | 0.1077 | 0.1081 | 0.1077 | 0.1094 | 0.1107 | 0.1097 | 0.1099 | 0.1087 | 0.109 | 0.1066 | 0.1076 | 0.1063 | 0.1094 | 0.1066 | 0.1108 | 0.1091 | 0.1128 | 0.1058 | 0.1074 | 0.108 | 0.1071 | 0.1062 | 0.1064 | 0.1068 | 0.1075 | 0.1121 | 0.11 | 0.1089 | 0.1104 | 0.1068 | 0.1082 | 0.1085 | 0.1081 | 0.1072 | 0.1073 | 0.107 | 0.1067 | 0.1076 | 0.1079 | 0.1081 | 0.1104 | 0.1079 | 0.1083 | 0.1068 | 0.1069 | 0.1066 | 0.1076 | 0.1071 | 0.1088 | 0.1063 | 0.1078 | 0.1074 | 0.1091 |  | 0.115 | 0.1142 | 0.1199 | 0.1153 | 0.1151 | 0.1143 | 0.1096 | 0.1089 | 0.1095 | 0.1254
2 | 1174.892 | 37 |  | 0.1078 | 0.1084 | 0.1083 | 0.1083 | 0.1096 | 0.1096 | 0.1096 | 0.1115 | 0.1094 | 0.1001 |  | 0.1103 | 0.1102 | 0.1105 | 0.1114 | 0.1105 | 0.1117 | 0.1088 | 0.1113 | 0.1079 | 0.1088 | 0.109 | 0.1105 | 0.1086 | 0.1116 | 0.1144 | 0.1098 | 0.11 | 0.1115 | 0.1118 | 0.1101 | 0.1123 | 0.1095 | 0.1124 | 0.1129 | 0.1107 | 0.113 | 0.1136 | 0.1134 | 0.1118 | 0.1105 | 0.1108 | 0.1108 | 0.1109 | 0.1131 | 0.1114 | 0.1141 | 0.1074 | 0.1127 | 0.1119 | 0.1102 | 0.1107 | 0.1122 | 0.111 | 0.1102 | 0.1146 | 0.1115 | 0.1109 | 0.111 | 0.108 | 0.11 | 0.1099 | 0.1089 | 0.1096 | 0.1097 | 0.1092 | 0.1091 | 0.1087 | 0.1092 | 0.1129 | 0.1109 | 0.1064 | 0.1094 | 0.1087 | 0.1085 | 0.1087 | 0.1086 | 0.1092 | 0.1109 | 0.1082 | 0.1092 | 0.1085 | 0.11 |  | 0.1161 | 0.1143 | 0.1163 | 0.1106 | 0.1113 | 0.1105 | 0.1107 | 0.1107 | 0.1092 | 0.123
3 | 2350.71 | 36.9 |  | 0.1127 | 0.1135 | 0.1139 | 0.1139 | 0.1153 | 0.1148 | 0.1149 | 0.1173 | 0.1152 | 0.0995 |  | 0.1138 | 0.1145 | 0.1147 | 0.1147 | 0.1141 | 0.1146 | 0.1119 | 0.1116 | 0.1116 | 0.1111 | 0.1136 | 0.1139 | 0.1146 | 0.1183 | 0.1197 | 0.1151 | 0.1146 | 0.1163 | 0.1163 | 0.1141 | 0.1159 | 0.1133 | 0.1168 | 0.1173 | 0.1157 | 0.119 | 0.1182 | 0.1176 | 0.1168 | 0.1152 | 0.1147 | 0.1147 | 0.1152 | 0.1161 | 0.1152 | 0.1187 | 0.1129 | 0.121 | 0.1193 | 0.1172 | 0.1171 | 0.1174 | 0.1151 | 0.1149 | 0.1189 | 0.1152 | 0.1147 | 0.1155 | 0.1112 | 0.1158 | 0.115 | 0.114 | 0.1143 | 0.1147 | 0.1131 | 0.1136 | 0.1123 | 0.1115 | 0.1165 | 0.1151 | 0.11 | 0.113 | 0.1113 | 0.1105 | 0.1109 | 0.1104 | 0.1105 | 0.1119 | 0.1093 | 0.1101 | 0.1097 | 0.1113 |  | 0.1198 | 0.1183 | 0.1197 | 0.1145 | 0.1151 | 0.1134 | 0.1137 | 0.1133 | 0.1134 | 0.0948
4 | 3525.598 | 36.9 |  | 0.1215 | 0.1228 | 0.1242 | 0.1237 | 0.1254 | 0.1255 | 0.1246 | 0.1288 | 0.1267 | 0.1006 |  | 0.1233 | 0.124 | 0.1223 | 0.125 | 0.1224 | 0.1231 | 0.1186 | 0.1181 | 0.1194 | 0.1165 | 0.1206 | 0.1195 | 0.1231 | 0.1316 | 0.1305 | 0.1254 | 0.1243 | 0.128 | 0.1258 | 0.1231 | 0.124 | 0.1218 | 0.1246 | 0.1252 | 0.1258 | 0.1315 | 0.13 | 0.1291 | 0.1277 | 0.1261 | 0.1248 | 0.1249 | 0.1248 | 0.124 | 0.1235 | 0.1268 | 0.1224 | 0.1347 | 0.1311 | 0.1296 | 0.1289 | 0.129 | 0.1255 | 0.125 | 0.1281 | 0.1235 | 0.1233 | 0.1244 | 0.1187 | 0.1252 | 0.1247 | 0.1232 | 0.1232 | 0.1225 | 0.1215 | 0.1205 | 0.1207 | 0.1188 | 0.1238 | 0.1238 | 0.1126 | 0.1173 | 0.1158 | 0.1138 | 0.1134 | 0.1134 | 0.1125 | 0.1136 | 0.1112 | 0.1117 | 0.1113 | 0.1121 |  | 0.1277 | 0.1278 | 0.1304 | 0.1221 | 0.123 | 0.1218 | 0.1214 | 0.1226 | 0.1216 | 0.0863
5 | 4700.896 | 37.1 |  | 0.1419 | 0.1461 | 0.1512 | 0.1464 | 0.1516 | 0.1472 | 0.1449 | 0.1508 | 0.1492 | 0.1001 |  | 0.1453 | 0.1454 | 0.1411 | 0.1426 | 0.1389 | 0.1416 | 0.1344 | 0.1342 | 0.1329 | 0.1293 | 0.1305 | 0.1338 | 0.1501 | 0.1648 | 0.1601 | 0.1523 | 0.1494 | 0.1543 | 0.1448 | 0.1433 | 0.1434 | 0.1388 | 0.1424 | 0.1418 | 0.1543 | 0.1593 | 0.1541 | 0.1561 | 0.1537 | 0.1506 | 0.1453 | 0.1464 | 0.1439 | 0.1403 | 0.139 | 0.1426 | 0.1441 | 0.1663 | 0.1608 | 0.1569 | 0.1553 | 0.1549 | 0.1444 | 0.1432 | 0.1458 | 0.1401 | 0.1406 | 0.1415 | 0.1318 | 0.1435 | 0.1423 | 0.141 | 0.1406 | 0.1402 | 0.1361 | 0.1357 | 0.1351 | 0.1336 | 0.1386 | 0.1404 | 0.1197 | 0.1253 | 0.1219 | 0.1189 | 0.1188 | 0.1188 | 0.117 | 0.1185 | 0.1157 | 0.1139 | 0.1136 | 0.1143 |  | 0.1442 | 0.1457 | 0.1481 | 0.1348 | 0.137 | 0.1338 | 0.1331 | 0.1349 | 0.1356 | 0.0908
6 | 5876.702 | 36.9 |  | 0.1691 | 0.1779 | 0.181 | 0.1782 | 0.1813 | 0.1768 | 0.1721 | 0.1787 | 0.1804 | 0.1 |  | 0.1658 | 0.1722 | 0.169 | 0.1756 | 0.1671 | 0.1734 | 0.1521 | 0.1559 | 0.1532 | 0.146 | 0.1534 | 0.1549 | 0.1702 | 0.187 | 0.1924 | 0.1785 | 0.1738 | 0.1799 | 0.1688 | 0.1726 | 0.1674 | 0.1653 | 0.1667 | 0.1646 | 0.1736 | 0.1806 | 0.1788 | 0.1817 | 0.1766 | 0.1733 | 0.1669 | 0.1695 | 0.1653 | 0.1654 | 0.1622 | 0.1664 | 0.1626 | 0.1906 | 0.1898 | 0.186 | 0.1811 | 0.1792 | 0.1686 | 0.1683 | 0.1708 | 0.1639 | 0.1645 | 0.1664 | 0.1478 | 0.1627 | 0.1681 | 0.1632 | 0.1615 | 0.16 | 0.1574 | 0.1553 | 0.1569 | 0.1506 | 0.1606 | 0.1649 | 0.1273 | 0.1342 | 0.1312 | 0.1266 | 0.1254 | 0.1254 | 0.1227 | 0.1252 | 0.1215 | 0.1172 | 0.1156 | 0.1167 |  | 0.1653 | 0.1709 | 0.1749 | 0.155 | 0.1577 | 0.1549 | 0.1519 | 0.1546 | 0.1545 | 0.0876
7 | 7051.692 | 37 |  | 0.2055 | 0.209 | 0.2191 | 0.2268 | 0.226 | 0.2188 | 0.2141 | 0.2252 | 0.2265 | 0.0997 |  | 0.2058 | 0.2094 | 0.2044 | 0.2052 | 0.2043 | 0.1996 | 0.1813 | 0.1832 | 0.1844 | 0.1729 | 0.1834 | 0.1913 | 0.2158 | 0.2459 | 0.2341 | 0.2266 | 0.2261 | 0.2276 | 0.2161 | 0.216 | 0.2141 | 0.2057 | 0.2085 | 0.207 | 0.2242 | 0.2345 | 0.2311 | 0.23 | 0.2318 | 0.2244 | 0.2136 | 0.214 | 0.214 | 0.2049 | 0.204 | 0.2114 | 0.2117 | 0.2436 | 0.2478 | 0.2435 | 0.2376 | 0.2335 | 0.2164 | 0.2183 | 0.2188 | 0.2082 | 0.2115 | 0.2185 | 0.1871 | 0.2116 | 0.2171 | 0.2084 | 0.2068 | 0.2022 | 0.1975 | 0.1964 | 0.1958 | 0.188 | 0.2028 | 0.2147 | 0.1468 | 0.1568 | 0.1511 | 0.1412 | 0.1393 | 0.1391 | 0.1346 | 0.1366 | 0.1328 | 0.1228 | 0.1198 | 0.1205 |  | 0.2179 | 0.228 | 0.2363 | 0.2017 | 0.2045 | 0.202 | 0.1954 | 0.2 | 0.2012 | 0.0875
8 | 8227.5 | 36.9 |  | 0.3073 | 0.3342 | 0.3562 | 0.3417 | 0.3376 | 0.3189 | 0.3141 | 0.3258 | 0.3332 | 0.1003 |  | 0.3017 | 0.308 | 0.3085 | 0.3089 | 0.296 | 0.292 | 0.2736 | 0.261 | 0.2528 | 0.2347 | 0.2486 | 0.2603 | 0.3267 | 0.3688 | 0.3674 | 0.3465 | 0.337 | 0.3298 | 0.3028 | 0.2989 | 0.3014 | 0.2908 | 0.2879 | 0.2826 | 0.3359 | 0.3491 | 0.3444 | 0.3462 | 0.3477 | 0.3273 | 0.3094 | 0.3043 | 0.2998 | 0.2899 | 0.2929 | 0.294 | 0.319 | 0.3764 | 0.3809 | 0.3725 | 0.3606 | 0.3447 | 0.3206 | 0.3106 | 0.3063 | 0.2911 | 0.2931 | 0.3029 | 0.2657 | 0.3074 | 0.3173 | 0.3069 | 0.3012 | 0.288 | 0.2768 | 0.275 | 0.275 | 0.2612 | 0.2853 | 0.2967 | 0.1908 | 0.2119 | 0.1984 | 0.1793 | 0.172 | 0.1734 | 0.1621 | 0.1638 | 0.1594 | 0.1369 | 0.1312 | 0.1286 |  | 0.2988 | 0.3136 | 0.319 | 0.2663 | 0.2748 | 0.2687 | 0.2612 | 0.2688 | 0.2736 | 0.0876
9 | 9402.386 | 37.1 |  | 0.4177 | 0.4467 | 0.4794 | 0.4775 | 0.4754 | 0.4458 | 0.4412 | 0.4518 | 0.4595 | 0.1005 |  | 0.4192 | 0.4323 | 0.4285 | 0.4296 | 0.4199 | 0.4081 | 0.3875 | 0.3688 | 0.3598 | 0.3286 | 0.3439 | 0.3725 | 0.4416 | 0.4903 | 0.4883 | 0.47 | 0.4582 | 0.4573 | 0.4275 | 0.4234 | 0.4198 | 0.4115 | 0.4086 | 0.4012 | 0.4544 | 0.4668 | 0.4624 | 0.4694 | 0.4676 | 0.4561 | 0.4369 | 0.425 | 0.4182 | 0.4084 | 0.4054 | 0.4108 | 0.4341 | 0.4894 | 0.4944 | 0.4823 | 0.4871 | 0.4637 | 0.444 | 0.4335 | 0.4276 | 0.416 | 0.4188 | 0.4295 | 0.3708 | 0.4307 | 0.4352 | 0.4208 | 0.4136 | 0.4038 | 0.3869 | 0.3838 | 0.3836 | 0.3731 | 0.392 | 0.4186 | 0.2651 | 0.2935 | 0.2753 | 0.2381 | 0.2273 | 0.2282 | 0.2063 | 0.2089 | 0.199 | 0.1572 | 0.1449 | 0.1416 |  | 0.4217 | 0.4432 | 0.4444 | 0.382 | 0.3912 | 0.3819 | 0.3732 | 0.3812 | 0.3822 | 0.0872
10 | 10578.187 | 37.1 |  | 0.4824 | 0.4879 | 0.5022 | 0.5195 | 0.5235 | 0.5201 | 0.5153 | 0.5303 | 0.5389 | 0.1001 |  | 0.4859 | 0.4974 | 0.491 | 0.4838 | 0.493 | 0.481 | 0.4602 | 0.4571 | 0.4565 | 0.4259 | 0.4393 | 0.4757 | 0.5294 | 0.5644 | 0.5421 | 0.5343 | 0.5411 | 0.5336 | 0.5293 | 0.5247 | 0.5225 | 0.5097 | 0.5126 | 0.5124 | 0.5296 | 0.5403 | 0.5314 | 0.5343 | 0.5344 | 0.5265 | 0.508 | 0.5119 | 0.5101 | 0.5011 | 0.5049 | 0.5194 | 0.5278 | 0.5681 | 0.5701 | 0.5632 | 0.5605 | 0.548 | 0.5222 | 0.5306 | 0.5251 | 0.5026 | 0.5071 | 0.5115 | 0.4778 | 0.5239 | 0.5339 | 0.5137 | 0.5093 | 0.5041 | 0.4873 | 0.4854 | 0.4862 | 0.4676 | 0.4911 | 0.5144 | 0.3682 | 0.3756 | 0.3647 | 0.316 | 0.2924 | 0.297 | 0.2679 | 0.2734 | 0.2635 | 0.1877 | 0.1684 | 0.1609 |  | 0.5322 | 0.5476 | 0.5537 | 0.4956 | 0.5054 | 0.4986 | 0.4883 | 0.4987 | 0.4985 | 0.0929
11 | 11753.624 | 37 |  | 0.6113 | 0.6379 | 0.6611 | 0.662 | 0.6629 | 0.6388 | 0.6286 | 0.6392 | 0.6521 | 0.1005 |  | 0.6081 | 0.6228 | 0.6179 | 0.6188 | 0.6176 | 0.6129 | 0.5931 | 0.5824 | 0.5694 | 0.5475 | 0.5556 | 0.6053 | 0.6636 | 0.6946 | 0.6806 | 0.6685 | 0.6827 | 0.653 | 0.6446 | 0.6302 | 0.6321 | 0.6236 | 0.6215 | 0.6201 | 0.6486 | 0.6591 | 0.6572 | 0.658 | 0.6674 | 0.6531 | 0.6363 | 0.6341 | 0.6342 | 0.6086 | 0.6178 | 0.6311 | 0.681 | 0.6984 | 0.6927 | 0.6928 | 0.6838 | 0.6677 | 0.6457 | 0.6494 | 0.6444 | 0.6231 | 0.634 | 0.6409 | 0.5953 | 0.633 | 0.6402 | 0.6315 | 0.6293 | 0.6173 | 0.6025 | 0.5971 | 0.5986 | 0.5748 | 0.6025 | 0.6305 | 0.5016 | 0.5318 | 0.5074 | 0.4488 | 0.4156 | 0.4221 | 0.3869 | 0.3901 | 0.3805 | 0.262 | 0.2288 | 0.2117 |  | 0.6485 | 0.6614 | 0.6632 | 0.6111 | 0.6202 | 0.6085 | 0.6038 | 0.6088 | 0.6086 | 0.087
12 | 12931.89 | 37.2 |  | 0.6967 | 0.715 | 0.7411 | 0.7411 | 0.7414 | 0.7322 | 0.71 | 0.7087 | 0.7214 | 0.0995 |  | 0.727 | 0.7208 | 0.7078 | 0.714 | 0.7073 | 0.7003 | 0.6698 | 0.665 | 0.6651 | 0.6433 | 0.6593 | 0.7012 | 0.7458 | 0.7648 | 0.7595 | 0.7616 | 0.7852 | 0.7594 | 0.7488 | 0.7334 | 0.7241 | 0.706 | 0.7102 | 0.7024 | 0.7205 | 0.7323 | 0.7295 | 0.7301 | 0.7331 | 0.7262 | 0.7095 | 0.7005 | 0.7025 | 0.6917 | 0.6882 | 0.7036 | 0.7585 | 0.7775 | 0.7757 | 0.7821 | 0.7804 | 0.7621 | 0.7404 | 0.742 | 0.7345 | 0.7132 | 0.724 | 0.7226 | 0.6883 | 0.7059 | 0.7098 | 0.6937 | 0.694 | 0.6974 | 0.6725 | 0.6753 | 0.6771 | 0.6643 | 0.6742 | 0.7045 | 0.608 | 0.6289 | 0.6092 | 0.5643 | 0.5389 | 0.5429 | 0.505 | 0.5093 | 0.4956 | 0.3699 | 0.3187 | 0.292 |  | 0.7365 | 0.7319 | 0.7368 | 0.6889 | 0.6887 | 0.6846 | 0.6828 | 0.6916 | 0.6909 | 0.0866
13 | 14107.649 | 36.9 |  | 0.7515 | 0.7813 | 0.8133 | 0.8168 | 0.8157 | 0.7826 | 0.7771 | 0.7699 | 0.777 | 0.0995 |  | 0.7708 | 0.768 | 0.7635 | 0.7785 | 0.7822 | 0.7742 | 0.7618 | 0.732 | 0.7547 | 0.727 | 0.7426 | 0.7665 | 0.8211 | 0.8557 | 0.8379 | 0.8331 | 0.8364 | 0.805 | 0.7878 | 0.7723 | 0.7543 | 0.7577 | 0.7644 | 0.7667 | 0.7906 | 0.8056 | 0.8007 | 0.7798 | 0.7888 | 0.763 | 0.7495 | 0.7368 | 0.7351 | 0.7194 | 0.7204 | 0.7415 | 0.8446 | 0.8472 | 0.8452 | 0.8544 | 0.8358 | 0.8138 | 0.79 | 0.7773 | 0.7772 | 0.7682 | 0.7727 | 0.7609 | 0.7624 | 0.7751 | 0.7746 | 0.7721 | 0.7619 | 0.7408 | 0.7278 | 0.731 | 0.7246 | 0.7052 | 0.7056 | 0.7318 | 0.7198 | 0.7323 | 0.7169 | 0.6755 | 0.6573 | 0.6597 | 0.6224 | 0.6255 | 0.6076 | 0.4904 | 0.4247 | 0.4003 |  | 0.7655 | 0.7714 | 0.7779 | 0.7358 | 0.7415 | 0.7243 | 0.7212 | 0.7196 | 0.7205 | 0.0879
14 | 15282.627 | 36.8 |  | 0.793 | 0.856 | 0.8746 | 0.8742 | 0.868 | 0.8251 | 0.8194 | 0.7969 | 0.8203 | 0.1006 |  | 0.8401 | 0.8326 | 0.8338 | 0.844 | 0.8427 | 0.8175 | 0.7999 | 0.7924 | 0.761 | 0.7595 | 0.7769 | 0.807 | 0.8735 | 0.8883 | 0.8867 | 0.864 | 0.8515 | 0.845 | 0.8052 | 0.7911 | 0.7751 | 0.7754 | 0.7635 | 0.7656 | 0.8658 | 0.8396 | 0.8475 | 0.8263 | 0.8016 | 0.7944 | 0.7783 | 0.7579 | 0.7602 | 0.7335 | 0.7498 | 0.7543 | 0.9291 | 0.8919 | 0.8831 | 0.8817 | 0.8595 | 0.8461 | 0.8202 | 0.7924 | 0.7868 | 0.782 | 0.7762 | 0.7697 | 0.8371 | 0.8273 | 0.8081 | 0.7968 | 0.7803 | 0.7734 | 0.757 | 0.7565 | 0.7543 | 0.724 | 0.7339 | 0.7536 | 0.7873 | 0.7811 | 0.764 | 0.7468 | 0.7246 | 0.7279 | 0.7007 | 0.6968 | 0.6846 | 0.598 | 0.5432 | 0.5229 |  | 0.844 | 0.8444 | 0.8402 | 0.8029 | 0.8022 | 0.7772 | 0.7855 | 0.7721 | 0.7579 | 0.0883
15 | 16458.443 | 37.1 |  | 0.8247 | 0.8632 | 0.8806 | 0.8858 | 0.8771 | 0.8525 | 0.8402 | 0.8115 | 0.8538 | 0.1001 |  | 0.8581 | 0.8646 | 0.8542 | 0.8583 | 0.8462 | 0.837 | 0.8267 | 0.8134 | 0.7981 | 0.778 | 0.7863 | 0.8251 | 0.9363 | 0.9148 | 0.9022 | 0.8851 | 0.9037 | 0.8645 | 0.8384 | 0.8275 | 0.804 | 0.7957 | 0.7959 | 0.8002 | 0.8654 | 0.84 | 0.8295 | 0.8027 | 0.7898 | 0.7791 | 0.7773 | 0.7692 | 0.7795 | 0.7436 | 0.7711 | 0.7703 | 0.9683 | 0.902 | 0.882 | 0.8845 | 0.8537 | 0.8485 | 0.83 | 0.8131 | 0.8014 | 0.7848 | 0.7875 | 0.7748 | 0.8464 | 0.823 | 0.8065 | 0.7964 | 0.7855 | 0.7762 | 0.7689 | 0.7832 | 0.7804 | 0.7472 | 0.7406 | 0.7717 | 0.8819 | 0.8272 | 0.805 | 0.793 | 0.758 | 0.7677 | 0.7516 | 0.7468 | 0.7431 | 0.675 | 0.6448 | 0.6175 |  | 0.8112 | 0.8254 | 0.8273 | 0.8076 | 0.8192 | 0.7874 | 0.8159 | 0.7982 | 0.793 | 0.0872
16 | 17633.329 | 36.9 |  | 0.7408 | 0.7755 | 0.7939 | 0.814 | 0.8053 | 0.7901 | 0.82 | 0.7961 | 0.8277 | 0.1005 |  | 0.7437 | 0.7512 | 0.747 | 0.7561 | 0.7677 | 0.7924 | 0.7665 | 0.7777 | 0.7594 | 0.7611 | 0.7754 | 0.806 | 0.8416 | 0.8031 | 0.7929 | 0.7845 | 0.7868 | 0.7844 | 0.7878 | 0.7766 | 0.7699 | 0.7662 | 0.7639 | 0.766 | 0.7518 | 0.7561 | 0.7406 | 0.728 | 0.7409 | 0.746 | 0.7358 | 0.7429 | 0.7502 | 0.7333 | 0.7502 | 0.755 | 0.855 | 0.7681 | 0.7749 | 0.7896 | 0.7771 | 0.7929 | 0.7744 | 0.7744 | 0.7782 | 0.7671 | 0.7706 | 0.7634 | 0.7406 | 0.7138 | 0.7052 | 0.7079 | 0.7158 | 0.7176 | 0.7221 | 0.7412 | 0.7514 | 0.7311 | 0.7374 | 0.7694 | 0.7977 | 0.7595 | 0.7434 | 0.7519 | 0.7435 | 0.7628 | 0.7601 | 0.7712 | 0.7769 | 0.7254 | 0.7185 | 0.7072 |  | 0.7363 | 0.7479 | 0.7532 | 0.7579 | 0.7754 | 0.7821 | 0.8154 | 0.7997 | 0.7981 | 0.0879
17 | 18808.316 | 37 |  | 0.8006 | 0.8421 | 0.8532 | 0.8482 | 0.8528 | 0.8143 | 0.8272 | 0.824 | 0.8557 | 0.0996 |  | 0.8132 | 0.8053 | 0.7878 | 0.7707 | 0.768 | 0.786 | 0.7562 | 0.748 | 0.7327 | 0.7564 | 0.7603 | 0.814 | 0.8696 | 0.8337 | 0.825 | 0.8116 | 0.8043 | 0.7895 | 0.7751 | 0.7796 | 0.7808 | 0.77 | 0.7691 | 0.7804 | 0.7879 | 0.7713 | 0.7687 | 0.7411 | 0.744 | 0.7451 | 0.7472 | 0.7522 | 0.7621 | 0.7369 | 0.7566 | 0.7653 | 0.9009 | 0.8219 | 0.8156 | 0.8195 | 0.8132 | 0.8284 | 0.7885 | 0.7965 | 0.7974 | 0.775 | 0.7824 | 0.7833 | 0.786 | 0.7368 | 0.7233 | 0.7256 | 0.732 | 0.7334 | 0.7383 | 0.7615 | 0.7556 | 0.7416 | 0.7389 | 0.7717 | 0.8683 | 0.7897 | 0.7976 | 0.8092 | 0.7746 | 0.7973 | 0.7921 | 0.7974 | 0.8071 | 0.766 | 0.7676 | 0.7682 |  | 0.7909 | 0.8148 | 0.8159 | 0.8071 | 0.8117 | 0.8075 | 0.8316 | 0.815 | 0.8029 | 0.1556
18 | 19984.119 | 37 |  | 0.8336 | 0.8701 | 0.8907 | 0.8561 | 0.8673 | 0.8402 | 0.8464 | 0.8451 | 0.8651 | 0.1004 |  | 0.8435 | 0.8318 | 0.8168 | 0.802 | 0.7846 | 0.7954 | 0.7791 | 0.7658 | 0.7583 | 0.7578 | 0.7612 | 0.7932 | 0.9014 | 0.8423 | 0.8409 | 0.8012 | 0.7873 | 0.7786 | 0.7695 | 0.7661 | 0.7681 | 0.7651 | 0.7586 | 0.7646 | 0.7552 | 0.7465 | 0.7377 | 0.7271 | 0.7365 | 0.7447 | 0.7458 | 0.7444 | 0.7626 | 0.7439 | 0.7619 | 0.7643 | 0.9528 | 0.8382 | 0.8376 | 0.8287 | 0.8302 | 0.8291 | 0.7947 | 0.7953 | 0.7984 | 0.7672 | 0.7743 | 0.7665 | 0.7525 | 0.725 | 0.7185 | 0.7199 | 0.7306 | 0.7308 | 0.7396 | 0.7601 | 0.7668 | 0.7481 | 0.7446 | 0.7753 | 0.8932 | 0.8126 | 0.7835 | 0.8049 | 0.784 | 0.8133 | 0.8038 | 0.8189 | 0.8262 | 0.7805 | 0.7855 | 0.7817 |  | 0.7931 | 0.8068 | 0.8018 | 0.8244 | 0.8177 | 0.8044 | 0.8382 | 0.8187 | 0.8169 | 0.0871
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 31.6 |  | 4130 | 3900 | 3681 | 3680 | 3579 | 3897 | 3719 | 3731 | 3536 | 3497 |  | 4210 | 3969 | 4151 | 3940 | 4167 | 4223 | 3870 | 3992 | 4018 | 4017 | 4050 | 3662 | 3734 | 3839 | 3702 | 3823 | 3584 | 3915 | 3875 | 3961 | 3724 | 3711 | 3798 | 3829 | 3918 | 3704 | 3891 | 3962 | 3759 | 4002 | 3931 | 3878 | 3723 | 4049 | 3715 | 3693 | 3735 | 3926 | 3746 | 3718 | 3842 | 3715 | 3775 | 3825 | 3713 | 3861 | 3948 | 3742 | 3691 | 3772 | 3707 | 3796 | 3898 | 3868 | 3777 | 3688 | 3650 | 3827 | 3736 | 3688 | 3540 | 3670 | 3613 | 3501 | 3853 | 3795 | 3737 | 3679 | 3627 | 3800 | 3700 | 3771 |  | 4031 | 3550 | 3507 | 3453 | 3498 | 3622 | 3677 | 3660 | 3694 | 332
2 | 1174.892 | 37 |  | 3893 | 3664 | 3521 | 3503 | 3462 | 3756 | 3543 | 3580 | 3479 | 3358 |  | 4034 | 3798 | 3939 | 3804 | 3935 | 4080 | 3677 | 3853 | 3802 | 3813 | 3820 | 3443 | 3588 | 3555 | 3592 | 3660 | 3400 | 3769 | 3671 | 3738 | 3429 | 3530 | 3672 | 3564 | 3665 | 3478 | 3766 | 3786 | 3643 | 3928 | 3828 | 3759 | 3583 | 3953 | 3543 | 3586 | 3520 | 3607 | 3574 | 3446 | 3567 | 3565 | 3709 | 3570 | 3518 | 3613 | 3655 | 3478 | 3542 | 3588 | 3546 | 3592 | 3799 | 3681 | 3697 | 3535 | 3465 | 3619 | 3621 | 3555 | 3399 | 3549 | 3514 | 3470 | 3648 | 3598 | 3666 | 3591 | 3557 | 3747 | 3661 | 3687 |  | 3806 | 3405 | 3445 | 3319 | 3314 | 3478 | 3514 | 3529 | 3429 | 314
3 | 2350.71 | 37.1 |  | 3915 | 3600 | 3447 | 3471 | 3365 | 3674 | 3522 | 3481 | 3375 | 3227 |  | 3971 | 3732 | 3880 | 3685 | 3911 | 3952 | 3625 | 3791 | 3791 | 3764 | 3801 | 3398 | 3532 | 3561 | 3520 | 3572 | 3324 | 3635 | 3627 | 3709 | 3430 | 3509 | 3571 | 3651 | 3597 | 3527 | 3708 | 3773 | 3538 | 3793 | 3697 | 3685 | 3619 | 3834 | 3495 | 3508 | 3514 | 3597 | 3577 | 3401 | 3539 | 3431 | 3608 | 3575 | 3500 | 3649 | 3701 | 3521 | 3497 | 3581 | 3597 | 3559 | 3650 | 3711 | 3591 | 3506 | 3442 | 3671 | 3600 | 3469 | 3586 | 3753 | 3653 | 3651 | 3834 | 3685 | 3917 | 3750 | 3730 | 4034 | 3811 | 3891 |  | 3703 | 3433 | 3344 | 3258 | 3239 | 3377 | 3487 | 3469 | 3421 | 313
4 | 3525.598 | 37.1 |  | 3848 | 3639 | 3505 | 3446 | 3397 | 3623 | 3442 | 3490 | 3354 | 3236 |  | 3985 | 3871 | 3954 | 3656 | 3878 | 3980 | 3623 | 3795 | 3774 | 3748 | 3793 | 3438 | 3546 | 3500 | 3501 | 3507 | 3253 | 3545 | 3569 | 3655 | 3402 | 3497 | 3552 | 3494 | 3587 | 3540 | 3652 | 3752 | 3559 | 3829 | 3732 | 3666 | 3532 | 3841 | 3430 | 3487 | 3505 | 3662 | 3624 | 3441 | 3525 | 3501 | 3637 | 3557 | 3396 | 3597 | 3649 | 3484 | 3444 | 3616 | 3576 | 3585 | 3631 | 3679 | 3540 | 3522 | 3421 | 3614 | 3585 | 3476 | 3776 | 3949 | 3904 | 3769 | 3963 | 3995 | 4026 | 3987 | 3913 | 4140 | 3996 | 4085 |  | 3814 | 3354 | 3376 | 3240 | 3316 | 3383 | 3533 | 3435 | 3437 | 307
5 | 4700.896 | 37 |  | 3975 | 3696 | 3512 | 3383 | 3383 | 3603 | 3407 | 3404 | 3340 | 3231 |  | 4029 | 3890 | 3970 | 3817 | 4014 | 4071 | 3701 | 3827 | 3830 | 3850 | 4001 | 3646 | 3543 | 3533 | 3593 | 3635 | 3395 | 3719 | 3562 | 3667 | 3445 | 3567 | 3698 | 3661 | 3613 | 3482 | 3667 | 3759 | 3557 | 3782 | 3743 | 3683 | 3515 | 3790 | 3360 | 3527 | 3537 | 3729 | 3674 | 3579 | 3648 | 3581 | 3684 | 3740 | 3573 | 3728 | 3849 | 3666 | 3497 | 3590 | 3589 | 3540 | 3651 | 3702 | 3653 | 3454 | 3437 | 3602 | 3560 | 3482 | 4096 | 4473 | 4370 | 4199 | 4414 | 4355 | 4401 | 4225 | 4115 | 4393 | 4272 | 4318 |  | 3839 | 3451 | 3470 | 3278 | 3312 | 3448 | 3556 | 3495 | 3457 | 318
6 | 5876.702 | 37 |  | 4043 | 3770 | 3574 | 3424 | 3394 | 3680 | 3419 | 3416 | 3268 | 3227 |  | 4080 | 3952 | 4124 | 3882 | 4066 | 4114 | 3719 | 3939 | 3898 | 3933 | 4130 | 3759 | 3506 | 3632 | 3608 | 3641 | 3314 | 3620 | 3714 | 3730 | 3465 | 3594 | 3753 | 3777 | 3605 | 3386 | 3623 | 3729 | 3526 | 3664 | 3629 | 3656 | 3496 | 3797 | 3360 | 3539 | 3619 | 3826 | 3792 | 3662 | 3803 | 3619 | 3640 | 3726 | 3592 | 3740 | 3774 | 3656 | 3480 | 3646 | 3623 | 3635 | 3734 | 3737 | 3676 | 3550 | 3467 | 3631 | 3701 | 3577 | 4149 | 4714 | 4620 | 4469 | 4623 | 4513 | 4637 | 4639 | 4463 | 4704 | 4542 | 4684 |  | 4006 | 3520 | 3521 | 3302 | 3312 | 3402 | 3491 | 3450 | 3503 | 307
7 | 7051.692 | 37.1 |  | 4191 | 3866 | 3701 | 3490 | 3447 | 3833 | 3386 | 3465 | 3287 | 3206 |  | 4176 | 4169 | 4184 | 3981 | 4139 | 4182 | 3788 | 4052 | 4062 | 4038 | 4200 | 3867 | 3603 | 3679 | 3612 | 3686 | 3365 | 3685 | 3772 | 3758 | 3505 | 3640 | 3803 | 3831 | 3583 | 3528 | 3656 | 3787 | 3554 | 3863 | 3757 | 3736 | 3600 | 3871 | 3516 | 3553 | 3664 | 3948 | 3913 | 3657 | 3850 | 3715 | 3834 | 3929 | 3710 | 3863 | 4004 | 3783 | 3555 | 3693 | 3757 | 3728 | 3852 | 3792 | 3737 | 3552 | 3481 | 3682 | 3667 | 3623 | 4350 | 4749 | 4780 | 4638 | 4803 | 4875 | 4929 | 4939 | 4776 | 5272 | 5081 | 5182 |  | 4097 | 3636 | 3613 | 3377 | 3427 | 3469 | 3623 | 3548 | 3611 | 315
8 | 8227.5 | 37.1 |  | 4446 | 4073 | 3896 | 3595 | 3514 | 3865 | 3438 | 3447 | 3344 | 3162 |  | 4465 | 4360 | 4514 | 4166 | 4372 | 4426 | 3967 | 4143 | 4158 | 4113 | 4382 | 3984 | 3673 | 3868 | 3792 | 3772 | 3523 | 3861 | 3860 | 3897 | 3641 | 3707 | 3874 | 4107 | 3556 | 3596 | 3697 | 3859 | 3660 | 3838 | 3808 | 3763 | 3507 | 3854 | 3535 | 3553 | 3862 | 4237 | 4198 | 4044 | 4122 | 3919 | 4010 | 4022 | 3831 | 3984 | 4022 | 3995 | 3618 | 3865 | 3872 | 3870 | 3945 | 3902 | 3879 | 3695 | 3669 | 3817 | 3732 | 3756 | 4443 | 5067 | 4889 | 4722 | 4818 | 4933 | 4970 | 5080 | 5019 | 5605 | 5342 | 5648 |  | 4248 | 3940 | 3946 | 3491 | 3506 | 3562 | 3714 | 3624 | 3677 | 318
9 | 9402.386 | 37 |  | 5587 | 5246 | 4955 | 4241 | 4074 | 4265 | 3465 | 3536 | 3429 | 3131 |  | 5189 | 5281 | 5458 | 4994 | 5268 | 4921 | 4343 | 4518 | 4432 | 4370 | 4612 | 4207 | 4204 | 4824 | 4568 | 4492 | 4242 | 4410 | 4216 | 4341 | 3953 | 3900 | 4127 | 4272 | 3665 | 3623 | 3746 | 3846 | 3686 | 3881 | 3784 | 3737 | 3556 | 3918 | 3584 | 3566 | 4627 | 5964 | 6070 | 5484 | 5254 | 4737 | 4646 | 4561 | 4240 | 4310 | 4425 | 4541 | 3862 | 4117 | 4128 | 4120 | 4263 | 4207 | 4096 | 3990 | 3955 | 4053 | 4084 | 3990 | 4426 | 5088 | 5059 | 4891 | 4971 | 5003 | 5139 | 5099 | 4971 | 5826 | 5733 | 5983 |  | 5267 | 4901 | 5140 | 3644 | 3704 | 3807 | 3872 | 3830 | 3877 | 310
10 | 10578.187 | 37 |  | 11784 | 11397 | 11073 | 7843 | 7433 | 7215 | 3639 | 3689 | 3580 | 3263 |  | 10052 | 10721 | 11090 | 9755 | 10329 | 8970 | 7294 | 6900 | 6638 | 5661 | 6213 | 5735 | 7496 | 10167 | 8428 | 8524 | 8244 | 7530 | 6706 | 6618 | 6080 | 5719 | 5876 | 6288 | 3779 | 3859 | 3943 | 4035 | 3821 | 4079 | 3951 | 3910 | 3661 | 4081 | 3756 | 3714 | 9352 | 13881 | 14070 | 12777 | 11808 | 10233 | 8621 | 8516 | 7321 | 6583 | 6938 | 7814 | 4177 | 4639 | 4530 | 4469 | 4723 | 4557 | 4492 | 4316 | 4265 | 4392 | 4484 | 4336 | 4663 | 5344 | 5151 | 4917 | 5144 | 5214 | 5225 | 5232 | 5096 | 5875 | 5820 | 6244 |  | 11054 | 11950 | 12094 | 4180 | 4155 | 4251 | 4274 | 4311 | 4350 | 301
11 | 11753.624 | 37.1 |  | 21451 | 20555 | 20440 | 15216 | 14517 | 14303 | 3765 | 3799 | 3699 | 3150 |  | 19731 | 20604 | 21071 | 18689 | 19800 | 17426 | 14796 | 13981 | 13510 | 10574 | 11891 | 11359 | 14431 | 17792 | 15999 | 16141 | 15696 | 14517 | 13462 | 12957 | 12384 | 11158 | 11906 | 12898 | 4039 | 3939 | 4142 | 4240 | 3998 | 4286 | 4121 | 4147 | 3882 | 4196 | 3750 | 3898 | 19766 | 25082 | 25320 | 23579 | 22539 | 20897 | 18403 | 18542 | 16711 | 14663 | 15420 | 17213 | 4704 | 5167 | 5192 | 5184 | 5305 | 5166 | 5056 | 4867 | 4799 | 4903 | 5068 | 4887 | 4986 | 5613 | 5550 | 5191 | 5269 | 5349 | 5426 | 5392 | 5263 | 6129 | 6120 | 6485 |  | 22239 | 23607 | 23929 | 4576 | 4661 | 4709 | 4766 | 4786 | 4957 | 305
12 | 12931.89 | 37 |  | 31101 | 29287 | 28253 | 22046 | 21765 | 22719 | 3968 | 4030 | 3898 | 3136 |  | 30198 | 29866 | 30724 | 28686 | 30934 | 29475 | 26547 | 25973 | 25213 | 21663 | 23136 | 21947 | 22099 | 24500 | 23478 | 24177 | 22528 | 23122 | 22835 | 22624 | 21575 | 20478 | 21529 | 22948 | 4132 | 4117 | 4185 | 4320 | 4144 | 4532 | 4340 | 4375 | 4221 | 4524 | 4110 | 4199 | 30383 | 35039 | 34519 | 32979 | 33195 | 32142 | 30041 | 30658 | 28749 | 26839 | 27714 | 28731 | 5238 | 5613 | 5652 | 5614 | 5684 | 5661 | 5455 | 5338 | 5252 | 5473 | 5471 | 5439 | 5424 | 6143 | 5980 | 5529 | 5645 | 5772 | 5795 | 5723 | 5526 | 6406 | 6182 | 6636 |  | 33998 | 33613 | 34227 | 5130 | 5213 | 5249 | 5660 | 5679 | 5825 | 285
13 | 14107.649 | 37.1 |  | 36971 | 34931 | 33889 | 25639 | 26131 | 28212 | 4107 | 4106 | 3950 | 3049 |  | 37501 | 37208 | 38184 | 35502 | 38454 | 38359 | 35318 | 35905 | 35803 | 32741 | 34573 | 31328 | 26401 | 27537 | 26848 | 28578 | 27845 | 29327 | 29972 | 30422 | 29571 | 29129 | 30542 | 32475 | 4184 | 4161 | 4278 | 4474 | 4288 | 4598 | 4494 | 4534 | 4308 | 4689 | 4287 | 4381 | 37683 | 41264 | 40643 | 39265 | 40197 | 40635 | 38780 | 40723 | 38473 | 36936 | 37834 | 38224 | 5709 | 5896 | 5960 | 5919 | 6132 | 6093 | 6027 | 5851 | 5742 | 5931 | 6115 | 5822 | 6167 | 6932 | 6919 | 6424 | 6393 | 6466 | 6592 | 6536 | 6152 | 7149 | 6664 | 7133 |  | 42590 | 41876 | 42322 | 5524 | 5550 | 5671 | 6947 | 7014 | 6932 | 300
14 | 15282.627 | 37 |  | 39385 | 37159 | 35666 | 26596 | 28075 | 30488 | 4113 | 4163 | 3994 | 3133 |  | 41100 | 39559 | 40814 | 39863 | 42555 | 43262 | 41538 | 43011 | 43365 | 40661 | 42666 | 38041 | 27542 | 28777 | 27688 | 29767 | 29026 | 31513 | 32808 | 34265 | 33005 | 33720 | 35640 | 37984 | 4212 | 4213 | 4371 | 4528 | 4411 | 4792 | 4660 | 4640 | 4409 | 4901 | 4338 | 4493 | 42607 | 44507 | 44094 | 43346 | 43955 | 44150 | 44906 | 47638 | 46327 | 44868 | 46421 | 44323 | 5965 | 6119 | 6036 | 6102 | 6268 | 6451 | 6293 | 6132 | 6022 | 6225 | 6370 | 6059 | 7117 | 8080 | 7755 | 7329 | 7308 | 7520 | 8209 | 8234 | 7793 | 9671 | 8614 | 8583 |  | 48516 | 46228 | 47020 | 5824 | 5885 | 5966 | 8555 | 8640 | 8649 | 296
15 | 16458.443 | 37 |  | 40735 | 37785 | 36774 | 26668 | 28236 | 30443 | 4066 | 4153 | 4051 | 3128 |  | 41419 | 40651 | 40886 | 39788 | 43775 | 45025 | 44022 | 46076 | 46316 | 45990 | 47283 | 41215 | 28472 | 28632 | 28649 | 29889 | 28800 | 31552 | 33287 | 34936 | 33495 | 35649 | 37206 | 40938 | 4191 | 4191 | 4263 | 4401 | 4346 | 4670 | 4654 | 4538 | 4476 | 4898 | 4521 | 4525 | 45298 | 46945 | 46091 | 44823 | 46790 | 47930 | 49261 | 52021 | 49952 | 49530 | 50298 | 49229 | 5815 | 6095 | 5961 | 6104 | 6354 | 6213 | 6152 | 6218 | 6208 | 6337 | 6393 | 6078 | 8143 | 8962 | 8742 | 8549 | 8418 | 8670 | 10451 | 10394 | 10148 | 16193 | 14256 | 14057 |  | 50644 | 50652 | 48107 | 5866 | 6054 | 6137 | 9590 | 9757 | 9805 | 293
16 | 17633.329 | 37.1 |  | 41224 | 38514 | 37088 | 26971 | 28038 | 30334 | 4128 | 4147 | 4043 | 3145 |  | 42184 | 41308 | 41707 | 40248 | 44403 | 46275 | 45298 | 48034 | 47732 | 48388 | 49353 | 43755 | 27846 | 28239 | 27924 | 30068 | 28714 | 31496 | 32982 | 34904 | 33503 | 35885 | 38308 | 42404 | 4029 | 4168 | 4323 | 4532 | 4338 | 4674 | 4641 | 4692 | 4395 | 4882 | 4484 | 4533 | 47012 | 47312 | 46049 | 45900 | 46899 | 48837 | 50036 | 53638 | 51118 | 50931 | 51195 | 50824 | 5764 | 5949 | 5923 | 5919 | 6179 | 6180 | 6258 | 6195 | 6134 | 6368 | 6526 | 6160 | 8946 | 9587 | 9537 | 9736 | 9899 | 10293 | 13624 | 13740 | 13481 | 26825 | 25621 | 24861 |  | 51088 | 50405 | 50483 | 5761 | 5845 | 6046 | 10246 | 10243 | 10382 | 310
17 | 18808.316 | 37.1 |  | 40301 | 37639 | 36247 | 25938 | 27381 | 29682 | 4080 | 4135 | 3965 | 3113 |  | 41067 | 40044 | 40657 | 39426 | 43389 | 45294 | 44923 | 47690 | 47278 | 48304 | 50686 | 44164 | 27298 | 27395 | 27027 | 28091 | 27640 | 30145 | 32326 | 33575 | 32949 | 36060 | 38183 | 43242 | 4123 | 4178 | 4332 | 4494 | 4282 | 4631 | 4622 | 4596 | 4419 | 4847 | 4575 | 4481 | 46735 | 47545 | 46151 | 46393 | 48372 | 50044 | 51232 | 54500 | 52286 | 52848 | 53193 | 52675 | 5611 | 5878 | 5899 | 5885 | 6219 | 6195 | 6275 | 6205 | 6145 | 6391 | 6420 | 6091 | 9096 | 9696 | 9471 | 10132 | 10453 | 11122 | 15931 | 16291 | 16219 | 35380 | 35259 | 35826 |  | 52054 | 51464 | 51931 | 5666 | 5774 | 5917 | 10355 | 10611 | 10557 | 309
18 | 19984.119 | 37.1 |  | 39447 | 36593 | 35611 | 25201 | 26561 | 28682 | 4049 | 4043 | 3906 | 3162 |  | 39839 | 39112 | 40088 | 38501 | 41855 | 43613 | 43471 | 46478 | 46317 | 48246 | 50087 | 43557 | 26388 | 26825 | 26211 | 27549 | 27629 | 29484 | 31914 | 33559 | 32456 | 35596 | 38244 | 43548 | 4136 | 4105 | 4344 | 4497 | 4291 | 4575 | 4647 | 4655 | 4437 | 4838 | 4493 | 4559 | 46624 | 46873 | 45988 | 45926 | 47899 | 49998 | 51143 | 54909 | 53605 | 52845 | 53610 | 52339 | 5654 | 5876 | 5735 | 5911 | 6041 | 6194 | 6199 | 6191 | 6081 | 6365 | 6402 | 6045 | 8999 | 9553 | 9414 | 10193 | 10507 | 11437 | 17257 | 17621 | 17778 | 40569 | 41666 | 42714 |  | 51409 | 51723 | 51899 | 5593 | 5690 | 5968 | 10559 | 10450 | 10643 | 315
End Time |  |  | A2: 2018-12-02 14:40:34
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12