## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-02
Time: |  |  |  | 8:48 PM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-02 14:49:40
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-02 14:49:37
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36.5 |  | 0.1069 | 0.1111 | 0.1049 | 0.1071 | 0.1065 | 0.106 | 0.1104 | 0.1065 | 0.1056 | 0.1023 |  | 0.1116 | 0.1084 | 0.1081 | 0.1081 | 0.108 | 0.1074 | 0.1077 | 0.1069 | 0.1077 | 0.1064 | 0.1117 | 0.1056 | 0.1106 | 0.1073 | 0.1083 | 0.1067 | 0.1085 | 0.107 | 0.1074 | 0.1086 | 0.1098 | 0.1089 | 0.11 | 0.1094 | 0.1123 | 0.1097 | 0.1098 | 0.1092 | 0.1091 | 0.1086 | 0.1114 | 0.1081 | 0.1099 | 0.1101 | 0.1108 | 0.113 | 0.1126 | 0.1145 | 0.1086 | 0.1082 | 0.1075 | 0.1072 | 0.1072 | 0.109 | 0.1106 | 0.1095 | 0.1102 | 0.111 | 0.1101 | 0.111 | 0.1079 | 0.1076 | 0.1095 | 0.1084 | 0.1095 | 0.1086 | 0.108 | 0.1105 | 0.1113 | 0.1092 | 0.1127 | 0.1074 | 0.1087 | 0.109 | 0.109 | 0.1085 | 0.1084 | 0.1071 | 0.107 | 0.109 | 0.1085 | 0.111 |  | 0.1101 | 0.1153 | 0.1174 | 0.1109 | 0.1107 | 0.1088 | 0.1091 | 0.1103 | 0.1105 | 0.2506
2 | 1175.787 | 36.9 |  | 0.1085 | 0.1102 | 0.1074 | 0.1077 | 0.1089 | 0.1083 | 0.1087 | 0.1094 | 0.1265 | 0.1022 |  | 0.1105 | 0.11 | 0.1094 | 0.1095 | 0.1112 | 0.1091 | 0.1091 | 0.1086 | 0.1093 | 0.1089 | 0.1146 | 0.1062 | 0.1068 | 0.1105 | 0.1108 | 0.1095 | 0.1114 | 0.1095 | 0.1088 | 0.1124 | 0.1122 | 0.1107 | 0.1124 | 0.1121 | 0.1098 | 0.1116 | 0.1114 | 0.1113 | 0.1108 | 0.11 | 0.1142 | 0.1115 | 0.1117 | 0.1134 | 0.1124 | 0.1141 | 0.1094 | 0.119 | 0.1119 | 0.1105 | 0.1107 | 0.1092 | 0.1093 | 0.1112 | 0.1126 | 0.1121 | 0.1119 | 0.1131 | 0.109 | 0.1114 | 0.1084 | 0.1085 | 0.1108 | 0.1099 | 0.1106 | 0.1105 | 0.1098 | 0.1109 | 0.1126 | 0.1102 | 0.1066 | 0.109 | 0.111 | 0.11 | 0.1106 | 0.1101 | 0.1102 | 0.1083 | 0.1077 | 0.109 | 0.1086 | 0.1131 |  | 0.1103 | 0.1121 | 0.112 | 0.1118 | 0.1093 | 0.1104 | 0.1106 | 0.1107 | 0.1121 | 0.1103
3 | 2350.76 | 37.1 |  | 0.1121 | 0.1144 | 0.1116 | 0.1122 | 0.1135 | 0.1129 | 0.1129 | 0.1139 | 0.1137 | 0.1026 |  | 0.1143 | 0.1131 | 0.113 | 0.1127 | 0.1126 | 0.1115 | 0.1115 | 0.1105 | 0.1112 | 0.111 | 0.1171 | 0.1092 | 0.1125 | 0.1154 | 0.1155 | 0.1135 | 0.1156 | 0.1142 | 0.1127 | 0.1172 | 0.1173 | 0.1155 | 0.1175 | 0.117 | 0.1138 | 0.1162 | 0.1169 | 0.1163 | 0.1149 | 0.1141 | 0.117 | 0.1142 | 0.1143 | 0.1168 | 0.1162 | 0.1187 | 0.1164 | 0.1247 | 0.1166 | 0.1148 | 0.1148 | 0.1135 | 0.1133 | 0.1153 | 0.1171 | 0.1164 | 0.1161 | 0.1167 | 0.1123 | 0.1151 | 0.1117 | 0.1116 | 0.1153 | 0.1131 | 0.1142 | 0.1131 | 0.113 | 0.1144 | 0.1158 | 0.1138 | 0.1114 | 0.1126 | 0.1155 | 0.1129 | 0.1138 | 0.1132 | 0.1136 | 0.1114 | 0.111 | 0.1113 | 0.1111 | 0.1147 |  | 0.1136 | 0.1158 | 0.1158 | 0.1149 | 0.1134 | 0.1143 | 0.1132 | 0.1148 | 0.1154 | 0.0877
4 | 3526.569 | 37.1 |  | 0.1203 | 0.123 | 0.1203 | 0.1215 | 0.1229 | 0.1223 | 0.1225 | 0.1234 | 0.1237 | 0.103 |  | 0.1224 | 0.1196 | 0.1199 | 0.1199 | 0.1201 | 0.1194 | 0.1189 | 0.1175 | 0.1181 | 0.1166 | 0.1237 | 0.1167 | 0.1239 | 0.1255 | 0.1251 | 0.1233 | 0.1253 | 0.1215 | 0.1204 | 0.1284 | 0.128 | 0.1247 | 0.127 | 0.127 | 0.1245 | 0.1261 | 0.1269 | 0.1259 | 0.1235 | 0.1231 | 0.1273 | 0.1237 | 0.1236 | 0.1254 | 0.1236 | 0.1282 | 0.1237 | 0.1376 | 0.1271 | 0.1247 | 0.1248 | 0.1231 | 0.1228 | 0.1254 | 0.1278 | 0.1264 | 0.1255 | 0.1267 | 0.1199 | 0.1236 | 0.1185 | 0.1198 | 0.1252 | 0.122 | 0.1239 | 0.1221 | 0.1211 | 0.1224 | 0.124 | 0.1217 | 0.1196 | 0.1209 | 0.1255 | 0.1182 | 0.119 | 0.1184 | 0.1218 | 0.1184 | 0.1183 | 0.1154 | 0.1146 | 0.1211 |  | 0.1225 | 0.1258 | 0.1258 | 0.1222 | 0.1228 | 0.1211 | 0.1198 | 0.1215 | 0.1233 | 0.0854
5 | 4702.356 | 36.9 |  | 0.1381 | 0.1422 | 0.139 | 0.14 | 0.1407 | 0.1396 | 0.1381 | 0.1392 | 0.1416 | 0.1029 |  | 0.1385 | 0.1353 | 0.1342 | 0.1339 | 0.1321 | 0.1309 | 0.1284 | 0.1276 | 0.129 | 0.1234 | 0.1324 | 0.1269 | 0.143 | 0.1454 | 0.1445 | 0.142 | 0.1441 | 0.1374 | 0.1329 | 0.1459 | 0.1457 | 0.1379 | 0.1391 | 0.1396 | 0.1414 | 0.1458 | 0.1439 | 0.1427 | 0.1393 | 0.1398 | 0.1422 | 0.1383 | 0.137 | 0.1366 | 0.1335 | 0.1397 | 0.1446 | 0.1585 | 0.1476 | 0.143 | 0.1435 | 0.1393 | 0.1365 | 0.1402 | 0.1442 | 0.1402 | 0.1383 | 0.1395 | 0.135 | 0.1388 | 0.1326 | 0.1337 | 0.1432 | 0.1356 | 0.1389 | 0.1335 | 0.1334 | 0.1334 | 0.1359 | 0.1324 | 0.1343 | 0.1345 | 0.1438 | 0.1263 | 0.1273 | 0.1266 | 0.1332 | 0.1287 | 0.1284 | 0.1208 | 0.1195 | 0.1286 |  | 0.1372 | 0.1403 | 0.1402 | 0.1343 | 0.1361 | 0.1331 | 0.1329 | 0.1339 | 0.1352 | 0.0862
6 | 5877.343 | 37.1 |  | 0.166 | 0.1745 | 0.168 | 0.1716 | 0.1727 | 0.1702 | 0.165 | 0.1666 | 0.1699 | 0.1026 |  | 0.1709 | 0.1583 | 0.1612 | 0.1617 | 0.1576 | 0.1536 | 0.148 | 0.1463 | 0.1477 | 0.1369 | 0.1447 | 0.1428 | 0.1789 | 0.1775 | 0.1786 | 0.174 | 0.173 | 0.1657 | 0.156 | 0.1752 | 0.176 | 0.1579 | 0.1582 | 0.1598 | 0.171 | 0.1737 | 0.1773 | 0.1732 | 0.1671 | 0.1666 | 0.1657 | 0.1621 | 0.1585 | 0.1528 | 0.1489 | 0.1572 | 0.1745 | 0.1915 | 0.1808 | 0.1707 | 0.1726 | 0.1658 | 0.1587 | 0.1644 | 0.1685 | 0.1589 | 0.1546 | 0.1573 | 0.1563 | 0.1635 | 0.1553 | 0.1554 | 0.1699 | 0.1574 | 0.1626 | 0.1544 | 0.1525 | 0.15 | 0.1506 | 0.1473 | 0.1571 | 0.1583 | 0.1735 | 0.1402 | 0.1429 | 0.1408 | 0.1541 | 0.1464 | 0.1468 | 0.1296 | 0.1279 | 0.1406 |  | 0.1609 | 0.1668 | 0.1657 | 0.1552 | 0.158 | 0.1554 | 0.1541 | 0.1569 | 0.1594 | 0.0867
7 | 7053.161 | 37 |  | 0.2106 | 0.2255 | 0.2207 | 0.2293 | 0.227 | 0.2226 | 0.2137 | 0.2165 | 0.2224 | 0.102 |  | 0.2071 | 0.1932 | 0.202 | 0.2024 | 0.1935 | 0.1891 | 0.1769 | 0.1734 | 0.1755 | 0.1548 | 0.1623 | 0.1698 | 0.2249 | 0.225 | 0.2292 | 0.2221 | 0.2188 | 0.2108 | 0.1901 | 0.2207 | 0.2209 | 0.1835 | 0.1857 | 0.1886 | 0.217 | 0.2234 | 0.2298 | 0.2208 | 0.2085 | 0.2125 | 0.1991 | 0.1967 | 0.193 | 0.1752 | 0.1713 | 0.1835 | 0.2242 | 0.2478 | 0.2402 | 0.223 | 0.2214 | 0.213 | 0.197 | 0.2046 | 0.2115 | 0.1883 | 0.1823 | 0.1855 | 0.1987 | 0.207 | 0.1968 | 0.1934 | 0.2162 | 0.1937 | 0.1997 | 0.1854 | 0.1837 | 0.1728 | 0.1732 | 0.1717 | 0.2004 | 0.2007 | 0.2306 | 0.1663 | 0.1703 | 0.1652 | 0.1878 | 0.1718 | 0.1744 | 0.1406 | 0.139 | 0.1556 |  | 0.2058 | 0.2147 | 0.2112 | 0.1934 | 0.1953 | 0.1915 | 0.1886 | 0.1923 | 0.194 | 0.0867
8 | 8228.051 | 37 |  | 0.2891 | 0.3161 | 0.3116 | 0.323 | 0.3153 | 0.3077 | 0.2886 | 0.296 | 0.3095 | 0.103 |  | 0.2839 | 0.2634 | 0.2765 | 0.2714 | 0.2606 | 0.2529 | 0.2293 | 0.2216 | 0.2232 | 0.1831 | 0.1942 | 0.2055 | 0.3171 | 0.3199 | 0.3308 | 0.3091 | 0.303 | 0.2871 | 0.2554 | 0.303 | 0.2979 | 0.2326 | 0.2375 | 0.2393 | 0.3002 | 0.3147 | 0.3226 | 0.307 | 0.283 | 0.2906 | 0.2677 | 0.2639 | 0.2597 | 0.2155 | 0.2132 | 0.2315 | 0.3152 | 0.3509 | 0.334 | 0.3111 | 0.3059 | 0.2916 | 0.2625 | 0.2718 | 0.2844 | 0.2336 | 0.2234 | 0.2308 | 0.272 | 0.2881 | 0.2703 | 0.269 | 0.3042 | 0.2675 | 0.2714 | 0.2493 | 0.2462 | 0.216 | 0.2197 | 0.2153 | 0.2755 | 0.2839 | 0.3252 | 0.2173 | 0.2234 | 0.218 | 0.2561 | 0.2327 | 0.238 | 0.166 | 0.1651 | 0.1924 |  | 0.2832 | 0.297 | 0.2941 | 0.2646 | 0.2711 | 0.2647 | 0.2592 | 0.2678 | 0.2743 | 0.0869
9 | 9403.041 | 37 |  | 0.3972 | 0.4199 | 0.4242 | 0.4342 | 0.4287 | 0.4184 | 0.4049 | 0.4107 | 0.4272 | 0.1029 |  | 0.4031 | 0.3765 | 0.3761 | 0.3714 | 0.3564 | 0.3583 | 0.3126 | 0.3018 | 0.2968 | 0.2303 | 0.2412 | 0.2589 | 0.4279 | 0.4283 | 0.4326 | 0.4241 | 0.4141 | 0.4008 | 0.3493 | 0.4126 | 0.4126 | 0.3045 | 0.3091 | 0.3166 | 0.4124 | 0.4219 | 0.4292 | 0.4176 | 0.3906 | 0.398 | 0.3656 | 0.3643 | 0.3601 | 0.2796 | 0.2734 | 0.3015 | 0.4203 | 0.4585 | 0.4402 | 0.4172 | 0.4116 | 0.3991 | 0.3626 | 0.3727 | 0.3874 | 0.2989 | 0.2861 | 0.2985 | 0.3773 | 0.4002 | 0.3806 | 0.3806 | 0.4174 | 0.3785 | 0.3737 | 0.3417 | 0.3392 | 0.2775 | 0.2824 | 0.2795 | 0.3871 | 0.3891 | 0.4322 | 0.298 | 0.3085 | 0.2988 | 0.3493 | 0.3155 | 0.3237 | 0.2008 | 0.1995 | 0.2412 |  | 0.3892 | 0.4058 | 0.3985 | 0.3674 | 0.3724 | 0.3692 | 0.3663 | 0.3719 | 0.3801 | 0.0863
10 | 10578.828 | 37.1 |  | 0.5138 | 0.5396 | 0.5425 | 0.5504 | 0.5454 | 0.5364 | 0.5113 | 0.5209 | 0.5438 | 0.1029 |  | 0.4984 | 0.4779 | 0.4838 | 0.4842 | 0.4645 | 0.4715 | 0.4185 | 0.4077 | 0.4091 | 0.2971 | 0.3139 | 0.3375 | 0.5486 | 0.542 | 0.5508 | 0.538 | 0.5259 | 0.5134 | 0.46 | 0.5136 | 0.5222 | 0.3865 | 0.3861 | 0.3932 | 0.5218 | 0.5368 | 0.5368 | 0.5298 | 0.5094 | 0.5161 | 0.4763 | 0.473 | 0.4718 | 0.3595 | 0.3588 | 0.3846 | 0.5524 | 0.5817 | 0.5605 | 0.5397 | 0.5299 | 0.5165 | 0.4777 | 0.4863 | 0.5001 | 0.3827 | 0.3668 | 0.3802 | 0.494 | 0.517 | 0.4952 | 0.4952 | 0.5283 | 0.492 | 0.4821 | 0.4533 | 0.4464 | 0.3572 | 0.3638 | 0.3646 | 0.5064 | 0.5163 | 0.5536 | 0.4094 | 0.4208 | 0.4086 | 0.4647 | 0.4245 | 0.4362 | 0.2578 | 0.2571 | 0.314 |  | 0.4997 | 0.5195 | 0.5185 | 0.4828 | 0.4912 | 0.4817 | 0.4787 | 0.485 | 0.4957 | 0.087
11 | 11753.77 | 37 |  | 0.6124 | 0.6265 | 0.636 | 0.646 | 0.6458 | 0.6358 | 0.61 | 0.6172 | 0.6466 | 0.103 |  | 0.6257 | 0.6016 | 0.6089 | 0.6137 | 0.5837 | 0.585 | 0.5273 | 0.524 | 0.5241 | 0.3861 | 0.4044 | 0.4399 | 0.6619 | 0.6473 | 0.6648 | 0.6511 | 0.6339 | 0.6203 | 0.5681 | 0.6105 | 0.6247 | 0.4769 | 0.4754 | 0.4847 | 0.6206 | 0.6446 | 0.6414 | 0.6371 | 0.6212 | 0.626 | 0.5816 | 0.5752 | 0.577 | 0.45 | 0.4506 | 0.4799 | 0.6594 | 0.6827 | 0.6691 | 0.6522 | 0.641 | 0.6283 | 0.5773 | 0.5964 | 0.6056 | 0.475 | 0.4558 | 0.4745 | 0.6128 | 0.6258 | 0.6048 | 0.6028 | 0.6272 | 0.5972 | 0.5786 | 0.5525 | 0.5456 | 0.4434 | 0.4488 | 0.4598 | 0.6198 | 0.6263 | 0.659 | 0.5333 | 0.5405 | 0.5297 | 0.5703 | 0.5401 | 0.5476 | 0.3394 | 0.3392 | 0.4094 |  | 0.6175 | 0.6332 | 0.6248 | 0.5902 | 0.5952 | 0.5932 | 0.592 | 0.6 | 0.6109 | 0.0858
12 | 12932.787 | 37.1 |  | 0.7038 | 0.7077 | 0.7123 | 0.7131 | 0.7284 | 0.7198 | 0.6949 | 0.6997 | 0.7275 | 0.1025 |  | 0.7168 | 0.6849 | 0.6972 | 0.7084 | 0.6755 | 0.6752 | 0.6111 | 0.6202 | 0.6302 | 0.4861 | 0.5003 | 0.5352 | 0.7508 | 0.7191 | 0.7473 | 0.7388 | 0.7217 | 0.7039 | 0.6541 | 0.6821 | 0.7035 | 0.5556 | 0.5571 | 0.5679 | 0.6977 | 0.7072 | 0.7104 | 0.7091 | 0.7044 | 0.6942 | 0.6594 | 0.6501 | 0.6593 | 0.5191 | 0.5258 | 0.5606 | 0.7534 | 0.769 | 0.7527 | 0.7357 | 0.7254 | 0.7118 | 0.6583 | 0.6767 | 0.6737 | 0.5441 | 0.5299 | 0.5454 | 0.6803 | 0.7029 | 0.6936 | 0.687 | 0.696 | 0.6803 | 0.6516 | 0.6447 | 0.6257 | 0.516 | 0.5195 | 0.536 | 0.7086 | 0.7024 | 0.7212 | 0.6349 | 0.6397 | 0.6275 | 0.6533 | 0.6236 | 0.6278 | 0.4246 | 0.4249 | 0.494 |  | 0.7117 | 0.7194 | 0.7121 | 0.6736 | 0.678 | 0.6765 | 0.6748 | 0.6777 | 0.6826 | 0.0866
13 | 14108.421 | 37 |  | 0.6817 | 0.6947 | 0.6936 | 0.7 | 0.7107 | 0.7087 | 0.7117 | 0.7191 | 0.7539 | 0.1021 |  | 0.6938 | 0.6869 | 0.6874 | 0.714 | 0.6871 | 0.6945 | 0.6408 | 0.646 | 0.6773 | 0.5277 | 0.5389 | 0.5656 | 0.7203 | 0.7025 | 0.7174 | 0.7069 | 0.7031 | 0.7006 | 0.6599 | 0.7081 | 0.7083 | 0.5731 | 0.5755 | 0.5858 | 0.6908 | 0.6968 | 0.6941 | 0.6935 | 0.6906 | 0.6927 | 0.6662 | 0.6686 | 0.6749 | 0.5617 | 0.5672 | 0.6032 | 0.7576 | 0.7479 | 0.7366 | 0.7254 | 0.719 | 0.715 | 0.6764 | 0.6797 | 0.6979 | 0.5825 | 0.5748 | 0.5969 | 0.6862 | 0.6899 | 0.6875 | 0.6808 | 0.6913 | 0.6872 | 0.6703 | 0.6644 | 0.6654 | 0.5637 | 0.5719 | 0.5944 | 0.7479 | 0.7057 | 0.7305 | 0.6743 | 0.6721 | 0.6659 | 0.6746 | 0.6631 | 0.6729 | 0.4931 | 0.4998 | 0.5638 |  | 0.7187 | 0.7275 | 0.7233 | 0.6887 | 0.6877 | 0.682 | 0.6907 | 0.7003 | 0.7238 | 0.0863
14 | 15283.398 | 37.1 |  | 0.7435 | 0.7893 | 0.8217 | 0.8423 | 0.8496 | 0.8301 | 0.796 | 0.8023 | 0.8139 | 0.1026 |  | 0.759 | 0.7581 | 0.7564 | 0.7577 | 0.7509 | 0.7593 | 0.7245 | 0.7121 | 0.7168 | 0.5938 | 0.6059 | 0.6413 | 0.7911 | 0.8098 | 0.811 | 0.7983 | 0.7867 | 0.7716 | 0.7411 | 0.7842 | 0.7653 | 0.6481 | 0.6479 | 0.658 | 0.7748 | 0.7875 | 0.77 | 0.7606 | 0.7519 | 0.7474 | 0.7363 | 0.7455 | 0.7464 | 0.6265 | 0.6336 | 0.6704 | 0.8151 | 0.7895 | 0.8089 | 0.7904 | 0.7788 | 0.7758 | 0.7597 | 0.7427 | 0.7625 | 0.6544 | 0.6451 | 0.6645 | 0.7735 | 0.7548 | 0.7652 | 0.7482 | 0.7456 | 0.7412 | 0.7401 | 0.7362 | 0.7326 | 0.627 | 0.6305 | 0.6621 | 0.7924 | 0.774 | 0.7695 | 0.7359 | 0.7322 | 0.7269 | 0.7494 | 0.7364 | 0.7426 | 0.5723 | 0.5814 | 0.6404 |  | 0.7992 | 0.8008 | 0.7982 | 0.7649 | 0.7642 | 0.7568 | 0.7753 | 0.7574 | 0.7631 | 0.0857
15 | 16459.202 | 37 |  | 0.7978 | 0.8387 | 0.8647 | 0.8654 | 0.8683 | 0.8627 | 0.8227 | 0.817 | 0.8318 | 0.1029 |  | 0.7987 | 0.8083 | 0.8253 | 0.8329 | 0.8253 | 0.8199 | 0.8091 | 0.7916 | 0.7754 | 0.6503 | 0.6668 | 0.6771 | 0.8479 | 0.8675 | 0.866 | 0.856 | 0.8266 | 0.8053 | 0.7962 | 0.817 | 0.7861 | 0.6946 | 0.6797 | 0.6814 | 0.8165 | 0.8262 | 0.8201 | 0.8007 | 0.7986 | 0.8014 | 0.7941 | 0.7903 | 0.7873 | 0.6815 | 0.6825 | 0.7131 | 0.8771 | 0.8367 | 0.8535 | 0.8176 | 0.8097 | 0.8007 | 0.8079 | 0.7797 | 0.7858 | 0.6965 | 0.6832 | 0.7063 | 0.8099 | 0.7799 | 0.7842 | 0.7661 | 0.7618 | 0.7578 | 0.7751 | 0.7721 | 0.7732 | 0.668 | 0.6653 | 0.7033 | 0.8486 | 0.7973 | 0.7866 | 0.7643 | 0.7593 | 0.7594 | 0.7856 | 0.7735 | 0.7865 | 0.6278 | 0.6344 | 0.6823 |  | 0.8333 | 0.82 | 0.8112 | 0.7872 | 0.7828 | 0.777 | 0.7956 | 0.7959 | 0.7954 | 0.0864
16 | 17634.097 | 37.1 |  | 0.8355 | 0.8683 | 0.8932 | 0.8814 | 0.8871 | 0.8658 | 0.8214 | 0.8247 | 0.8396 | 0.1028 |  | 0.824 | 0.8421 | 0.8553 | 0.8417 | 0.8364 | 0.8222 | 0.8185 | 0.8043 | 0.7952 | 0.6899 | 0.7051 | 0.7159 | 0.8875 | 0.8901 | 0.8724 | 0.8561 | 0.8334 | 0.8151 | 0.8146 | 0.8128 | 0.7942 | 0.7181 | 0.7026 | 0.7007 | 0.846 | 0.8279 | 0.8392 | 0.7964 | 0.7992 | 0.7912 | 0.7857 | 0.7987 | 0.7924 | 0.7067 | 0.7005 | 0.7414 | 0.9129 | 0.8719 | 0.8722 | 0.8319 | 0.8178 | 0.8138 | 0.8019 | 0.7897 | 0.7927 | 0.7173 | 0.7005 | 0.7213 | 0.8286 | 0.8107 | 0.7996 | 0.7863 | 0.7742 | 0.7832 | 0.7886 | 0.7945 | 0.7873 | 0.6925 | 0.6852 | 0.7337 | 0.8574 | 0.808 | 0.8055 | 0.8091 | 0.7967 | 0.7923 | 0.8151 | 0.8126 | 0.8183 | 0.6753 | 0.6874 | 0.7269 |  | 0.8594 | 0.8357 | 0.8331 | 0.8259 | 0.8239 | 0.8138 | 0.8238 | 0.8121 | 0.8066 | 0.087
17 | 18809.686 | 36.9 |  | 0.856 | 0.86 | 0.8941 | 0.8789 | 0.8898 | 0.8663 | 0.8263 | 0.8386 | 0.846 | 0.1019 |  | 0.8283 | 0.8322 | 0.8245 | 0.8275 | 0.8167 | 0.7977 | 0.7991 | 0.7883 | 0.7713 | 0.7108 | 0.7247 | 0.7375 | 0.8396 | 0.8521 | 0.8434 | 0.8171 | 0.8038 | 0.8053 | 0.8035 | 0.8114 | 0.7974 | 0.7266 | 0.7229 | 0.7238 | 0.7931 | 0.7746 | 0.7778 | 0.7688 | 0.7719 | 0.7629 | 0.7643 | 0.7755 | 0.7828 | 0.7002 | 0.7063 | 0.7471 | 0.8491 | 0.8144 | 0.8349 | 0.8029 | 0.7981 | 0.7818 | 0.791 | 0.768 | 0.7804 | 0.7186 | 0.7089 | 0.7359 | 0.7874 | 0.7578 | 0.7641 | 0.7489 | 0.7417 | 0.7482 | 0.7729 | 0.7814 | 0.7884 | 0.6912 | 0.6924 | 0.7426 | 0.796 | 0.7949 | 0.7846 | 0.7791 | 0.7678 | 0.7727 | 0.7864 | 0.7894 | 0.8029 | 0.6916 | 0.704 | 0.7673 |  | 0.8183 | 0.8008 | 0.805 | 0.7943 | 0.7986 | 0.7974 | 0.8171 | 0.8137 | 0.81 | 0.0869
18 | 19985.444 | 37.1 |  | 0.7337 | 0.7466 | 0.8062 | 0.7917 | 0.8275 | 0.8258 | 0.8223 | 0.8314 | 0.8506 | 0.102 |  | 0.7136 | 0.7305 | 0.7403 | 0.7577 | 0.7512 | 0.7632 | 0.7568 | 0.7653 | 0.7754 | 0.7028 | 0.7348 | 0.7512 | 0.7657 | 0.726 | 0.7294 | 0.7333 | 0.7478 | 0.7501 | 0.7758 | 0.804 | 0.7817 | 0.7045 | 0.7082 | 0.7208 | 0.7079 | 0.723 | 0.7268 | 0.7036 | 0.7172 | 0.7356 | 0.7559 | 0.7675 | 0.7863 | 0.6991 | 0.709 | 0.7403 | 0.8159 | 0.7241 | 0.7357 | 0.7497 | 0.7696 | 0.7631 | 0.7762 | 0.755 | 0.7698 | 0.7201 | 0.7055 | 0.7674 | 0.7114 | 0.7028 | 0.7095 | 0.698 | 0.7188 | 0.7357 | 0.7584 | 0.7879 | 0.8108 | 0.6935 | 0.6957 | 0.7468 | 0.7928 | 0.7469 | 0.7407 | 0.7243 | 0.7291 | 0.7617 | 0.7811 | 0.8027 | 0.8231 | 0.6991 | 0.7168 | 0.7542 |  | 0.7505 | 0.753 | 0.7585 | 0.7665 | 0.7745 | 0.7873 | 0.809 | 0.8184 | 0.8339 | 0.0867
19 | 21160.429 | 37.1 |  | 0.8048 | 0.8223 | 0.8381 | 0.8164 | 0.8491 | 0.8546 | 0.8424 | 0.8425 | 0.8497 | 0.1018 |  | 0.7702 | 0.788 | 0.7976 | 0.7624 | 0.7462 | 0.7469 | 0.7694 | 0.7548 | 0.7653 | 0.7063 | 0.7238 | 0.7316 | 0.7776 | 0.792 | 0.787 | 0.7797 | 0.7886 | 0.7789 | 0.7764 | 0.822 | 0.7749 | 0.7244 | 0.7183 | 0.7271 | 0.8089 | 0.8078 | 0.7968 | 0.7526 | 0.7587 | 0.7552 | 0.7767 | 0.7939 | 0.8041 | 0.7106 | 0.7181 | 0.7577 | 0.8284 | 0.7891 | 0.7997 | 0.8012 | 0.7847 | 0.7825 | 0.7921 | 0.7506 | 0.7647 | 0.711 | 0.7293 | 0.7613 | 0.8067 | 0.7776 | 0.7748 | 0.7636 | 0.7643 | 0.7715 | 0.7768 | 0.7914 | 0.7953 | 0.6934 | 0.6911 | 0.7548 | 0.824 | 0.8147 | 0.8087 | 0.7872 | 0.7733 | 0.7918 | 0.8011 | 0.8083 | 0.822 | 0.6955 | 0.7153 | 0.751 |  | 0.8392 | 0.8237 | 0.8215 | 0.8272 | 0.8297 | 0.8244 | 0.8492 | 0.8376 | 0.8255 | 0.0869
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36.5 |  | 3828 | 3580 | 3387 | 3418 | 3376 | 3398 | 3526 | 3458 | 3373 | 3419 |  | 4044 | 3788 | 3833 | 3750 | 3855 | 3714 | 3521 | 3668 | 3799 | 3575 | 3476 | 3547 | 3699 | 3566 | 3765 | 3735 | 3730 | 3636 | 3518 | 3456 | 3668 | 3433 | 3497 | 3478 | 3802 | 3639 | 3679 | 3928 | 3862 | 3948 | 3806 | 3607 | 3595 | 3699 | 3472 | 3362 | 3882 | 4083 | 3791 | 3635 | 3682 | 3788 | 3550 | 3910 | 3666 | 3568 | 3672 | 3527 | 3799 | 4000 | 3774 | 3835 | 3955 | 3832 | 3749 | 3597 | 3554 | 3534 | 3452 | 3334 | 4004 | 3946 | 3962 | 3889 | 3957 | 3869 | 3796 | 3656 | 3599 | 3609 | 3513 | 3618 |  | 3841 | 3836 | 3731 | 3632 | 3604 | 3650 | 3815 | 3648 | 3662 | 298
2 | 1175.787 | 37 |  | 3579 | 3401 | 3233 | 3291 | 3244 | 3312 | 3415 | 3320 | 3308 | 3288 |  | 3762 | 3526 | 3605 | 3610 | 3692 | 3588 | 3363 | 3566 | 3620 | 3459 | 3345 | 3368 | 3533 | 3452 | 3546 | 3589 | 3550 | 3564 | 3470 | 3348 | 3621 | 3381 | 3345 | 3370 | 3710 | 3462 | 3561 | 3760 | 3695 | 3789 | 3634 | 3444 | 3407 | 3474 | 3341 | 3238 | 3718 | 3843 | 3612 | 3516 | 3483 | 3512 | 3407 | 3782 | 3502 | 3463 | 3427 | 3338 | 3650 | 3817 | 3681 | 3710 | 3795 | 3624 | 3484 | 3440 | 3353 | 3355 | 3321 | 3268 | 3773 | 3730 | 3778 | 3728 | 3821 | 3642 | 3602 | 3550 | 3359 | 3481 | 3327 | 3404 |  | 3628 | 3688 | 3549 | 3438 | 3402 | 3445 | 3561 | 3526 | 3465 | 276
3 | 2350.76 | 37.1 |  | 3616 | 3311 | 3121 | 3198 | 3234 | 3113 | 3275 | 3195 | 3165 | 3201 |  | 3799 | 3525 | 3558 | 3573 | 3680 | 3506 | 3339 | 3468 | 3585 | 3404 | 3335 | 3309 | 3529 | 3305 | 3463 | 3495 | 3395 | 3455 | 3443 | 3347 | 3591 | 3242 | 3253 | 3313 | 3642 | 3437 | 3491 | 3676 | 3645 | 3739 | 3580 | 3317 | 3341 | 3452 | 3310 | 3130 | 3648 | 3807 | 3593 | 3416 | 3446 | 3479 | 3355 | 3647 | 3412 | 3275 | 3357 | 3236 | 3529 | 3704 | 3658 | 3662 | 3748 | 3607 | 3532 | 3454 | 3373 | 3325 | 3327 | 3229 | 3805 | 3793 | 3707 | 3822 | 3860 | 3806 | 3590 | 3424 | 3369 | 3490 | 3379 | 3508 |  | 3660 | 3669 | 3528 | 3492 | 3414 | 3525 | 3639 | 3478 | 3457 | 285
4 | 3526.569 | 37.1 |  | 3535 | 3337 | 3190 | 3265 | 3190 | 3194 | 3248 | 3205 | 3179 | 3245 |  | 3753 | 3477 | 3589 | 3606 | 3665 | 3531 | 3377 | 3527 | 3614 | 3400 | 3361 | 3319 | 3512 | 3399 | 3490 | 3519 | 3494 | 3442 | 3393 | 3307 | 3604 | 3292 | 3282 | 3353 | 3664 | 3516 | 3508 | 3754 | 3600 | 3700 | 3543 | 3373 | 3456 | 3413 | 3376 | 3153 | 3763 | 3818 | 3569 | 3490 | 3436 | 3483 | 3409 | 3735 | 3500 | 3378 | 3391 | 3319 | 3564 | 3671 | 3626 | 3629 | 3696 | 3544 | 3528 | 3398 | 3351 | 3366 | 3333 | 3158 | 3908 | 3937 | 3949 | 4224 | 4396 | 4198 | 3879 | 3636 | 3514 | 3821 | 3608 | 3889 |  | 3667 | 3729 | 3643 | 3477 | 3379 | 3425 | 3488 | 3470 | 3453 | 287
5 | 4702.356 | 37.1 |  | 3658 | 3404 | 3225 | 3216 | 3162 | 3219 | 3337 | 3270 | 3164 | 3191 |  | 3765 | 3565 | 3626 | 3586 | 3684 | 3687 | 3446 | 3580 | 3699 | 3501 | 3453 | 3384 | 3573 | 3335 | 3448 | 3508 | 3446 | 3446 | 3419 | 3340 | 3561 | 3329 | 3394 | 3423 | 3655 | 3494 | 3553 | 3700 | 3662 | 3707 | 3564 | 3431 | 3443 | 3333 | 3274 | 3114 | 3760 | 3926 | 3720 | 3593 | 3497 | 3530 | 3433 | 3722 | 3496 | 3492 | 3488 | 3322 | 3615 | 3771 | 3657 | 3639 | 3802 | 3687 | 3506 | 3391 | 3377 | 3347 | 3188 | 3195 | 4015 | 4026 | 4052 | 4734 | 4711 | 4625 | 3860 | 3750 | 3595 | 4120 | 3929 | 4152 |  | 3692 | 3729 | 3607 | 3469 | 3405 | 3445 | 3583 | 3448 | 3428 | 289
6 | 5877.343 | 37.1 |  | 3699 | 3481 | 3279 | 3278 | 3201 | 3230 | 3356 | 3205 | 3199 | 3194 |  | 3874 | 3629 | 3716 | 3710 | 3761 | 3636 | 3537 | 3636 | 3797 | 3647 | 3569 | 3592 | 3548 | 3392 | 3493 | 3528 | 3480 | 3523 | 3447 | 3361 | 3661 | 3409 | 3450 | 3479 | 3648 | 3450 | 3476 | 3597 | 3580 | 3665 | 3571 | 3399 | 3397 | 3469 | 3305 | 3135 | 3807 | 4003 | 3748 | 3629 | 3666 | 3682 | 3604 | 3923 | 3721 | 3776 | 3706 | 3509 | 3656 | 3785 | 3699 | 3680 | 3782 | 3660 | 3542 | 3467 | 3387 | 3353 | 3296 | 3129 | 4120 | 3942 | 4134 | 5003 | 5148 | 4941 | 3860 | 3771 | 3672 | 4371 | 4088 | 4317 |  | 3834 | 3792 | 3688 | 3450 | 3464 | 3572 | 3639 | 3523 | 3539 | 286
7 | 7053.161 | 37 |  | 3861 | 3565 | 3359 | 3297 | 3231 | 3256 | 3280 | 3272 | 3120 | 3129 |  | 3955 | 3740 | 3745 | 3768 | 3789 | 3742 | 3582 | 3765 | 3864 | 3800 | 3768 | 3671 | 3668 | 3451 | 3525 | 3567 | 3510 | 3558 | 3496 | 3392 | 3640 | 3443 | 3507 | 3525 | 3665 | 3433 | 3561 | 3738 | 3659 | 3714 | 3570 | 3400 | 3413 | 3431 | 3281 | 3164 | 3883 | 4118 | 3860 | 3817 | 3691 | 3745 | 3725 | 3969 | 3802 | 3891 | 3904 | 3749 | 3771 | 3849 | 3717 | 3699 | 3768 | 3669 | 3596 | 3477 | 3442 | 3293 | 3386 | 3196 | 4139 | 4089 | 4167 | 5169 | 5276 | 5185 | 4027 | 3895 | 3762 | 4430 | 4161 | 4375 |  | 3840 | 3938 | 3843 | 3557 | 3475 | 3571 | 3634 | 3641 | 3572 | 280
8 | 8228.051 | 37.1 |  | 4064 | 3754 | 3542 | 3423 | 3311 | 3289 | 3339 | 3267 | 3220 | 3189 |  | 4156 | 3867 | 3980 | 3905 | 3956 | 3791 | 3729 | 3888 | 4010 | 3931 | 3869 | 3882 | 3719 | 3619 | 3669 | 3718 | 3661 | 3630 | 3624 | 3575 | 3830 | 3638 | 3668 | 3666 | 3723 | 3462 | 3538 | 3766 | 3722 | 3799 | 3620 | 3459 | 3508 | 3490 | 3383 | 3169 | 4146 | 4387 | 4113 | 3929 | 3936 | 3893 | 3966 | 4333 | 4150 | 4283 | 4198 | 4014 | 3882 | 4075 | 3932 | 3888 | 4011 | 3896 | 3774 | 3655 | 3535 | 3516 | 3447 | 3290 | 4247 | 4213 | 4320 | 5313 | 5353 | 5172 | 4031 | 3944 | 3808 | 4538 | 4232 | 4508 |  | 4018 | 4125 | 3999 | 3720 | 3679 | 3707 | 3775 | 3694 | 3696 | 289
9 | 9403.041 | 37.1 |  | 4669 | 4469 | 4118 | 3729 | 3599 | 3622 | 3367 | 3297 | 3220 | 3152 |  | 4528 | 4186 | 4305 | 4162 | 4173 | 4085 | 3999 | 4166 | 4292 | 4158 | 4166 | 4122 | 3993 | 3959 | 4057 | 3929 | 3820 | 3748 | 3733 | 3907 | 4021 | 3799 | 3903 | 3873 | 3763 | 3526 | 3624 | 3783 | 3725 | 3777 | 3674 | 3498 | 3477 | 3493 | 3395 | 3124 | 4731 | 5355 | 5011 | 4510 | 4355 | 4224 | 4192 | 4624 | 4567 | 4717 | 4671 | 4463 | 4048 | 4254 | 4099 | 4089 | 4296 | 4013 | 3947 | 3796 | 3672 | 3566 | 3437 | 3391 | 4452 | 4352 | 4599 | 5390 | 5519 | 5357 | 4241 | 4018 | 3920 | 4696 | 4431 | 4613 |  | 4601 | 4697 | 4568 | 3819 | 3807 | 3869 | 3907 | 3786 | 3840 | 285
10 | 10578.828 | 37 |  | 8093 | 8355 | 7792 | 6025 | 5668 | 5422 | 3484 | 3381 | 3339 | 3168 |  | 6640 | 6246 | 6574 | 5749 | 5497 | 5205 | 4878 | 4909 | 4903 | 4707 | 4705 | 4729 | 5656 | 5832 | 5992 | 5308 | 4989 | 4683 | 4295 | 5021 | 5197 | 4400 | 4519 | 4522 | 3886 | 3667 | 3736 | 3891 | 3787 | 3879 | 3815 | 3560 | 3552 | 3565 | 3411 | 3229 | 8364 | 10205 | 9568 | 7633 | 7118 | 6473 | 5973 | 6605 | 6765 | 6340 | 5904 | 5896 | 4475 | 4696 | 4536 | 4527 | 4808 | 4438 | 4328 | 4125 | 4011 | 3780 | 3759 | 3535 | 4754 | 4858 | 5035 | 5611 | 5769 | 5560 | 4596 | 4322 | 4148 | 4819 | 4533 | 4723 |  | 8710 | 9456 | 8760 | 4198 | 4223 | 4259 | 4276 | 4210 | 4189 | 291
11 | 11753.77 | 37 |  | 16183 | 16736 | 15668 | 11958 | 11817 | 11704 | 3663 | 3586 | 3514 | 3163 |  | 12902 | 11950 | 12985 | 10365 | 9880 | 9407 | 8309 | 8056 | 7664 | 6109 | 6315 | 6464 | 10253 | 10746 | 10910 | 8396 | 7949 | 7329 | 6211 | 7663 | 7927 | 6242 | 6489 | 6614 | 3898 | 3777 | 3849 | 3972 | 3907 | 4065 | 3861 | 3611 | 3614 | 3654 | 3553 | 3274 | 17581 | 20601 | 19523 | 15886 | 14818 | 13377 | 11928 | 12583 | 13431 | 10426 | 9453 | 9828 | 4993 | 5191 | 5029 | 4874 | 5315 | 5011 | 4838 | 4534 | 4409 | 4069 | 4055 | 3763 | 5406 | 5386 | 5705 | 5856 | 6121 | 5944 | 4974 | 4640 | 4585 | 4767 | 4514 | 4818 |  | 20046 | 21218 | 19922 | 4728 | 4720 | 4720 | 4826 | 4677 | 4728 | 273
12 | 12932.787 | 37.1 |  | 25785 | 24790 | 24153 | 19026 | 19296 | 19632 | 3803 | 3786 | 3717 | 3136 |  | 21453 | 20153 | 21507 | 17663 | 17436 | 16850 | 14670 | 14179 | 13997 | 10346 | 10991 | 11275 | 15461 | 15350 | 16076 | 11685 | 11546 | 11063 | 9042 | 9868 | 10729 | 9034 | 9444 | 9552 | 4068 | 3892 | 3945 | 4007 | 4047 | 4050 | 3984 | 3735 | 3738 | 3753 | 3584 | 3401 | 27879 | 30082 | 29259 | 24754 | 23945 | 23386 | 21176 | 22887 | 23121 | 18627 | 17247 | 17747 | 5578 | 5914 | 5558 | 5581 | 5916 | 5497 | 5534 | 5145 | 4929 | 4497 | 4493 | 4261 | 6130 | 6312 | 6566 | 6392 | 6491 | 6305 | 5710 | 5254 | 5251 | 5142 | 4818 | 5101 |  | 33070 | 33822 | 32598 | 5293 | 5220 | 5351 | 5750 | 5584 | 5652 | 277
13 | 14108.421 | 37.1 |  | 33088 | 31684 | 30721 | 24165 | 25264 | 26037 | 4052 | 3996 | 3853 | 3146 |  | 29842 | 28495 | 29454 | 24482 | 25448 | 24630 | 21632 | 21494 | 21832 | 17298 | 18577 | 18350 | 18836 | 17888 | 18481 | 13172 | 13865 | 13815 | 11532 | 11922 | 12596 | 11073 | 11634 | 11683 | 4089 | 3924 | 4017 | 4182 | 4109 | 4260 | 4104 | 3907 | 3948 | 3895 | 3748 | 3479 | 36174 | 36386 | 35270 | 31711 | 32117 | 31182 | 30235 | 32400 | 32002 | 27906 | 27207 | 27149 | 6147 | 6259 | 5991 | 5993 | 6346 | 6028 | 5889 | 5771 | 5638 | 5080 | 5060 | 4740 | 7391 | 7442 | 7690 | 7618 | 7634 | 7459 | 6941 | 6333 | 6262 | 5421 | 5113 | 5750 |  | 43561 | 45218 | 43289 | 5977 | 5972 | 5935 | 7172 | 6852 | 6766 | 278
14 | 15283.398 | 37.1 |  | 37302 | 34897 | 33784 | 26207 | 27391 | 29150 | 4087 | 4068 | 3980 | 3128 |  | 33692 | 31483 | 32343 | 26796 | 29203 | 29398 | 26189 | 26537 | 26478 | 23525 | 24098 | 23384 | 19582 | 18487 | 18991 | 13924 | 14198 | 14779 | 12355 | 12328 | 13139 | 12225 | 12757 | 12659 | 4266 | 3995 | 4019 | 4183 | 4165 | 4192 | 4159 | 3949 | 3963 | 4018 | 3838 | 3531 | 40607 | 40357 | 40354 | 35577 | 36088 | 36668 | 36784 | 38887 | 37991 | 33918 | 33731 | 33354 | 6259 | 6296 | 6328 | 6277 | 6410 | 6288 | 6364 | 6132 | 6043 | 5459 | 5417 | 5215 | 8235 | 8093 | 8145 | 8431 | 8578 | 8522 | 8307 | 7759 | 7794 | 6247 | 5904 | 6864 |  | 49619 | 49212 | 49415 | 6119 | 6030 | 6119 | 8598 | 8508 | 8623 | 279
15 | 16459.202 | 37.1 |  | 38278 | 35443 | 34866 | 26005 | 27420 | 28896 | 4075 | 3984 | 3890 | 3130 |  | 34150 | 32573 | 33103 | 27471 | 29101 | 29821 | 26868 | 27976 | 28010 | 27526 | 28128 | 26410 | 19241 | 18102 | 18790 | 13536 | 13967 | 14382 | 12519 | 12265 | 13310 | 12738 | 13275 | 13153 | 4233 | 3973 | 3991 | 4112 | 4100 | 4176 | 4121 | 3944 | 3929 | 3966 | 3817 | 3516 | 42124 | 41898 | 41292 | 36622 | 37308 | 38326 | 39426 | 42402 | 40606 | 38510 | 38643 | 37856 | 6280 | 6332 | 6215 | 6184 | 6381 | 6330 | 6226 | 6231 | 6159 | 5757 | 5765 | 5463 | 8670 | 8523 | 8677 | 9469 | 9605 | 9817 | 9133 | 8804 | 8625 | 7254 | 6934 | 7916 |  | 53529 | 53415 | 53514 | 6205 | 6250 | 6268 | 9874 | 9804 | 9899 | 285
16 | 17634.097 | 37.1 |  | 38271 | 36303 | 35905 | 25946 | 27679 | 29223 | 4157 | 4020 | 3961 | 3150 |  | 34030 | 32894 | 33783 | 27043 | 28779 | 28956 | 26957 | 27444 | 28225 | 29668 | 30204 | 27852 | 18865 | 18032 | 18249 | 13344 | 13562 | 14120 | 12474 | 12371 | 12971 | 13013 | 13461 | 13220 | 4242 | 3964 | 4039 | 4182 | 4141 | 4235 | 4150 | 3972 | 4029 | 4032 | 3924 | 3556 | 42977 | 42326 | 41292 | 37303 | 37947 | 38629 | 39594 | 42593 | 41169 | 41233 | 41697 | 40472 | 6280 | 6303 | 6358 | 6137 | 6351 | 6210 | 6384 | 6352 | 6252 | 5994 | 5938 | 5608 | 8649 | 8837 | 8509 | 9732 | 10123 | 10272 | 9298 | 9100 | 8963 | 8039 | 7969 | 8663 |  | 55770 | 55124 | 54526 | 6065 | 6120 | 6158 | 10729 | 10616 | 10738 | 284
17 | 18809.686 | 37.1 |  | 37750 | 35512 | 34836 | 25101 | 26854 | 28353 | 4031 | 3968 | 3880 | 3055 |  | 32595 | 31398 | 31646 | 25457 | 27167 | 28541 | 26284 | 27244 | 27654 | 30029 | 31152 | 27893 | 18032 | 17368 | 17691 | 12679 | 13046 | 13524 | 11951 | 11650 | 12434 | 12191 | 12908 | 12784 | 4219 | 4011 | 4109 | 4254 | 4154 | 4213 | 4197 | 4009 | 4059 | 4054 | 3918 | 3626 | 43200 | 42043 | 41921 | 36876 | 38087 | 38504 | 39804 | 42221 | 40761 | 43024 | 42956 | 42028 | 5937 | 6280 | 6241 | 6082 | 6269 | 6251 | 6273 | 6265 | 6214 | 6021 | 6105 | 5662 | 8737 | 8703 | 8489 | 9797 | 10042 | 10509 | 9320 | 9115 | 9052 | 8868 | 8834 | 9304 |  | 57224 | 56538 | 56565 | 6316 | 6310 | 6374 | 11039 | 10943 | 10956 | 293
18 | 19985.444 | 37 |  | 37131 | 35042 | 34099 | 24251 | 26124 | 27321 | 3956 | 3920 | 3871 | 3042 |  | 32327 | 30824 | 31667 | 25247 | 27234 | 27879 | 25631 | 26994 | 26889 | 30057 | 31103 | 27410 | 17532 | 16964 | 17148 | 12311 | 12938 | 13317 | 11877 | 11653 | 12452 | 12674 | 13193 | 12869 | 4205 | 3971 | 3943 | 4101 | 4091 | 4183 | 4163 | 3981 | 3972 | 4189 | 4008 | 3613 | 43031 | 41538 | 41622 | 35798 | 36601 | 38061 | 39587 | 42107 | 40599 | 43258 | 43536 | 43149 | 6042 | 6295 | 5989 | 6019 | 6167 | 6066 | 6178 | 6191 | 6085 | 6025 | 5874 | 5665 | 8502 | 8622 | 8270 | 9864 | 10141 | 10425 | 9495 | 9194 | 9172 | 9423 | 9431 | 9835 |  | 55708 | 56709 | 56503 | 5908 | 6025 | 6138 | 11144 | 11028 | 11006 | 280
19 | 21160.429 | 37.1 |  | 36150 | 34663 | 33753 | 24096 | 25458 | 26760 | 3953 | 3901 | 3819 | 3042 |  | 30985 | 30026 | 30417 | 24431 | 26703 | 26927 | 24933 | 25825 | 26357 | 29858 | 31026 | 27298 | 17376 | 16601 | 16845 | 12043 | 12533 | 12912 | 11414 | 11162 | 11931 | 12133 | 12560 | 12379 | 4195 | 3996 | 3984 | 4106 | 4083 | 4280 | 4194 | 4006 | 4053 | 4143 | 4000 | 3641 | 42394 | 41849 | 41477 | 35640 | 36599 | 38002 | 39715 | 41980 | 40403 | 44415 | 44721 | 43820 | 5986 | 6131 | 6020 | 5918 | 6019 | 6100 | 6143 | 6091 | 6019 | 5936 | 5843 | 5529 | 8377 | 8422 | 8345 | 9737 | 9933 | 10513 | 9269 | 9283 | 9101 | 9803 | 9775 | 9983 |  | 55206 | 55974 | 55451 | 5967 | 5970 | 6118 | 10910 | 10900 | 11063 | 273
End Time |  |  | A2: 2018-12-02 20:43:03
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12