## Result sheet
Method name: OD_GFP_Kinetic_216_cycle
Application: SparkControl |  |  |  | V2.1
Device: Spark 10M |  |  |  | Serial number: 1511007600
Firmware: |  |  |  | ABS:V4.2.10¦ABS_MEX:V5.0.4¦MTP:V11.0.2¦FLUOR:V5.0.8¦FLUOR_MEM:V5.0.4¦FLUOR_MEX:V5.0.4
Date: |  |  |  | 2018-12-03
Time: |  |  |  | 10:07 AM
System |  |  |  | USER-HP
User |  |  |  | User-HP\User
Plate |  |  |  | [GRE96ft] - Greiner 96 Flat Transparent [GRE96ft]
Lid lifter |  |  |  | Lid
Humidity Cassette |  |  |  | No humidity cassette
Smooth mode |  |  |  | Not selected
List of actions in this measurement script:
Plate
Temperature
Kinetic
Shaking
|  | Absorbance |  |  |  | absorbance
|  | Fluorescence Top Reading |  |  |  | GFP
Shaking
Name |  |  |  | GRE96ft
Plate layout
Plate area |  |  |  | A2-A11;B1-G12;H2-H11
Start Time |  |  |  | 2018-12-02 20:50:08
Temperature control |  |  |  | On
Target temperature |  |  |  | 37 | °C
Mode | Kinetic
Kinetic cycles |  |  |  | 216
Interval time |  |  |  | Not defined
Shaking (Orbital) Duration |  |  |  | 10 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Mode | Absorbance
Name | absorbance
Measurement wavelength |  |  |  | 600 | nm
Number of flashes |  |  |  | 5
Settle time |  |  |  | 0 | ms
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Mode | Fluorescence Top Reading
Name | GFP
Excitation |  |  |  | Monochromator
Excitation wavelength |  |  |  | 488 | nm
Excitation bandwidth |  |  |  | 20 | nm
Emission |  |  |  | Monochromator
Emission wavelength |  |  |  | 528 | nm
Emission bandwidth |  |  |  | 20 | nm
Gain |  |  |  | 68 | Manual | 85
Mirror |  |  |  | AUTOMATIC
Number of flashes |  |  |  | 5
Integration time |  |  |  | 40 | µs
Lag time |  |  |  | 0 | µs
Settle time |  |  |  | 0 | ms
Z-Position |  |  |  | 24000 | µm
Z-Position mode |  |  |  | Manual
Part of Plate |  |  |  | A2-A11;B1-G12;H2-H11
Shaking (Orbital) Duration |  |  |  | 1135 | s
Shaking (Orbital) Position |  |  |  | Current
Shaking (Orbital) Amplitude |  |  |  | 2.5 | mm
Shaking (Orbital) Frequency |  |  |  | 216 | rpm
Start Time |  |  |  | 2018-12-02 20:50:06
absorbance
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36 |  | 0.1081 | 0.1085 | 0.1061 | 0.1072 | 0.1048 | 0.1061 | 0.1084 | 0.1067 | 0.1081 | 0.1012 |  | 0.1101 | 0.108 | 0.1091 | 0.1059 | 0.1079 | 0.1083 | 0.1063 | 0.1083 | 0.1077 | 0.108 | 0.1071 | 0.1094 | 0.1098 | 0.107 | 0.1139 | 0.1076 | 0.1066 | 0.1073 | 0.1083 | 0.1085 | 0.1084 | 0.1089 | 0.1075 | 0.1102 | 0.11 | 0.1101 | 0.1104 | 0.1098 | 0.1084 | 0.1084 | 0.1083 | 0.1088 | 0.1108 | 0.1152 | 0.1107 | 0.1149 | 0.1082 | 0.1095 | 0.1104 | 0.1074 | 0.1069 | 0.1086 | 0.1086 | 0.1092 | 0.1094 | 0.111 | 0.1114 | 0.1123 | 0.1088 | 0.1092 | 0.1074 | 0.1078 | 0.1094 | 0.1092 | 0.1111 | 0.1082 | 0.1086 | 0.1094 | 0.1088 | 0.1103 | 0.1044 | 0.1079 | 0.1066 | 0.1085 | 0.1077 | 0.1084 | 0.1089 | 0.107 | 0.1069 | 0.1079 | 0.1079 | 0.1084 |  | 0.1113 | 0.1107 | 0.1113 | 0.1097 | 0.1077 | 0.1087 | 0.1117 | 0.1122 | 0.1073 | 0.0869
2 | 1175.794 | 36.8 |  | 0.1074 | 0.1088 | 0.1076 | 0.1078 | 0.1084 | 0.1086 | 0.1079 | 0.1091 | 0.1088 | 0.1003 |  | 0.1091 | 0.109 | 0.1123 | 0.1086 | 0.109 | 0.1092 | 0.108 | 0.1091 | 0.1097 | 0.1093 | 0.1096 | 0.11 | 0.1066 | 0.1071 | 0.1121 | 0.1089 | 0.1099 | 0.1096 | 0.1086 | 0.1097 | 0.1108 | 0.1092 | 0.1085 | 0.1112 | 0.1093 | 0.1105 | 0.1129 | 0.1111 | 0.1121 | 0.1105 | 0.1088 | 0.1118 | 0.1128 | 0.1128 | 0.114 | 0.1169 | 0.108 | 0.1088 | 0.1112 | 0.1092 | 0.1115 | 0.1091 | 0.1085 | 0.1093 | 0.1101 | 0.1125 | 0.1132 | 0.1144 | 0.1093 | 0.1097 | 0.1085 | 0.1084 | 0.1116 | 0.1101 | 0.1108 | 0.1096 | 0.1114 | 0.1105 | 0.1121 | 0.1104 | 0.1076 | 0.1085 | 0.1072 | 0.1087 | 0.1086 | 0.1095 | 0.1087 | 0.1071 | 0.1073 | 0.1096 | 0.1081 | 0.1092 |  | 0.1111 | 0.1122 | 0.1129 | 0.1105 | 0.1098 | 0.1107 | 0.1158 | 0.112 | 0.1099 | 0.0878
3 | 2350.777 | 37 |  | 0.1113 | 0.1124 | 0.1111 | 0.1115 | 0.1117 | 0.1119 | 0.1112 | 0.1126 | 0.1124 | 0.1004 |  | 0.1122 | 0.1125 | 0.1152 | 0.1124 | 0.1127 | 0.1127 | 0.1097 | 0.1113 | 0.1129 | 0.1113 | 0.1131 | 0.112 | 0.1093 | 0.111 | 0.1164 | 0.113 | 0.1137 | 0.1134 | 0.1117 | 0.1136 | 0.1137 | 0.1123 | 0.1121 | 0.1145 | 0.113 | 0.1145 | 0.1179 | 0.115 | 0.115 | 0.1129 | 0.1119 | 0.1137 | 0.1151 | 0.1155 | 0.1163 | 0.1194 | 0.1111 | 0.1129 | 0.115 | 0.1132 | 0.1152 | 0.1129 | 0.1117 | 0.1125 | 0.1132 | 0.116 | 0.1171 | 0.1176 | 0.1118 | 0.1134 | 0.1121 | 0.1115 | 0.1151 | 0.1133 | 0.113 | 0.1118 | 0.1131 | 0.1134 | 0.1149 | 0.1136 | 0.1112 | 0.1122 | 0.1107 | 0.112 | 0.1124 | 0.1144 | 0.1114 | 0.1097 | 0.1097 | 0.1122 | 0.1108 | 0.1119 |  | 0.1146 | 0.1153 | 0.1147 | 0.1121 | 0.1116 | 0.1119 | 0.1167 | 0.1131 | 0.113 | 0.0879
4 | 3526.593 | 36.9 |  | 0.1167 | 0.1186 | 0.1178 | 0.1181 | 0.1183 | 0.1187 | 0.1181 | 0.12 | 0.12 | 0.0999 |  | 0.1182 | 0.118 | 0.1206 | 0.1179 | 0.1189 | 0.1181 | 0.115 | 0.1165 | 0.1191 | 0.1175 | 0.1191 | 0.1211 | 0.1184 | 0.1184 | 0.1235 | 0.1196 | 0.1211 | 0.1201 | 0.1179 | 0.119 | 0.1204 | 0.1179 | 0.1189 | 0.1211 | 0.1194 | 0.1212 | 0.1261 | 0.1222 | 0.1222 | 0.1203 | 0.1184 | 0.1205 | 0.1226 | 0.1224 | 0.1235 | 0.1277 | 0.1186 | 0.1211 | 0.1227 | 0.1205 | 0.1219 | 0.119 | 0.1174 | 0.1186 | 0.1196 | 0.1236 | 0.1257 | 0.1259 | 0.1175 | 0.1197 | 0.1173 | 0.1198 | 0.1224 | 0.12 | 0.1188 | 0.1183 | 0.1196 | 0.1181 | 0.1203 | 0.1208 | 0.1267 | 0.1201 | 0.1179 | 0.1187 | 0.1201 | 0.1196 | 0.1178 | 0.1157 | 0.1157 | 0.1189 | 0.1169 | 0.1184 |  | 0.1212 | 0.1212 | 0.1214 | 0.1175 | 0.1171 | 0.1175 | 0.1217 | 0.1183 | 0.1185 | 0.0891
5 | 4701.485 | 37.1 |  | 0.1284 | 0.1326 | 0.1294 | 0.1304 | 0.1305 | 0.1312 | 0.1295 | 0.1322 | 0.133 | 0.1005 |  | 0.1278 | 0.1289 | 0.1324 | 0.1297 | 0.1303 | 0.1289 | 0.1238 | 0.1257 | 0.1295 | 0.1256 | 0.1298 | 0.1324 | 0.13 | 0.1314 | 0.1384 | 0.1342 | 0.1356 | 0.1334 | 0.1291 | 0.1315 | 0.133 | 0.1292 | 0.1299 | 0.1339 | 0.1303 | 0.1345 | 0.1443 | 0.1372 | 0.1352 | 0.1327 | 0.1302 | 0.1333 | 0.1363 | 0.1371 | 0.138 | 0.1429 | 0.1312 | 0.1355 | 0.137 | 0.1336 | 0.1356 | 0.131 | 0.1281 | 0.1302 | 0.1308 | 0.1371 | 0.14 | 0.1405 | 0.1267 | 0.1303 | 0.129 | 0.1286 | 0.1353 | 0.1322 | 0.1297 | 0.1284 | 0.1317 | 0.1311 | 0.1323 | 0.1331 | 0.129 | 0.1315 | 0.1308 | 0.131 | 0.1324 | 0.1316 | 0.1289 | 0.1264 | 0.1258 | 0.1304 | 0.127 | 0.1281 |  | 0.1303 | 0.1326 | 0.133 | 0.1266 | 0.127 | 0.1276 | 0.1304 | 0.13 | 0.1298 | 0.0857
6 | 5876.991 | 37.1 |  | 0.1521 | 0.1604 | 0.1542 | 0.1587 | 0.1583 | 0.1565 | 0.1525 | 0.1551 | 0.1575 | 0.0998 |  | 0.1504 | 0.1537 | 0.1555 | 0.1547 | 0.156 | 0.1529 | 0.1418 | 0.1461 | 0.1508 | 0.1466 | 0.1449 | 0.1571 | 0.1533 | 0.158 | 0.1662 | 0.1642 | 0.1668 | 0.1627 | 0.1537 | 0.1545 | 0.1541 | 0.1514 | 0.1506 | 0.1541 | 0.1524 | 0.1592 | 0.1787 | 0.1668 | 0.1633 | 0.1596 | 0.1532 | 0.157 | 0.1622 | 0.1618 | 0.1624 | 0.1693 | 0.1548 | 0.1631 | 0.1656 | 0.1603 | 0.1635 | 0.1556 | 0.1484 | 0.1506 | 0.1514 | 0.1612 | 0.1657 | 0.1662 | 0.1462 | 0.153 | 0.1539 | 0.1521 | 0.1593 | 0.1572 | 0.1503 | 0.1471 | 0.1515 | 0.1484 | 0.1511 | 0.1553 | 0.1521 | 0.1558 | 0.1587 | 0.1572 | 0.1576 | 0.154 | 0.1499 | 0.1442 | 0.1431 | 0.1501 | 0.1454 | 0.1463 |  | 0.1492 | 0.1526 | 0.1544 | 0.1426 | 0.1445 | 0.1445 | 0.1454 | 0.1476 | 0.1476 | 0.0954
7 | 7052.701 | 36.8 |  | 0.1918 | 0.2099 | 0.2037 | 0.2084 | 0.2056 | 0.1984 | 0.1908 | 0.1964 | 0.2028 | 0.1004 |  | 0.1882 | 0.1941 | 0.2003 | 0.21 | 0.2061 | 0.2027 | 0.1786 | 0.1805 | 0.1801 | 0.1767 | 0.1859 | 0.1873 | 0.1995 | 0.2088 | 0.2174 | 0.2194 | 0.2209 | 0.2123 | 0.201 | 0.1952 | 0.1908 | 0.1907 | 0.1914 | 0.1917 | 0.1933 | 0.2079 | 0.2348 | 0.2214 | 0.2136 | 0.2057 | 0.196 | 0.1972 | 0.2042 | 0.2044 | 0.2102 | 0.2165 | 0.2093 | 0.2171 | 0.2144 | 0.2103 | 0.2151 | 0.1981 | 0.1853 | 0.1889 | 0.1889 | 0.2048 | 0.2125 | 0.2149 | 0.1807 | 0.1941 | 0.195 | 0.1904 | 0.2077 | 0.1957 | 0.1848 | 0.1831 | 0.1887 | 0.1831 | 0.188 | 0.1975 | 0.1963 | 0.208 | 0.204 | 0.2017 | 0.2015 | 0.1941 | 0.1856 | 0.1766 | 0.1756 | 0.1871 | 0.1795 | 0.1782 |  | 0.187 | 0.1939 | 0.1957 | 0.1776 | 0.1801 | 0.179 | 0.1767 | 0.1786 | 0.1805 | 0.0861
8 | 8227.688 | 37 |  | 0.2548 | 0.2837 | 0.2917 | 0.2905 | 0.2869 | 0.2741 | 0.2647 | 0.2735 | 0.2857 | 0.0991 |  | 0.2457 | 0.2464 | 0.2575 | 0.2563 | 0.2646 | 0.2624 | 0.2211 | 0.2319 | 0.2318 | 0.235 | 0.2335 | 0.2415 | 0.2577 | 0.2696 | 0.2839 | 0.2901 | 0.2915 | 0.2786 | 0.2613 | 0.2577 | 0.2474 | 0.251 | 0.2501 | 0.2483 | 0.2564 | 0.2758 | 0.313 | 0.3034 | 0.2792 | 0.2722 | 0.2613 | 0.2659 | 0.2723 | 0.272 | 0.2756 | 0.2844 | 0.2638 | 0.2844 | 0.2811 | 0.2773 | 0.2798 | 0.2615 | 0.2389 | 0.2468 | 0.247 | 0.2718 | 0.2741 | 0.2814 | 0.2411 | 0.2535 | 0.2536 | 0.2509 | 0.2751 | 0.2608 | 0.2405 | 0.2387 | 0.2503 | 0.2412 | 0.2475 | 0.2617 | 0.2632 | 0.2758 | 0.2704 | 0.2674 | 0.2691 | 0.2588 | 0.2434 | 0.2311 | 0.2305 | 0.2428 | 0.2318 | 0.2328 |  | 0.2511 | 0.2591 | 0.2619 | 0.2326 | 0.2374 | 0.2322 | 0.228 | 0.2403 | 0.2426 | 0.0862
9 | 9403.498 | 37.1 |  | 0.3605 | 0.3979 | 0.411 | 0.4083 | 0.4021 | 0.3821 | 0.3702 | 0.3802 | 0.3953 | 0.1002 |  | 0.3379 | 0.3484 | 0.3649 | 0.3624 | 0.3642 | 0.3576 | 0.3055 | 0.3121 | 0.3013 | 0.2977 | 0.2991 | 0.3234 | 0.3801 | 0.3781 | 0.3969 | 0.401 | 0.4107 | 0.3934 | 0.3548 | 0.3475 | 0.34 | 0.3348 | 0.3387 | 0.338 | 0.3669 | 0.3824 | 0.4342 | 0.4167 | 0.3915 | 0.3875 | 0.3552 | 0.3683 | 0.3826 | 0.376 | 0.3838 | 0.3919 | 0.3887 | 0.4068 | 0.3967 | 0.3914 | 0.3905 | 0.3712 | 0.3318 | 0.342 | 0.3387 | 0.3714 | 0.3723 | 0.3762 | 0.3363 | 0.3596 | 0.363 | 0.3597 | 0.3845 | 0.3663 | 0.3339 | 0.3335 | 0.3494 | 0.3351 | 0.3426 | 0.3638 | 0.3925 | 0.3834 | 0.3823 | 0.378 | 0.3789 | 0.3685 | 0.3427 | 0.3245 | 0.3228 | 0.3406 | 0.3261 | 0.3202 |  | 0.352 | 0.3613 | 0.3644 | 0.3259 | 0.3321 | 0.3229 | 0.3136 | 0.335 | 0.3353 | 0.0873
10 | 10578.472 | 37 |  | 0.4349 | 0.4591 | 0.4653 | 0.4661 | 0.467 | 0.4583 | 0.4542 | 0.4657 | 0.4824 | 0.0994 |  | 0.4242 | 0.4281 | 0.4363 | 0.4348 | 0.4182 | 0.412 | 0.3933 | 0.4043 | 0.3892 | 0.3636 | 0.3832 | 0.4174 | 0.4576 | 0.4666 | 0.4789 | 0.4754 | 0.4692 | 0.4638 | 0.4379 | 0.4505 | 0.4421 | 0.4153 | 0.4378 | 0.4495 | 0.4545 | 0.4723 | 0.5007 | 0.4775 | 0.4726 | 0.4604 | 0.4489 | 0.4538 | 0.4724 | 0.4541 | 0.47 | 0.4879 | 0.4765 | 0.484 | 0.4754 | 0.4726 | 0.4705 | 0.4536 | 0.4242 | 0.4433 | 0.4399 | 0.4545 | 0.4616 | 0.4771 | 0.4388 | 0.4526 | 0.4447 | 0.441 | 0.4668 | 0.4557 | 0.4284 | 0.4341 | 0.4469 | 0.4232 | 0.433 | 0.4735 | 0.478 | 0.4885 | 0.4796 | 0.4717 | 0.4743 | 0.473 | 0.4483 | 0.4363 | 0.4334 | 0.4454 | 0.437 | 0.4366 |  | 0.4571 | 0.4678 | 0.4682 | 0.4283 | 0.433 | 0.4292 | 0.4211 | 0.446 | 0.4602 | 0.0869
11 | 11754.275 | 36.8 |  | 0.5464 | 0.5651 | 0.5647 | 0.5718 | 0.5716 | 0.5705 | 0.5615 | 0.5722 | 0.5782 | 0.1004 |  | 0.5252 | 0.5366 | 0.5455 | 0.5475 | 0.5311 | 0.5237 | 0.5073 | 0.5068 | 0.4962 | 0.4571 | 0.4823 | 0.5115 | 0.5869 | 0.5773 | 0.5844 | 0.5841 | 0.5751 | 0.567 | 0.5385 | 0.5498 | 0.5429 | 0.5076 | 0.5228 | 0.5343 | 0.5642 | 0.5845 | 0.6059 | 0.5897 | 0.5839 | 0.5728 | 0.5577 | 0.5646 | 0.5786 | 0.5522 | 0.5678 | 0.5778 | 0.6036 | 0.6146 | 0.5978 | 0.592 | 0.586 | 0.5708 | 0.5411 | 0.554 | 0.5498 | 0.5475 | 0.5555 | 0.5599 | 0.5537 | 0.5635 | 0.5601 | 0.5539 | 0.5743 | 0.5648 | 0.5364 | 0.5434 | 0.5538 | 0.5232 | 0.5292 | 0.5616 | 0.6178 | 0.6106 | 0.5978 | 0.5868 | 0.5851 | 0.5819 | 0.5559 | 0.5443 | 0.5377 | 0.5365 | 0.5288 | 0.535 |  | 0.568 | 0.5833 | 0.5875 | 0.5466 | 0.5526 | 0.5478 | 0.5348 | 0.5556 | 0.5607 | 0.0869
12 | 12933.464 | 37.2 |  | 0.6495 | 0.6579 | 0.6693 | 0.683 | 0.6789 | 0.6789 | 0.6599 | 0.6656 | 0.6716 | 0.1004 |  | 0.6573 | 0.6575 | 0.6641 | 0.6591 | 0.6448 | 0.6338 | 0.6182 | 0.6172 | 0.6042 | 0.5552 | 0.5856 | 0.624 | 0.7 | 0.6951 | 0.702 | 0.6977 | 0.6951 | 0.685 | 0.6597 | 0.6729 | 0.6642 | 0.6207 | 0.6391 | 0.6521 | 0.6866 | 0.6793 | 0.6958 | 0.6822 | 0.6797 | 0.6736 | 0.6589 | 0.6634 | 0.6713 | 0.6509 | 0.6583 | 0.6781 | 0.7079 | 0.7125 | 0.7026 | 0.7024 | 0.6953 | 0.686 | 0.6613 | 0.6654 | 0.6579 | 0.6429 | 0.6588 | 0.6687 | 0.6642 | 0.6655 | 0.6558 | 0.6513 | 0.6654 | 0.6577 | 0.6403 | 0.642 | 0.6432 | 0.62 | 0.632 | 0.6672 | 0.7085 | 0.7064 | 0.6936 | 0.6899 | 0.6883 | 0.6899 | 0.6672 | 0.6607 | 0.6484 | 0.6501 | 0.6447 | 0.6459 |  | 0.6807 | 0.6872 | 0.693 | 0.652 | 0.6503 | 0.6514 | 0.6471 | 0.664 | 0.6712 | 0.0874
13 | 14109.232 | 37 |  | 0.7294 | 0.7467 | 0.7658 | 0.7582 | 0.7539 | 0.7435 | 0.7205 | 0.7269 | 0.736 | 0.1 |  | 0.7436 | 0.7374 | 0.7378 | 0.7378 | 0.7295 | 0.7238 | 0.714 | 0.7077 | 0.699 | 0.6549 | 0.6726 | 0.7057 | 0.7929 | 0.7889 | 0.7805 | 0.7742 | 0.7673 | 0.7607 | 0.7427 | 0.7516 | 0.7427 | 0.7055 | 0.717 | 0.7297 | 0.7597 | 0.7671 | 0.7666 | 0.7482 | 0.7576 | 0.7352 | 0.7296 | 0.7209 | 0.7276 | 0.7142 | 0.7175 | 0.7378 | 0.8347 | 0.7971 | 0.7907 | 0.7993 | 0.7802 | 0.7711 | 0.749 | 0.7461 | 0.74 | 0.7148 | 0.7196 | 0.7161 | 0.7503 | 0.74 | 0.7381 | 0.7365 | 0.7439 | 0.7388 | 0.7245 | 0.7127 | 0.7111 | 0.6895 | 0.6896 | 0.7177 | 0.8139 | 0.791 | 0.767 | 0.7647 | 0.75 | 0.7497 | 0.7404 | 0.7328 | 0.7233 | 0.7153 | 0.7146 | 0.7085 |  | 0.759 | 0.7578 | 0.7588 | 0.7165 | 0.7176 | 0.7109 | 0.7067 | 0.7094 | 0.7123 | 0.0871
14 | 15284.129 | 36.9 |  | 0.776 | 0.819 | 0.8428 | 0.8447 | 0.847 | 0.8166 | 0.8007 | 0.8012 | 0.805 | 0.1003 |  | 0.8269 | 0.8031 | 0.802 | 0.803 | 0.8012 | 0.7894 | 0.7987 | 0.7692 | 0.7578 | 0.721 | 0.7307 | 0.7644 | 0.8819 | 0.857 | 0.8511 | 0.8465 | 0.8288 | 0.8201 | 0.799 | 0.7943 | 0.7877 | 0.7538 | 0.7458 | 0.7487 | 0.8253 | 0.8273 | 0.8131 | 0.8004 | 0.8166 | 0.7937 | 0.791 | 0.7796 | 0.7763 | 0.7687 | 0.7718 | 0.7863 | 0.918 | 0.8685 | 0.8568 | 0.8682 | 0.8464 | 0.8279 | 0.809 | 0.7912 | 0.7789 | 0.7536 | 0.7506 | 0.7463 | 0.8227 | 0.7976 | 0.7985 | 0.7885 | 0.7795 | 0.7837 | 0.7709 | 0.7705 | 0.7596 | 0.7436 | 0.743 | 0.7705 | 0.893 | 0.8394 | 0.8137 | 0.8071 | 0.7931 | 0.799 | 0.7992 | 0.7907 | 0.7765 | 0.7726 | 0.7737 | 0.7617 |  | 0.7966 | 0.8078 | 0.8197 | 0.7872 | 0.7893 | 0.7528 | 0.7657 | 0.7648 | 0.7637 | 0.0867
15 | 16459.123 | 37 |  | 0.7537 | 0.7913 | 0.8088 | 0.8283 | 0.8166 | 0.8042 | 0.8052 | 0.8045 | 0.7984 | 0.1003 |  | 0.7811 | 0.7565 | 0.7704 | 0.7603 | 0.7676 | 0.7753 | 0.763 | 0.7419 | 0.7328 | 0.7068 | 0.731 | 0.7876 | 0.7988 | 0.7798 | 0.7775 | 0.7638 | 0.7678 | 0.7678 | 0.7639 | 0.7683 | 0.7651 | 0.7465 | 0.7422 | 0.7435 | 0.7699 | 0.7721 | 0.7493 | 0.7465 | 0.7655 | 0.7456 | 0.7602 | 0.7545 | 0.7641 | 0.7665 | 0.7726 | 0.7909 | 0.8372 | 0.7859 | 0.7704 | 0.7812 | 0.7805 | 0.7837 | 0.7762 | 0.7692 | 0.7668 | 0.7574 | 0.7693 | 0.7683 | 0.7586 | 0.7353 | 0.7381 | 0.7376 | 0.7346 | 0.7435 | 0.7534 | 0.7631 | 0.7567 | 0.759 | 0.7637 | 0.8054 | 0.8089 | 0.7707 | 0.7623 | 0.764 | 0.7574 | 0.7734 | 0.7905 | 0.7902 | 0.7867 | 0.7826 | 0.7987 | 0.8031 |  | 0.7684 | 0.7696 | 0.7735 | 0.7682 | 0.7776 | 0.7626 | 0.7867 | 0.7832 | 0.7892 | 0.0872
16 | 17634.932 | 36.9 |  | 0.8059 | 0.8799 | 0.8837 | 0.8965 | 0.8985 | 0.8638 | 0.8488 | 0.8476 | 0.8516 | 0.1003 |  | 0.8411 | 0.7979 | 0.8171 | 0.8199 | 0.8137 | 0.7951 | 0.8372 | 0.7909 | 0.7644 | 0.7486 | 0.761 | 0.803 | 0.9363 | 0.8672 | 0.8742 | 0.8409 | 0.8354 | 0.8227 | 0.804 | 0.8023 | 0.7936 | 0.7801 | 0.7784 | 0.7868 | 0.8303 | 0.8125 | 0.7884 | 0.7789 | 0.8095 | 0.7806 | 0.817 | 0.7897 | 0.8033 | 0.7999 | 0.7991 | 0.8197 | 0.9256 | 0.8344 | 0.8436 | 0.8606 | 0.8486 | 0.8315 | 0.8233 | 0.8051 | 0.7891 | 0.7729 | 0.7656 | 0.7619 | 0.818 | 0.7779 | 0.7795 | 0.7773 | 0.7738 | 0.7876 | 0.797 | 0.8132 | 0.7963 | 0.7896 | 0.7838 | 0.8069 | 0.8771 | 0.8381 | 0.818 | 0.8288 | 0.8092 | 0.8258 | 0.8419 | 0.8418 | 0.8359 | 0.8178 | 0.8301 | 0.8245 |  | 0.7888 | 0.7997 | 0.8052 | 0.8068 | 0.8147 | 0.7693 | 0.8129 | 0.806 | 0.8131 | 0.0868
17 | 18809.91 | 36.9 |  | 0.8604 | 0.883 | 0.8773 | 0.8862 | 0.878 | 0.8662 | 0.8445 | 0.8301 | 0.8293 | 0.1 |  | 0.8826 | 0.8527 | 0.8512 | 0.8269 | 0.8134 | 0.8011 | 0.8132 | 0.7776 | 0.7652 | 0.7345 | 0.7488 | 0.8123 | 0.9077 | 0.8779 | 0.8518 | 0.8396 | 0.8318 | 0.8226 | 0.8072 | 0.798 | 0.7926 | 0.774 | 0.7657 | 0.7668 | 0.8258 | 0.7936 | 0.7566 | 0.7726 | 0.7736 | 0.7689 | 0.7822 | 0.7729 | 0.7816 | 0.787 | 0.792 | 0.8052 | 0.9115 | 0.8459 | 0.8402 | 0.8326 | 0.8228 | 0.8204 | 0.8102 | 0.7961 | 0.7819 | 0.7697 | 0.7608 | 0.7714 | 0.8249 | 0.7814 | 0.7719 | 0.7629 | 0.7547 | 0.7678 | 0.7728 | 0.7884 | 0.7714 | 0.7854 | 0.7817 | 0.8096 | 0.8415 | 0.802 | 0.7958 | 0.7977 | 0.7789 | 0.8079 | 0.8144 | 0.818 | 0.8114 | 0.8019 | 0.8227 | 0.8351 |  | 0.8036 | 0.8153 | 0.8187 | 0.8357 | 0.8302 | 0.8015 | 0.8334 | 0.8218 | 0.8274 | 0.0867
18 | 19985.711 | 37 |  | 0.8715 | 0.8746 | 0.8816 | 0.8782 | 0.8744 | 0.8672 | 0.8491 | 0.8349 | 0.8373 | 0.1004 |  | 0.8928 | 0.8763 | 0.8665 | 0.8438 | 0.8229 | 0.8031 | 0.8225 | 0.7963 | 0.7657 | 0.757 | 0.7629 | 0.7786 | 0.9382 | 0.8945 | 0.8682 | 0.8498 | 0.8184 | 0.819 | 0.8044 | 0.7922 | 0.7925 | 0.7777 | 0.7682 | 0.7657 | 0.7783 | 0.7597 | 0.7384 | 0.7416 | 0.7605 | 0.7552 | 0.7782 | 0.7757 | 0.786 | 0.8008 | 0.8039 | 0.8114 | 0.9468 | 0.8707 | 0.8452 | 0.8547 | 0.8279 | 0.8261 | 0.8282 | 0.8049 | 0.7803 | 0.7691 | 0.7594 | 0.7619 | 0.7753 | 0.7311 | 0.7348 | 0.7318 | 0.7342 | 0.7692 | 0.7706 | 0.7877 | 0.7771 | 0.7878 | 0.7891 | 0.8111 | 0.8426 | 0.7894 | 0.7712 | 0.7866 | 0.7746 | 0.8069 | 0.8165 | 0.8213 | 0.8218 | 0.8207 | 0.8477 | 0.8372 |  | 0.7831 | 0.7939 | 0.8135 | 0.8091 | 0.8213 | 0.789 | 0.8273 | 0.8196 | 0.8239 | 0.0872
19 | 21160.705 | 36.8 |  | 0.8535 | 0.8542 | 0.8529 | 0.8544 | 0.8681 | 0.8428 | 0.8581 | 0.847 | 0.8515 | 0.1004 |  | 0.877 | 0.8439 | 0.8188 | 0.8258 | 0.8043 | 0.7964 | 0.805 | 0.7783 | 0.7439 | 0.7414 | 0.7557 | 0.7882 | 0.8651 | 0.8259 | 0.8129 | 0.8133 | 0.7929 | 0.7926 | 0.7902 | 0.7825 | 0.7823 | 0.7735 | 0.774 | 0.7775 | 0.7882 | 0.7888 | 0.7604 | 0.7404 | 0.7731 | 0.7689 | 0.7853 | 0.7841 | 0.7966 | 0.7986 | 0.8036 | 0.815 | 0.9096 | 0.8452 | 0.8289 | 0.8419 | 0.8357 | 0.8247 | 0.8253 | 0.8121 | 0.7899 | 0.765 | 0.7607 | 0.7811 | 0.7846 | 0.7569 | 0.7685 | 0.7682 | 0.774 | 0.7946 | 0.7764 | 0.7912 | 0.7746 | 0.7798 | 0.7849 | 0.814 | 0.8617 | 0.8004 | 0.7906 | 0.7839 | 0.7725 | 0.8145 | 0.823 | 0.8268 | 0.8202 | 0.8043 | 0.814 | 0.8176 |  | 0.829 | 0.8297 | 0.8315 | 0.8503 | 0.8593 | 0.8196 | 0.8684 | 0.8522 | 0.8491 | 0.0872
20 | 22336.526 | 37.1 |  | 0.7622 | 0.7605 | 0.7456 | 0.7725 | 0.8191 | 0.8046 | 0.8286 | 0.8185 | 0.8364 | 0.1004 |  | 0.7595 | 0.741 | 0.7416 | 0.7434 | 0.7417 | 0.7601 | 0.746 | 0.759 | 0.7263 | 0.7303 | 0.7399 | 0.7525 | 0.8021 | 0.75 | 0.7569 | 0.7439 | 0.7411 | 0.7534 | 0.7579 | 0.7595 | 0.7607 | 0.7583 | 0.7573 | 0.7566 | 0.7534 | 0.7571 | 0.7339 | 0.7194 | 0.7586 | 0.7506 | 0.7679 | 0.7634 | 0.7784 | 0.7915 | 0.792 | 0.8029 | 0.8619 | 0.7757 | 0.7865 | 0.7984 | 0.7783 | 0.7899 | 0.7881 | 0.7785 | 0.7584 | 0.7483 | 0.7462 | 0.7651 | 0.7539 | 0.7192 | 0.7396 | 0.737 | 0.7395 | 0.7693 | 0.7676 | 0.7851 | 0.7715 | 0.784 | 0.7875 | 0.8107 | 0.8515 | 0.7956 | 0.7754 | 0.7701 | 0.7522 | 0.799 | 0.8021 | 0.8125 | 0.8104 | 0.7991 | 0.8085 | 0.8008 |  | 0.7847 | 0.7867 | 0.7902 | 0.814 | 0.818 | 0.7869 | 0.8362 | 0.8263 | 0.8373 | 0.0867
21 | 23511.409 | 37.1 |  | 0.735 | 0.7152 | 0.7342 | 0.8046 | 0.829 | 0.8006 | 0.8253 | 0.8247 | 0.8379 | 0.1 |  | 0.7486 | 0.7258 | 0.728 | 0.7334 | 0.7246 | 0.7436 | 0.7457 | 0.7393 | 0.7241 | 0.726 | 0.7421 | 0.7458 | 0.7953 | 0.77 | 0.7538 | 0.7407 | 0.7369 | 0.7466 | 0.7547 | 0.754 | 0.7542 | 0.7587 | 0.7602 | 0.7586 | 0.7663 | 0.7684 | 0.7471 | 0.7271 | 0.7599 | 0.7572 | 0.7769 | 0.784 | 0.7787 | 0.7879 | 0.7998 | 0.8037 | 0.846 | 0.7587 | 0.7636 | 0.7837 | 0.7693 | 0.775 | 0.7728 | 0.7647 | 0.7445 | 0.7413 | 0.7341 | 0.7567 | 0.7834 | 0.7469 | 0.7546 | 0.7491 | 0.7493 | 0.7715 | 0.7749 | 0.7859 | 0.7657 | 0.7757 | 0.7829 | 0.8083 | 0.8587 | 0.8192 | 0.782 | 0.7752 | 0.7554 | 0.808 | 0.7963 | 0.8086 | 0.813 | 0.8045 | 0.8269 | 0.8216 |  | 0.8009 | 0.7957 | 0.8095 | 0.8368 | 0.8451 | 0.8136 | 0.8627 | 0.8438 | 0.8404 | 0.0873
22 | 24686.923 | 37 |  | 0.7668 | 0.7731 | 0.7673 | 0.8397 | 0.8633 | 0.8368 | 0.8438 | 0.8442 | 0.8544 | 0.1004 |  | 0.7967 | 0.7436 | 0.7414 | 0.7382 | 0.7214 | 0.735 | 0.758 | 0.7352 | 0.7072 | 0.7214 | 0.7435 | 0.7568 | 0.829 | 0.8204 | 0.7838 | 0.7542 | 0.7594 | 0.7645 | 0.7503 | 0.7544 | 0.7619 | 0.7629 | 0.7648 | 0.7667 | 0.8126 | 0.8089 | 0.7673 | 0.7393 | 0.7836 | 0.7688 | 0.7914 | 0.7733 | 0.7871 | 0.7957 | 0.8025 | 0.8123 | 0.8555 | 0.79 | 0.7807 | 0.7846 | 0.7789 | 0.7821 | 0.7742 | 0.7773 | 0.7459 | 0.7432 | 0.7359 | 0.7579 | 0.8111 | 0.7728 | 0.7737 | 0.7768 | 0.7648 | 0.7877 | 0.7754 | 0.7937 | 0.7778 | 0.7834 | 0.7851 | 0.8122 | 0.8286 | 0.8457 | 0.816 | 0.7935 | 0.7723 | 0.8068 | 0.8021 | 0.8205 | 0.803 | 0.8007 | 0.8048 | 0.7991 |  | 0.7924 | 0.7979 | 0.8009 | 0.8472 | 0.8553 | 0.8194 | 0.8792 | 0.8592 | 0.8458 | 0.0876
23 | 25862.599 | 36.9 |  | 0.7538 | 0.7634 | 0.7816 | 0.8458 | 0.8612 | 0.8427 | 0.8428 | 0.8413 | 0.8461 | 0.1003 |  | 0.7743 | 0.7336 | 0.7386 | 0.7442 | 0.7191 | 0.732 | 0.7587 | 0.7444 | 0.7185 | 0.7328 | 0.7394 | 0.7519 | 0.8626 | 0.8266 | 0.7971 | 0.7625 | 0.7595 | 0.7681 | 0.7642 | 0.7656 | 0.7659 | 0.7712 | 0.7707 | 0.772 | 0.8057 | 0.799 | 0.761 | 0.7408 | 0.7734 | 0.7658 | 0.7897 | 0.7741 | 0.7894 | 0.7984 | 0.8038 | 0.8117 | 0.8451 | 0.7658 | 0.7684 | 0.7912 | 0.7824 | 0.7866 | 0.7825 | 0.778 | 0.7531 | 0.7518 | 0.7406 | 0.7598 | 0.782 | 0.7485 | 0.7562 | 0.7563 | 0.7511 | 0.7784 | 0.7747 | 0.7947 | 0.7822 | 0.7882 | 0.7886 | 0.8136 | 0.8837 | 0.8279 | 0.8126 | 0.7955 | 0.766 | 0.8075 | 0.8141 | 0.8225 | 0.8164 | 0.806 | 0.8142 | 0.8046 |  | 0.7629 | 0.7696 | 0.7718 | 0.8355 | 0.8493 | 0.8117 | 0.8829 | 0.8571 | 0.8527 | 0.0866
24 | 27037.666 | 36.9 |  | 0.6935 | 0.7091 | 0.7715 | 0.8152 | 0.8386 | 0.8139 | 0.8393 | 0.8392 | 0.8449 | 0.0994 |  | 0.7378 | 0.7148 | 0.6975 | 0.7005 | 0.6887 | 0.6962 | 0.7117 | 0.6986 | 0.6798 | 0.7214 | 0.7246 | 0.7432 | 0.8073 | 0.7579 | 0.7511 | 0.7371 | 0.7407 | 0.747 | 0.7348 | 0.7425 | 0.753 | 0.7484 | 0.7636 | 0.7535 | 0.7692 | 0.7606 | 0.7348 | 0.7163 | 0.751 | 0.7464 | 0.7757 | 0.7615 | 0.7765 | 0.7808 | 0.7919 | 0.803 | 0.8582 | 0.7479 | 0.7469 | 0.7694 | 0.7535 | 0.7648 | 0.7522 | 0.7456 | 0.7261 | 0.7215 | 0.7186 | 0.7494 | 0.7801 | 0.7389 | 0.7416 | 0.7462 | 0.7384 | 0.7569 | 0.7624 | 0.7853 | 0.7643 | 0.773 | 0.7784 | 0.809 | 0.8587 | 0.806 | 0.7888 | 0.7766 | 0.7772 | 0.7896 | 0.7958 | 0.7991 | 0.7935 | 0.7864 | 0.7956 | 0.8269 |  | 0.7662 | 0.7825 | 0.7654 | 0.811 | 0.8251 | 0.7932 | 0.8603 | 0.8436 | 0.8256 | 0.087
25 | 28213.477 | 37.1 |  | 0.744 | 0.7832 | 0.8062 | 0.8568 | 0.8717 | 0.8556 | 0.8613 | 0.8607 | 0.871 | 0.1002 |  | 0.7733 | 0.7276 | 0.726 | 0.7211 | 0.7109 | 0.7241 | 0.7663 | 0.7433 | 0.7093 | 0.7291 | 0.7431 | 0.7442 | 0.8821 | 0.846 | 0.8041 | 0.7715 | 0.7669 | 0.7701 | 0.7616 | 0.7692 | 0.7741 | 0.7793 | 0.7855 | 0.7986 | 0.8039 | 0.7919 | 0.7546 | 0.7423 | 0.7805 | 0.7564 | 0.7905 | 0.7743 | 0.7933 | 0.8 | 0.8128 | 0.8234 | 0.8743 | 0.7597 | 0.7855 | 0.7733 | 0.7753 | 0.7801 | 0.7748 | 0.7712 | 0.7426 | 0.7323 | 0.7514 | 0.7671 | 0.783 | 0.7437 | 0.7487 | 0.765 | 0.7402 | 0.7617 | 0.7725 | 0.797 | 0.7825 | 0.7842 | 0.7805 | 0.8148 | 0.8858 | 0.8014 | 0.8019 | 0.7911 | 0.765 | 0.8037 | 0.8132 | 0.817 | 0.8167 | 0.8032 | 0.8111 | 0.811 |  | 0.7769 | 0.8032 | 0.7926 | 0.8412 | 0.8556 | 0.8152 | 0.8797 | 0.8544 | 0.8595 | 0.0873
26 | 29388.478 | 37.1 |  | 0.7602 | 0.8109 | 0.825 | 0.8594 | 0.8856 | 0.8625 | 0.8697 | 0.8719 | 0.8803 | 0.0991 |  | 0.7884 | 0.7359 | 0.7359 | 0.7261 | 0.7145 | 0.7088 | 0.746 | 0.7166 | 0.6885 | 0.7164 | 0.7367 | 0.7568 | 0.8772 | 0.8301 | 0.8022 | 0.7774 | 0.7703 | 0.7659 | 0.7573 | 0.7576 | 0.7552 | 0.7784 | 0.7619 | 0.767 | 0.7976 | 0.7766 | 0.7589 | 0.7298 | 0.7722 | 0.7562 | 0.7916 | 0.7706 | 0.7904 | 0.7864 | 0.7987 | 0.8127 | 0.8587 | 0.7598 | 0.7616 | 0.7698 | 0.7706 | 0.7772 | 0.769 | 0.768 | 0.74 | 0.7459 | 0.7356 | 0.7673 | 0.7778 | 0.7437 | 0.7644 | 0.7757 | 0.7429 | 0.7618 | 0.7702 | 0.7982 | 0.777 | 0.782 | 0.7851 | 0.821 | 0.9263 | 0.8082 | 0.7888 | 0.7833 | 0.7632 | 0.7939 | 0.8037 | 0.8086 | 0.8134 | 0.8028 | 0.8209 | 0.8258 |  | 0.8104 | 0.8313 | 0.8265 | 0.8627 | 0.8743 | 0.8306 | 0.9006 | 0.8705 | 0.8739 | 0.0871
27 | 30564.291 | 36.9 |  | 0.7909 | 0.8151 | 0.817 | 0.8784 | 0.887 | 0.8648 | 0.8573 | 0.8531 | 0.8537 | 0.1005 |  | 0.7798 | 0.7471 | 0.7454 | 0.7257 | 0.7206 | 0.7237 | 0.7754 | 0.7451 | 0.7092 | 0.7094 | 0.7323 | 0.7427 | 0.8879 | 0.8369 | 0.8145 | 0.7738 | 0.7696 | 0.7706 | 0.7627 | 0.7625 | 0.7631 | 0.7648 | 0.7629 | 0.7701 | 0.791 | 0.7818 | 0.7453 | 0.7313 | 0.7752 | 0.7564 | 0.7959 | 0.7739 | 0.7902 | 0.797 | 0.8022 | 0.8128 | 0.861 | 0.7585 | 0.7637 | 0.7671 | 0.7837 | 0.7808 | 0.7733 | 0.7726 | 0.7351 | 0.737 | 0.7278 | 0.7577 | 0.7717 | 0.7326 | 0.7394 | 0.753 | 0.7413 | 0.7598 | 0.7685 | 0.8005 | 0.7835 | 0.7793 | 0.7825 | 0.811 | 0.8718 | 0.8099 | 0.7754 | 0.7935 | 0.7688 | 0.7909 | 0.8063 | 0.813 | 0.8178 | 0.8 | 0.8046 | 0.8032 |  | 0.7816 | 0.7934 | 0.7922 | 0.8218 | 0.839 | 0.815 | 0.8854 | 0.8471 | 0.8458 | 0.0865
28 | 31739.199 | 37 |  | 0.6502 | 0.668 | 0.712 | 0.7684 | 0.8105 | 0.786 | 0.7777 | 0.7782 | 0.8122 | 0.1001 |  | 0.7152 | 0.6692 | 0.6671 | 0.6737 | 0.6698 | 0.6789 | 0.7127 | 0.7011 | 0.6806 | 0.6853 | 0.7148 | 0.7258 | 0.8461 | 0.742 | 0.7311 | 0.7189 | 0.7193 | 0.7278 | 0.7251 | 0.7358 | 0.744 | 0.7515 | 0.7612 | 0.7594 | 0.7529 | 0.7268 | 0.7006 | 0.6862 | 0.7287 | 0.7219 | 0.7607 | 0.7392 | 0.7656 | 0.7745 | 0.7906 | 0.8004 | 0.8198 | 0.7268 | 0.7339 | 0.7377 | 0.7423 | 0.7525 | 0.7457 | 0.7497 | 0.7139 | 0.727 | 0.7244 | 0.7669 | 0.7715 | 0.7221 | 0.743 | 0.7349 | 0.722 | 0.7408 | 0.7523 | 0.7959 | 0.7602 | 0.7705 | 0.7701 | 0.8061 | 0.8626 | 0.7642 | 0.7543 | 0.75 | 0.7333 | 0.7713 | 0.7819 | 0.7857 | 0.7947 | 0.7802 | 0.7889 | 0.7872 |  | 0.7735 | 0.7907 | 0.7927 | 0.8096 | 0.8404 | 0.8147 | 0.859 | 0.8483 | 0.8607 | 0.0865
29 | 32915.009 | 37.1 |  | 0.6851 | 0.7157 | 0.7481 | 0.7936 | 0.8094 | 0.7914 | 0.7789 | 0.7792 | 0.7878 | 0.0997 |  | 0.7284 | 0.6726 | 0.6701 | 0.6729 | 0.666 | 0.6721 | 0.718 | 0.7021 | 0.6763 | 0.6983 | 0.712 | 0.7257 | 0.7889 | 0.7602 | 0.7375 | 0.7191 | 0.7224 | 0.7303 | 0.7294 | 0.7417 | 0.7497 | 0.7556 | 0.7625 | 0.7766 | 0.7405 | 0.7179 | 0.696 | 0.68 | 0.7318 | 0.7236 | 0.7696 | 0.7517 | 0.7838 | 0.7795 | 0.7923 | 0.8033 | 0.8261 | 0.7199 | 0.726 | 0.7388 | 0.7436 | 0.7483 | 0.7492 | 0.749 | 0.7152 | 0.7216 | 0.7141 | 0.7558 | 0.7527 | 0.6977 | 0.7028 | 0.7224 | 0.7181 | 0.7329 | 0.7432 | 0.7772 | 0.7565 | 0.7664 | 0.774 | 0.8032 | 0.844 | 0.7604 | 0.7555 | 0.7546 | 0.7435 | 0.7852 | 0.7929 | 0.812 | 0.8246 | 0.8088 | 0.8351 | 0.835 |  | 0.7764 | 0.7823 | 0.7846 | 0.794 | 0.809 | 0.7662 | 0.8326 | 0.8221 | 0.8264 | 0.0855
30 | 34089.883 | 36.9 |  | 0.7422 | 0.7726 | 0.797 | 0.8198 | 0.8359 | 0.8222 | 0.8005 | 0.7973 | 0.7997 | 0.1003 |  | 0.7807 | 0.7078 | 0.7155 | 0.708 | 0.6939 | 0.692 | 0.7619 | 0.7299 | 0.696 | 0.7102 | 0.7249 | 0.7281 | 0.8712 | 0.8089 | 0.7723 | 0.7507 | 0.7379 | 0.7499 | 0.75 | 0.7493 | 0.7548 | 0.7623 | 0.7579 | 0.7616 | 0.7856 | 0.7543 | 0.7232 | 0.6972 | 0.7549 | 0.7372 | 0.7808 | 0.756 | 0.7797 | 0.7918 | 0.7981 | 0.8083 | 0.8589 | 0.7368 | 0.7506 | 0.7686 | 0.7632 | 0.7697 | 0.7696 | 0.7672 | 0.7291 | 0.7316 | 0.7163 | 0.7515 | 0.766 | 0.7129 | 0.7194 | 0.7393 | 0.7242 | 0.7471 | 0.7505 | 0.7834 | 0.77 | 0.7735 | 0.7752 | 0.8103 | 0.8611 | 0.7733 | 0.7696 | 0.7655 | 0.7397 | 0.7851 | 0.795 | 0.8052 | 0.8183 | 0.8 | 0.8217 | 0.8146 |  | 0.7875 | 0.7964 | 0.7983 | 0.8118 | 0.8294 | 0.7783 | 0.8626 | 0.8352 | 0.8278 | 0.0861
31 | 35264.867 | 37 |  | 0.6572 | 0.6859 | 0.7004 | 0.7365 | 0.7718 | 0.7792 | 0.7617 | 0.7662 | 0.7833 | 0.0999 |  | 0.7255 | 0.6665 | 0.668 | 0.67 | 0.657 | 0.6602 | 0.7173 | 0.7007 | 0.6809 | 0.6823 | 0.7095 | 0.7189 | 0.7885 | 0.7403 | 0.7229 | 0.7087 | 0.7093 | 0.7195 | 0.7209 | 0.727 | 0.739 | 0.7461 | 0.7474 | 0.757 | 0.757 | 0.7247 | 0.6957 | 0.6752 | 0.724 | 0.7148 | 0.753 | 0.734 | 0.7597 | 0.7727 | 0.78 | 0.7968 | 0.8236 | 0.7177 | 0.7243 | 0.7381 | 0.7469 | 0.7487 | 0.7506 | 0.7516 | 0.7157 | 0.7201 | 0.7184 | 0.7557 | 0.7603 | 0.6945 | 0.702 | 0.7157 | 0.7033 | 0.728 | 0.7327 | 0.7828 | 0.7506 | 0.758 | 0.7605 | 0.8043 | 0.8334 | 0.7623 | 0.7484 | 0.745 | 0.7239 | 0.7644 | 0.7728 | 0.7897 | 0.8049 | 0.7864 | 0.8022 | 0.8007 |  | 0.7973 | 0.802 | 0.8065 | 0.8061 | 0.8393 | 0.7817 | 0.8617 | 0.85 | 0.8549 | 0.0862
32 | 36440.664 | 36.9 |  | 0.668 | 0.6958 | 0.7218 | 0.7374 | 0.7592 | 0.7702 | 0.756 | 0.7624 | 0.7785 | 0.1001 |  | 0.7227 | 0.6632 | 0.6702 | 0.6736 | 0.6658 | 0.6679 | 0.7397 | 0.7182 | 0.6844 | 0.6923 | 0.7134 | 0.7275 | 0.8117 | 0.7509 | 0.7348 | 0.7131 | 0.7134 | 0.7221 | 0.7234 | 0.7283 | 0.7373 | 0.7476 | 0.7452 | 0.7527 | 0.7463 | 0.7093 | 0.693 | 0.6649 | 0.7173 | 0.7099 | 0.7561 | 0.7341 | 0.7613 | 0.7676 | 0.7809 | 0.7956 | 0.8314 | 0.7138 | 0.7211 | 0.7377 | 0.7405 | 0.7466 | 0.7532 | 0.7517 | 0.7167 | 0.7196 | 0.7113 | 0.7569 | 0.7506 | 0.6825 | 0.6908 | 0.7085 | 0.7015 | 0.7256 | 0.7364 | 0.7685 | 0.7616 | 0.7603 | 0.765 | 0.8086 | 0.8373 | 0.757 | 0.7471 | 0.7398 | 0.7158 | 0.7611 | 0.775 | 0.7897 | 0.8031 | 0.7851 | 0.7939 | 0.7816 |  | 0.7702 | 0.7785 | 0.7843 | 0.7884 | 0.8128 | 0.7679 | 0.8313 | 0.8216 | 0.818 | 0.0868
33 | 37615.647 | 37 |  | 0.7372 | 0.7549 | 0.7769 | 0.7898 | 0.8029 | 0.8033 | 0.7868 | 0.7857 | 0.7886 | 0.1003 |  | 0.7904 | 0.7055 | 0.7133 | 0.708 | 0.687 | 0.6753 | 0.7603 | 0.7177 | 0.6765 | 0.6937 | 0.721 | 0.7267 | 0.8322 | 0.788 | 0.7601 | 0.7371 | 0.7335 | 0.7412 | 0.7374 | 0.7373 | 0.7466 | 0.754 | 0.7534 | 0.7611 | 0.7788 | 0.7562 | 0.7175 | 0.6852 | 0.7467 | 0.7246 | 0.775 | 0.7442 | 0.7677 | 0.7764 | 0.7881 | 0.8036 | 0.8567 | 0.7358 | 0.7448 | 0.7632 | 0.7613 | 0.7644 | 0.7654 | 0.7627 | 0.7267 | 0.7258 | 0.7092 | 0.7555 | 0.784 | 0.7175 | 0.7197 | 0.7319 | 0.7155 | 0.74 | 0.7413 | 0.774 | 0.7578 | 0.7667 | 0.7663 | 0.8126 | 0.9215 | 0.7813 | 0.7635 | 0.755 | 0.7232 | 0.7653 | 0.7728 | 0.7776 | 0.797 | 0.7724 | 0.7862 | 0.7766 |  | 0.8205 | 0.8229 | 0.8208 | 0.8191 | 0.8403 | 0.7829 | 0.8564 | 0.8336 | 0.8203 | 0.0864
34 | 38791.455 | 36.9 |  | 0.7472 | 0.7741 | 0.7915 | 0.8059 | 0.817 | 0.8142 | 0.7908 | 0.7915 | 0.7954 | 0.1003 |  | 0.7867 | 0.7043 | 0.7143 | 0.7102 | 0.6873 | 0.6779 | 0.7748 | 0.7299 | 0.687 | 0.7055 | 0.7287 | 0.7213 | 0.8657 | 0.8027 | 0.7723 | 0.743 | 0.7357 | 0.7457 | 0.7445 | 0.7389 | 0.7447 | 0.7567 | 0.7522 | 0.7588 | 0.7776 | 0.7554 | 0.7131 | 0.6894 | 0.7515 | 0.7311 | 0.7824 | 0.752 | 0.7758 | 0.7838 | 0.797 | 0.8071 | 0.8617 | 0.7473 | 0.748 | 0.7703 | 0.7633 | 0.7713 | 0.7736 | 0.7691 | 0.7296 | 0.7317 | 0.7098 | 0.7591 | 0.7761 | 0.7066 | 0.7174 | 0.7352 | 0.7167 | 0.7392 | 0.7452 | 0.7833 | 0.7661 | 0.7728 | 0.7743 | 0.8094 | 0.863 | 0.7712 | 0.7619 | 0.7566 | 0.7222 | 0.7687 | 0.7863 | 0.7917 | 0.8029 | 0.7827 | 0.7952 | 0.774 |  | 0.8167 | 0.8156 | 0.816 | 0.8069 | 0.8301 | 0.7749 | 0.847 | 0.8264 | 0.8223 | 0.0861
35 | 39966.434 | 36.9 |  | 0.7523 | 0.7774 | 0.7659 | 0.7914 | 0.8044 | 0.8019 | 0.7805 | 0.7839 | 0.7931 | 0.1002 |  | 0.7904 | 0.7031 | 0.7154 | 0.7147 | 0.6863 | 0.6743 | 0.7629 | 0.718 | 0.6713 | 0.6936 | 0.7178 | 0.7216 | 0.8756 | 0.8001 | 0.7623 | 0.7395 | 0.7356 | 0.7428 | 0.7396 | 0.737 | 0.746 | 0.7588 | 0.7729 | 0.782 | 0.7911 | 0.761 | 0.7143 | 0.6875 | 0.745 | 0.7201 | 0.7729 | 0.7365 | 0.764 | 0.7714 | 0.7898 | 0.8141 | 0.8455 | 0.744 | 0.7496 | 0.7625 | 0.7612 | 0.7676 | 0.7604 | 0.7583 | 0.7221 | 0.7228 | 0.7081 | 0.7566 | 0.7766 | 0.7009 | 0.7071 | 0.727 | 0.7053 | 0.7296 | 0.7328 | 0.7772 | 0.7549 | 0.7667 | 0.762 | 0.8093 | 0.8655 | 0.7758 | 0.7517 | 0.7538 | 0.7311 | 0.7759 | 0.7802 | 0.7956 | 0.8108 | 0.7896 | 0.8151 | 0.8012 |  | 0.8307 | 0.8301 | 0.8289 | 0.8065 | 0.8286 | 0.773 | 0.8421 | 0.8206 | 0.8248 | 0.0877
36 | 41142.262 | 37.1 |  | 0.7426 | 0.7943 | 0.8105 | 0.8173 | 0.8332 | 0.8106 | 0.7966 | 0.7908 | 0.7995 | 0.1004 |  | 0.7692 | 0.6962 | 0.7084 | 0.712 | 0.6892 | 0.674 | 0.7511 | 0.7223 | 0.6755 | 0.6941 | 0.7194 | 0.7235 | 0.865 | 0.8058 | 0.7657 | 0.7489 | 0.7353 | 0.742 | 0.7404 | 0.7374 | 0.7445 | 0.7619 | 0.7503 | 0.7691 | 0.7686 | 0.7545 | 0.7113 | 0.6865 | 0.7499 | 0.7247 | 0.7857 | 0.742 | 0.7732 | 0.7827 | 0.8091 | 0.8239 | 0.8782 | 0.7465 | 0.7499 | 0.7658 | 0.7609 | 0.7673 | 0.7628 | 0.7619 | 0.724 | 0.7243 | 0.7038 | 0.75 | 0.7728 | 0.7015 | 0.7192 | 0.7317 | 0.719 | 0.7292 | 0.7345 | 0.7761 | 0.7576 | 0.7665 | 0.7649 | 0.8103 | 0.8504 | 0.7876 | 0.7607 | 0.7646 | 0.7221 | 0.7671 | 0.7783 | 0.7936 | 0.8105 | 0.7839 | 0.7933 | 0.773 |  | 0.7851 | 0.7952 | 0.7996 | 0.7849 | 0.8124 | 0.7616 | 0.8281 | 0.8239 | 0.8185 | 0.087
37 | 42317.133 | 37 |  | 0.7191 | 0.7335 | 0.757 | 0.7782 | 0.7889 | 0.7683 | 0.7647 | 0.7664 | 0.7808 | 0.0999 |  | 0.7306 | 0.6678 | 0.6664 | 0.6639 | 0.6484 | 0.6378 | 0.7197 | 0.6829 | 0.654 | 0.6754 | 0.7015 | 0.7176 | 0.7871 | 0.7481 | 0.7229 | 0.7057 | 0.7023 | 0.7091 | 0.7099 | 0.7225 | 0.7293 | 0.7325 | 0.741 | 0.7484 | 0.7482 | 0.7293 | 0.6886 | 0.6598 | 0.7183 | 0.7011 | 0.7503 | 0.7171 | 0.7494 | 0.7574 | 0.7753 | 0.7946 | 0.8537 | 0.7291 | 0.7347 | 0.75 | 0.7442 | 0.7463 | 0.7375 | 0.735 | 0.6967 | 0.7005 | 0.6826 | 0.7309 | 0.7682 | 0.6898 | 0.6945 | 0.7078 | 0.6942 | 0.7093 | 0.7149 | 0.7576 | 0.7377 | 0.7442 | 0.7494 | 0.7967 | 0.8167 | 0.7583 | 0.7479 | 0.7468 | 0.7181 | 0.7591 | 0.7651 | 0.7853 | 0.8017 | 0.7765 | 0.8039 | 0.7895 |  | 0.7917 | 0.7949 | 0.7915 | 0.7798 | 0.8015 | 0.7554 | 0.8203 | 0.8164 | 0.8117 | 0.1316
38 | 43492.951 | 36.9 |  | 0.7201 | 0.7606 | 0.779 | 0.7953 | 0.8139 | 0.7992 | 0.779 | 0.7804 | 0.7911 | 0.1002 |  | 0.7758 | 0.6894 | 0.6939 | 0.6921 | 0.6663 | 0.6473 | 0.748 | 0.6977 | 0.6563 | 0.6803 | 0.7075 | 0.7163 | 0.8508 | 0.8001 | 0.7621 | 0.731 | 0.7234 | 0.7271 | 0.7233 | 0.7215 | 0.7276 | 0.7394 | 0.7367 | 0.7473 | 0.7809 | 0.769 | 0.7088 | 0.6636 | 0.7349 | 0.7068 | 0.7601 | 0.7268 | 0.7576 | 0.7702 | 0.7817 | 0.7977 | 0.8347 | 0.7326 | 0.7411 | 0.7708 | 0.7662 | 0.7675 | 0.7625 | 0.766 | 0.7238 | 0.7275 | 0.7277 | 0.7704 | 0.7694 | 0.701 | 0.7066 | 0.7293 | 0.6963 | 0.7195 | 0.7168 | 0.7588 | 0.7473 | 0.7599 | 0.758 | 0.8198 | 0.8573 | 0.7535 | 0.7549 | 0.7456 | 0.7096 | 0.7558 | 0.7607 | 0.7742 | 0.793 | 0.7682 | 0.7858 | 0.7846 |  | 0.7954 | 0.8184 | 0.8075 | 0.7987 | 0.8205 | 0.7669 | 0.8349 | 0.8283 | 0.8234 | 0.0871
39 | 44668.692 | 37 |  | 0.7378 | 0.7813 | 0.7834 | 0.7982 | 0.8028 | 0.7978 | 0.7784 | 0.7759 | 0.7901 | 0.0996 |  | 0.763 | 0.697 | 0.6967 | 0.6914 | 0.6688 | 0.6459 | 0.7373 | 0.6998 | 0.6585 | 0.6957 | 0.7064 | 0.7157 | 0.8524 | 0.7937 | 0.7666 | 0.7345 | 0.7338 | 0.7286 | 0.7308 | 0.7321 | 0.7375 | 0.747 | 0.7466 | 0.7607 | 0.7576 | 0.744 | 0.6995 | 0.6674 | 0.7344 | 0.712 | 0.7636 | 0.7301 | 0.761 | 0.77 | 0.7845 | 0.8005 | 0.8616 | 0.729 | 0.7424 | 0.7607 | 0.7547 | 0.7598 | 0.7618 | 0.7604 | 0.7178 | 0.7177 | 0.6974 | 0.7431 | 0.7622 | 0.6919 | 0.7007 | 0.7143 | 0.6986 | 0.7217 | 0.724 | 0.7663 | 0.7522 | 0.759 | 0.7579 | 0.8095 | 0.8543 | 0.7664 | 0.7455 | 0.7448 | 0.7034 | 0.7561 | 0.7669 | 0.7768 | 0.7938 | 0.7676 | 0.7849 | 0.765 |  | 0.7957 | 0.8031 | 0.8035 | 0.7955 | 0.8203 | 0.7639 | 0.8355 | 0.8218 | 0.8208 | 0.087
40 | 45843.679 | 36.9 |  | 0.7229 | 0.754 | 0.7512 | 0.7694 | 0.7802 | 0.775 | 0.7635 | 0.7672 | 0.7798 | 0.1 |  | 0.7485 | 0.6791 | 0.6794 | 0.6789 | 0.6609 | 0.6426 | 0.739 | 0.695 | 0.6521 | 0.6776 | 0.6967 | 0.702 | 0.8045 | 0.7618 | 0.745 | 0.717 | 0.71 | 0.718 | 0.7123 | 0.7101 | 0.7196 | 0.7319 | 0.7298 | 0.7408 | 0.7494 | 0.746 | 0.6906 | 0.6588 | 0.7204 | 0.698 | 0.7452 | 0.7168 | 0.7467 | 0.7611 | 0.7747 | 0.7937 | 0.8519 | 0.7168 | 0.7378 | 0.7567 | 0.7619 | 0.7667 | 0.7593 | 0.7638 | 0.7109 | 0.7186 | 0.7024 | 0.7534 | 0.7893 | 0.689 | 0.7028 | 0.7128 | 0.6908 | 0.7122 | 0.7145 | 0.7538 | 0.7394 | 0.7473 | 0.7383 | 0.8093 | 0.8246 | 0.7514 | 0.7403 | 0.7388 | 0.6958 | 0.7402 | 0.7496 | 0.7582 | 0.7797 | 0.7557 | 0.7778 | 0.7637 |  | 0.7918 | 0.7994 | 0.8004 | 0.7973 | 0.8156 | 0.7603 | 0.8373 | 0.8221 | 0.8162 | 0.0867
41 | 47019.483 | 37 |  | 0.7154 | 0.7612 | 0.7793 | 0.8034 | 0.809 | 0.7964 | 0.7834 | 0.7856 | 0.7926 | 0.1 |  | 0.7584 | 0.679 | 0.6829 | 0.6793 | 0.6627 | 0.6361 | 0.749 | 0.6936 | 0.6517 | 0.6803 | 0.6957 | 0.7074 | 0.8323 | 0.7683 | 0.7568 | 0.7289 | 0.7229 | 0.7275 | 0.7203 | 0.7212 | 0.7298 | 0.7354 | 0.7326 | 0.7447 | 0.7444 | 0.7333 | 0.6927 | 0.6615 | 0.7312 | 0.706 | 0.7641 | 0.7268 | 0.7474 | 0.7668 | 0.7781 | 0.7982 | 0.8616 | 0.7323 | 0.7393 | 0.7536 | 0.7564 | 0.7593 | 0.7573 | 0.7635 | 0.7225 | 0.7219 | 0.7117 | 0.7667 | 0.7487 | 0.6802 | 0.6947 | 0.719 | 0.6851 | 0.7091 | 0.7183 | 0.7625 | 0.7477 | 0.7614 | 0.7602 | 0.8141 | 0.8502 | 0.7499 | 0.7424 | 0.7411 | 0.698 | 0.7494 | 0.7631 | 0.7726 | 0.7916 | 0.765 | 0.7831 | 0.7671 |  | 0.7867 | 0.7931 | 0.7983 | 0.7924 | 0.8128 | 0.7599 | 0.8222 | 0.8149 | 0.8195 | 0.0863
GFP
Cycle Nr. | Time [s] | Temp. [°C] | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
1 | 0 | 36 |  | 3827 | 3568 | 3396 | 3473 | 3416 | 3530 | 3468 | 3501 | 3468 | 3334 |  | 3823 | 3775 | 3820 | 3596 | 3817 | 3836 | 3328 | 3745 | 3802 | 3633 | 3636 | 3601 | 3547 | 3503 | 3591 | 3594 | 3638 | 3598 | 3589 | 3662 | 3559 | 3446 | 3480 | 3467 | 3588 | 3539 | 3641 | 3776 | 3618 | 3797 | 3723 | 3659 | 3577 | 3599 | 3503 | 3457 | 3606 | 3771 | 3551 | 3494 | 3505 | 3585 | 3490 | 3593 | 3615 | 3660 | 3733 | 3475 | 3527 | 3763 | 3626 | 3620 | 3823 | 3641 | 3610 | 3549 | 3570 | 3565 | 3523 | 3479 | 3511 | 3579 | 3557 | 3519 | 3560 | 3601 | 3566 | 3490 | 3406 | 3605 | 3501 | 3661 |  | 3686 | 3414 | 3429 | 3286 | 3288 | 3647 | 3599 | 3525 | 3529 | 330
2 | 1175.794 | 37 |  | 3648 | 3468 | 3255 | 3326 | 3251 | 3425 | 3359 | 3393 | 3371 | 3217 |  | 3638 | 3600 | 3630 | 3538 | 3735 | 3716 | 3292 | 3587 | 3633 | 3505 | 3445 | 3426 | 3387 | 3353 | 3444 | 3479 | 3528 | 3473 | 3456 | 3537 | 3400 | 3353 | 3340 | 3274 | 3545 | 3446 | 3519 | 3768 | 3512 | 3631 | 3670 | 3545 | 3489 | 3584 | 3413 | 3332 | 3402 | 3511 | 3412 | 3301 | 3364 | 3401 | 3291 | 3358 | 3456 | 3416 | 3516 | 3364 | 3378 | 3495 | 3431 | 3418 | 3617 | 3509 | 3487 | 3312 | 3452 | 3366 | 3361 | 3352 | 3319 | 3407 | 3381 | 3309 | 3416 | 3337 | 3397 | 3347 | 3271 | 3340 | 3253 | 3464 |  | 3555 | 3228 | 3230 | 3147 | 3166 | 3504 | 3438 | 3389 | 3308 | 305
3 | 2350.777 | 37.1 |  | 3673 | 3371 | 3221 | 3288 | 3228 | 3373 | 3319 | 3342 | 3323 | 3195 |  | 3593 | 3553 | 3588 | 3416 | 3620 | 3694 | 3187 | 3516 | 3595 | 3448 | 3397 | 3371 | 3363 | 3324 | 3361 | 3436 | 3456 | 3412 | 3443 | 3467 | 3404 | 3337 | 3387 | 3304 | 3437 | 3376 | 3458 | 3685 | 3354 | 3636 | 3486 | 3470 | 3457 | 3438 | 3351 | 3296 | 3418 | 3535 | 3353 | 3354 | 3341 | 3352 | 3317 | 3306 | 3525 | 3392 | 3562 | 3280 | 3335 | 3426 | 3386 | 3411 | 3576 | 3428 | 3434 | 3315 | 3329 | 3369 | 3265 | 3293 | 3294 | 3312 | 3274 | 3318 | 3390 | 3420 | 3310 | 3279 | 3219 | 3424 | 3265 | 3412 |  | 3603 | 3313 | 3214 | 3141 | 3154 | 3500 | 3366 | 3454 | 3320 | 295
4 | 3526.593 | 37.1 |  | 3645 | 3342 | 3170 | 3233 | 3200 | 3318 | 3261 | 3278 | 3254 | 3154 |  | 3599 | 3543 | 3576 | 3405 | 3634 | 3671 | 3186 | 3575 | 3551 | 3473 | 3462 | 3420 | 3394 | 3368 | 3374 | 3407 | 3449 | 3447 | 3415 | 3490 | 3404 | 3351 | 3383 | 3360 | 3388 | 3351 | 3459 | 3622 | 3386 | 3592 | 3515 | 3439 | 3436 | 3488 | 3357 | 3334 | 3383 | 3558 | 3404 | 3294 | 3348 | 3345 | 3309 | 3459 | 3458 | 3463 | 3575 | 3369 | 3391 | 3439 | 3389 | 3479 | 3571 | 3448 | 3432 | 3342 | 3375 | 3411 | 3332 | 3329 | 3240 | 3394 | 3342 | 3365 | 3468 | 3453 | 3401 | 3326 | 3308 | 3425 | 3380 | 3529 |  | 3546 | 3278 | 3274 | 3138 | 3140 | 3480 | 3370 | 3301 | 3365 | 307
5 | 4701.485 | 37.1 |  | 3681 | 3443 | 3267 | 3224 | 3249 | 3394 | 3246 | 3299 | 3299 | 3183 |  | 3647 | 3595 | 3581 | 3440 | 3581 | 3719 | 3204 | 3635 | 3606 | 3548 | 3594 | 3523 | 3352 | 3333 | 3333 | 3445 | 3464 | 3419 | 3408 | 3569 | 3502 | 3270 | 3488 | 3448 | 3466 | 3341 | 3474 | 3671 | 3390 | 3549 | 3510 | 3547 | 3398 | 3489 | 3321 | 3235 | 3424 | 3567 | 3468 | 3307 | 3302 | 3410 | 3310 | 3406 | 3464 | 3562 | 3603 | 3454 | 3329 | 3514 | 3431 | 3523 | 3629 | 3477 | 3518 | 3342 | 3413 | 3335 | 3287 | 3318 | 3356 | 3355 | 3402 | 3315 | 3405 | 3379 | 3361 | 3297 | 3246 | 3382 | 3304 | 3404 |  | 3554 | 3236 | 3302 | 3107 | 3184 | 3547 | 3383 | 3374 | 3368 | 306
6 | 5876.991 | 37.1 |  | 3707 | 3517 | 3270 | 3264 | 3253 | 3376 | 3225 | 3302 | 3224 | 3143 |  | 3643 | 3625 | 3678 | 3540 | 3788 | 3797 | 3361 | 3751 | 3770 | 3806 | 3678 | 3696 | 3429 | 3330 | 3408 | 3437 | 3488 | 3456 | 3439 | 3470 | 3481 | 3386 | 3404 | 3398 | 3452 | 3347 | 3472 | 3648 | 3398 | 3614 | 3550 | 3511 | 3472 | 3462 | 3400 | 3310 | 3476 | 3640 | 3520 | 3425 | 3400 | 3441 | 3413 | 3528 | 3630 | 3707 | 3895 | 3656 | 3362 | 3468 | 3473 | 3449 | 3606 | 3503 | 3483 | 3363 | 3426 | 3309 | 3421 | 3373 | 3344 | 3425 | 3257 | 3348 | 3474 | 3428 | 3461 | 3386 | 3346 | 3481 | 3320 | 3541 |  | 3547 | 3317 | 3275 | 3050 | 3200 | 3578 | 3454 | 3383 | 3368 | 300
7 | 7052.701 | 37 |  | 3751 | 3531 | 3377 | 3291 | 3239 | 3408 | 3295 | 3338 | 3282 | 3157 |  | 3735 | 3765 | 3746 | 3666 | 3851 | 3847 | 3415 | 3848 | 3806 | 4078 | 4117 | 4041 | 3334 | 3371 | 3477 | 3492 | 3537 | 3499 | 3514 | 3545 | 3430 | 3518 | 3662 | 3507 | 3419 | 3393 | 3458 | 3653 | 3450 | 3667 | 3549 | 3464 | 3465 | 3486 | 3461 | 3352 | 3573 | 3758 | 3611 | 3492 | 3507 | 3560 | 3456 | 3646 | 3626 | 4102 | 4232 | 3977 | 3426 | 3551 | 3454 | 3543 | 3703 | 3502 | 3540 | 3429 | 3511 | 3485 | 3450 | 3485 | 3399 | 3477 | 3461 | 3379 | 3434 | 3475 | 3431 | 3407 | 3303 | 3470 | 3411 | 3547 |  | 3706 | 3330 | 3384 | 3152 | 3163 | 3560 | 3432 | 3438 | 3443 | 309
8 | 8227.688 | 37.1 |  | 3990 | 3701 | 3561 | 3386 | 3377 | 3489 | 3341 | 3372 | 3379 | 3207 |  | 3827 | 3873 | 3949 | 3756 | 3991 | 3980 | 3613 | 4006 | 4013 | 4563 | 4581 | 4540 | 3500 | 3458 | 3504 | 3557 | 3629 | 3629 | 3583 | 3634 | 3595 | 3759 | 3852 | 3727 | 3394 | 3439 | 3536 | 3732 | 3419 | 3618 | 3541 | 3515 | 3515 | 3592 | 3404 | 3313 | 3629 | 3844 | 3704 | 3625 | 3683 | 3616 | 3607 | 3748 | 3802 | 4628 | 4708 | 4595 | 3487 | 3620 | 3594 | 3580 | 3705 | 3723 | 3569 | 3519 | 3600 | 3562 | 3465 | 3543 | 3364 | 3579 | 3591 | 3595 | 3602 | 3585 | 3584 | 3476 | 3439 | 3589 | 3495 | 3699 |  | 3855 | 3591 | 3480 | 3263 | 3393 | 3707 | 3568 | 3513 | 3515 | 295
9 | 9403.498 | 37.2 |  | 4409 | 4142 | 3973 | 3532 | 3491 | 3671 | 3397 | 3387 | 3362 | 3180 |  | 4087 | 4187 | 4307 | 4244 | 4450 | 4322 | 3937 | 4405 | 4372 | 5375 | 5673 | 5507 | 3558 | 3633 | 3676 | 3780 | 3787 | 3785 | 3778 | 3824 | 3748 | 4162 | 4388 | 4467 | 3450 | 3405 | 3551 | 3735 | 3428 | 3654 | 3493 | 3550 | 3489 | 3576 | 3426 | 3390 | 3795 | 4225 | 4005 | 3980 | 3980 | 3878 | 3893 | 4049 | 4055 | 6140 | 6514 | 6345 | 3648 | 3886 | 3752 | 3752 | 3998 | 3785 | 3750 | 3597 | 3785 | 3727 | 3719 | 3747 | 3571 | 3670 | 3714 | 3624 | 3857 | 3784 | 3735 | 3646 | 3583 | 3727 | 3658 | 3712 |  | 4074 | 3763 | 3783 | 3514 | 3465 | 3844 | 3714 | 3739 | 3672 | 312
10 | 10578.472 | 37.2 |  | 7152 | 7370 | 7150 | 5027 | 4793 | 4651 | 3387 | 3408 | 3392 | 3092 |  | 5767 | 6176 | 6984 | 7178 | 6739 | 6049 | 5888 | 6316 | 5891 | 8368 | 9281 | 9153 | 4743 | 5121 | 5513 | 6025 | 5683 | 5294 | 5511 | 5501 | 5192 | 6962 | 8236 | 8111 | 3501 | 3515 | 3652 | 3868 | 3622 | 3765 | 3728 | 3656 | 3638 | 3890 | 3802 | 3668 | 5991 | 7291 | 6934 | 7003 | 6639 | 5566 | 5506 | 6266 | 6040 | 11886 | 12618 | 13029 | 3905 | 4133 | 4077 | 4069 | 4421 | 4155 | 4048 | 3952 | 4091 | 4041 | 3974 | 4098 | 3988 | 4056 | 4057 | 3927 | 4181 | 4047 | 4014 | 3884 | 3875 | 4053 | 3907 | 4042 |  | 6113 | 6311 | 6305 | 3671 | 3783 | 4064 | 3943 | 4016 | 3960 | 312
11 | 11754.275 | 36.9 |  | 15333 | 16115 | 15848 | 10665 | 9986 | 9456 | 3540 | 3657 | 3634 | 3128 |  | 12785 | 13889 | 15623 | 16306 | 15297 | 13295 | 14064 | 14516 | 13109 | 16496 | 18756 | 18288 | 9860 | 11050 | 11602 | 13244 | 12586 | 11210 | 12307 | 12476 | 11926 | 14877 | 17430 | 17529 | 3666 | 3724 | 3876 | 4129 | 3781 | 3965 | 3949 | 3992 | 3981 | 4576 | 4517 | 4510 | 14345 | 16950 | 16630 | 16913 | 16236 | 13213 | 13232 | 15275 | 14606 | 23477 | 24543 | 24928 | 4471 | 4752 | 4718 | 4622 | 4963 | 4715 | 4524 | 4480 | 4614 | 4469 | 4616 | 4650 | 4514 | 4634 | 4610 | 4572 | 4621 | 4581 | 4453 | 4251 | 4217 | 4575 | 4228 | 4460 |  | 15306 | 15865 | 15767 | 4246 | 4233 | 4631 | 4368 | 4547 | 4589 | 311
12 | 12933.464 | 36.9 |  | 26357 | 26231 | 25320 | 18672 | 18325 | 18465 | 3752 | 3769 | 3763 | 3086 |  | 24076 | 25181 | 27174 | 28129 | 27766 | 25801 | 27107 | 28458 | 26639 | 30122 | 32698 | 31727 | 18885 | 20077 | 20401 | 23284 | 22852 | 21853 | 24277 | 25283 | 24927 | 28002 | 31545 | 31310 | 3846 | 3952 | 4112 | 4481 | 4116 | 4297 | 4670 | 4712 | 4748 | 5844 | 5540 | 5617 | 26876 | 28644 | 28469 | 28906 | 28524 | 26012 | 26540 | 29536 | 28526 | 38566 | 39653 | 39154 | 5025 | 5347 | 5348 | 5307 | 5607 | 5369 | 5101 | 4981 | 5262 | 5132 | 5186 | 5132 | 5220 | 5582 | 5505 | 5449 | 5536 | 5417 | 5166 | 5030 | 4954 | 5345 | 5169 | 5249 |  | 28441 | 29008 | 28978 | 4758 | 4803 | 5133 | 5112 | 5220 | 5374 | 309
13 | 14109.232 | 37 |  | 33862 | 32872 | 32208 | 24476 | 24616 | 25753 | 4010 | 4089 | 4015 | 3140 |  | 32790 | 33136 | 34540 | 36029 | 36802 | 36256 | 38892 | 41114 | 39620 | 44383 | 47562 | 45367 | 25058 | 25726 | 25749 | 29497 | 30164 | 29880 | 35561 | 37410 | 36972 | 41087 | 44373 | 44059 | 4031 | 4054 | 4239 | 4570 | 4325 | 4615 | 5242 | 5273 | 5188 | 6750 | 6502 | 6370 | 35957 | 38338 | 35870 | 36956 | 37345 | 36854 | 39661 | 43443 | 42254 | 53002 | 55311 | 52767 | 5520 | 5868 | 5793 | 5734 | 5998 | 5698 | 5738 | 5684 | 5780 | 5793 | 5845 | 5761 | 6303 | 6580 | 6373 | 6204 | 6412 | 6431 | 6314 | 6094 | 6012 | 6608 | 6210 | 6513 |  | 39462 | 38564 | 38423 | 5238 | 5381 | 5735 | 6184 | 6415 | 6415 | 299
14 | 15284.129 | 37.1 |  | 38405 | 36731 | 35940 | 27293 | 28024 | 29604 | 4089 | 4145 | 4117 | 3103 |  | 38078 | 38290 | 38612 | 41960 | 44222 | 44241 | 49091 | 52191 | 50856 | 56631 | 59567 | 55802 | 28707 | 28640 | 28600 | 32710 | 33751 | 34555 | 43369 | 45564 | 45473 | 50726 | 53658 | 52734 | 4140 | 4186 | 4299 | 4673 | 4401 | 4662 | 5473 | 5504 | 5315 | 7106 | 6799 | 6563 | 41820 | 42866 | 41831 | 43379 | 44815 | 45296 | 50487 | 53901 | 53343 | 63864 | 64591 | 61037 | 5657 | 5885 | 5972 | 5989 | 6253 | 6131 | 6134 | 5889 | 6153 | 6282 | 6325 | 6164 | 7064 | 7371 | 7089 | 7142 | 7288 | 7345 | 7592 | 7443 | 7185 | 7948 | 7638 | 7880 |  | 46729 | 44077 | 44419 | 5651 | 5674 | 6024 | 7554 | 7730 | 8105 | 301
15 | 16459.123 | 37.1 |  | 40908 | 38477 | 37300 | 27412 | 28791 | 30703 | 4064 | 4078 | 4046 | 3077 |  | 41399 | 40076 | 40995 | 43022 | 47111 | 48646 | 54847 | 58983 | 58109 | 66285 | 68003 | 62860 | 29725 | 30255 | 29878 | 34402 | 35888 | 37425 | 49027 | 51164 | 51687 | 58688 | 61233 | 59705 | 4065 | 4128 | 4176 | 4746 | 4360 | 4638 | 5474 | 5482 | 5409 | 7183 | 6858 | 6643 | 46238 | 47274 | 45326 | 46512 | 49251 | 51211 | 56848 | 61665 | 59828 | 69470 | 70562 | 69484 | 5714 | 5994 | 6026 | 6101 | 6280 | 6202 | 6337 | 6185 | 6347 | 6464 | 6438 | 6453 | 7717 | 8043 | 7769 | 7861 | 8009 | 8367 | 8951 | 8789 | 8835 | 9299 | 9059 | 9336 |  | 48874 | 49560 | 49798 | 5776 | 5896 | 6269 | 9084 | 9364 | 9637 | 312
16 | 17634.932 | 37.1 |  | 41765 | 39155 | 38166 | 27896 | 29151 | 31053 | 4092 | 4151 | 4097 | 3137 |  | 41290 | 41408 | 42600 | 45130 | 47705 | 49448 | 58116 | 62328 | 61229 | 72892 | 74418 | 67330 | 29419 | 29679 | 29362 | 35026 | 35622 | 38001 | 50437 | 51860 | 52088 | 60088 | 60870 | 59535 | 4056 | 4082 | 4142 | 4538 | 4366 | 4681 | 5592 | 5563 | 5401 | 6962 | 6849 | 6540 | 48156 | 46548 | 46222 | 49199 | 50389 | 52435 | 61972 | 65181 | 63395 | 74259 | 73812 | 71722 | 5705 | 5997 | 5938 | 6024 | 6352 | 6185 | 6404 | 6408 | 6270 | 6672 | 6709 | 6463 | 7942 | 8020 | 8085 | 8118 | 8340 | 8941 | 9582 | 9599 | 9629 | 9773 | 9908 | 10237 |  | 53401 | 51134 | 51810 | 5715 | 5840 | 6269 | 9831 | 10316 | 10502 | 300
17 | 18809.91 | 37 |  | 41071 | 38228 | 37396 | 26783 | 28402 | 30207 | 4007 | 4043 | 3965 | 3075 |  | 41497 | 41680 | 42060 | 44548 | 48035 | 50075 | 60093 | 63905 | 62530 | 74884 | 74981 | 67705 | 28788 | 29126 | 28188 | 33635 | 35321 | 36467 | 48623 | 51119 | 52268 | 61707 | 62287 | 60735 | 4098 | 4120 | 4265 | 4712 | 4383 | 4626 | 5483 | 5553 | 5403 | 7076 | 6754 | 6507 | 48771 | 49180 | 47138 | 50138 | 53043 | 54583 | 64323 | 68933 | 67586 | 80092 | 80374 | 75449 | 5748 | 5948 | 5946 | 6053 | 6334 | 6241 | 6481 | 6364 | 6558 | 6643 | 6605 | 6559 | 7933 | 8152 | 7910 | 8216 | 8484 | 9267 | 10127 | 10175 | 9943 | 10270 | 10253 | 10397 |  | 54479 | 53393 | 52948 | 5622 | 5876 | 6289 | 10392 | 10591 | 10813 | 302
18 | 19985.711 | 37.1 |  | 40128 | 38336 | 37293 | 26700 | 27995 | 29866 | 4051 | 4089 | 4035 | 3142 |  | 40250 | 40525 | 42121 | 43626 | 47808 | 49164 | 60030 | 64158 | 63419 | 75538 | 78104 | 68928 | 28050 | 28436 | 28440 | 33246 | 34420 | 36309 | 49821 | 52051 | 53193 | 62483 | 63026 | 61372 | 4035 | 4071 | 4188 | 4613 | 4385 | 4625 | 5439 | 5475 | 5379 | 7007 | 6874 | 6465 | 49676 | 48198 | 48641 | 50568 | 51977 | 54704 | 65175 | 68927 | 68996 | 80283 | 78764 | 75971 | 5652 | 5809 | 5781 | 5759 | 6137 | 6033 | 6234 | 6226 | 6341 | 6611 | 6728 | 6476 | 7842 | 8013 | 7838 | 7939 | 8335 | 9117 | 10051 | 10154 | 10088 | 10311 | 10306 | 10402 |  | 53646 | 53776 | 53945 | 5661 | 5784 | 6215 | 10661 | 10757 | 10945 | 319
19 | 21160.705 | 37 |  | 40208 | 37010 | 36244 | 25904 | 27140 | 28976 | 4055 | 4029 | 4004 | 3069 |  | 40377 | 39150 | 40235 | 43165 | 46478 | 48838 | 59399 | 63545 | 62487 | 75914 | 77573 | 67983 | 27262 | 27701 | 27586 | 32503 | 33697 | 35574 | 48762 | 50919 | 51744 | 61613 | 63092 | 61160 | 3997 | 4109 | 4248 | 4593 | 4353 | 4649 | 5392 | 5366 | 5325 | 6903 | 6653 | 6401 | 49350 | 47991 | 47081 | 50376 | 52344 | 54192 | 66232 | 70103 | 69228 | 83038 | 81057 | 77889 | 5525 | 5646 | 5709 | 5665 | 6037 | 6091 | 6328 | 6202 | 6301 | 6592 | 6551 | 6433 | 7745 | 7950 | 7754 | 8101 | 8346 | 9171 | 9856 | 9803 | 9818 | 10168 | 10058 | 10461 |  | 53523 | 53565 | 54208 | 5601 | 5744 | 6200 | 10395 | 10628 | 11028 | 302
20 | 22336.526 | 37 |  | 38726 | 36366 | 35960 | 25513 | 26803 | 28403 | 4032 | 4020 | 4016 | 3109 |  | 39151 | 38384 | 39827 | 42013 | 45629 | 47027 | 58551 | 62921 | 60738 | 75365 | 77090 | 68278 | 27091 | 27674 | 27374 | 31597 | 32686 | 34505 | 47368 | 50123 | 50870 | 60624 | 61353 | 58940 | 3908 | 4070 | 4147 | 4514 | 4231 | 4538 | 5346 | 5336 | 5164 | 6765 | 6373 | 6207 | 49672 | 47892 | 46492 | 50511 | 52253 | 54654 | 65336 | 70004 | 68332 | 80446 | 81286 | 78648 | 5516 | 5775 | 5761 | 5753 | 5976 | 6036 | 6160 | 6142 | 6172 | 6438 | 6633 | 6335 | 7617 | 7706 | 7692 | 7976 | 8308 | 8866 | 9960 | 9904 | 9931 | 10022 | 9753 | 9704 |  | 53423 | 54682 | 52693 | 5565 | 5502 | 6087 | 10505 | 10520 | 10690 | 305
21 | 23511.409 | 37 |  | 37818 | 35576 | 35314 | 25067 | 26260 | 27805 | 3972 | 4046 | 3968 | 3085 |  | 37863 | 37513 | 38779 | 40721 | 44049 | 45900 | 57899 | 61710 | 60155 | 73691 | 76352 | 67419 | 26262 | 27223 | 26507 | 30688 | 32037 | 33554 | 46419 | 48655 | 49291 | 59535 | 59897 | 57831 | 3873 | 4010 | 4024 | 4418 | 4369 | 4658 | 5337 | 5245 | 5159 | 6694 | 6476 | 6210 | 48637 | 47033 | 45973 | 48937 | 50803 | 53719 | 65160 | 70088 | 67983 | 80640 | 79542 | 78569 | 5374 | 5500 | 5511 | 5633 | 5916 | 5861 | 6049 | 6103 | 6172 | 6478 | 6355 | 6128 | 7560 | 7621 | 7512 | 7732 | 8079 | 8864 | 9766 | 9955 | 10026 | 10053 | 9896 | 10052 |  | 52873 | 52337 | 52477 | 5403 | 5571 | 6052 | 10459 | 10247 | 10445 | 306
22 | 24686.923 | 37.2 |  | 37068 | 34766 | 34863 | 24527 | 26083 | 27578 | 3932 | 4028 | 4000 | 3097 |  | 37665 | 37087 | 37766 | 40274 | 43488 | 44725 | 57098 | 60323 | 59124 | 72671 | 74481 | 66502 | 25802 | 26156 | 25559 | 30191 | 30705 | 32866 | 46128 | 48219 | 48724 | 58474 | 59651 | 57475 | 3825 | 4018 | 4176 | 4529 | 4286 | 4595 | 5263 | 5284 | 5135 | 6675 | 6347 | 6125 | 47146 | 46123 | 46184 | 50181 | 51978 | 53946 | 65795 | 70235 | 68586 | 81090 | 80085 | 78500 | 5320 | 5560 | 5525 | 5682 | 5931 | 5854 | 6011 | 5971 | 6099 | 6472 | 6394 | 6201 | 7290 | 7641 | 7407 | 7617 | 7956 | 8597 | 9574 | 9698 | 9741 | 9823 | 9687 | 9766 |  | 53116 | 51976 | 52249 | 5417 | 5639 | 5977 | 10301 | 10309 | 10528 | 302
23 | 25862.599 | 37 |  | 35817 | 34403 | 33964 | 24081 | 25330 | 26958 | 3961 | 3956 | 3976 | 3130 |  | 36509 | 35862 | 37062 | 39633 | 42583 | 43801 | 56445 | 58611 | 57754 | 72642 | 73489 | 65407 | 25055 | 25567 | 24931 | 29650 | 30518 | 31622 | 44696 | 46502 | 47793 | 57464 | 59660 | 56361 | 3903 | 4007 | 4173 | 4452 | 4306 | 4560 | 5181 | 5182 | 5098 | 6566 | 6196 | 6007 | 46817 | 45643 | 45396 | 48740 | 50044 | 53200 | 64544 | 69383 | 67832 | 80047 | 81892 | 79841 | 5202 | 5562 | 5544 | 5596 | 5798 | 5858 | 5947 | 5894 | 5950 | 6059 | 6245 | 6044 | 7270 | 7438 | 7328 | 7573 | 7779 | 8363 | 9412 | 9545 | 9586 | 9492 | 9440 | 9595 |  | 51932 | 51529 | 51882 | 5458 | 5511 | 5910 | 9991 | 9941 | 10222 | 307
24 | 27037.666 | 37 |  | 35445 | 33321 | 33299 | 23550 | 24882 | 26311 | 3963 | 3957 | 3961 | 3082 |  | 35507 | 35083 | 36441 | 38907 | 41203 | 42548 | 54594 | 58129 | 56607 | 70970 | 72776 | 64041 | 24116 | 25082 | 24903 | 29081 | 30120 | 31741 | 43877 | 46080 | 47116 | 56309 | 57652 | 54849 | 3941 | 4072 | 4170 | 4486 | 4252 | 4531 | 5139 | 5143 | 5028 | 6436 | 6271 | 6024 | 46037 | 44880 | 44689 | 47749 | 50632 | 52889 | 63836 | 67472 | 66115 | 80643 | 81701 | 78421 | 5163 | 5466 | 5460 | 5335 | 5815 | 5804 | 5993 | 5966 | 5963 | 6235 | 6225 | 5888 | 7270 | 7256 | 7365 | 7493 | 7842 | 8572 | 9370 | 9508 | 9582 | 9506 | 9207 | 9148 |  | 50644 | 50631 | 50785 | 5386 | 5459 | 5842 | 9855 | 9953 | 10104 | 317
25 | 28213.477 | 37 |  | 34787 | 32544 | 32269 | 23192 | 24360 | 25464 | 3936 | 3914 | 3889 | 3088 |  | 34990 | 34466 | 35358 | 37878 | 41178 | 42365 | 54423 | 57280 | 56290 | 70477 | 72469 | 62998 | 23728 | 25098 | 24717 | 28652 | 29744 | 30587 | 41954 | 44148 | 45148 | 54262 | 54862 | 53269 | 3888 | 3990 | 4124 | 4421 | 4325 | 4498 | 5160 | 5216 | 5138 | 6585 | 6218 | 5964 | 45540 | 44721 | 43978 | 47444 | 48598 | 51949 | 62826 | 66899 | 65062 | 78172 | 76779 | 76942 | 5056 | 5325 | 5222 | 5447 | 5609 | 5777 | 6013 | 5892 | 5968 | 6178 | 6099 | 5883 | 7056 | 7257 | 7097 | 7223 | 7441 | 8269 | 8978 | 9149 | 9217 | 9127 | 8961 | 9062 |  | 50594 | 49744 | 50143 | 5359 | 5391 | 5820 | 9714 | 9786 | 9963 | 299
26 | 29388.478 | 37.1 |  | 34114 | 32130 | 31815 | 22417 | 23959 | 25417 | 3970 | 3912 | 3892 | 3074 |  | 34398 | 33469 | 35167 | 38143 | 40332 | 41357 | 53515 | 56119 | 54629 | 68168 | 70186 | 62199 | 23306 | 24473 | 24418 | 28144 | 28551 | 30312 | 41834 | 43455 | 44529 | 52883 | 53863 | 53392 | 3855 | 4048 | 4145 | 4479 | 4320 | 4452 | 5203 | 5206 | 5121 | 6418 | 6132 | 5853 | 44781 | 43963 | 43461 | 46877 | 49151 | 51900 | 64063 | 65972 | 65738 | 79871 | 77467 | 74882 | 5116 | 5445 | 5382 | 5530 | 5597 | 5603 | 5691 | 5775 | 5959 | 6121 | 6185 | 5998 | 6931 | 7100 | 7137 | 7380 | 7721 | 8219 | 9041 | 9105 | 9103 | 9023 | 8924 | 9067 |  | 49629 | 49631 | 49746 | 5150 | 5464 | 5711 | 9760 | 9740 | 9883 | 294
27 | 30564.291 | 37 |  | 33132 | 31435 | 31329 | 21975 | 23503 | 24555 | 3897 | 3916 | 3936 | 3110 |  | 33813 | 33628 | 34481 | 36447 | 39300 | 40693 | 52006 | 55020 | 52484 | 67647 | 69669 | 60688 | 22814 | 23802 | 23410 | 26963 | 27909 | 29670 | 41491 | 44096 | 43104 | 52475 | 53728 | 51959 | 3822 | 4033 | 4096 | 4457 | 4195 | 4491 | 5081 | 5217 | 5150 | 6330 | 6132 | 5846 | 44475 | 43221 | 43563 | 47214 | 49441 | 51099 | 61793 | 66769 | 64137 | 77472 | 76741 | 74890 | 4990 | 5307 | 5154 | 5429 | 5670 | 5650 | 5888 | 5838 | 5877 | 6155 | 6108 | 5861 | 6877 | 7245 | 6939 | 7303 | 7516 | 8313 | 8987 | 9171 | 8933 | 9044 | 8960 | 8987 |  | 48429 | 47324 | 48118 | 5255 | 5307 | 5673 | 9588 | 9584 | 9697 | 305
28 | 31739.199 | 37.1 |  | 32582 | 30801 | 30877 | 21697 | 22829 | 24214 | 3864 | 3816 | 3866 | 3066 |  | 32033 | 32974 | 33899 | 36457 | 38652 | 39378 | 51443 | 53736 | 52523 | 64690 | 67632 | 59709 | 22416 | 24005 | 23248 | 26471 | 27533 | 29028 | 40197 | 42840 | 43610 | 52753 | 53958 | 52009 | 3796 | 3899 | 3991 | 4286 | 4289 | 4525 | 5059 | 5077 | 4979 | 6289 | 6080 | 5864 | 43433 | 42524 | 42495 | 46035 | 47827 | 49636 | 62097 | 65077 | 63286 | 75332 | 75735 | 71553 | 4937 | 5172 | 5205 | 5296 | 5538 | 5618 | 5708 | 5848 | 5891 | 5996 | 6123 | 5726 | 6763 | 6936 | 6824 | 7160 | 7437 | 8037 | 8922 | 9191 | 9183 | 8997 | 8883 | 8995 |  | 47963 | 48140 | 48351 | 5166 | 5276 | 5649 | 9433 | 9358 | 9534 | 305
29 | 32915.009 | 37.2 |  | 31810 | 30374 | 31002 | 21404 | 22808 | 24198 | 3909 | 3842 | 3849 | 3031 |  | 31901 | 32044 | 32391 | 34349 | 38342 | 39173 | 51773 | 53647 | 52472 | 64692 | 66000 | 58025 | 21649 | 22829 | 22735 | 26696 | 27840 | 28864 | 38889 | 41362 | 42337 | 50791 | 51083 | 51388 | 3804 | 3965 | 4213 | 4396 | 4291 | 4468 | 5139 | 5114 | 5092 | 6365 | 6107 | 5738 | 42700 | 41814 | 40731 | 44288 | 46287 | 48729 | 59814 | 64142 | 61971 | 74804 | 74108 | 72430 | 4924 | 5262 | 5194 | 5305 | 5573 | 5579 | 5807 | 5809 | 5871 | 5898 | 6040 | 5810 | 6730 | 6917 | 6821 | 7115 | 7350 | 8030 | 8791 | 8995 | 9016 | 8891 | 8855 | 9071 |  | 47612 | 47629 | 47568 | 5129 | 5283 | 5726 | 9427 | 9433 | 9685 | 307
30 | 34089.883 | 37.1 |  | 31448 | 29923 | 30160 | 21218 | 22454 | 23633 | 3883 | 3870 | 3828 | 3058 |  | 31767 | 31376 | 32521 | 34570 | 37673 | 38814 | 50962 | 52700 | 51112 | 63824 | 65606 | 57625 | 21647 | 22722 | 22549 | 25782 | 26925 | 28431 | 38984 | 40870 | 41866 | 50543 | 50801 | 49612 | 3804 | 4040 | 4118 | 4489 | 4266 | 4468 | 5177 | 5073 | 5033 | 6282 | 5963 | 5726 | 42512 | 40600 | 40857 | 44674 | 46522 | 48236 | 60086 | 64677 | 61579 | 74887 | 75194 | 71329 | 4729 | 5261 | 5186 | 5365 | 5548 | 5520 | 5756 | 5688 | 5798 | 6022 | 5994 | 5756 | 6653 | 6940 | 6819 | 7057 | 7200 | 7994 | 8775 | 8876 | 8771 | 8810 | 8605 | 8502 |  | 47964 | 47813 | 45677 | 5155 | 5161 | 5641 | 9286 | 9243 | 9612 | 303
31 | 35264.867 | 37.2 |  | 31010 | 29878 | 30150 | 21335 | 22550 | 23437 | 3888 | 3978 | 3894 | 3090 |  | 31816 | 30555 | 32450 | 34941 | 36587 | 37867 | 50005 | 51678 | 50299 | 63355 | 64640 | 57213 | 21629 | 22754 | 22281 | 25842 | 26602 | 27763 | 38767 | 40666 | 41391 | 49636 | 51252 | 49161 | 3789 | 4054 | 4176 | 4547 | 4233 | 4505 | 5133 | 5085 | 5067 | 6288 | 6132 | 5658 | 42188 | 40624 | 40041 | 43205 | 44828 | 46937 | 58698 | 62945 | 59784 | 73430 | 72209 | 70496 | 4849 | 5107 | 5267 | 5327 | 5487 | 5456 | 5808 | 5752 | 5738 | 5911 | 5882 | 5717 | 6638 | 6800 | 6742 | 6988 | 7122 | 7722 | 8528 | 8703 | 8589 | 8654 | 8669 | 8690 |  | 46402 | 45771 | 45511 | 5173 | 5090 | 5541 | 9342 | 9299 | 9452 | 302
32 | 36440.664 | 37 |  | 30743 | 29150 | 29637 | 20914 | 22119 | 23042 | 3922 | 3884 | 3852 | 3063 |  | 30906 | 31019 | 32144 | 34134 | 36411 | 37452 | 49412 | 51438 | 49526 | 61724 | 63819 | 56192 | 21140 | 21983 | 21538 | 25361 | 26539 | 27747 | 38740 | 40621 | 41186 | 50104 | 50426 | 48790 | 3773 | 4055 | 4170 | 4484 | 4273 | 4611 | 5159 | 5134 | 4943 | 6130 | 5876 | 5677 | 41133 | 39710 | 39086 | 42708 | 44787 | 46048 | 58719 | 62700 | 60469 | 73496 | 71692 | 71320 | 4814 | 5235 | 5190 | 5294 | 5552 | 5545 | 5693 | 5643 | 5803 | 5890 | 5940 | 5653 | 6462 | 6685 | 6690 | 6976 | 7249 | 7886 | 8570 | 8850 | 8725 | 8703 | 8655 | 8685 |  | 45855 | 45778 | 45951 | 4989 | 5140 | 5494 | 9125 | 9007 | 9313 | 296
33 | 37615.647 | 37.1 |  | 30097 | 29161 | 29436 | 20667 | 21708 | 22818 | 3892 | 3909 | 3871 | 3088 |  | 30047 | 30111 | 31274 | 33330 | 35752 | 36527 | 49086 | 50939 | 48770 | 61011 | 62522 | 55427 | 20802 | 22248 | 21828 | 25311 | 26208 | 27408 | 38490 | 40085 | 40694 | 49410 | 50202 | 48130 | 3785 | 3971 | 4148 | 4446 | 4230 | 4497 | 5046 | 5018 | 4986 | 6129 | 5882 | 5647 | 40443 | 38860 | 39349 | 42772 | 44213 | 46894 | 57983 | 62628 | 58726 | 71439 | 69798 | 70032 | 4774 | 5168 | 5181 | 5245 | 5515 | 5404 | 5613 | 5581 | 5712 | 5864 | 5785 | 5644 | 6507 | 6777 | 6627 | 6915 | 7187 | 7666 | 8479 | 8587 | 8621 | 8475 | 8491 | 8508 |  | 45895 | 45270 | 45818 | 5065 | 5145 | 5449 | 8925 | 8970 | 9167 | 296
34 | 38791.455 | 37 |  | 29756 | 28737 | 28937 | 20350 | 21602 | 22710 | 3853 | 3883 | 3903 | 3086 |  | 29451 | 29609 | 30937 | 32661 | 35010 | 35267 | 47882 | 48861 | 47234 | 59263 | 60821 | 54730 | 20587 | 21904 | 21286 | 24461 | 25796 | 27123 | 37648 | 39466 | 40799 | 48386 | 48811 | 46132 | 3701 | 3958 | 4052 | 4361 | 4200 | 4417 | 5050 | 4887 | 4948 | 6019 | 5962 | 5671 | 40008 | 38621 | 38555 | 42672 | 44106 | 46499 | 57326 | 61105 | 58587 | 71899 | 69115 | 68154 | 4804 | 5064 | 5087 | 5168 | 5384 | 5335 | 5511 | 5452 | 5741 | 5804 | 5851 | 5652 | 6510 | 6739 | 6631 | 6897 | 7103 | 7744 | 8465 | 8549 | 8441 | 8381 | 8277 | 8270 |  | 45061 | 45094 | 45128 | 5020 | 5106 | 5448 | 9031 | 8997 | 8992 | 304
35 | 39966.434 | 37.1 |  | 29415 | 28026 | 27905 | 19902 | 21183 | 21890 | 3854 | 3908 | 3907 | 3059 |  | 29821 | 29839 | 30781 | 32715 | 34772 | 36023 | 47905 | 48946 | 47267 | 59228 | 59921 | 54267 | 20068 | 21715 | 21137 | 24490 | 25536 | 26562 | 36711 | 38429 | 39062 | 46675 | 47081 | 45849 | 3735 | 3987 | 4097 | 4439 | 4286 | 4437 | 4986 | 4972 | 4948 | 6043 | 5810 | 5519 | 39209 | 38452 | 38162 | 42713 | 43484 | 46631 | 55747 | 58790 | 57151 | 69224 | 66446 | 66247 | 4828 | 5142 | 5123 | 5264 | 5402 | 5463 | 5628 | 5595 | 5690 | 5829 | 5807 | 5661 | 6383 | 6644 | 6479 | 6752 | 6937 | 7539 | 8210 | 8356 | 8325 | 8303 | 8280 | 8192 |  | 44961 | 44568 | 44756 | 4973 | 5122 | 5450 | 8790 | 8770 | 9074 | 311
36 | 41142.262 | 37.1 |  | 28579 | 27628 | 28047 | 19913 | 21088 | 22111 | 3888 | 3907 | 3901 | 3014 |  | 29235 | 29166 | 30374 | 32053 | 35223 | 35418 | 47886 | 48519 | 47383 | 58452 | 61622 | 52892 | 19894 | 21261 | 20842 | 24108 | 24722 | 26071 | 35962 | 37959 | 39032 | 46880 | 46907 | 44899 | 3690 | 3952 | 4124 | 4494 | 4139 | 4510 | 4995 | 5028 | 4996 | 6082 | 5848 | 5621 | 38694 | 36939 | 37222 | 42348 | 42788 | 44794 | 55647 | 58783 | 56485 | 68310 | 66171 | 65686 | 4746 | 5093 | 5231 | 5336 | 5465 | 5452 | 5595 | 5575 | 5610 | 5699 | 5598 | 5584 | 6369 | 6558 | 6499 | 6691 | 7011 | 7543 | 8162 | 8151 | 8193 | 8251 | 8280 | 8097 |  | 43341 | 44141 | 43935 | 5026 | 5109 | 5329 | 8881 | 8735 | 8842 | 304
37 | 42317.133 | 37 |  | 28441 | 27643 | 27820 | 19724 | 20848 | 21925 | 3879 | 3861 | 3823 | 2998 |  | 28769 | 28655 | 29786 | 31657 | 33626 | 34563 | 46464 | 47001 | 45133 | 57023 | 59816 | 51671 | 19751 | 21289 | 20976 | 24123 | 24875 | 26169 | 36020 | 37686 | 38340 | 46735 | 47476 | 46306 | 3672 | 3983 | 4086 | 4421 | 4220 | 4507 | 5006 | 5012 | 4970 | 6075 | 5824 | 5512 | 38184 | 36382 | 37229 | 40208 | 42382 | 44027 | 55333 | 59519 | 55847 | 68720 | 66696 | 66417 | 4803 | 5143 | 5113 | 5116 | 5359 | 5395 | 5591 | 5476 | 5661 | 5732 | 5785 | 5576 | 6207 | 6738 | 6531 | 6686 | 6936 | 7428 | 8149 | 8289 | 8322 | 8338 | 8281 | 8274 |  | 43523 | 43612 | 43290 | 5011 | 5039 | 5509 | 8689 | 8814 | 8839 | 306
38 | 43492.951 | 37.1 |  | 27990 | 26894 | 27308 | 19255 | 20650 | 21231 | 3805 | 3842 | 3815 | 3023 |  | 28174 | 28662 | 28898 | 31146 | 33718 | 34183 | 45451 | 47225 | 45525 | 56722 | 57229 | 51520 | 19633 | 21012 | 20574 | 23746 | 24814 | 25629 | 35538 | 37592 | 37712 | 45165 | 46584 | 45380 | 3732 | 4022 | 4095 | 4461 | 4237 | 4480 | 4953 | 4992 | 4997 | 6077 | 5968 | 5506 | 38122 | 37194 | 36976 | 40097 | 41312 | 43862 | 54103 | 58239 | 55246 | 67136 | 64968 | 65184 | 4649 | 4977 | 5062 | 5135 | 5379 | 5408 | 5509 | 5611 | 5618 | 5722 | 5747 | 5538 | 6290 | 6606 | 6508 | 6661 | 6792 | 7381 | 8060 | 8224 | 8181 | 7999 | 8105 | 7929 |  | 42924 | 43116 | 42878 | 4898 | 4972 | 5358 | 8697 | 8745 | 8943 | 320
39 | 44668.692 | 37.1 |  | 27587 | 26861 | 27336 | 19269 | 20366 | 21252 | 3864 | 3858 | 3903 | 3097 |  | 27564 | 28215 | 28877 | 30882 | 33137 | 33714 | 44910 | 46227 | 44348 | 55231 | 56376 | 50772 | 18999 | 20580 | 20242 | 23374 | 24507 | 25837 | 35328 | 37312 | 38103 | 45352 | 46373 | 44587 | 3681 | 3980 | 4131 | 4434 | 4197 | 4442 | 5000 | 4838 | 4857 | 5955 | 5643 | 5475 | 37593 | 36086 | 36090 | 39618 | 41167 | 43233 | 54371 | 58134 | 55654 | 66888 | 66009 | 66377 | 4707 | 5085 | 5073 | 5181 | 5261 | 5385 | 5456 | 5458 | 5410 | 5657 | 5571 | 5441 | 6242 | 6452 | 6383 | 6841 | 6819 | 7399 | 8097 | 8233 | 8174 | 8115 | 8106 | 8154 |  | 42499 | 42099 | 43207 | 4811 | 5012 | 5340 | 8576 | 8479 | 8805 | 322
40 | 45843.679 | 37.1 |  | 27519 | 26614 | 26924 | 19045 | 20145 | 21073 | 3879 | 3861 | 3882 | 3084 |  | 26921 | 27942 | 29098 | 30460 | 32572 | 33467 | 44722 | 45844 | 43756 | 54316 | 56084 | 49984 | 18894 | 20388 | 19983 | 23354 | 23969 | 25026 | 34387 | 36065 | 36954 | 44195 | 44992 | 42911 | 3679 | 3990 | 4089 | 4436 | 4223 | 4421 | 4963 | 4986 | 4828 | 5866 | 5803 | 5452 | 36760 | 35662 | 35942 | 39598 | 41045 | 43032 | 53713 | 58045 | 55342 | 65002 | 65313 | 65536 | 4722 | 5005 | 5044 | 5070 | 5210 | 5224 | 5453 | 5402 | 5475 | 5554 | 5650 | 5488 | 6139 | 6506 | 6467 | 6526 | 6631 | 7391 | 7839 | 8008 | 7956 | 7862 | 7825 | 7790 |  | 41040 | 41555 | 42449 | 4792 | 4929 | 5293 | 8416 | 8533 | 8617 | 314
41 | 47019.483 | 37.2 |  | 27152 | 25722 | 26049 | 18660 | 19651 | 20785 | 3743 | 3794 | 3766 | 2972 |  | 26712 | 27474 | 28563 | 30248 | 32338 | 33004 | 44448 | 45114 | 43391 | 53493 | 56281 | 48486 | 18526 | 20159 | 20094 | 22685 | 23367 | 24801 | 33671 | 35713 | 36450 | 43434 | 44327 | 42857 | 3681 | 4005 | 4113 | 4413 | 4321 | 4505 | 5033 | 5007 | 4880 | 5959 | 5837 | 5478 | 36189 | 35644 | 34995 | 38805 | 40198 | 42299 | 52500 | 56531 | 53382 | 65490 | 63178 | 63179 | 4554 | 4959 | 4950 | 5159 | 5375 | 5294 | 5431 | 5447 | 5524 | 5649 | 5640 | 5414 | 6031 | 6426 | 6358 | 6528 | 6630 | 7122 | 7785 | 7914 | 8313 | 7921 | 7835 | 7660 |  | 40568 | 41446 | 41885 | 4875 | 5002 | 5312 | 8521 | 8457 | 8620 | 326
End Time |  |  | A2: 2018-12-03 09:54:31
Warning | Execution of 'OD_GFP_Kinetic_216_cycle' was interrupted by the user. | bar: A1 to A12